## Spec
USER REQUIREMENT for |  | Bench mounted liquid handling system to enable high throughput chromatography screening for purification of biotherapeutics along with rapid analysis equipment. |  |  | Tenderer's Response
Requirement codes
Q | Mandatory -linked to the Critical Quality Attributes & Critical Process Parameters of the process and will be tested during the qualification of the system
S | Mandatory Safety Requirement (Bio, toxicity, flammable, manual handling etc.)
M | Mandatory, but not a GMP or Qualification test
D | Desirable, but not necessary - if this cannot be supplied. Tenderer should suggest alternative if appropriate
N | Not required or not applicable
| Parameter | Answer | Requirement (Q/S/M/D/N) -see codes | Notes | Answer or Details | Conforms? (Y/N)
Scope
Liquid handling platform
Basic liquid handling platform |  | Rapid capacity optimisation | M | Please provide details
|  | Sample preparation | M | Please provide details
|  | Sample dilution | M | Please provide details
|  | Air compressor- not fixed to services | M | System must be mobile around facility
|  | Suitable for a range of labware | M | Please provide quotes for all labware available
8 Tip Arm
|  | Open modular design around 96 well plate format | M | Please provide details
|  | 8 channel pipette capable of independent dispensing | M | Please provide details
|  | Suitable for general liquid handling operations | M | Please provide details
|  | Adaptable for use of disposable pipettes | M | Please provide details
|  | Liquid sensing for both fixed and disposable modes | M | Please provide details
|  | Supplied with suitable syringe sizes | M | Please provide details
Dispensing Head
|  | A range of pipetting heads (Preferably 96 or 384 well plate format) with the ability to pipette accurate liquid volumes of <0.1uL up to >200uL | M | Please provide details
|  | Bench mounted and easily mobile | M | Please provide details
|  | Pick up 8 tips at a time | M | Please provide details
Expansions to the Basic system |  | Computer and software | M | Please provide details
|  | Connection to LIMS | D | 2 way data communication including possible integration of the control system with higher level control
|  | Integration- all components of the system must integrate together such that the system can be run from a single software based control system | M | Please provide details
|  | Method screening and optimisation | M | Please provide details
|  | Data collection | M | Please provide details
|  | Sample loading on to integrated equipment | M | Please provide details
|  | Temperature controlled | D | Please provide details
|  | Mobile- It is desirable that the system is mobile and flexible to reconfigure arrangements of integrated equipment | M | Please provide details
|  | Barcode reader for logging and storing barcode data | D | Please provide details
|  | Micro titre plate washer | M | Please provide details
|  | Micro titre plate incubator | M | Please provide details
|  | External storage | D | Please provide details
Gripper Arm
|  | Capable of picking, rotating and placing a wide range of different labware | M | Please provide details
|  | Capable of placing labware on external equipment such as microtitre plate readers, shakers, washers etc. | M | Please provide details
Vacuum Manifold and Pump
|  | Suitable for running 96 or 384 'predictor' plates for chromatography resin screening | M | Please provide details
|  | Plate mixer for up to 4 96 well plates | M | Please provide details
Small column capabilities
|  | Extra equipment required for running 'ATOLL' or 'Predictor' type chromatography columns, or equivalent, such as adaptors and shuttles for fraction collection | M | Please provide details
Intergratable analytical equipment |  | Suitable for automation and integration of a range of analytical equipment | M | Please provide details and prices of all analytical equipment that can be integrated
Must be intergratable with our existing Perkin Elmer lab chip GX II
Microtitre plate reader
|  | Absorbance range < 220nm up to >850nm | M | Please provide details
|  | Temperature control <20C up to > 37C | D | Please provide details
|  | Preferably wavelength selected using a monochromator | M | Please provide details
Consumables |  | Please provide details of all the consumables available for the equipment. Including but not exclusive to the following:
|  | Robotic reservoirs - 60ml | M | Please provide details
|  | Robotic reservoirs - 150ml | M | Please provide details
|  | Robotic reservoirs - 300mL - 1 well convoluted | M | Please provide details
|  | Tips- 20ul - conductive tips | M | Please provide details
|  | Tips - 20ul - conductive | M | Please provide details
|  | Tips - 50ul - conductive | M | Please provide details
|  | Tips - 200ul - conductive roborack tips | M | Please provide details
|  | Tips- 1000ul- conductive tips | M | Please provide details
Labware |  | Range of deck adaptors for holding plates | M
|  | Range of deck adaptors for holding tubes | M
|  | Range of deck adaptors for holding reservoirs | M
Rapid analysis system
Analysis capability |  | Protein analysis, sizing and quantitation | M
|  | DNA analysis | M
|  | RNA analysis | M
|  | N-Glycan profiling | M
|  | Must have QC functionality | M
Quantitative sizing and concentration of RNA, DNA and proteins |  | Capable of concentrating measurements < 10ng/ul | M
|  | Desirable detection range between 10-200 kDa | D
|  | Suitable for running 96 well plates | M
Speed |  | Preferably sample acquisition time of under 2 minutes | D
Data |  | Digital data (possibility of extraction of data in tabular form) to be analysed or exported to .csv file or equivalent format | M
|  | User friendly providing comprehensive data analysis and visualisation capability | M
Dimensions (approx.) |  | Designed for bench top use- please state dimensions | M
Humidity range (approx.) |  | 30-70% relative, non-condensating | M
Temperature range (approx.) |  | 18-26°C | M
System integration |  | All components of the supplied system must be integrated to allow the system to be run from a single software based control | M
|  | Must be able to be integrated into our existing robotic liquid handling system- Perkin Elmer Janus BioTX system | M
|  | Please provide details of other robotic liquid handling system that it can be linked to | M
Rapid UV analysis system
Analysis capability |  | UV vis spectrophotometer
|  | Range- 190-1100nm | M
|  | Linear range- > 2.5 absorbance units | M
|  | Capable of measuring samples under 10µl | M
|  | It is desirable to have a technology that can avoid sample evaporation | D
|  | Suitable for running 96 well plates | M
Speed |  | Preferably sample acquisition time of under 10 minutes | D
Data |  | Digital data (possibility of extraction of data in tabular form) to be analysed or exported to .csv file or equivalent format | M
|  | User friendly providing comprehensive data analysis and visualisation capability | M
Dimensions (approx.) |  | Designed for bench top use- please state dimensions | M
Humidity range (approx.) |  | 30-70% relative, non-condensating | M
Temperature range (approx.) |  | 18-26°C | M
System integration |  | All components of the supplied system must be integrated to allow the system to be run from a single software based control | M
|  | Must be able to be integrated into our existing robotic liquid handling system- Perkin Elmer Janus Bio TX system | M
|  | Please provide details of other robotic liquid handling system that it can be linked to | M
Guidance: Tenderers must provide responses within the following Columns;
1. Column F - Please provide details of your equipment functionality in relation to CPI requirements specified in column C
2. Column G - Please confirm if your product complies with CPI's functionality requirements specified in Column D, by providing a Yes (Y) or No (N) response