## 24411 Trafalgar House
Trafalgar House Specification
To be read in conjunction with layout drawings
code | description | unit | quantity
| Description | Unit | Qty
Demolition
| Remove solid partitioning and doors | m | 25
| Remove floor finishes | m2 | 140
| Remove suspended ceiling | m2 | 140
| Remove wall cladding | m | 10
| Remove block wall windows | m | 5
Partitioning
| 102mm solid partitioning as per drawing spec | m2 | 260
| 12mm ply patress (face fix on stud) | m2 | 20
| Acoustic framed glazing | m | 4
| Independent wall lining | m2 | 104
| 50mm slab insulation | m2 | 104
Doors & joinery
| 926/926mm x 2400mm, nfr, vp & softwood frame | Item | 1
| 926mm x 2040mm nfr, vp & softwood 30min frame | Item | 4
| 926mm x 2040mm, fd30 vp & softwood 30min frame | Item | 5
| Softwood frame to suit reused door | Item | 2
| Ironmongery kit with closer | Item | 5
| Ironmongery kit | Item | 6
| Acoustic seals on double door | Item | 1
| Bullnose moisture resistant mdf skirting board | m | 160
Ceilings
| 60 minute fire rated suspended ceiling | m2 | 186
| 300mm encapsulated insulation bags | m2 | 186
| NFR suspended ceiling | m2 | 186
Flooring
| Carpet tile | m2 | 139
| Luxury vinyl tile | m2 | 14
| Safety vinyl tile | m2 | 50
| Capped and coved vinyl skirting's | m | 9
| Entrance matt | m2 | 5
| 3mm thick self levelling latex | m2 | 70
Decoration
| Diamond vinyl matt paint to all walls | m2 | 740
| Skirtings - white satin finish consisting of primer, basecoat and topcoat | m | 200
| Architrave and door liners - white satin finish consisting of primer, basecoat and topcoat | Each | 10
| Decorate existing doors | Each | 7
| Paint window bars | Each | 3
Power & data
| 13a switched fused spur | Each | 20
| 13amp twin socket switched | Each | 29
| Electrical trunking | m | 18
| RJ45 cat6 data point | Each | 30
| 3 phase fuse boards with rcd protection & surge protection | Item | 2
Heating
| Electric panel heaters | Item | 7
Lighting
| 600mm x 600mm recessed led light | Each | 79
| Emergency back up pack for 600mm x 600mm recessed light | Each | 21
| PIR detector | Each | 8
| Surface mounted lights | Each | 4
| Light switch | Each | 11
| 60 minute light hoods | Each | 40
Fire alarm
| Smoke detector with sounder | Item | 15
| Smoke detector | Item | 5
| Heat detector | Item | 1
| Smoke detector in ceiling void | Item | 3
| Manual call point | Item | 2
Ventilation
| Extract fans | Item | 3
| Inline fan with small battery | Item | 1
Mechanical
| Small ceiling cassette | Item | 1
| 7kw ceiling cassette | Item | 1
| 3 fire blankets | Item | 1
Sanitaryware
| Close coupled toilet | Each | 2
| Doc m toilet pack | Item | 1
| 50mm washbasin | Each | 2
| Electric shower | Item | 1
| 1000 x 700 shower tray | Item | 1
| 700mm shower door | Item | 1
| Side panel | Item | 1
| Hand dryer | Item | 3
| 40cm mirror | Each | 2
| Dda mirror | Each | 1
Hygenic cladding
| Hygenic pvc cladding - pastel colours | m2 | 15