**SMC 5 GAS MANAGEMENT - BOILER ASSETS**

| **BUILDING** | **PARENT/MAIN ASSET NO** | **PARENT/MAIN ASSET DESCRIPTION** | **CHILD ASSET NO** | **CHILD ASSET DESCRIPTION** | **CHILD ASSET LOCATION** | **Installation Date** |
| --- | --- | --- | --- | --- | --- | --- |
| HOUSE BLOCK A | HMP-ABLOCK GAS-001 | BOILERS-A BLOCK ( HTG & DHW ) | 456 | HAMWORTHY MODUMAX 220 BOILER NO 1 (HTG) | PLANT ROOM | 2012 |
| HOUSE BLOCK A | HMP-ABLOCK GAS-001 | BOILERS-A BLOCK ( HTG & DHW) | 457 | HAMWORTHY MODUMAX 220 BOILER NO 2 (HTG) | PLANT ROOM | 2012 |
| HOUSE BLOCK A | HMP-ABLOCK GAS-001 | BOILERS-A BLOCK ( HTG & DHW) | 458 | HAMWORTHY MODUMAX 220 BOILER NO 3 (HTG) | PLANT ROOM | 2012 |
| HOUSE BLOCK A | HMP-ABLOCK GAS-001 | BOILERS-A BLOCK ( HTG & DHW) | 425 | STOKVIS ECONFLAME R2122 DHW BOILER NO 1 | PLANT ROOM | 2009 |
| HOUSE BLOCK A | HMP-ABLOCK GAS-001 | BOILERS-A BLOCK ( HTG & DHW) | 426 | STOKVIS ECONFLAME R2122 DHW BOILER NO 2 | PLANT ROOM | 2009 |
| HOUSE BLOCK B | HMP- BBLOCK GAS 002 | BOILERS- B BLOCK ( HTG & DHW) | 462 | HAMWORTHY MODUMAX BOILER NO 1 (HTG) | PLANT ROOM | 2012 |
| HOUSE BLOCK B | HMP- BBLOCK GAS 002 | BOILERS- B BLOCK ( HTG & DHW) | 463 | HAMWORTHY MODUMAX BOILER NO 2 (HTG) | PLANT ROOM | 2012 |
| HOUSE BLOCK B | HMP- BBLOCK GAS 002 | BOILERS- B BLOCK ( HTG & DHW) | 464 | HAMWORTHY MODUMAX BOILER NO 3 (HTG) | PLANT ROOM | 2012 |
| HOUSE BLOCK B | HMP- BBLOCK GAS 002 | BOILERS- B BLOCK ( HTG & DHW) | 427 | STOKVIS R2122 DHW BOILER NO 1 | PLANT ROOM | 2009 |
| HOUSE BLOCK B | HMP- BBLOCK GAS 002 | BOILERS- B BLOCK ( HTG & DHW) | 428 | STOKVIS R2122 DHW BOILER NO 2 | PLANT ROOM | 2009 |
| HOUSE BLOCK C | HMP-CBLOCK GAS 003 | BOILERS C BLOCK (HTG & HWS) | 470 | HAMWORTHY PUREWELL PV65HE BOILER NO 1 (HTG) | PLANT ROOM | 2013 |
| HOUSE BLOCK C | HMP-CBLOCK GAS 003 | BOILERS C BLOCK (HTG & HWS) | 471 | HAMWORTHY PUREWELL PV65HE BOILER NO 2 (HTG) | PLANT ROOM | 2013 |
| HOUSE BLOCK C | HMP-CBLOCK GAS 003 | BOILERS C BLOCK (HTG & HWS) | 472 | HAMWORTHY PUREWELL PV65HE BOILER NO 3 (HTG) | PLANT ROOM | 2013 |
| HOUSE BLOCK C | HMP-CBLOCK GAS 003 | BOILERS C BLOCK (HTG & HWS) | 429 | STOKVIS R22028 HWS BOILER NO1 | PLANT ROOM | 2009 |
| HOUSE BLOCK C | HMP-CBLOCK GAS 003 | BOILERS C BLOCK (HTG & HWS) | 430 | STOKVIS R22028 HWS BOILER NO2 | PLANT ROOM | 2009 |
| HOUSE BLOCK D | HMP-D'BLOCK-GAS 004 | BOILERS D BLOCK (HTG & HWS) | 479 | HAMWORTHY PUREWELL PV65HE BOILER NO 1 (HTG) | PLANT ROOM | 2013 |
| HOUSE BLOCK D | HMP-D'BLOCK-GAS 004 | BOILERS D BLOCK (HTG & HWS) | 480 | HAMWORTHY PUREWELL PV65HE BOILER NO 2 (HTG) | PLANT ROOM | 2013 |
| HOUSE BLOCK D | HMP-D'BLOCK-GAS 004 | BOILERS D BLOCK (HTG & HWS) | 481 | HAMWORTHY PUREWELL PV65HE BOILER NO 3 (HTG) | PLANT ROOM | 2013 |
| HOUSE BLOCK D | HMP-D'BLOCK-GAS 004 | BOILERS D BLOCK (HTG & HWS) | 431 | STOKVIS R2028 HWS BOILER NO 1 | PLANT ROOM | 2009 |
| HOUSE BLOCK D | HMP-D'BLOCK-GAS 004 | BOILERS D BLOCK (HTG & HWS) | 432 | STOKVIS R2028 HWS BOILER NO 2 | PLANT ROOM | 2009 |
| HOUSE BLOCK T | HMP-TBLOCK-GAS 012 | BOILERS T BLOCK ( HTG) | 535 | HAMWORTHY WESSEX 220 BOILER NO 1 (HTG) | PLANT ROOM | 2010 |
| HOUSE BLOCK T | HMP-TBLOCK-GAS 012 | BOILERS T BLOCK ( HTG) | 536 | HAMWORTHY WESSEX 220 BOILER NO 2 (HTG) | PLANT ROOM | 2010 |
| HOUSE BLOCK T | HMP-TBLOCK-GAS 012 | BOILERS T BLOCK ( HTG) | 537 | HAMWORTHY WESSEX 220 BOILER NO 3 (HTG) | PLANT ROOM | 2010 |
| HOUSE BLOCK T | HMP-TBLOCK-GAS 012 | BOILERS T BLOCK ( HTG) | HBT-HEAT-BOI-23326 | HAMWORTHY WESSEX 220 BOILER NO 4  (HTG) | PLANT ROOM | 2010 |
| HOUSE BLOCK T | HMP-TBLOCK-GAS 012 | BOILERS T BLOCK ( HTG) | HBT-HEAT-BOI-23327 | HAMWORTHY WESSEX 220 BOILER NO 5  (HTG) | PLANT ROOM | 2010 |
| HOUSE BLOCK T | HMP-TBLOCK-GAS 012 | BOILERS T BLOCK ( HTG) | HBT-HEAT-BOI-23328 | HAMWORTHY WESSEX 220 BOILER NO 6 (HTG) | PLANT ROOM | 2010 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES | HMP-AMBIRA- GAS-012 | AMBIRAD NRV 30 | WORKSHOP  STORES | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES | HMP-AMBIRA- GAS-013 | AMBIRAD NRV 30 | WORKSHOP 6 | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES | HMP-AMBIRA- GAS-014 | AMBIRAD NRV 30 | WORKSHOP 6 | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES | HMP-AMBIRA- GAS-015 | AMBIRAD NRV 30 | WORKSHOP STORES A | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES | HMP-AMBIRA- GAS-016 | AMBIRAD NRV 24 LR | WORKSHOP1 | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES | HMP-AMBIRA- GAS-017 | AMBIRAD NRV 24 LR | WORKSHOP 7 | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES | HMP-AMBIRA- GAS-018 | AMBIRAD NRV 24 LR | WORKSHOP 7 | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES | HMP-AMBIRA- GAS-019 | AMBIRAD NRV 24 LR | WORKSHOP 4 | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES | HMP-AMBIRA- GAS-020 | AMBIRAD NRV 24 LR | WORKSHOP 4A | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES | HMP-AMBIRA- GAS-021 | AMBIRAD NRV 24 LR | WORKSHOP 9 | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES | HMP-AMBIRA- GAS-022 | AMBIRAD NRV 24 LR | WORKSHOP2 | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES | HMP-AMBIRA- GAS-023 | AMBIRAD NRV 24 LR | WORKSHOP 2 A | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES | HMP-AMBIRA- GAS-024 | AMBIRAD NRV 24 LR | WORKSHOP 9 | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES | HMP-AMBIRA- GAS-025 | AMBIRAD NRV 24 LR | WORKSHOP 1A | 1997 |
| INDUSTRIES | HMP-INDEX-GAS-010 | BOILERS INDUSTRIES EXTENSION (HTG & HWS) | IN-HEAT-BOI-22987 | HAMWORTHY WESSEX 120 (HTG) | PLANT ROOM | 2010 |
| INDUSTRIES | HMP-INDEX-GAS-010 | BOILERS INDUSTRIES EXTENSION (HTG & HWS | KI-HEAT-BOI-23112 | HAMWORTHY WESSEX 120 (HTG) | PLANT ROOM | 2010 |
| INDUSTRIES | HMP-INDEX-GAS-010 | BOILERS INDUSTRIES EXTENSION (HTG & HWS | HMP-BOILER-HEA-IND001 | BUF-100-199 BOSS HWS BOILER | PLANT ROOM | 2012 |
| INDUSTRIES | HMP-INDEX-GAS-010 | BOILERS INDUSTRIES EXTENSION (HTG & HWS | HMP-BOILER-HEA-IND002 | BUF-100-199 BOSS HWS BOILER | PLANT ROOM | 2010 |
| KITCHEN STORES | 494 | AMBI RADS - KITCHEN STORES | HMP-TUBULAR-GAS-001 | AMBIRAD NVR 24 | KITCHEN STORES | 1997 |
| KITCHEN STORES | 494 | AMBI RADS - KITCHEN STORES | HMP-TUBULAR-GAS-002 | AMBIRAD NVR 25 | KITCHEN STORES | 1997 |
| KITCHEN STORES | 494 | AMBI RADS - KITCHEN STORES | HMP-TUBULAR-GAS-003 | AMBIRAD NVR 18 | KITCHEN STORES | 1997 |
| KITCHEN STORES | 494 | AMBI RADS - KITCHEN STORES | HMP-TUBULAR-GAS-004 | AMBIRAD NVR 19 | KITCHEN STORES | 1997 |
| MAIN KITCHEN | 23 | BOILER NO 1-MAIN KITCHEN (HTG) | N/A | IDEAL CONCORD 180 | PLANT ROOM | 2010 |
| MAIN KITCHEN | 24 | BOILER NO 2- MAIN KITCHEN ( HTG) | N/A | IDEAL CONCORD 180 | PLANT ROOM | 2010 |
| MAIN KITCHEN | 442 | GAS FIRED WATER HEATER NO1 KITCHEN ( DHW) | N/A | STOKVIS ECONOFLAME | PLANT ROOM | 2010 |
| MAIN KITCHEN | 443 | GAS FIRED WATER HEATER NO2 KITCHEN (DHW) | N/A | STOKVIS ECONOFLAME | PLANT ROOM | 2010 |
| MAINTENANCE BUILDING | 102 | COMBINED BOILER-MAINTENANCE BUILDING | N/A | WORCESTER GREENSTAR 27 CDI | KITCHEN | 2019 |
| PRISONER SERVICES | HMP-PRISSE-GAS-005 | BOILERS- PRISONER SERVICES (HTG & HWS) | 486 | HAMWORTHY WESSEX 220 BOILER NO 1 (HTG) | PLANT ROOM | 2012 |
| PRISONER SERVICES | HMP-PRISSE-GAS-005 | BOILERS- PRISONER SERVICES (HTG & HWS) | 487 | HAMWORTHY WESSEX 220 BOILER NO 2 (HTG) | PLANT ROOM | 2012 |
| PRISONER SERVICES | HMP-PRISSE-GAS-005 | BOILERS- PRISONER SERVICES (HTG & HWS) | 488 | HAMWORTHY 220BOILER NO 3 (HTG) | PLANT ROOM | 2012 |
| PRISONER SERVICES | HMP-PRISSE-GAS-005 | BOILERS- PRISONER SERVICES (HTG & HWS) | 433 | STOKVIS R2066 HWS BOILER NO 1 | PLANT ROOM | 2008 |
| PRISONER SERVICES | HMP-PRISSE-GAS-005 | BOILERS- PRISONER SERVICES (HTG & HWS) | 434 | STOKVIS R2066 HWS BOILER NO 2 | PLANT ROOM | 2008 |
| PRISONER SERVICES | HMP-PRISSE-GAS-005 | BOILERS- PRISONER SERVICES (HTG & HWS) | 435 | STOKVIS R2066 HWS BOILER NO 3 | PLANT ROOM | 2008 |
| TRAINING COTTAGE | HMP-COTTAGE-GAS-008 | BAXI COMBI BOILER - TRAINING COTTAGE | N/A | BAXI COMBO | INTERNAL | 2015 |
| VISITS | HMP-VISITS-GAS -006 | BOILERS-VISITS (HTG & HWS) | 508 | HAMWORTHY SHERBORNE 64 BOILER NO1 (HTG) | PLANT ROOM | 2012 |
| VISITS | HMP-VISITS-GAS -006 | BOILERS-VISITS (HTG & HWS) | 509 | HAMWORTHY SHERBORNE 64 BOILER NO2 (HTG) | PLANT ROOM | 2012 |
| VISITS | HMP-VISITS-GAS -006 | BOILERS-VISITS (HTG & HWS) | 510 | HAMWORTHY SHERBORNE 64 BOILER NO3 (HTG) | PLANT ROOM | 2012 |
| VISITS | HMP-VISITS-GAS -006 | BOILERS-VISITS (HTG & HWS) | VI-HEAT-BOI-25221 | IDEAL ICOS 18 BOILER (HTG) | PLANT ROOM | 2012 |
| VISITS | HMP-VISITS-GAS -006 | BOILERS-VISITS (HTG & HWS) | VI-HEAT-BOI-25222 | IDEAL ICOS 18 BOILER (HTG | PLANT ROOM | 2012 |
| VISITS | HMP-VISITS-GAS -006 | BOILERS-VISITS (HTG & HWS) | 436 | LOCHINVAR LG57CE HWS BOILER | PLANT ROOM | 2008 |
| VISITS | HMP-VISITS-GAS -006 | BOILERS-VISITS (HTG & HWS) | 437 | LOCHINVAR LG57CE HWS BOILER | PLANT ROOM | 2008 |
| X BLOCK |  | BOILERS- X BLOCK (HTG & HWS) | HBK-HWSBL GASCON-1111 | HOVEL | PLANT ROOM | 2015 |
| X BLOCK |  | BOILERS- X BLOCK (HTG & HWS) | HBK-HWSBL GASCON-5 | HOVEL | PLANT ROOM | 2015 |
| X BLOCK |  | BOILERS- X BLOCK (HTG & HWS) | HBK-HWSBL GASCON-6 | HOVEL | PLANT ROOM | 2015 |
| GATEHOUSE |  | BOILER - GATEHOUSE ( HTG & HWS) | GTH-HWSBL RAGB-445 | LOCHINVAR | PLANT ROOM | 2015 |
| GATEHOUSE |  | BOILER - GATEHOUSE ( HTG & HWS) | GTH-HWSBL RAGB-1112 | LOCHINVAR | PLANT ROOM | 2015 |
| VISITOR CENTRE |  | BOILERS -VISITOR CENTRE (HTG HWS) | VCE-HWSBL RAGB-805 | LOCHINVAR | PLANT ROOM | 2015 |
| VISITOR CENTRE |  | BOILERS -VISITOR CENTRE (HTG HWS) | VCE-HWSBL RAGB-1113 | LOCHINVAR | PLANT ROOM | 2015 |
| AMENITIES | 492 | AMBI RADS - AMENITIES X4 | HMP-AMBIRA-GAS-001 | 24KW AMBIRAD | GYM | 1997 |
| AMENITIES | 492 | AMBI RADS - AMENITIES X4 | HMP-AMBIRA -GAS-002 | 24KW AMBIRAD | GYM | 1997 |
| AMENITIES | 492 | AMBI RADS - AMENITIES X4 | HMP-AMBIRA-GAS-003 | 24KW AMBIRAD | GYM | 1997 |
| AMENITIES | 492 | AMBI RADS - AMENITIES X4 | HMP-AMBIRA-GAS-004 | 24KW AMBIRAD | GYM | 1997 |
| AMENITIES | HMP-AMENIT-GAS-009 | BOILERS- AMENITIES (HTG & DHW) | 523 | HAMWORTHY PUREWELL BOILER NO 1 (HTG) | PLANT ROOM | 2013 |
| AMENITIES | HMP-AMENIT-GAS-009 | BOILERS- AMENITIES (HTG & DHW) | 524 | HAMWORTHY PUREWELL BOILER NO 2 (HTG) | PLANT ROOM | 2013 |
| AMENITIES | HMP-AMENIT-GAS-009 | BOILERS- AMENITIES (HTG & DHW) | 525 | HAMWORTHY PUREWELL BOILER NO 3 (HTG) | PLANT ROOM | 2013 |
| AMENITIES | HMP-AMENIT-GAS-009 | BOILERS- AMENITIES (HTG & DHW) | 440 | STOKVIS R0266 DHW BOILER | PLANT ROOM | 2009 |
| AMENITIES | HMP-AMENIT-GAS-009 | BOILERS- AMENITIES (HTG & DHW) | 441 | STOKVIS R0266 DHW BOILER | PLANT ROOM | 2009 |
| AMENITIES Ext | HMP-AMENIT-GAS-009 | BOILERS- AMENITIES (HTG & DHW) | MILBORNE | HAMWORTHY | PLANT ROOM | 2010 |
| AMENITIES Ext | HMP-AMENIT-GAS-009 | BOILERS- AMENITIES (HTG & DHW) | MILBORNE | HAMWORTHY | PLANTROOM | 2010 |
| BCS COTTAGE | 452 | COMBINATION BOILER- BCS COTTAGE | N/A | N/A | GENTS WC | 2015 |
| ENTRY BUILDING | HMP-ENTRY-GAS-007 | BOILERS-ENTRY BUILDING (HTG & DHW) | 513 | HAMWORTHY PUREWELL 85E BOILER NO1 (HTG) | PLANT ROOM | 2012 |
| ENTRY BUILDING | HMP-ENTRY-GAS-007 | BOILERS-ENTRY BUILDING (HTG & DHW) | 514 | HAMWORTHY PUREWELL 85E BOILER NO 2 (HTG) | PLANT ROOM | 2012 |
| ENTRY BUILDING | HMP-ENTRY-GAS-007 | BOILERS-ENTRY BUILDING (HTG & DHW) | 515 | HAMWORTHY PUREWELL 85E BOILER NO 3 (HTG) | PLANT ROOM | 2012 |
| ENTRY BUILDING | HMP-ENTRY-GAS-007 | BOILERS-ENTRY BUILDING (HTG & DHW) | 438 | LOCHINVAR CE 155 DHW BOILER NO 1 | PLANT ROOM | 2008 |
| ENTRY BUILDING | HMP-ENTRY-GAS-007 | BOILERS-ENTRY BUILDING (HTG & DHW) | 439 | LOCHINVAR CE 155 DHW BOILER NO 2 | PLANT ROOM | 2008 |
| VP WORKSHOP | WHP-HWSBLRAGB-998 | COMBINATION BOILER- VP WORKSHOP | 998 | LOCHINVAR | PLANT ROOM | 2015 |
| VP WORKSHOP | WHP-HWSBLRAGB-1114 | COMBINATION BOILER- VP WORKSHOP | 1114 | LOCHINVAR | PLANT ROOM | 2015 |