**SMC 5 GAS MANAGEMENT - BOILER ASSETS**

| **BUILDING** | **PARENT/MAIN ASSET NO**  | **PARENT/MAIN ASSET DESCRIPTION** | **CHILD ASSET NO**  | **CHILD ASSET DESCRIPTION**  | **CHILD ASSET LOCATION**  | **Installation Date**  |
| --- | --- | --- | --- | --- | --- | --- |
| HOUSE BLOCK A  | HMP-ABLOCK GAS-001 | BOILERS-A BLOCK ( HTG & DHW ) | 456 | HAMWORTHY MODUMAX 220 BOILER NO 1 (HTG)  | PLANT ROOM  | 2012 |
| HOUSE BLOCK A  | HMP-ABLOCK GAS-001 | BOILERS-A BLOCK ( HTG & DHW) | 457 | HAMWORTHY MODUMAX 220 BOILER NO 2 (HTG) | PLANT ROOM | 2012 |
| HOUSE BLOCK A  | HMP-ABLOCK GAS-001 | BOILERS-A BLOCK ( HTG & DHW) | 458 | HAMWORTHY MODUMAX 220 BOILER NO 3 (HTG) | PLANT ROOM | 2012 |
| HOUSE BLOCK A  | HMP-ABLOCK GAS-001 | BOILERS-A BLOCK ( HTG & DHW) | 425 | STOKVIS ECONFLAME R2122 DHW BOILER NO 1 | PLANT ROOM | 2009 |
| HOUSE BLOCK A  | HMP-ABLOCK GAS-001 | BOILERS-A BLOCK ( HTG & DHW) | 426 | STOKVIS ECONFLAME R2122 DHW BOILER NO 2 | PLANT ROOM | 2009 |
| HOUSE BLOCK B  | HMP- BBLOCK GAS 002 | BOILERS- B BLOCK ( HTG & DHW)  | 462 | HAMWORTHY MODUMAX BOILER NO 1 (HTG) | PLANT ROOM | 2012 |
| HOUSE BLOCK B | HMP- BBLOCK GAS 002 | BOILERS- B BLOCK ( HTG & DHW)  | 463 | HAMWORTHY MODUMAX BOILER NO 2 (HTG) | PLANT ROOM | 2012 |
| HOUSE BLOCK B | HMP- BBLOCK GAS 002 | BOILERS- B BLOCK ( HTG & DHW)  | 464 | HAMWORTHY MODUMAX BOILER NO 3 (HTG) | PLANT ROOM | 2012 |
| HOUSE BLOCK B | HMP- BBLOCK GAS 002 | BOILERS- B BLOCK ( HTG & DHW)  | 427 | STOKVIS R2122 DHW BOILER NO 1 | PLANT ROOM | 2009 |
| HOUSE BLOCK B | HMP- BBLOCK GAS 002 | BOILERS- B BLOCK ( HTG & DHW)  | 428 | STOKVIS R2122 DHW BOILER NO 2 | PLANT ROOM | 2009 |
| HOUSE BLOCK C  | HMP-CBLOCK GAS 003 | BOILERS C BLOCK (HTG & HWS)  | 470 | HAMWORTHY PUREWELL PV65HE BOILER NO 1 (HTG)  | PLANT ROOM | 2013 |
| HOUSE BLOCK C  | HMP-CBLOCK GAS 003 | BOILERS C BLOCK (HTG & HWS) | 471 | HAMWORTHY PUREWELL PV65HE BOILER NO 2 (HTG)  | PLANT ROOM | 2013 |
| HOUSE BLOCK C | HMP-CBLOCK GAS 003 | BOILERS C BLOCK (HTG & HWS) | 472 | HAMWORTHY PUREWELL PV65HE BOILER NO 3 (HTG) | PLANT ROOM | 2013 |
| HOUSE BLOCK C | HMP-CBLOCK GAS 003 | BOILERS C BLOCK (HTG & HWS) | 429 | STOKVIS R22028 HWS BOILER NO1 | PLANT ROOM | 2009 |
| HOUSE BLOCK C | HMP-CBLOCK GAS 003 | BOILERS C BLOCK (HTG & HWS) | 430 | STOKVIS R22028 HWS BOILER NO2 | PLANT ROOM | 2009 |
| HOUSE BLOCK D  | HMP-D'BLOCK-GAS 004 | BOILERS D BLOCK (HTG & HWS)  | 479 | HAMWORTHY PUREWELL PV65HE BOILER NO 1 (HTG)  | PLANT ROOM | 2013 |
| HOUSE BLOCK D | HMP-D'BLOCK-GAS 004 | BOILERS D BLOCK (HTG & HWS)  | 480 | HAMWORTHY PUREWELL PV65HE BOILER NO 2 (HTG)  | PLANT ROOM | 2013 |
| HOUSE BLOCK D | HMP-D'BLOCK-GAS 004 | BOILERS D BLOCK (HTG & HWS)  | 481 | HAMWORTHY PUREWELL PV65HE BOILER NO 3 (HTG)  | PLANT ROOM | 2013 |
| HOUSE BLOCK D | HMP-D'BLOCK-GAS 004 | BOILERS D BLOCK (HTG & HWS)  | 431 | STOKVIS R2028 HWS BOILER NO 1 | PLANT ROOM | 2009 |
| HOUSE BLOCK D | HMP-D'BLOCK-GAS 004 | BOILERS D BLOCK (HTG & HWS)  | 432 | STOKVIS R2028 HWS BOILER NO 2 | PLANT ROOM | 2009 |
| HOUSE BLOCK T  | HMP-TBLOCK-GAS 012 | BOILERS T BLOCK ( HTG)  | 535 | HAMWORTHY WESSEX 220 BOILER NO 1 (HTG)  | PLANT ROOM | 2010 |
| HOUSE BLOCK T | HMP-TBLOCK-GAS 012 | BOILERS T BLOCK ( HTG) | 536 | HAMWORTHY WESSEX 220 BOILER NO 2 (HTG)  | PLANT ROOM | 2010 |
| HOUSE BLOCK T | HMP-TBLOCK-GAS 012 | BOILERS T BLOCK ( HTG) | 537 | HAMWORTHY WESSEX 220 BOILER NO 3 (HTG)  | PLANT ROOM | 2010 |
| HOUSE BLOCK T | HMP-TBLOCK-GAS 012 | BOILERS T BLOCK ( HTG) | HBT-HEAT-BOI-23326 | HAMWORTHY WESSEX 220 BOILER NO 4(HTG)  | PLANT ROOM | 2010 |
| HOUSE BLOCK T | HMP-TBLOCK-GAS 012 | BOILERS T BLOCK ( HTG) | HBT-HEAT-BOI-23327 | HAMWORTHY WESSEX 220 BOILER NO 5(HTG)  | PLANT ROOM | 2010 |
| HOUSE BLOCK T | HMP-TBLOCK-GAS 012 | BOILERS T BLOCK ( HTG) | HBT-HEAT-BOI-23328 | HAMWORTHY WESSEX 220 BOILER NO 6 (HTG)  | PLANT ROOM | 2010 |
| INDUSTRIES  | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES  | HMP-AMBIRA- GAS-012 | AMBIRAD NRV 30 | WORKSHOP STORES | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES  | HMP-AMBIRA- GAS-013 | AMBIRAD NRV 30 | WORKSHOP 6 | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES  | HMP-AMBIRA- GAS-014 | AMBIRAD NRV 30 | WORKSHOP 6  | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES  | HMP-AMBIRA- GAS-015 | AMBIRAD NRV 30 | WORKSHOP STORES A | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES  | HMP-AMBIRA- GAS-016 | AMBIRAD NRV 24 LR | WORKSHOP1  | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES  | HMP-AMBIRA- GAS-017 | AMBIRAD NRV 24 LR | WORKSHOP 7 | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES  | HMP-AMBIRA- GAS-018 | AMBIRAD NRV 24 LR | WORKSHOP 7 | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES  | HMP-AMBIRA- GAS-019 | AMBIRAD NRV 24 LR | WORKSHOP 4 | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES  | HMP-AMBIRA- GAS-020 | AMBIRAD NRV 24 LR | WORKSHOP 4A | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES  | HMP-AMBIRA- GAS-021 | AMBIRAD NRV 24 LR | WORKSHOP 9 | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES  | HMP-AMBIRA- GAS-022 | AMBIRAD NRV 24 LR | WORKSHOP2  | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES  | HMP-AMBIRA- GAS-023 | AMBIRAD NRV 24 LR | WORKSHOP 2 A | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES  | HMP-AMBIRA- GAS-024 | AMBIRAD NRV 24 LR | WORKSHOP 9  | 1997 |
| INDUSTRIES | HMP-AMBIRA-GAS-011 | AMBI RADS INDUSTRIES  | HMP-AMBIRA- GAS-025 | AMBIRAD NRV 24 LR | WORKSHOP 1A | 1997 |
| INDUSTRIES | HMP-INDEX-GAS-010 | BOILERS INDUSTRIES EXTENSION (HTG & HWS) | IN-HEAT-BOI-22987 | HAMWORTHY WESSEX 120 (HTG)  | PLANT ROOM  | 2010 |
| INDUSTRIES | HMP-INDEX-GAS-010 | BOILERS INDUSTRIES EXTENSION (HTG & HWS | KI-HEAT-BOI-23112 | HAMWORTHY WESSEX 120 (HTG)  | PLANT ROOM | 2010 |
| INDUSTRIES | HMP-INDEX-GAS-010 | BOILERS INDUSTRIES EXTENSION (HTG & HWS | HMP-BOILER-HEA-IND001 | BUF-100-199 BOSS HWS BOILER  | PLANT ROOM | 2012 |
| INDUSTRIES | HMP-INDEX-GAS-010 | BOILERS INDUSTRIES EXTENSION (HTG & HWS | HMP-BOILER-HEA-IND002 | BUF-100-199 BOSS HWS BOILER  | PLANT ROOM | 2010 |
| KITCHEN STORES  | 494 | AMBI RADS - KITCHEN STORES  | HMP-TUBULAR-GAS-001 | AMBIRAD NVR 24 | KITCHEN STORES  | 1997 |
| KITCHEN STORES | 494 | AMBI RADS - KITCHEN STORES | HMP-TUBULAR-GAS-002 | AMBIRAD NVR 25 | KITCHEN STORES  | 1997 |
| KITCHEN STORES | 494 | AMBI RADS - KITCHEN STORES | HMP-TUBULAR-GAS-003 | AMBIRAD NVR 18 | KITCHEN STORES  | 1997 |
| KITCHEN STORES | 494 | AMBI RADS - KITCHEN STORES | HMP-TUBULAR-GAS-004 | AMBIRAD NVR 19 | KITCHEN STORES  | 1997 |
| MAIN KITCHEN  | 23 | BOILER NO 1-MAIN KITCHEN (HTG)  | N/A | IDEAL CONCORD 180 | PLANT ROOM | 2010 |
| MAIN KITCHEN | 24 | BOILER NO 2- MAIN KITCHEN ( HTG)  | N/A | IDEAL CONCORD 180 | PLANT ROOM | 2010 |
| MAIN KITCHEN | 442 | GAS FIRED WATER HEATER NO1 KITCHEN ( DHW)  | N/A | STOKVIS ECONOFLAME  | PLANT ROOM | 2010 |
| MAIN KITCHEN | 443 | GAS FIRED WATER HEATER NO2 KITCHEN (DHW)  | N/A | STOKVIS ECONOFLAME | PLANT ROOM | 2010 |
| MAINTENANCE BUILDING  | 102 | COMBINED BOILER-MAINTENANCE BUILDING  | N/A | WORCESTER GREENSTAR 27 CDI  | KITCHEN  | 2019 |
| PRISONER SERVICES | HMP-PRISSE-GAS-005 | BOILERS- PRISONER SERVICES (HTG & HWS)  | 486 | HAMWORTHY WESSEX 220 BOILER NO 1 (HTG) | PLANT ROOM  | 2012 |
| PRISONER SERVICES | HMP-PRISSE-GAS-005 | BOILERS- PRISONER SERVICES (HTG & HWS)  | 487 | HAMWORTHY WESSEX 220 BOILER NO 2 (HTG) | PLANT ROOM  | 2012 |
| PRISONER SERVICES | HMP-PRISSE-GAS-005 | BOILERS- PRISONER SERVICES (HTG & HWS)  | 488 | HAMWORTHY 220BOILER NO 3 (HTG) | PLANT ROOM  | 2012 |
| PRISONER SERVICES | HMP-PRISSE-GAS-005 | BOILERS- PRISONER SERVICES (HTG & HWS)  | 433 | STOKVIS R2066 HWS BOILER NO 1 | PLANT ROOM  | 2008 |
| PRISONER SERVICES | HMP-PRISSE-GAS-005 | BOILERS- PRISONER SERVICES (HTG & HWS)  | 434 | STOKVIS R2066 HWS BOILER NO 2 | PLANT ROOM  | 2008 |
| PRISONER SERVICES | HMP-PRISSE-GAS-005 | BOILERS- PRISONER SERVICES (HTG & HWS)  | 435 | STOKVIS R2066 HWS BOILER NO 3 | PLANT ROOM  | 2008 |
| TRAINING COTTAGE  | HMP-COTTAGE-GAS-008 | BAXI COMBI BOILER - TRAINING COTTAGE  | N/A  | BAXI COMBO  | INTERNAL  | 2015 |
| VISITS  | HMP-VISITS-GAS -006 | BOILERS-VISITS (HTG & HWS)  | 508 | HAMWORTHY SHERBORNE 64 BOILER NO1 (HTG)  | PLANT ROOM  | 2012 |
| VISITS  | HMP-VISITS-GAS -006 | BOILERS-VISITS (HTG & HWS) | 509 | HAMWORTHY SHERBORNE 64 BOILER NO2 (HTG)  | PLANT ROOM | 2012 |
| VISITS  | HMP-VISITS-GAS -006 | BOILERS-VISITS (HTG & HWS) | 510 | HAMWORTHY SHERBORNE 64 BOILER NO3 (HTG)  | PLANT ROOM | 2012 |
| VISITS  | HMP-VISITS-GAS -006 | BOILERS-VISITS (HTG & HWS) | VI-HEAT-BOI-25221 | IDEAL ICOS 18 BOILER (HTG)  | PLANT ROOM | 2012 |
| VISITS  | HMP-VISITS-GAS -006 | BOILERS-VISITS (HTG & HWS) | VI-HEAT-BOI-25222 | IDEAL ICOS 18 BOILER (HTG | PLANT ROOM | 2012 |
| VISITS  | HMP-VISITS-GAS -006 | BOILERS-VISITS (HTG & HWS) | 436 | LOCHINVAR LG57CE HWS BOILER  | PLANT ROOM | 2008 |
| VISITS  | HMP-VISITS-GAS -006 | BOILERS-VISITS (HTG & HWS) | 437 | LOCHINVAR LG57CE HWS BOILER  | PLANT ROOM | 2008 |
| X BLOCK  |  | BOILERS- X BLOCK (HTG & HWS)  | HBK-HWSBL GASCON-1111 | HOVEL | PLANT ROOM | 2015 |
| X BLOCK  |  | BOILERS- X BLOCK (HTG & HWS)  | HBK-HWSBL GASCON-5 | HOVEL | PLANT ROOM | 2015 |
| X BLOCK  |  | BOILERS- X BLOCK (HTG & HWS)  | HBK-HWSBL GASCON-6 | HOVEL | PLANT ROOM | 2015 |
| GATEHOUSE  |  | BOILER - GATEHOUSE ( HTG & HWS)  | GTH-HWSBL RAGB-445 | LOCHINVAR  | PLANT ROOM | 2015 |
| GATEHOUSE  |  | BOILER - GATEHOUSE ( HTG & HWS)  | GTH-HWSBL RAGB-1112 | LOCHINVAR | PLANT ROOM | 2015 |
| VISITOR CENTRE  |  | BOILERS -VISITOR CENTRE (HTG HWS)  | VCE-HWSBL RAGB-805  | LOCHINVAR  | PLANT ROOM | 2015 |
| VISITOR CENTRE  |  | BOILERS -VISITOR CENTRE (HTG HWS)  | VCE-HWSBL RAGB-1113  | LOCHINVAR | PLANT ROOM | 2015 |
| AMENITIES  | 492 | AMBI RADS - AMENITIES X4  | HMP-AMBIRA-GAS-001 | 24KW AMBIRAD  | GYM  | 1997 |
| AMENITIES  | 492 | AMBI RADS - AMENITIES X4  | HMP-AMBIRA -GAS-002 | 24KW AMBIRAD  | GYM | 1997 |
| AMENITIES  | 492 | AMBI RADS - AMENITIES X4  | HMP-AMBIRA-GAS-003 | 24KW AMBIRAD  | GYM | 1997 |
| AMENITIES  | 492 | AMBI RADS - AMENITIES X4  | HMP-AMBIRA-GAS-004 | 24KW AMBIRAD  | GYM | 1997 |
| AMENITIES  | HMP-AMENIT-GAS-009 | BOILERS- AMENITIES (HTG & DHW)  | 523 | HAMWORTHY PUREWELL BOILER NO 1 (HTG)  | PLANT ROOM  | 2013 |
| AMENITIES  | HMP-AMENIT-GAS-009 | BOILERS- AMENITIES (HTG & DHW)  | 524 | HAMWORTHY PUREWELL BOILER NO 2 (HTG)  | PLANT ROOM  | 2013 |
| AMENITIES  | HMP-AMENIT-GAS-009 | BOILERS- AMENITIES (HTG & DHW)  | 525 | HAMWORTHY PUREWELL BOILER NO 3 (HTG)  | PLANT ROOM  | 2013 |
| AMENITIES  | HMP-AMENIT-GAS-009 | BOILERS- AMENITIES (HTG & DHW)  | 440 | STOKVIS R0266 DHW BOILER  | PLANT ROOM  | 2009 |
| AMENITIES  | HMP-AMENIT-GAS-009 | BOILERS- AMENITIES (HTG & DHW)  | 441 | STOKVIS R0266 DHW BOILER  | PLANT ROOM  | 2009 |
| AMENITIES Ext | HMP-AMENIT-GAS-009 | BOILERS- AMENITIES (HTG & DHW)  | MILBORNE | HAMWORTHY | PLANT ROOM | 2010 |
| AMENITIES Ext | HMP-AMENIT-GAS-009 | BOILERS- AMENITIES (HTG & DHW)  | MILBORNE | HAMWORTHY | PLANTROOM | 2010 |
| BCS COTTAGE  | 452 | COMBINATION BOILER- BCS COTTAGE  | N/A  | N/A  | GENTS WC  | 2015 |
| ENTRY BUILDING  | HMP-ENTRY-GAS-007 | BOILERS-ENTRY BUILDING (HTG & DHW)  | 513 | HAMWORTHY PUREWELL 85E BOILER NO1 (HTG)  | PLANT ROOM  | 2012 |
| ENTRY BUILDING | HMP-ENTRY-GAS-007 | BOILERS-ENTRY BUILDING (HTG & DHW)  | 514 | HAMWORTHY PUREWELL 85E BOILER NO 2 (HTG)  | PLANT ROOM | 2012 |
| ENTRY BUILDING | HMP-ENTRY-GAS-007 | BOILERS-ENTRY BUILDING (HTG & DHW)  | 515 | HAMWORTHY PUREWELL 85E BOILER NO 3 (HTG)  | PLANT ROOM | 2012 |
| ENTRY BUILDING | HMP-ENTRY-GAS-007 | BOILERS-ENTRY BUILDING (HTG & DHW)  | 438 | LOCHINVAR CE 155 DHW BOILER NO 1  | PLANT ROOM | 2008 |
| ENTRY BUILDING | HMP-ENTRY-GAS-007 | BOILERS-ENTRY BUILDING (HTG & DHW)  | 439 | LOCHINVAR CE 155 DHW BOILER NO 2 | PLANT ROOM | 2008 |
| VP WORKSHOP  | WHP-HWSBLRAGB-998 | COMBINATION BOILER- VP WORKSHOP | 998 | LOCHINVAR  | PLANT ROOM | 2015 |
| VP WORKSHOP | WHP-HWSBLRAGB-1114 | COMBINATION BOILER- VP WORKSHOP | 1114 | LOCHINVAR | PLANT ROOM | 2015 |