Construction Intruder Alarms (KW038)

| Circuit | Location |
| --- | --- |
| 01 | F/E Door |
| 02 | WK038 |
| 03 | WK038B |
| 04 | WK038C |
| 05 | WK038E |
| 06 | WK039 |
| 07 | WK040 |
| 08 | Fire Exit WK038 |

Study Centre Access (KW036)

System Records TS790+ & TS900+ User Manual

| Circuit No | Location |
| --- | --- |
| 01 | Rear Office LHS |
| 02 | Rear Office MID |
| 03 | Rear Office RHS |
| 04 | Rear Office LHS (Bace) |
| 05 | Mezz WM02A |
| 06 | Fire Doors x 2 |
| 07 | Entrance Door |
| 08 |  |
| 09 | Above Entrance |
| 10 |  |
| 11 |  |
| 12 |  |
| 13 |  |
| 14 |  |
| 15 |  |
| 16 |  |
| 17 | KW033A |
| 18 | Mezz WM02 |
| 19 | KW036 Above Desk |
| 20 | KW036 Rear |
| 21 | KW036 LHS |
| 22 | KW037 Rear |
| 23 |  |
| 24 |  |
| 25 |  |
| 26 |  |
| 27 |  |
| 28 |  |

Finance (Cash Office)

| Circuit | Location |
| --- | --- |
| 01 | Entry Door |
| 02 | Pir in Office |
| 03 | Panic Button |
| 04 |  |
| 05 |  |
| 06 |  |
| 07 |  |
| 08 |  |

Innovation Building

| No. | Location |
| --- | --- |
| 2001 | 1st floor passage between old & new |
| 2002 | 2nd floor passage between old & new |
| 2003 |  |
| 2004 |  |
| 2005 |  |
| 2006 |  |
| 2007 |  |
| 2008 |  |
| 2009 | Staircase G12 |
| 2010 | G2 Refectory adj staircase G12 |
| 2011 | G2 Refectory adj fire exit |
| 2012 | G2 Refectory adj washroom G5 |
| 2013 | Washroom G5 |
| 2014 | G1 Plant room doors |
| 2015 | SAB Tamper |
| 2016 | G/F Passage between old & new |
| 2017 | G2 Refectory adj office G10 |
| 2018 | G2 Refectory adj staircase G11 |
| 2019 | Staircase G11 |
| 2020 | Entrance lobby G/F |
| 2021 | G1 Atrium adj entrance lobby |
| 2022 | Atrium pir adj int speaker |
| 2023 | PSLL Tamper |
| 2024 |  |
| 2025 | Entrance doors (basement) |
| 2026 | Entrance pir (basement) |
| 2027 | Room SB 10B Office |
| 2028 | Outside SB 10A Computer Comms |
| 2029 | SB 10A Office |
| 2030 | Above fire exit adj SB 10A office |
| 2031 | Room 5 B 8 office |
| 2032 | Outside 5 B 8 office |

Construction Building

Node 1 is located next to control above ceiling

| 1001 | D/T above entrance doors (entry) |
| --- | --- |
| 1002 | Open Access |
| 1003 | Student Union |
| 1004 | DTQ |
| 1005 | Room KW034 |
| 1006 | Entrance Doors (Final Exit) |
| 1007 | N/U |
| 1008 | N/U |

Node 2 is located main passage LHS High Level 1

| 1009 | Rear of main passage |
| --- | --- |
| 1010 | D/T above bottom entrance |
| 1011 | DT KW041B |
| 1012 | N/U |
| 1013 | N/U |
| 1014 | N/U |
| 1015 | N/U |
| 1016 | N/U |

Node 3 is located in Room KW041

| 1017 | Door to room KW042 |
| --- | --- |
| 1018 | D/T room KW042 front right |
| 1019 | D/T room KW042 rear left |
| 1020 | N/U |
| 1021 | N/U |
| 1022 | N/U |
| 1023 | N/U |
| 1024 | N/U |

Node 4 is located in Gas Assessment Room

| 1025 | D/T Gas Assessment Room |
| --- | --- |
| 1026 | D/T Room KW042D |
| 1027 | D/T Room KW042 Rear Left |
| 1028 |  |
| 1029 |  |
| 1030 |  |
| 1031 |  |
| 1032 |  |

Node 5 is located 1st Floor

| 1033 | Doors top of stairs from ground floor |
| --- | --- |
| 1034 |  |
| 1035 | D/T room KW124 |
| 1036 | D/T room KW123 |
| 1037 | D/T rear passage |
| 1038 | D/T rear passage |
| 1039 | D/T room KW122 |
| 1040 |  |

Engineering Block

| 1001 | KW002 360 º (near) |
| --- | --- |
| 1002 | KW002 360 º (far) |
| 1003 |  |
| 1004 |  |
| 1005 |  |
| 1006 |  |
| 1007 |  |
| 1008 |  |

| 1009 | KW018 D/T |
| --- | --- |
| 1010 | Main Passage (near) |
| 1011 | Main Passage (far) |
| 1012 | KW023 |
| 1013 |  |
| 1014 |  |
| 1015 |  |
| 1016 |  |

| 1017 | Main motor workshop |
| --- | --- |
| 1018 | Small motor workshop |
| 1019 |  |
| 1020 |  |
| 1021 |  |
| 1022 |  |
| 1023 |  |
| 1024 |  |

Tower Block

Node 1 is located in Post Room

| 2001 | Entry door (by security office) |
| --- | --- |
| 2002 | Room K029 |
| 2003 | Room K032A (security office) |
| 2004 | Room K027 |
| 2005 (24 Hour) | Construction Building (used only for indication) |
| 2006 (24 Hour) | Construction Building (used only for indication) |
| 2007 | N/U |
| 2008 | N/U |

Node 2 is located South End of ground floor corridor

| 2009 | Ground floor South end corridor (outside of Finance) |
| --- | --- |
| 2010 | Ground floor South end corridor (outside of Finance) |
| 2011 | Ground floor east entrance |
| 2012 | Corridor adj to room K002 |
| 2013 | Ground floor north entrance |
| 2014 | N/U |
| 2015 | N/U |
| 2016 | N/U |

Node 3 is located

| 2017 | Finance Alarm |
| --- | --- |
| 2018 | Room K027A |
| 2019 | N/U |
| 2020 | N/U |
| 2021 | N/U |
| 2022 | Bookshop |
| 2023 | N/U |
| 2024 | N/U |

Node 4 is located south end ground floor corridor

| 2025 | Room K005 |
| --- | --- |
| 2026 | Room K006 |
| 2027 | Room K009 |
| 2028 | Room K023 |
| 2029 | Room K024 |
| 2030 | N/U |
| 2031 | N/U |
| 2032 | N/U |

Node 5 is located in 1st floor electrical cupboard

| 2033 | D/T Library |
| --- | --- |
| 2034 | First floor landing south |
| 2035 | Second floor landing south |
| 2036 | First floor landing north |
| 2037 | Room K104 |
| 2038 | N/U |
| 2039 | N/U |
| 2040 | N/U |

Node 6 is located in 2nd Floor Electrical Cupboard

| 2041 | Third floor landing south |
| --- | --- |
| 2042 | First floor corridor |
| 2043 | Second floor corridor |
| 2044 | Second floor landing north |
| 2045 | N/U |
| 2046 | N/U |
| 2047 | N/U |
| 2048 | N/U |

Node 7 is located 3rd Floor Electrical Cupboard

| 2049 | Fourth floor landing south |
| --- | --- |
| 2050 | Fourth floor corridor |
| 2051 | Fourth floor landing north |
| 2052 | Third floor corridor |
| 2053 | Third floor north end above ceiling (Photocopier) |
| 2054 | N/U |
| 2055 | N/U |
| 2056 | N/U |

Node 8 is located in Library

| 2057 | Library front left (above counter) |
| --- | --- |
| 5058 | Library front left |
| 2059 | Library front centre below skylight |
| 2060 | Room 103 |
| 2061 | N/U |
| 2062 | N/U |
| 2063 | N/U |
| 2064 | N/U |

Node 9 is located in Library (rear)

| 2065 | Rear left of library above fire exit |
| --- | --- |
| 2066 | Rear left of library above office door |
| 2067 | Centre of library (below skylight) |
| 2068 | N/U |
| 2069 | N/U |
| 2070 | N/U |
| 2071 | N/U |
| 2072 | N/U |

Node 1 is located above Main Reception

| 3001 | D/T main reception |
| --- | --- |
| 3002 | Main hall front left corner |
| 3003 | Main hall front right corner |
| 3004 | Sports hall front left |
| 3005 | Reception desk PA |
| 3006 |  |
| 3007 |  |
| 3008 |  |

Node 2 is located in old staff dining area

| 3009 | Sports hall rear right |
| --- | --- |
| 3010 | Old catering managers office |
| 3011 | Kitchen area (old) |
| 3012 | Node 2 PSU Tamper (located in old staff dining) |
| 3013 | Old kitchen door |
| 3014 |  |
| 3015 |  |
| 3016 |  |

| 4001 | Digital Multiplexer unit one failure |
| --- | --- |
| 4002 | Digital Multiplexer unit two failure |
| 4003 | Digital Multiplexer unit three failure |

Node 1 is located above CCTV rack in security

Hospitality Building

| 01 | Entrance Doors |
| --- | --- |
| 02 | Stairwell West |
| 17 | Bistro |
| 18 | 2nd floor landing |
| 19 | 2nd floor corridor |
| 20 | 1st floor corridor |
| 25 | Training restaurant – Middle |
| 26 | Training restaurant – Front |
| 27 | Brewery |
| 28 | Brewery store |
| 33 | Back doors – ADJ Lift |
| 34 | Kitchen |
| 35 | Detector – ADJ Lift |
| 36 | Basement doors |
| 37 | Training restaurant – Rear |

INFINITE EXIT TIME       45S ENTRY TIME