Questions from potential building contractors for the tender of Trewoon village hall extension.

10/09/2024

- Is the hot and cold water on a thermostat?

No, we require an instantaneous point of use.

- What heaters do we want in the extension?

Electric panel heaters

- What is the current heating in the hall?

Electric

- Where do we want sockets?

four in each room, two in the corridors, one in each store