## Index
CONTRACT NO - 710996450 - COUNTER INSURGENCY TERRORIST STABILIZATION OPERATIONS (CITSO), KENYA
SCHEDULE OF PRICING
ITEM No | DESCRIPTION | TAB
1 | Works Services - Headquarters | 2
2 | Works Services - Medical Centre | 3
3 | Preliminaries and Overhead & Profit (OH&P) | 4
4 | Fixed Price Offer | 5
5 | Milestone Payment Schedule (MPS) | 6
6 | Milestone Payment Schedule (MPS) Build Up | 7

## Works Services - HQ
Contract No: 710996450 - Counter Insurgency Terrorist Stabilzation Operation (CITSO), Kenya
NRM 1 Elemental Scope of Works - HQ Building Enabling Works
Item |  |  | Description
NRM REF SUB ELEMENT LEVEL
|  |  |  | Quantity | Unit | Rate (GBP £) | Total (GBP £)
Group element 8: External works
Element 8.1: Site preparation works
Site clearance generally
8 | 1 | 1 | Site clearance; clearing vegetation; incl disposal of arisings | 18022 | m2
8 | 1 | 1 | Site clearance; taking down trees and stumps; species to be confirmed; 100-350mm width; felling methodology to be agreed with KFS; felled trees to be delivered to KFS station | 2880 | nr
Element 8.1.2 : Site clearance total
Excavating topsoil
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; removal of topsoil; assume average depth 150mm; retain material and stockpile separately when required for reuse | 18022 | m2
Excavated material / cut and fill
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; excavation / cut and fill from reduced level (150mm below existing); bulk excavation to reduce levels; retain excavated material onsite | 5238 | m3
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; retaining excavated material onsite as stated in the specification; all excavated material suitable for filling above ground | 4397 | m3
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; dispose of excavated material offsite as stated in the specification; all excavated material unsuitable for filling above ground | 841 | m3
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; compaction across site level change | 17931 | m2
Excavating swales
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; E/O excavation for proposed swales; average trench of 400mm |  | item
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; retaining excavated material onsite; all other excavated material; to temporary spoil heaps; average 25m distance |  | item
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; compacting bottoms of proposed swales | 91 | m2
Removal of existing water pipe
8 | 1 | 2 | Preparatory groundworks; grubbing up old water main pipelines following connection into diverted pipe; depth, material and diameter to be confirmed on site by the contractor | 156 | m
Element 8.1.2 : Preparatory groundworks total
Element 8.2: Roads, paths, pavings and surfacings
|  |  | Any roads, paths, pavings and surfacing items / costs in accordance with the tender documentation not included above. |  | item
Element 8.3: Soft landscaping, planting and irrigation systems
8 | 3 | 1 | Seeding and turfing; grassed areas; swale bank surface treatment; consolidate top soil from spoil heaps; 150mm thick by machine; grass seeding surface treatment | 6493 | m2
Element 8.3.1 : Seeding and turfing total
Element 8.4: Fencing, railings and walls
|  |  | Any fencing, railings and wall items / costs in accordance with the tender documentation not included above. |  | item
Element 8.5: External fixtures
|  |  | Any external fixtures items / costs in accordance with the tender documentation not included above. |  | item
Element 8.6: External drainage
Culverts
8 | 6 | 1 | Surface water and foul water drainage; culverts; excavation of trench 750mm depth | 134 | m3
8 | 6 | 1 | Surface water and foul water drainage; culverts; retaining excavated material onsite; all other excavated material; to temporary spoil heaps; average 25m distance | 134 | m3
8 | 6 | 1 | Surface water and foul water drainage; culverts; compacting bottoms of proposed culverts | 179 | m2
8 | 6 | 1 | Surface water and foul water drainage; supply and install circular pre-cast concrete drainage culverts 450mm diameter; incl haunching and bedding;100mm compacted gravel bed, 150mm C20 concrete surround | 85 | m
Swale connection / ditched bank
8 | 6 | 1 | Surface water and foul water drainage; rock protection to swale/culvert connection; incl excavation of trench 1000mm depth | 102 | m3
8 | 6 | 1 | Surface water and foul water drainage; rock protection to swale/culvert connection; retaining excavated material onsite; all other excavated material; to temporary spoil heaps; average 25m distance | 102 | m3
8 | 6 | 1 | Surface water and foul water drainage; rock protection to swale/culvert; compacting bottoms | 102 | m2
8 | 6 | 1 | Surface water and foul water drainage; horiztonal work; 300mm thick plain insitu C20 concrete w/ one layer of A142 mesh | 31 | m3
8 | 6 | 1 | Surface water and foul water drainage; rock protection to swale/culvert; filling to make up levels; 100mm thick compacted gravel bed; type 1 | 11 | m3
8 | 6 | 1 | Surface water and foul water drainage; scour/rock protection to swale/culvert connection; average thickness over 50mm not exceeding 500mm angular rocks embedded to top surface of concrete | 51 | m3
Drainage access tie in
8 | 6 | 1 | Surface water and foul water drainage; connection / access tie into statutory undertakers sewer infrastructure; interface to be confirmed with KDF; provisional sum | 1 | item
Element 8.6.1 : Surface water and foul water drainage total
Element 8.7: External services
8 | 7 | 1 | Water mains supply; service runs; DN180 SDR11 PE100 water main pipe and air valve installation; tie in methodology to be confirmed by contractor; incl excavation, pipelines, fittings and backfill; trench width 600mm | 155 | m
8 | 7 | 1 | Water mains supply; 180 x 90 SDR11 reducing tee | 1 | item
8 | 7 | 1 | Water mains supply; air valve installation to water mains pipe high point; incl precast concrete slabs and air valve indicator post | 1 | item
8 | 7 | 1 | Water mains supply; service runs; assumed 90mm dia water main pipe to be reinstalled with 900mm cover below proposed access road levels; methodology to be confirmed by contractor; incl excavation, pipelines, fittings and backfill; to be agreed with KDF | 147 | m
Element 8.7.1 : External services total
Element 8.8: Minor building works and ancillary buildings
Generator concrete slab
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; excavate concrete generator slab 600mm depth | 10.8 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; retaining excavated material onsite; all other excavated material; to temporary spoil heaps; average 25m distance | 10.8 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; compacting bottoms | 18 | m2
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; imported filling 300mm thick compacted engineered fill; details TBC pending GI results | 5.4 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; 50mm thick C16/20 concrete blinding | 0.9 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; horizontal work; 300mm thick; C30/37 w/ 1 layer of A393 mesh top and bottom; incl chamfer finish | 5.4 | m3
Feeder pillar service ducts and manhole
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; excavate for proposed electric manhole cover | 7.3 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; disposal of arisings offsite; assume inert | 7.3 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; compacting bottoms | 4.8 | m2
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; 50mm thick C16/20 concrete blinding | 0.05 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; horizontal work; 200mm thick C30/37 w/ 1 layer A393 mesh | 0.2 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; vertical work; concrete upstand; 200mm thick C30/C37 w/ 1 layer A393 mesh | 0.96 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; formwork plain vertical, 18mm thick plywood basic finish; height exceeding 1m | 9.6 | m2
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; 150mm diameter cable duct; incl radius bends | 14.4 | m
8 | 8 | 2 | Ancillary building and structures; minor ancillary buildings built onsite; 600mm x 600mm access cover and frame | 1 | nr
Element 8.8.2 : Ancillary buildings and structures total
Total of Group Element 8 - External Works
|  |  | Contractors can use this section below as an opportunity to include any other items in accordance with the tender documentation not included above in this pricing document. Where possible the contractors should allocate items in accordance with the NRM headings / elements. |  | item
Element Sub-Total, Further Items Required Total
|  |  | Building Works Estimate |  |  |  | 0

## Works Services - MC
Contract No: 710996450 - Counter Insurgency Terrorist Stabilzation Operation (CITSO), Kenya
NRM 1 Elemental Scope of Works - Medical Centre Enabling Works
Item |  |  | Description
NRM REF SUB ELEMENT LEVEL
|  |  |  | Quantity | Unit | Rate (GBP £) | Total (GBP £)
Group element 8: External works
Element 8.1: Site preparation works
Site clearance generally
8 | 1 | 1 | Site clearance; clearing vegetation; incl disposal of arisings | 11885 | m2
8 | 1 | 1 | Site clearance; taking down trees and stumps; species to be confirmed; 100-350mm width; felling methodology to be agreed with KFS; felled trees to be delivered to KFS station; pro-rata'd allowance of site area | 1920 | nr
Element 8.1.2 : Site clearance total
Excavating topsoil
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; removal of topsoil; assume average depth 150mm; retain material and stockpile separately when required for reuse | 11885 | m2
Excavated material / cut and fill
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; excavation / cut and fill from reduced level (150mm below existing); bulk excavation to reduce levels; retain excavated material onsite | 8778 | m3
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; retaining excavated material onsite as stated in the specification; all excavated material suitable for filling above ground | 7368 | m3
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; dispose of excavated material offsite as stated in the specification; all excavated material unsuitable for filling above ground | 1410 | m3
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; compaction across site level change | 11825 | m2
Excavating swales
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; excavation for proposed swales; average trench of 400mm |  | item
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; all other excavated material; to temporary spoil heaps; average 25m distance |  | item
8 | 1 | 2 | Preparatory groundworks; forming new site contours and adjusting existing site levels; compacting bottoms of proposed swales | 60 | m2
Element 8.1.2 : Preparatory groundworks total
Element 8.2: Roads, paths, pavings and surfacings
|  |  | Any other roads, paths, pavings and surfacing items / costs in accordance with the tender documentation not included above. |  | item
Element 8.3: Soft landscaping, planting and irrigation systems
8 | 3 | 1 | Seeding and turfing; grassed areas; swale bank surface treatment; consolidate top soil from spoil heaps; 150mm thick by machine; grass seeding surface treatment | 3956 | m2
Element 8.3.1 : Seeding and turfing total
Element 8.4: Fencing, railings and walls
|  |  | Any fencing, railings and wall items / costs in accordance with the tender documentation not included above. |  | item
Element 8.5: External fixtures
|  |  | Any external fixtures items / costs in accordance with the tender documentation not included above. |  | item
Element 8.6: External drainage
Culverts
8 | 6 | 1 | Surface water and foul water drainage; culverts; excavation of trench 750mm depth | 73 | m3
8 | 6 | 1 | Surface water and foul water drainage; culverts; disposal of arisings offsite; assume inert | 73 | m3
8 | 6 | 1 | Surface water and foul water drainage; culverts; compacting bottoms of proposed culverts | 97 | m2
8 | 6 | 1 | Surface water and foul water drainage; supply and install circular pre-cast concrete drainage culverts 450mm diameter; incl haunching and bedding;100mm compacted gravel bed, 150mm C20 concrete surround | 46 | m
Swale connection / ditched bank
8 | 6 | 1 | Surface water and foul water drainage; rock protection to swale/culvert connection; incl excavation of trench 1000mm depth | 31 | m3
8 | 6 | 1 | Surface water and foul water drainage; rock protection to swale/culvert connection; disposal of arisings offsite; assume inert | 31 | m3
8 | 6 | 1 | Surface water and foul water drainage; rock protection to swale/culvert; compacting bottoms | 31 | m2
8 | 6 | 1 | Surface water and foul water drainage; horiztonal work; 300mm thick plain insitu C20 concrete w/ one layer of A142 mesh | 10 | m3
8 | 6 | 1 | Surface water and foul water drainage; rock protection to swale/culvert; filling to make up levels; 100mm thick compacted gravel bed; type 1 | 3 | m3
8 | 6 | 1 | Surface water and foul water drainage; scour/rock protection to swale/culvert connection; average thickness over 50mm not exceeding 500mm angular rocks embedded to top surface of concrete | 16 | m3
Drainage access tie in
8 | 6 | 1 | Surface water and foul water drainage; connection / access tie into statutory undertakers sewer infrastructure; interface to be confirmed with KDF; provisional sum | 1 | item
Element 8.6.1 : Surface water and foul water drainage total
Element 8.7: External services
8 | 7 | 1 | Water mains supply; service runs; assumed 63mm dia water main pipe to be removed or diverted if this pipe is still present on site at commencement of the works; methodology to be agreed between the contractor and KDF; ;incl excavation, pipelines, fittings and backfill; provisional sum | 88 | m
Element 8.7.1 : External services total
Element 8.8: Minor building works and ancillary buildings
Generator concrete slab
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; excavate concrete generator slab 600mm depth | 10.8 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; disposal of arisings offsite; assume inert | 10.8 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; compacting bottoms | 18 | m2
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; imported filling 300mm thick compacted engineered fill; details TBC pending GI results | 5.4 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; 50mm thick C16/20 concrete blinding | 0.9 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; horizontal work; 300mm thick; C30/37 w/ 1 layer of A393 mesh top and bottom; incl chamfer finish | 5.4 | m3
Feeder pillar service ducts and manhole
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; excavate for proposed electric manhole cover | 7.3 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; disposal of arisings offsite; assume inert | 7.3 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; compacting bottoms | 4.8 | m2
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; 50mm thick C16/20 concrete blinding | 0.05 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; horizontal work; 200mm thick C30/37 w/ 1 layer A393 mesh | 0.2 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; vertical work; concrete upstand; 200mm thick C30/C37 w/ 1 layer A393 mesh | 0.96 | m3
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; formwork plain vertical, 18mm thick plywood basic finish; height exceeding 1m | 9.6 | m2
8 | 8 | 2 | Ancillary buildings and structures; minor ancillary buildings built onsite; 150mm diameter cable duct; incl radius bends | 14.4 | m
8 | 8 | 2 | Ancillary building and structures; minor ancillary buildings built onsite; 600mm x 600mm access cover and frame | 1 | nr
Element 8.6.1 : Ancillary buildings and structures total
Total of Group Element 8 - External Works
|  |  | Contractors can use this section below as an opportunity to include any other items in accordance with the tender documentation not included above in this pricing document. Where possible the contractors should allocate items in accordance with the NRM headings / elements. |  | item
Element Sub-Total, Further Items Required Total
|  |  | Building Works Estimate |  |  |  | 0

## Preliminaries - OH&P
Contract No: 710996450 - Counter Insurgency Terrorist Stabilization Operation (CITSO0, Kenya
PRELIMINARIES AND OH&P PRICING
Item |  |  |  | Description
NRM REF SUB ELEMENT LEVEL
[5 empty] | Quantity | Unit | Rate (GBP £) | Work Related (GBP £) | Time Related (GBP £) | Total (GBP £) | Pre-Con Time Related
Group element 9: Main contractor's preliminaries
Element 9.1: Employer's requirments
SITE ACCOMMODATION
Site accommodation
9 | 1 | 1 | 1 | Site accommodation for the employer and employer representatives only, separate from the main contractor's site accommodation; 10m x 3.5m site lockable office complete with full electric provision and air conditioning; incl temporary services | 1 | item
9 | 1 | 1 | 1 | Site accommodation for the employer and employer representatives only, separate from the main contractor's site accommodation; a suitably equipped meeting room for up to 12 people with a large meeting room table, chairs, electric lighting and heating/cooling for meetings on site with the employer and employer representatives. The room should include as a minimum: - AV presentation equipment; wall mounted screen at least (1217mm wide x 686 high, HDMI connectivity), video conferencing facilities, high speed Wi-Fi connection and a flip chart board with pens and paper. | 1 | item
9 | 1 | 1 | 1 | Site toilet for employer and employer representatives only, separate from the main contractor's site accommodation; 3m x 3m site toilet w/ 2nr urinals and 2nr WC closets; incl running water, water heater, electric lighting, sanitary supplies including supply of soap, bleach, hand towels, toilet paper. These supplies must be monitored and refilled daily. | 1 | item
Furniture and equipment
9 | 1 | 1 | 2 | Furniture and equipment for the employer and employer representatives, separate from the main contractor's site accommodation; desks; 1200mm wide, 800mm deep, 730mm high; table top power 4 double switched socket outlets per desk | 6 | nr
9 | 1 | 1 | 2 | Furniture and equipment for the employer and employer representatives, separate from the main contractor's site accommodation; chairs; ergonomic task chair w/ adjustability of seat height, seat depth, articulating arms, seatpan tilt, lumbar support | 6 | nr
9 | 1 | 1 | 2 | Furniture and equipment for the employer and employer representatives, separate from the main contractor's site accommodation; horizontal mounted magnetic white marker board 8 x 4ft size (2438mmx1219mm); incl erasers, magnets, marker caddy | 1 | nr
9 | 1 | 1 | 2 | Furniture and equipment for the employer and employer representatives, separate from the main contractor's site accommodation; PPE locker; size 90wx30dx180h (cm); 6 compartments | 1 | item
9 | 1 | 1 | 2 | Furniture and equipment for the employer and employer representatives, separate from the main contractor's site accommodation; lockable storage cabinet; size; 800mm wide x400mm deep x1800mm high | 1 | item
9 | 1 | 1 | 2 | Furniture and equipment for the employer and employer representatives, separate from the main contractor's site accommodation; standard wall clock | 1 | nr
9 | 1 | 1 | 2 | Furniture and equipment for the employer and employer representatives, separate from the main contractor's site accommodation; water cooler; floor standing chilled water dispenser incl disposable cups, all cups to be kept refilled with potable water at all times | 1 | nr
9 | 1 | 1 | 2 | Furniture and equipment for the employer and employer representatives, separate from the main contractor's site accommodation; refrigerator; minimum 850mm wide x 650mm deep x 600mm high (100Litres to 120Litres capacity) | 1 | nr
9 | 1 | 1 | 2 | Furniture and equipment for the employer and employer representatives, separate from the main contractor's site accommodation; microwave; 20L microwave oven | 1 | nr
9 | 1 | 1 | 2 | Furniture and equipment for the employer and employer representatives, separate from the main contractor's site accommodation; waster paper bin | 1 | nr
9 | 1 | 1 | 2 | Furniture and equipment for the employer and employer representatives, separate from the main contractor's site accommodation; electric paper shredder, suitable for A3 and A4 sized paper | 1 | nr
9 | 1 | 1 | 2 | Furniture and equipment for the employer and employer representatives, separate from the main contractor's site accommodation; printer / scanner / photocopier; colour multi-function device (A3 and A4) | 1 | nr
9 | 1 | 1 | 2 | Furniture and equipment for the employer and employer representatives, separate from the main contractor's site accommodation; kettle; 3 litre electric kettle | 2 | nr
9 | 1 | 1 | 2 | Furniture and equipment for the employer and employer representatives, separate from the main contractor's site accommodation; equipment; crockery, ceramic plates, ceramic mugs, stainless steel knives, stainless steel forks, stainless steel spoons 6nr of each item required | 6 | nr
9 | 1 | 1 | 2 | Consumables; consistent supply of tea bags, coffee, fresh milk and sugar / sweetners, must be kept refilled at all times | 1 | item
Telecommunications and IT systems
9 | 1 | 1 | 3 | Telecommunication and IT systems for the employer and employer representatives, separate from the main contractor's site accommodation; Tesla Starlink internet or equal and approved high speed satelite internet | 1 | item
9 | 1 | 1 | 3 | Telecommunication and IT systems for the employer and employer representatives, separate from the main contractor's site accommodation; desk monitor; 24" 1080p monitor with stand, HDMI port | 6 | nr
9 | 1 | 1 | 3 | Telecommunication and IT systems for the employer and employer representatives, separate from the main contractor's site accommodation; wall monitor; minimum 1217mm wide x 686mm high, wall mounted, HDMI connectivity | 1 | nr
SITE RECORDS
Site records
9 | 1 | 2 | 1 | Operation and maintenance manuals (paper and electronic copies on CD Rom/DVD/USB). | 1 | item
9 | 1 | 2 | 1 | Compilation of health and safety file (if required by main contractor – paper and electronic copies on CD Rom/DVD/USB)). | 1 | item
9 | 1 | 2 | 1 | Web-based documentation project management systems for the collation, review and delivery of critical operation and maintenance requirements; commissioning; asset; and other facilities management-related information, and health and safety file: – Programme software and installation – Hardware (e.g. computers. Monitors, printers, etc) | 0 | nr
9 | 1 | 2 | 1 | – Uploading data and initial implementation and training of building management team by system provider | 0 | item
9 | 1 | 2 | 1 | Construction drawings; A1 hard copy of all construction drawings and project programme | 1 | item
COMPLETION AND POST-COMPLATION REQUIREMENTS
Training
9 | 1 | 3 | 1 | Training of building user’s staff in the operation and maintenance of the building engineering services systems. | 1 | item
Spare Parts and Consumables
9 | 1 | 3 | 2 | Provision of spare parts for maintenance of building engineering services. | 0 | item
Tools
9 | 1 | 3 | 3 | Provision of tools and portable indicating instruments for the operation and maintenance of building engineering services systems. | 0 | item
Operation and maintenance services
9 | 1 | 3 | 4 | Operation and maintenance of building engineering services installations, mechanical plant and equipment and the like during the defects liability period, period for rectifying defects, maintenance period or other specified period (i.e. additional services to that normally required by the contract). | 0 | per week
Element 9.2: Main contractor's cost items
MANAGEMENT AND STAFF
Main contractor's project-specific management and staff
Pre-Construction Period
9 | 2 | 1 | 1 | Design Manager | 8 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | M&E Manager | 8 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Construction Director | 8 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Project Manager | 8 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Health and Safety Manager | 8 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Construction Manager | 8 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Quantity Surveyor | 8 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Project Planner | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Office Manager | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Document Controller | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Quality Management Systems Manager | 8 | per week (number of staff by number of man hours per week by number of weeks)
Enabling Works Construction Period for Headquarters Building and Medical Centre
9 | 2 | 1 | 1 | Design Manager | 17 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | M&E Manager |  | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Construction Director | 17 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Project Manager | 17 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Site Manager | 17 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Site Manager | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Assistant Site Manager | 17 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Assistant Site Manager | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Logistics Manager | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Quantity Surveyor | 17 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Senior Planner | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Site Clerical | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Document Controller | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Quality Management Systems Manager | 17 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Supervisors, including works/trade package managers, building services engineering managers/co-ordinators and off-site production managers. | 17 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Health and safety manager/officers. | 17 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Quality manager. | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Commissioning manager – building engineering services. | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Planning/programming manager and staff. | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Procurement manager. | 17 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Project engineers. | 17 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Temporary works design engineers. | 17 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Materials management staff (e.g. storeman). | 17 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Administrative staff, including secretary, document controllers, finance clerks and the like. | 17 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Other management and staff. | 0 | per week (number of staff by number of man hours per week by number of weeks)
Main Works Construction Period for Headquarters Building and Medical Centre
9 | 2 | 1 | 1 | Design Manager | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | M&E Manager | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Construction Director | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Project Manager | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Site Manager | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Site Manager | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Assistant Site Manager | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Assistant Site Manager | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Logistics Manager | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Quantity Surveyor | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Senior Planner | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Site Clerical | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Document Controller | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Quality Management Systems Manager | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Supervisors, including works/trade package managers, building services engineering managers/co-ordinators and off-site production managers. | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Health and safety manager/officers. | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Quality manager. | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Commissioning manager – building engineering services. | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Planning/programming manager and staff. | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Procurement manager. | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Project engineers. | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Temporary works design engineers. | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Materials management staff (e.g. storeman). | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Administrative staff, including secretary, document controllers, finance clerks and the like. | 43 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 1 | 1 | Other management and staff. | 0 | per week (number of staff by number of man hours per week by number of weeks)
SITE ESTABLISHMENT (for Enabling Works and Main Construction works)
Site accommodation
9 | 2 | 2 | 1 | Main contractor’s and common user temporary site accommodation such as: – offices – conference/meeting rooms – canteens and kitchens, no open fires permitted – drying rooms – toilets and washrooms – first aid room – laboratories – workshops – secure stores – compounds, including containers for material storage – security control room – stairs and office staging – Employer’s accommodation, where an integral part of the main contractor’s site accommodation. Type and extent of accommodation to be provided to be stated, with each type separately quantified: Purchase charges. | 1 | nr
9 | 2 | 2 | 1 | Site accommodation for the main contractor; a suitably equipped meeting room for up to 12 people with a large meeting room table, chairs, electric lighting and heating/cooling for meetings on site with the employer and employer representatives. The room should include as a minimum: - AV presentation equipment; wall mounted screen at least (1217mm wide x 686 high, HDMI connectivity), video conferencing facilities, high speed Wi-Fi connection and a flip chart board with pens and paper. | 1 | nr
9 | 2 | 2 | 1 | Delivery or construction of temporary site accommodation to site, erection, construction and removal. | 1 | item
9 | 2 | 2 | 1 | Removal or demolition of site accommodation and temporary works in connection with site accommodation. | 1 | item
Temporary works in connection with site establishment
9 | 2 | 2 | 2 | Temporary bases and foundations for site accommodation, including maintenance, removal and reinstatement of all disturbed existing surfaces on completion of the works. | 0 | Item
9 | 2 | 2 | 2 | Connections to temporary service, including maintenance, removal and reinstatement of all disturbed existing surfaces on completion of the works. | 0 | nr
9 | 2 | 2 | 2 | Connections to temporary drainage including maintenance, removal and reinstatement of all disturbed existing surfaces on completion of the works. | 0 | nr
9 | 2 | 2 | 2 | Temporary site roads, paths and pavings (including on-site car parking), including maintenance, removal and reinstatement of all disturbed existing surfaces on completion of the works. | 0 | m2
9 | 2 | 2 | 2 | Temporary surface water drainage to temporary site roads, paths and pavements, including maintenance, removal and reinstatement of all disturbed existing surfaces on completion of the works. | 0 | m
Furniture and equipment
9 | 2 | 2 | 3 | Workstations for staff, including maintenance. | 0 | Qty x nr weeks
9 | 2 | 2 | 3 | General office furniture, including maintenance. | 1 | item
9 | 2 | 2 | 3 | Conference/meeting room furniture, including maintenance. | 1 | item
9 | 2 | 2 | 3 | Photocopiers, including purchase/rental, maintenance and other running costs. | 1 | nr
9 | 2 | 2 | 3 | Canteen furniture, including maintenance. | 1 | item
9 | 2 | 2 | 3 | Canteen equipment, including purchase/rental, maintenance and other running costs. | 1 | item
9 | 2 | 2 | 3 | Floor coverings, including maintenance. | 0 | item
9 | 2 | 2 | 3 | Water dispensers, including purchase/rental, maintenance and other running costs. (Soap Dispenser & Hand Dryers) | 240 | Qty x nr weeks
9 | 2 | 2 | 3 | Heaters, including maintenance of heaters. | 240 | Qty x nr weeks
9 | 2 | 2 | 3 | Other office equipment, including maintenance. | 0 | item
9 | 2 | 2 | 3 | Removal of furniture and equipment. | 1 | item
9 | 2 | 2 | 3 | Maintenance furniture and floor covering. | 0 | item
IT systems
9 | 2 | 2 | 4 | Computer hardware, including purchase/rental, installation, initial set up, maintenance and running costs, such as: – desktop computers and laptop computers – CAD stations – server and network equipment – printers and plotters – other computer system hardware. | 14 | Months
9 | 2 | 2 | 4 | IT Set up charge | 0 | item
9 | 2 | 2 | 4 | Software and software licences. | 0 | per person (nr)
9 | 2 | 2 | 4 | Modem lines, modems and connections (i.e. email and internet capability). | 0 | per person (nr)
9 | 2 | 2 | 4 | WAN lines and connections (if on WAN). | 0 | per person (nr)
9 | 2 | 2 | 4 | Line rental charges. | 0 | Users x nr of Months
9 | 2 | 2 | 4 | Internet/website addresses. | 0 | per person (nr)
9 | 2 | 2 | 4 | Internet service provider (ISP) charges. | 0 | per person (nr)
9 | 2 | 2 | 4 | Line calls charges. | 0 | per week (number of staff by number of weeks)
9 | 2 | 2 | 4 | IT support and maintenance. | 0 | per person (nr)
Consumables and services
9 | 2 | 2 | 5 | Stationery. | 60 | per week
9 | 2 | 2 | 5 | Computer and printer consumables (e.g. ink cartridges). | 140 | Users x nr of Months
9 | 2 | 2 | 5 | Postage. | 0 | per week
9 | 2 | 2 | 5 | Courier charges. | 0 | per week
9 | 2 | 2 | 5 | Tea, coffee, water bottles and the like. | 60 | per week
9 | 2 | 2 | 5 | First aid consumables. | 60 | per week
9 | 2 | 2 | 5 | Photocopier consumables (e.g. paper and toners). | 60 | per week
9 | 2 | 2 | 5 | Drawing printer consumables (e.g. ink cartridges). | 60 | per week
9 | 2 | 2 | 6 | Brought in services
9 | 2 | 2 | 6 | Services outsourced by the main contractor such as: Catering. | 0 | per week
9 | 2 | 2 | 6 | Equipment maintenance. | 0 | per week
9 | 2 | 2 | 6 | Document management, including electronic data management systems (EDMS). | 0 | per week
9 | 2 | 2 | 6 | Printing (purchasing), including reports and drawings. | 0 | per week
9 | 2 | 2 | 6 | Staff transport. | 60 | per week
9 | 2 | 2 | 6 | Off-site parking charges. | 0 | per week
9 | 2 | 2 | 6 | Meeting room facilities. | 60 | per week
9 | 2 | 2 | 6 | Photographic services. | 0 | Months
Sundries
9 | 2 | 2 | 7 | Main contractor’s signboards. | 1 | item
9 | 2 | 2 | 7 | Safety and information notice boards. | 1 | item
9 | 2 | 2 | 7 | Fire points. | 1 | item
9 | 2 | 2 | 7 | Shelters. | 0 | item
9 | 2 | 2 | 7 | Tool stores. | 0 | item
9 | 2 | 2 | 7 | Employer’s composite signboards. | 1 | item
TEMPORARY SERVICES
Temporary water supply
9 | 2 | 3 | 1 | Temporary connections. | 1 | nr
9 | 2 | 3 | 1 | Distribution equipment, installation and adaptations. | 0 | item
9 | 2 | 3 | 1 | Meter charges. | 60 | per week
Temporary gas supply
9 | 2 | 3 | 2 | Gas connection. | 0 | nr
9 | 2 | 3 | 2 | Distribution equipment, installation and adaptations. | 0 | item
9 | 2 | 3 | 2 | Charges. | 0 | per week
9 | 2 | 3 | 2 | Bottled gas. | 60 | per week
Temporary electricity supply
9 | 2 | 3 | 3 | Temporary connections. (Power, water, SW drainage) | 1 | nr
9 | 2 | 3 | 3 | Temporary electrical supply for tower cranes. | 0 | item
9 | 2 | 3 | 3 | Charges – power consumption for site establishment. | 60 | per week
9 | 2 | 3 | 3 | Charges – power consumption for the works. | 60 | per week
9 | 2 | 3 | 3 | Distribution equipment, installation and adaptations. | 0 | item
9 | 2 | 3 | 3 | Attendance. | 0 | per week (number of man hours per week by number of weeks)
9 | 2 | 3 | 3 | Uninterrupted power supply (UPS). | 0 | item
9 | 2 | 3 | 3 | Temporary substation modifications. | 0 | item
Temporary telecommunication systems
9 | 2 | 3 | 4 | Landlines (including connection and rental charges), including: – telephone and fax lines – ISDN lines. | 0 | per week
9 | 2 | 3 | 4 | Telephone and facsimile equipment (including connection and rental charges), including: – PABX equipment – handsets, including purchase or rental – fax machines, including purchase or rental – installation of equipment – maintenance of equipment. | 0 | per week
9 | 2 | 3 | 4 | Mobile (cellular) phones, including: – mobile phones, including purchase or rental and connection charges – spare batteries – mobile phone charges. | 0 | per week
9 | 2 | 3 | 4 | Telephone charges, including: – telephone call charges – fax charges – fax and telephone consumables. | 0 | per week
9 | 2 | 3 | 4 | Radios (including purchase or rental charges), including: – base set – handsets and chargers – repairs and maintenance – licences – spare batteries. | 60 | per week
Temporary drainage
9 | 2 | 3 | 5 | Temporary mains. | 0 | nr
9 | 2 | 3 | 5 | Septic tanks. (Hire) | 3 | nr
9 | 2 | 3 | 5 | Septic tanks. (Empty) | 0 | nr
9 | 2 | 3 | 5 | On-site treatment plant. | 0 | nr
9 | 2 | 3 | 5 | Holding tanks. | 0 | nr
9 | 2 | 3 | 5 | Sewage pumping. | 0 | nr
9 | 2 | 3 | 5 | Distribution pipework, etc. | 0 | item
9 | 2 | 3 | 5 | Drainage installation and adaptations. | 0 | item
9 | 2 | 3 | 5 | Disposal charges (i.e. rates). | 0 | per week
9 | 2 | 3 | 5 | Disposal costs (i.e. tanker charges). | 0 | per week (number of collections per week by number of weeks)
SECURITY
Security staff
9 | 2 | 4 | 1 | Security guards (day and night). | 120 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 4 | 1 | Watchmen (day and night). | 120 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 4 | 2 | Security equipment
9 | 2 | 4 | 2 | Site pass issue equipment. | 0 | item
9 | 2 | 4 | 2 | Site pass consumables. | 0 | item
9 | 2 | 4 | 2 | CCTV surveillance installation, including cameras | 0 | item
9 | 2 | 4 | 2 | Temporary vehicle control barriers. | 0 | nr
Fencing, screens, hoardings and gates
9 | 2 | 4 | 3 | Perimeter hoardings and fencing and the like to site boundaries and to form site compounds. (Heras) | 999 | m
9 | 2 | 4 | 3 | Access gates, including frames and ironmongery. (Single) | 2 | nr
9 | 2 | 4 | 3 | Access gates, including frames and ironmongery. (Double) | 2 | nr
9 | 2 | 4 | 3 | Painting of hoardings, fencing, gates, and the like. | 0 | m
9 | 2 | 4 | 3 | Temporary doors. | 0 | nr
9 | 2 | 4 | 3 | Modification to line of hoarding and fencing during construction. | 0 | item
9 | 2 | 4 | 3 | Dismantling and removal of hoarding, fencing, gates, and the like. | 999 | m
9 | 2 | 4 | 3 | Pedestrian Barriers | 0 | m
9 | 2 | 4 | 3 | Protection of site against wildlife | 0 | item
SAFETY AND ENVIRONMENTAL PROTECTION
9 | 2 | 5 | 1 | Safety programme
9 | 2 | 5 | 1 | Works required to satisfy requirements of CDM Regulations. Health and safety manager/officers. | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 5 | 1 | Safety audits, including safety audits carried out by external consultant. | 2 | nr
9 | 2 | 5 | 1 | Staff safety training. | 2 | nr
9 | 2 | 5 | 1 | Site safety incentive scheme | 0 | item
9 | 2 | 5 | 1 | Notices and information to neighbours. | 1 | item
9 | 2 | 5 | 1 | Personal protective equipment (PPE), including for visitors, minimum eyes protection, safety boots (steel toe-caps boots), hi-vis vest, gloves, hard hat, 10 sets of each piece of equipment, boots size 4UK-11UK | 10 | per set (nr)
9 | 2 | 5 | 1 | Personal protective equipment (PPE) for multi-service gangs. | 20 | per set (nr)
9 | 2 | 5 | 1 | First-aid kits. The contractor provide the following as a minimum in the first aid kit and must ensure items are replaced promptly if used: - Tough cut scissors – strong enough to cut through clothes - A face shield to protect yourself when doing mouth to mouth resuscitation - Gloves – non sterile to protect you and sterile for treating someone with deep wounds or burns - Sterile medical wipes to clean a wound - Wound dressings of various sizes - Micropore tape to secure dressings and tape fingers and toes, also useful for labelling things - A couple of calico triangular bandages (ensure they are calico not a cheap version made of paper) these are some of the most useful things in your kit. Ideal, sterile, non-fluffy material to stop bleeding, can be used for slings and support bandages and far easier than a dressing to secure on head, knee and elbow wounds. - Eye dressings, can also be used as small dressings for babies and toddlers. - Sterile saline vial – for irrigating a wound, or washing grit from an eye - Crepe bandages – for supporting a sprain or strain - Plasters – for short term covering of a minor wound, (do not use for more than an hour or so as they cause wounds to become soggy). safety pins - Sterile eye pads - Burn gel or a burns dressing – to apply to a burn after cooling - Instant ice pack – at home you can use a bag of frozen peas – Ensure it is wrapped in a cloth as it can cause ice burns foil blanket to keep the casualty warm, crucially important in helping to prevent them going into shock. - Steri-strips, - Sterile tweezers | 2 | nr
9 | 2 | 5 | 1 | Fire points. | 2 | nr
9 | 2 | 5 | 1 | Temporary fire alarms. | 2 | nr
9 | 2 | 5 | 1 | Fire extinguishers. | 4 | nr
9 | 2 | 5 | 1 | Statutory safety signage. | 10 | item
9 | 2 | 5 | 1 | Traffic marshals. | 0 | per week (number of staff by number of man hours per week by number of weeks)
Barriers and safety scaffolding
9 | 2 | 5 | 2 | Guard rails and edge protection (e.g. to edges of suspended slabs and roofs), including supply, erection, maintenance and dismantling on completion of the works | 43 | per week/item
9 | 2 | 5 | 2 | Protection to holes and openings in ground floor slabs, suspended slabs and the like, including supply, erection, maintenance and dismantling on completion of the works | 43 | per week/item
9 | 2 | 5 | 2 | Debris netting/plastic sheeting, including supply, erection, maintenance and dismantling on completion of the works | 0 | per week/item
9 | 2 | 5 | 2 | Fan protection, including supply, erection, maintenance and dismantling on completion of the works | 0 | per week/item
9 | 2 | 5 | 2 | Scaffold inspections. | 129 | per week (number of inspections by number of weeks)
9 | 2 | 5 | 2 | Hoist run-offs, including supply, erection, maintenance and dismantling on completion of the works | 0 | per week/item
9 | 2 | 5 | 2 | Protective walkways, including supply, erection, maintenance and dismantling on completion of the works | 0 | per week/item
9 | 2 | 5 | 2 | Other safety measures, including supply, erection, maintenance and dismantling on completion of the works | 0 | per week/item
Environmental protection measures
9 | 2 | 5 | 3 | Control of pollution, burning of waste onsite is not permitted | 60 | per week/item
9 | 2 | 5 | 3 | Residual control of noise | 0 | per week/item
9 | 2 | 5 | 3 | Environmental monitoring | 0 | per week/item
9 | 2 | 5 | 3 | Environmental manager/consultant | 0 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 5 | 3 | Environmental audits, including safety audits carried out by external consultant | 0 | nr (number of occasions)
CONTROL AND PROTECTION
Surveys, inspections and monitoring
9 | 2 | 6 | 1 | Surveys - contractor to undertake utility surveys of the HQ and Medical Centre sites in advance of construction commencement - refer to Booklet 3 for further details. | 1 | item
9 | 2 | 6 | 1 | Non-employer dilapidation survey. | 0 | item
9 | 2 | 6 | 1 | Environmental surveys. | 0 | item
9 | 2 | 6 | 1 | Movement monitoring. | 0 | item
9 | 2 | 6 | 1 | Maintenance and inspection costs. | 0 | item
Setting out
9 | 2 | 6 | 2 | Setting out primary grids. | 1 | item
9 | 2 | 6 | 2 | Grid transfers and level checks. | 1 | item
9 | 2 | 6 | 2 | Maintenance of grids. | 0 | item
9 | 2 | 6 | 2 | Take over control and independent checks (i.e. on change of subcontractors). | 1 | item
9 | 2 | 6 | 2 | Instruments for setting out. | 0 | item
Protection of works
9 | 2 | 6 | 3 | Protection of finished works to project handover. | 1 | item
9 | 2 | 6 | 3 | Protection of stairs, balustrades and the like works to project handover. | 0 | item
9 | 2 | 6 | 3 | Protection of fittings and furnishings works to project handover. | 0 | item
9 | 2 | 6 | 3 | Protection of entrance doors and frames works to project handover. | 0 | item
9 | 2 | 6 | 3 | Protection of specifically vulnerable products to project handover. | 0 | item
9 | 2 | 6 | 3 | Protection of all sundry items. | 0 | item
Samples
9 | 2 | 6 | 4 | Provision of samples. | 1 | item
9 | 2 | 6 | 4 | Mock ups and sample panels. | 1 | item
9 | 2 | 6 | 4 | Testing of samples/mock ups, including testing fees. | 1 | item
Environmental control of building
9 | 2 | 6 | 5 | Dry out building. | 0 | item
9 | 2 | 6 | 5 | Temporary heating/cooling. | 0 | item
9 | 2 | 6 | 5 | Temporary waterproofing, including over roofs. | 0 | item
9 | 2 | 6 | 5 | Temporary enclosures. | 0 | item
MECHANICAL PLANT
General plant and equipment
9 | 2 | 7 | 1 | Common user mechanical plant and equipment used in construction operations.
Tower cranes
9 | 2 | 7 | 2 | Type of craneage to be provided shall be stated; with each type separately quantified. Hire charges (type of tower crane to be stated, including type and length of jib, and lifting capacity) | 0 | per week
9 | 2 | 7 | 2 | Crane operator. | 0 | per week (number of operators by number of man hours per week by number of weeks)
9 | 2 | 7 | 2 | Overtime for crane and operator. | 0 | per week (number of operators by number of man hours per week by number of weeks)
9 | 2 | 7 | 2 | Temporary bases and or ground anchors for tower cranes, including installation, maintenance, removal and reinstatement of all disturbed surfaces on completion of the works (size of base in m2 to be stated). | 0 | m2
9 | 2 | 7 | 2 | Ties | 0 | per week
9 | 2 | 7 | 2 | Connections to temporary electrical supply | 0 | nr
9 | 2 | 7 | 2 | Bring to site, erection, test and commission | 0 | nr
9 | 2 | 7 | 2 | Periodic safety checks/inspections | 0 | per week
9 | 2 | 7 | 2 | Dismantling and removing from site | 0 | nr
9 | 2 | 7 | 2 | Other costs specific to tower crane such as: – chain pack and sundries – relief operator – banksman – man cage | 0 | item
Mobile cranes
9 | 2 | 7 | 3 | Type of craneage to be provided shall be stated; with each type separately quantified: Mobile crane hire charges, including driver/operator charges (type of mobile crane to be stated) | 3 | per week (number of days hired per week by number of weeks)
9 | 2 | 7 | 3 | Attendance. | 0 | per week (number man hours per visit, or day hired, by number of days hired per week by number of weeks)
9 | 2 | 7 | 3 | Other costs specific to mobile crane hire. | 0 | nr (cost per visit )
Hoists
9 | 2 | 7 | 4 | Type of hoist to be provided shall be stated; with each type separately quantified: Goods and passenger hoists, including protection cages and embedment frames. | 0 | per week
9 | 2 | 7 | 4 | Hoist bases. | 0 | per week
9 | 2 | 7 | 4 | Bringing to site, erecting, testing and commissioning. | 0 | nr
9 | 2 | 7 | 4 | Dismantling and removing from site. | 0 | nr
9 | 2 | 7 | 4 | Protection systems. | 0 | per week
9 | 2 | 7 | 4 | Hoist operator, including overtime. | 0 | per week (number of operators by number of man hours per week by number of weeks)
9 | 2 | 7 | 4 | Beam hoists. | 0 | per week
9 | 2 | 7 | 4 | Periodic safety checks/inspections. | 0 | per week
9 | 2 | 7 | 4 | Other costs specific to temporary hoist installations. | 0 | per week
Access plant
9 | 2 | 7 | 5 | Fork lifts. | 0 | item
9 | 2 | 7 | 5 | Fork lifts (Delivery & Collection) | 0 | item
9 | 2 | 7 | 5 | Scissor lifts. | 0 | item
9 | 2 | 7 | 5 | Loading platforms. | 0 | item
9 | 2 | 7 | 5 | Maintenance of mechanical access equipment. | 0 | item
9 | 2 | 7 | 5 | Other costs specific to mechanical access equipment. | 0 | item
Concrete plant
9 | 2 | 7 | 6 | Concrete plant. | 0 | per week
9 | 2 | 7 | 6 | Plant operator. | 0 | per week
9 | 2 | 7 | 6 | Overtime for plant and operator. | 0 | per week (number of operators by number of man hours per week by number of weeks)
9 | 2 | 7 | 6 | Bases for concrete plant, including installation, maintenance, removal and reinstatement of disturbed surfaces on completion of the works (size in m2 to be stated). | 0 | nr
9 | 2 | 7 | 6 | Power connections, including cabling and statutory undertaker’s charges for temporary connection to their supply. | 0 | nr/per week
9 | 2 | 7 | 6 | Bringing concrete plant to site, erecting, testing and commissioning. | 0 | nr
9 | 2 | 7 | 6 | Maintenance of concrete plant. | 0 | per week
9 | 2 | 7 | 6 | Dismantling and removing from site. | 0 | item
Other plant
9 | 2 | 7 | 7 | Small plant and tools. | 0 | per week
TEMPORARY WORKS
Access scaffolding
9 | 2 | 8 | 1 | Common user access scaffolding (type of access scaffolding to be specified), material must be aluminum or steel: – access scaffolding to elevations and the like, including fans, mesh screens – structural scaffolding (e.g. to party walls) – birdcage scaffolding – cantilever access scaffolding – staircase platforms – primary loading platforms – travelling access platforms. Bringing to site, erecting and initial safety checks. | 1 | item
9 | 2 | 8 | 1 | Hire charges. | 0 | per week
9 | 2 | 8 | 1 | Altering and adapting during construction. | 1 | item
9 | 2 | 8 | 1 | Dismantling and removing from site. | 1 | item
Temporary works
9 | 2 | 8 | 2 | Common user temporary works: – support scaffolding and propping – crash decks – temporary protection to existing trees and/or vegetation – floodlights. Bringing to site, erecting and initial safety checks. | 0 | item
9 | 2 | 8 | 2 | Hire charges. | 0 | per week
9 | 2 | 8 | 2 | Altering and adapting during construction. | 0 | item
9 | 2 | 8 | 2 | Dismantling and removing from site. | 0 | item
SITE RECORDS
Site records
9 | 2 | 9 | 1 | Unless otherwise indicated, costs associated with the following shall be deemed to be included in management and staff costs: Photography: – consumables – printing and presentation | 1 | item
9 | 2 | 9 | 1 | Works records: – progress reporting – site setting out drawings – condition surveys and reports – operation and maintenance manuals – as-built/installed drawings and schedules – co-ordinating, gathering and compiling health and safety information and presentation to CDM co-ordinator – compilation of health and safety file (if required) | 1 | item
Web-based documentation management systems
9 | 2 | 9 | 2 | Electronic document/information management systems, including web-based platforms | 0 | months
COMPLETION AND POST COMPLETION REQUIREMENTS
Testing and commissioning plan
9 | 2 | 10 | 1 | Costs associated with the following shall be deemed to be included in sub-element 9.2.1: Management and staff costs: Preparation of Commissioning Plan. | 0 | item
Handover
9 | 2 | 10 | 2 | Unless otherwise indicated, costs associated with the following shall be deemed to be included in sub-element 9.2.1: Management and staff costs: Preparation of Handover Plan. | 0 | item
9 | 2 | 10 | 2 | Training of building user’s staff in the operation and maintenance of the building engineering services systems. | 1 | item
9 | 2 | 10 | 2 | Provision of spare parts for maintenance of building engineering services. | 0 | item
9 | 2 | 10 | 2 | Provision of tools and portable indicating instruments for the operation and maintenance of building engineering services systems. | 0 | item
9 | 2 | 10 | 2 | Pre-completion inspections. | 0 | item
9 | 2 | 10 | 2 | Final inspections. | 0 | item
Post-completion services
9 | 2 | 10 | 3 | Supervisory staff (employer/tenant care). | 4 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 10 | 3 | Handyman. | 4 | item
9 | 2 | 10 | 3 | Minor materials and sundry items. | 0 | item
9 | 2 | 10 | 3 | Insurances. | 0 | item
9 | 2 | 10 | 3 | Other post-construction staff. | 8 | Per week (number of operators by number of man hours per week by number of weeks)
CLEANING
Site tidy
9 | 2 | 11 | 1 | Cleaning site accommodation contractor and client accommodation daily – internal, including cleaning telephone handsets, other office furniture and equipment and window cleaning. | 60 | per week
9 | 2 | 11 | 1 | Periodic maintenance of site accommodation, including redecoration (internal and external). | 0 | per week
9 | 2 | 11 | 1 | Waste management, including rubbish disposal (including compactor visits; skips and waste bins; roll-off, roll-on waste bins) and other disposal. Burning waste onsite is not permitted. | 60 | Qty x nr weeks
Maintenance of roads, paths and pavings
9 | 2 | 11 | 2 | Maintenance of temporary site roads, paths and pavements. | 0 | per week
Building clean & site protection
9 | 2 | 11 | 2 | Protection of site prior to handover for example floor protection. | 1 | item
9 | 2 | 11 | 2 | Pre Board of Officers (BOO) builders clean. | 1 | item
9 | 2 | 11 | 2 | Board of Officers (BOO) completion clean. | 1 | item
FEES AND CHARGES
Fees
9 | 2 | 12 | 1 | Building control fees. | 0 | item
9 | 2 | 12 | 1 | Local authority or statutory fees. | 1 | item
Charges
9 | 2 | 12 | 2 | Rates on temporary accommodation. | 0 | per week
SITE SERVICES
Temporary works
9 | 2 | 13 | 1 | Temporary works which are not specific to an element. | 0 | item/nr/m/m2/m3
Multi-service gang
9 | 2 | 13 | 1 | Ganger. | 4 | per week (number of staff by number of man hours per week by number of weeks)
9 | 2 | 13 | 1 | Labour. | 4 | Weeks
9 | 2 | 13 | 1 | Gateman | 0 | Weeks
9 | 2 | 13 | 1 | Fork lift driver. | 0 | Weeks
9 | 2 | 13 | 1 | Service gang plant and transport. | 4 | per week (number of staff by number of man hours per week by number of weeks)
INSURANCE, BONDS, WARRANTIES AND GUARANTEES
Works insurances
9 | 2 | 14 | 1 | Contractors ‘all risks’ (CAR) insurance. | 1 | item
9 | 2 | 14 | 1 | Contractor’s plant and equipment insurance. | 0 | item
9 | 2 | 14 | 1 | Temporary buildings insurance. | 0 | item
9 | 2 | 14 | 1 | Other insurances in connection with the works. | 0 | item
9 | 2 | 14 | 1 | Insurance premium tax (IPT). | 1 | item
9 | 2 | 14 | 1 | Allowance for recovery of all or part of insurance premium excess. | 0 | item
Public liability insurances
9 | 2 | 14 | 2 | Non-negligence insurance. | 0 | item
9 | 2 | 14 | 2 | Professional indemnity insurance. | 0 | item
9 | 2 | 14 | 2 | Insurance premium tax (IPT). | 0 | item
9 | 2 | 14 | 2 | Allowance for recovery of all or part of insurance premium excess. | 0 | item
Professional indemnity insurance.
9 | 2 | 14 | 2 | Professional indemnity insurance for contractor's employees. | 0 | item
9 | 2 | 14 | 2 | Insurance premium tax (IPT). | 0 | item
9 | 2 | 14 | 2 | Allowance for recovery of all or part of insurance premium excess. | 0 | item
Employer’s (main contractor’s) liability insurances
9 | 2 | 14 | 3 | Management and staff, including administrative staff. | 0 | item
9 | 2 | 14 | 3 | Works operatives. | 0 | item
9 | 2 | 14 | 3 | Insurance premium tax (IPT). | 0 | item
9 | 2 | 14 | 3 | Allowance for recovery of all or part of insurance premium excess. | 0 | item
Other insurances
9 | 2 | 14 | 4 | Employer’s loss of liquidated damages. | 0 | item
9 | 2 | 14 | 4 | Latent defects cover. | 0 | item
9 | 2 | 14 | 4 | Motor vehicles. | 0 | item
9 | 2 | 14 | 4 | Other insurances. - (WIBA) | 1 | item
9 | 2 | 14 | 4 | Insurance premium tax (IPT). | 0 | item
9 | 2 | 14 | 4 | Allowance for recovery of all or part of insurance premium excess. | 0 | item
Bonds
9 | 2 | 14 | 5 | Tender bonds (if applicable). | 0 | item
9 | 2 | 14 | 5 | Performance bonds, 10% value of the contract sum. | 1 | item
Guarantees
9 | 2 | 14 | 6 | Parent company guarantees. | 0 | item
9 | 2 | 14 | 6 | Product guarantees, insurance backed. | 0 | item
Warranties
9 | 2 | 14 | 7 | Collateral warranties. | 0 | item
9 | 2 | 14 | 7 | Funder’s warranties. | 0 | item
9 | 2 | 14 | 7 | Purchaser’s and tenant’s warranties. | 0 | item
9 | 2 | 14 | 7 | Other warranties. | 0 | item
Total of the Preliminaries

## Fixed Price Offer
Contract No: 710996450 - Counter Insurgency Terrorist Stabilization Operation (CITSO), Kenya
Fixed Price Offer for the Full Contract |  |  |  |  | Construction start date
Location factor | #REF! |  |  |  | Construction completion
Headquarters GIA / IPMS 2 (m²):
Medical Centre GIA / IPMS 2 (m²):
Cost Centre | Element |  | Cost £/m2 | Cost Sub Element £ | Elemental Total Cost £ | % of Total
Headquarters Building
0 | Facilitating Works
0.1 | Toxic/Hazardous/Contaminated Material Treatment
0.1.1 | Toxic/Hazardous/Contaminated Material Treatment |  |  | 0
0.1.2 | Contaminated Land |  |  | 0
0.1.3 | Eradication of Plant Growth |  |  | 0
| Sub total |  |  |  | 0
0.2 | Major Demolition Works
0.2.1 | Demolition Works |  |  | 0 | 0
0.3 | Temporary Support to Adjacent Structures
0.3.1 | Temporary Support to Adjacent Structures |  |  | 0 | 0
0.4 | Specialist Groundworks
0.4.1 | Site Dewatering and Pumping |  |  | 0
0.4.2 | Soil Stabilisation Measures |  |  | 0
0.4.3 | Ground Gas Venting Measures |  |  | 0
| Sub total |  |  |  | 0
0.5 | Temporary Diversion Works
0.5.1 | Temporary Diversion Works |  |  | 0 | 0
0.6 | Extraordinary Site Investigation Works
0.6.1 | Archaeological Investigation |  |  | 0
0.6.2 | Reptile/Wildlife Mitigation Measures |  |  | 0
0.6.3 | Other Extraordinary Site Investigation Works |  |  | 0
| Sub total |  |  |  | 0
1 | Substructure
1.1 | Foundations
1.1.1 | Standard Foundations
1.1.2 | Piled Foundations |  |  | 0
1.1.3 | Underpinning |  |  | 0
| Sub total |  |  |  | 0
1.2 | Basement Excavation
1.2.1 | Basement Excavation |  |  | 0 | 0
1.3 | Basement Retaining Walls
1.3.1 | Basement Retaining Walls |  |  | 0
1.3.2 | Embedded Basement Retaining Walls |  |  | 0
| Sub total |  |  |  | 0
1.4 | Ground Floor Construction
1.4.1 | Ground Floor Slab/Bed and Suspended Floor Construction
2 | Superstructure
2.1 | Frame
2.1.1 | Steel Frames |  |  | 0
2.1.2 | Space Decks |  |  | 0
2.1.3 | Concrete Casings to Steel Frames |  |  | 0
2.1.4 | Concrete Frames
2.1.5 | Timber Frames |  |  | 0
2.1.6 | Specialist Frames |  |  | 0
| Sub total |  |  |  | 0
2.2 | Upper Floors
2.2.1 | Concrete Floors |  |  | 0
2.2.2 | Precast/Composite Decking Systems |  |  | 0
2.2.3 | Timber Floors |  |  | 0
2.2.4 | Structural Screeds |  |  | 0
2.2.5 | Balconies |  |  | 0
2.2.6 | Drainage to Balconies |  |  | 0
| Sub total |  |  |  | 0
2.3 | Roof
2.3.1 | Roof Structure
2.3.2 | Roof Coverings
2.3.3 | Glazed Roofs |  |  | 0
2.3.4 | Roof Drainage
2.3.5 | Rooflights, Skylights and Openings |  |  | 0
2.3.6 | Roof Features |  |  | 0
| Sub total |  |  |  | 0
2.4 | Stairs and Ramps
2.4.1 | Stair/Ramp Structures |  |  | 0
2.4.2 | Stair/Ramp Finishes |  |  | 0
2.4.3 | Stair/Ramp Balustrades and Handrails |  |  | 0
2.4.4 | Ladders/Chutes/Slides |  |  | 0
| Sub total |  |  |  | 0
2.5 | External Walls
2.5.1 | External Walls above Ground Floor Level
2.5.2 | External Enclosing Walls below Ground Level
2.5.3 | Solar/Rainscreen Cladding |  |  | 0
2.5.4 | External Soffits |  |  | 0
2.5.5 | Subsidiary Walls, Balustrades, Handrails, railings and Proprietary Balconies |  |  | 0
2.5.6 | Façade Access/Cleaning Systems |  |  | 0
| Sub total |  |  |  | 0
2.6 | Windows and External Doors
2.6.1 | External Windows
2.6.2 | External Doors
| Sub total |  |  |  | 0
2.7 | Internal Walls and Partitions
2.7.1 | Walls and Partitions
2.7.2 | Balustrades and Handrails |  |  | 0
2.7.3 | Moveable Room Dividers |  |  | 0
2.7.4 | Cubicles |  |  | 0
| Sub total |  |  |  | 0
2.8 | Internal Doors
2.8.1 | Internal Doors
3 | Internal Finishes
3.1 | Wall Finishes
3.1.1 | Finishes to Walls
3.2 | Floor Finishes
3.2.1 | Finishes to Floors
3.2.2 | Raised Access Floors |  |  | 0
| Sub total |  |  |  | 0
3.3 | Ceiling Finishes
3.3.1 | Finishes to Ceilings |  |  | 0
3.3.2 | False Ceilings
3.3.3 | Demountable Suspended Ceilings
| Sub total |  |  |  | 0
4 | Fittings, Furnishings and Equipment
4.1 | General Fittings, Furnishings and Equipment
4.1.1 | General Fittings, Furnishings and Equipment
4.1.2 | Domestic Kitchen Fittings and Equipment |  |  | 0
4.1.3 | Signs / Notices |  |  | 0
4.1.4 | Works of Art |  |  | 0
4.1.5 | Equipment |  |  | 0
| Sub total |  |  |  | 0
4.2 | Special Fittings, Furnishings and Equipment
4.2.1 | Special Purpose Fittings, Furnishings and Equipment |  |  | 0 | 0
4.3 | Internal Planting
4.3.1 | Internal Planting |  |  | 0 | 0
4.4 | Bird and Vermin Control
4.4.1 | Bird and Vermin Control |  |  | 0 | 0
5 | Services
5.1 | Sanitary Appliances
5.1.1 | Sanitary Appliances
5.1.2 | Pods |  |  | 0
5.1.3 | Sanitary Fittings |  |  | 0
| Sub total |  |  |  | 0
5.2 | Services Equipment
5.2.1 | Services Equipment |  |  | 0 | 0
5.3 | Disposal Installations
5.3.1 | Foul Drainage Above Ground
5.3.2 | Laboratory and Industrial Liquid Waste Drainage |  |  | 0
5.3.3 | Refuse Disposal |  |  | 0
| Sub total |  |  |  | 0
5.4 | Water Installations
5.4.1 | Mains Water Supply |  |  | 0
5.4.2 | Cold Water Distribution
5.4.3 | Hot Water Distribution
5.4.4 | Local Hot Water Distribution |  |  | 0
5.4.5 | Steam and Condensate Distribution |  |  | 0
| Sub total |  |  |  | 0
5.5 | Heat Source
5.5.1 | Heat Source |  |  | 0 | 0
5.6 | Space Heating and Air Conditioning
5.6.1 | Central Heating |  |  | 0
5.6.2 | Local Heating |  |  | 0
5.6.3 | Central Cooling |  |  | 0
5.6.4 | Local Cooling |  |  | 0
5.6.5 | Central Heating and Cooling
5.6.6 | Local Heating and Cooling |  |  | 0
5.6.7 | Central Air Conditioning |  |  | 0
5.6.8 | Local Air Conditioning |  |  | 0
| Sub total |  |  |  | 0
5.7 | Ventilation Systems
5.7.1 | Central Ventilation
5.7.2 | Local and Special Ventilation |  |  | 0
5.7.3 | Smoke Extract/Control |  |  | 0
| Sub total |  |  |  | 0
5.8 | Electrical Installations
5.8.1 | Electrical Mains and Sub-mains Distribution
5.8.2 | Power Installations
5.8.3 | Lighting Installations
5.8.4 | Specialist Lighting Installations |  |  | 0
5.8.5 | Local Electricity Generation Systems |  |  | 0
5.8.6 | Transformation Devices |  |  | 0
5.8.7 | Earthing and Bonding Systems |  |  | 0
| Sub total |  |  |  | 0
5.9 | Gas and other Fuel Installations
5.9.1 | Gas Distribution |  |  | 0
5.9.2 | Fuel Storage and Piped Distribution Systems |  |  | 0
| Sub total |  |  |  | 0
5.1 | Lift and Conveyor Installations
5.10.1 | Lifts |  |  | 0
5.10.2 | Enclosed Hoists |  |  | 0
5.10.3 | Escalators |  |  | 0
5.10.4 | Moving Pavements |  |  | 0
5.10.5 | Powered Stairlifts |  |  | 0
5.10.6 | Conveyors |  |  | 0
5.10.7 | Dock Leveller's and Scissor Lifts |  |  | 0
5.10.8 | Cranes and Unenclosed Hoists |  |  | 0
5.10.9 | Car Lifts, Car Stacking Systems, Turntables and the like |  |  | 0
5.10.10 | Document Handling Systems |  |  | 0
5.10.11 | Other Lift and Conveyor Installations |  |  | 0
| Sub total |  |  |  | 0
5.11 | Fire and Lighting Protection
5.11.1 | Fire Fighting Systems |  |  | 0
5.11.2 | Lightning Protection
Sub total
5.12 | Communication, Security and Control Systems
5.12.1 | Communication Systems |  |  | 0
5.12.2 | Security Systems |  |  | 0
5.12.3 | Central Control/Building Management Systems |  |  | 0
| Sub total |  |  |  | 0
5.13 | Specialist Installations
5.13.1 | Specialist Piped Supply Systems |  |  | 0
5.13.2 | Radio and Television Studios |  |  | 0
5.13.3 | Specialist Refrigeration Systems |  |  | 0
5.13.4 | Water Features |  |  | 0
5.13.5 | Other Specialist Installations |  |  | 0
| Sub total |  |  |  | 0
5.14 | Builders' Work in Connection with Services
5.14.1 | General Builders' Work
5.15 | Testing and Commissioning of Services
5.15.1 | Testing and Commissioning of Services
6 | Complete Buildings and Building Units
6.1 | Prefrabricated Buildings
6.1.1 | Complete Buildings |  |  | 0
6.1.2 | Building Units |  |  | 0
| Sub total |  |  |  | 0
7 | Work to Existing Buildings
7.1 | Minor Demolition Works and Alteration Works
7.1.1 | Minor Demolition Works and Alteration Works |  |  | 0 | 0
7.2 | Repairs to Existing Services
7.2.1 | Existing Services |  |  | 0 | 0
7.3 | Damp-proof Courses/Fungus and Beetle Eradication
7.3.1 | Damp-proof Courses |  |  | 0
7.3.2 | Fungus/Beetle Eradication |  |  | 0
| Sub total |  |  |  | 0
7.4 | Façade Retention
7.4.1 | Façade Retention |  |  | 0 | 0
7.5 | Cleaning Existing Surfaces
7.5.1 | Cleaning Existing Surfaces |  |  | 0
7.5.2 | Protective Coatings to Existing Surfaces |  |  | 0
| Sub total |  |  |  | 0
7.6 | Renovation Works
7.6.1 | Masonry Repairs |  |  | 0
7.6.2 | Concrete Repairs |  |  | 0
7.6.3 | Metal Repairs |  |  | 0
7.6.4 | Timber Repairs |  |  | 0
7.6.5 | Plastic Repairs |  |  | 0
| Sub total |  |  |  | 0
8 | External Works
8.1 | Site Preparation Works
8.1.1 | Site Clearance - Fixed Price
8.1.2 | Preparatory Groundworks - Fixed Price
Sub total
8.2 | Roads, Paths and Pavings
8.2.1 | Roads, Paths and Pavings
| Sub total |  |  |  | 0
8.3 | Soft Landscaping, Planting and Irrigation Systems
8.3.1 | Seeding and Turfing
| Sub total |  |  |  | 0
8.4 | Fencing, Railings and Walls
8.4.1 | Fencing and Railings |  |  | 0
| Sub total |  |  |  | 0
8.5 | Site/Street Furniture and Equipment
8.5.1 | Site/Street Furniture and Equipment |  |  | 0
| Sub total |  |  |  | 0
8.6 | External Drainage
8.6.1 | Surface Water and Foul Water Drainage
| Sub total |  |  |  | 0
8.7 | External Services
8.7.1 | Water Mains Supply
| Sub total |  |  |  | 0
8.8 | Minor Building Works and Ancillary Buildings
8.8.2 | Ancillary Buildings and Structures
8.8.3 | Other Listed Works |  |  | 0
| Sub total |  |  |  | 0
Medical Centre
0 | Facilitating Works
0.1 | Toxic/Hazardous/Contaminated Material Treatment
0.1.1 | Toxic/Hazardous/Contaminated Material Treatment |  |  | 0
0.1.2 | Contaminated Land |  |  | 0
0.1.3 | Eradication of Plant Growth |  |  | 0
| Sub total |  |  |  | 0
0.2 | Major Demolition Works
0.2.1 | Demolition Works |  |  | 0 | 0
0.3 | Temporary Support to Adjacent Structures
0.3.1 | Temporary Support to Adjacent Structures |  |  | 0 | 0
0.4 | Specialist Groundworks
0.4.1 | Site Dewatering and Pumping |  |  | 0
0.4.2 | Soil Stabilisation Measures |  |  | 0
0.4.3 | Ground Gas Venting Measures |  |  | 0
| Sub total |  |  |  | 0
0.5 | Temporary Diversion Works
0.5.1 | Temporary Diversion Works |  |  | 0 | 0
0.6 | Extraordinary Site Investigation Works
0.6.1 | Archaeological Investigation |  |  | 0
0.6.2 | Reptile/Wildlife Mitigation Measures |  |  | 0
0.6.3 | Other Extraordinary Site Investigation Works |  |  | 0
| Sub total |  |  |  | 0
1 | Substructure
1.1 | Foundations
1.1.1 | Standard Foundations
1.1.2 | Piled Foundations |  |  | 0
1.1.3 | Underpinning |  |  | 0
| Sub total |  |  |  | 0
1.2 | Basement Excavation
1.2.1 | Basement Excavation |  |  | 0 | 0
1.3 | Basement Retaining Walls
1.3.1 | Basement Retaining Walls |  |  | 0
1.3.2 | Embedded Basement Retaining Walls |  |  | 0
| Sub total |  |  |  | 0
1.4 | Ground Floor Construction
1.4.1 | Ground Floor Slab/Bed and Suspended Floor Construction
2 | Superstructure
2.1 | Frame
2.1.1 | Steel Frames |  |  | 0
2.1.2 | Space Decks |  |  | 0
2.1.3 | Concrete Casings to Steel Frames |  |  | 0
2.1.4 | Concrete Frames
2.1.5 | Timber Frames |  |  | 0
2.1.6 | Specialist Frames |  |  | 0
| Sub total |  |  |  | 0
2.2 | Upper Floors
2.2.1 | Concrete Floors |  |  | 0
2.2.2 | Precast/Composite Decking Systems |  |  | 0
2.2.3 | Timber Floors |  |  | 0
2.2.4 | Structural Screeds |  |  | 0
2.2.5 | Balconies |  |  | 0
2.2.6 | Drainage to Balconies |  |  | 0
| Sub total |  |  |  | 0
2.3 | Roof
2.3.1 | Roof Structure
2.3.2 | Roof Coverings
2.3.3 | Glazed Roofs |  |  | 0
2.3.4 | Roof Drainage
2.3.5 | Rooflights, Skylights and Openings |  |  | 0
2.3.6 | Roof Features |  |  | 0
| Sub total |  |  |  | 0
2.4 | Stairs and Ramps
2.4.1 | Stair/Ramp Structures |  |  | 0
2.4.2 | Stair/Ramp Finishes |  |  | 0
2.4.3 | Stair/Ramp Balustrades and Handrails |  |  | 0
2.4.4 | Ladders/Chutes/Slides |  |  | 0
| Sub total |  |  |  | 0
2.5 | External Walls
2.5.1 | External Walls above Ground Floor Level
2.5.2 | External Enclosing Walls below Ground Level
2.5.3 | Solar/Rainscreen Cladding |  |  | 0
2.5.4 | External Soffits |  |  | 0
2.5.5 | Subsidiary Walls, Balustrades, Handrails, railings and Proprietary Balconies |  |  | 0
2.5.6 | Façade Access/Cleaning Systems |  |  | 0
| Sub total |  |  |  | 0
2.6 | Windows and External Doors
2.6.1 | External Windows
2.6.2 | External Doors
Sub total
2.7 | Internal Walls and Partitions
2.7.1 | Walls and Partitions
2.7.2 | Balustrades and Handrails |  |  | 0
2.7.3 | Moveable Room Dividers |  |  | 0
2.7.4 | Cubicles |  |  | 0
| Sub total |  |  |  | 0
2.8 | Internal Doors
2.8.1 | Internal Doors
3 | Internal Finishes
3.1 | Wall Finishes
3.1.1 | Finishes to Walls
3.2 | Floor Finishes
3.2.1 | Finishes to Floors
3.2.2 | Raised Access Floors |  |  | 0
| Sub total |  |  |  | 0
3.3 | Ceiling Finishes
3.3.1 | Finishes to Ceilings |  |  | 0
3.3.2 | False Ceilings
3.3.3 | Demountable Suspended Ceilings
| Sub total |  |  |  | 0
4 | Fittings, Furnishings and Equipment
4.1 | General Fittings, Furnishings and Equipment
4.1.1 | General Fittings, Furnishings and Equipment
4.1.2 | Domestic Kitchen Fittings and Equipment
4.1.3 | Signs / Notices |  |  | 0
4.1.4 | Works of Art |  |  | 0
4.1.5 | Equipment |  |  | 0
| Sub total |  |  |  | 0
4.2 | Special Fittings, Furnishings and Equipment
4.2.1 | Special Purpose Fittings, Furnishings and Equipment |  |  | 0 | 0
4.3 | Internal Planting
4.3.1 | Internal Planting |  |  | 0 | 0
4.4 | Bird and Vermin Control
4.4.1 | Bird and Vermin Control |  |  | 0 | 0
5 | Services
5.1 | Sanitary Appliances
5.1.1 | Sanitary Appliances
5.1.2 | Pods |  |  | 0
5.1.3 | Sanitary Fittings |  |  | 0
| Sub total |  |  |  | 0
5.2 | Services Equipment
5.2.1 | Services Equipment |  |  | 0 | 0
5.3 | Disposal Installations
5.3.1 | Foul Drainage Above Ground
5.3.2 | Laboratory and Industrial Liquid Waste Drainage |  |  | 0
5.3.3 | Refuse Disposal |  |  | 0
| Sub total |  |  |  | 0
5.4 | Water Installations
5.4.1 | Mains Water Supply |  |  | 0
5.4.2 | Cold Water Distribution
5.4.3 | Hot Water Distribution
5.4.4 | Local Hot Water Distribution |  |  | 0
5.4.5 | Steam and Condensate Distribution |  |  | 0
Sub total
5.5 | Heat Source
5.5.1 | Heat Source |  |  | 0 | 0
5.6 | Space Heating and Air Conditioning
5.6.1 | Central Heating |  |  | 0
5.6.2 | Local Heating |  |  | 0
5.6.3 | Central Cooling |  |  | 0
5.6.4 | Local Cooling |  |  | 0
5.6.5 | Central Heating and Cooling
5.6.6 | Local Heating and Cooling |  |  | 0
5.6.7 | Central Air Conditioning |  |  | 0
5.6.8 | Local Air Conditioning |  |  | 0
| Sub total |  |  |  | 0
5.7 | Ventilation Systems
5.7.1 | Central Ventilation
5.7.2 | Local and Special Ventilation |  |  | 0
5.7.3 | Smoke Extract/Control |  |  | 0
Sub total
5.8 | Electrical Installations
5.8.1 | Electrical Mains and Sub-mains Distribution
5.8.2 | Power Installations
5.8.3 | Lighting Installations
5.8.4 | Specialist Lighting Installations |  |  | 0
5.8.5 | Local Electricity Generation Systems |  |  | 0
5.8.6 | Transformation Devices |  |  | 0
5.8.7 | Earthing and Bonding Systems |  |  | 0
| Sub total |  |  |  | 0
5.9 | Gas and other Fuel Installations
5.9.1 | Gas Distribution |  |  | 0
5.9.2 | Fuel Storage and Piped Distribution Systems |  |  | 0
| Sub total |  |  |  | 0
5.1 | Lift and Conveyor Installations
5.10.1 | Lifts |  |  | 0
5.10.2 | Enclosed Hoists |  |  | 0
5.10.3 | Escalators |  |  | 0
5.10.4 | Moving Pavements |  |  | 0
5.10.5 | Powered Stairlifts |  |  | 0
5.10.6 | Conveyors |  |  | 0
5.10.7 | Dock Leveller's and Scissor Lifts |  |  | 0
5.10.8 | Cranes and Unenclosed Hoists |  |  | 0
5.10.9 | Car Lifts, Car Stacking Systems, Turntables and the like |  |  | 0
5.10.10 | Document Handling Systems |  |  | 0
5.10.11 | Other Lift and Conveyor Installations |  |  | 0
| Sub total |  |  |  | 0
5.11 | Fire and Lighting Protection
5.11.1 | Fire Fighting Systems |  |  | 0
5.11.2 | Lightning Protection
Sub total
5.12 | Communication, Security and Control Systems
5.12.1 | Communication Systems |  |  | 0
5.12.2 | Security Systems |  |  | 0
5.12.3 | Central Control/Building Management Systems |  |  | 0
| Sub total |  |  |  | 0
5.13 | Specialist Installations
5.13.1 | Specialist Piped Supply Systems |  |  | 0
5.13.2 | Radio and Television Studios |  |  | 0
5.13.3 | Specialist Refrigeration Systems |  |  | 0
5.13.4 | Water Features |  |  | 0
5.13.5 | Other Specialist Installations |  |  | 0
| Sub total |  |  |  | 0
5.14 | Builders' Work in Connection with Services
5.14.1 | General Builders' Work
5.15 | Testing and Commissioning of Services
5.15.1 | Testing and Commissioning of Services
6 | Complete Buildings and Building Units
6.1 | Prefrabricated Buildings
6.1.1 | Complete Buildings |  |  | 0
6.1.2 | Building Units |  |  | 0
| Sub total |  |  |  | 0
7 | Work to Existing Buildings
7.1 | Minor Demolition Works and Alteration Works
7.1.1 | Minor Demolition Works and Alteration Works |  |  | 0 | 0
7.2 | Repairs to Existing Services
7.2.1 | Existing Services |  |  | 0 | 0
7.3 | Damp-proof Courses/Fungus and Beetle Eradication
7.3.1 | Damp-proof Courses |  |  | 0
7.3.2 | Fungus/Beetle Eradication |  |  | 0
| Sub total |  |  |  | 0
7.4 | Façade Retention
7.4.1 | Façade Retention |  |  | 0 | 0
7.5 | Cleaning Existing Surfaces
7.5.1 | Cleaning Existing Surfaces |  |  | 0
7.5.2 | Protective Coatings to Existing Surfaces |  |  | 0
| Sub total |  |  |  | 0
7.6 | Renovation Works
7.6.1 | Masonry Repairs |  |  | 0
7.6.2 | Concrete Repairs |  |  | 0
7.6.3 | Metal Repairs |  |  | 0
7.6.4 | Timber Repairs |  |  | 0
7.6.5 | Plastic Repairs |  |  | 0
| Sub total |  |  |  | 0
8 | External Works
8.1 | Site Preparation Works
8.1.1 | Site Clearance - Fixed Price
8.1.2 | Preparatory Groundworks - Fixed Price
| Sub total |  |  |  | 0
8.2 | Roads, Paths and Pavings
8.2.1 | Roads, Paths and Pavings
Sub total
8.3 | Soft Landscaping, Planting and Irrigation Systems
8.3.1 | Seeding and Turfing
| Sub total |  |  |  | 0
8.4 | Fencing, Railings and Walls
8.4.1 | Fencing and Railings |  |  | 0
| Sub total |  |  |  | 0
8.5 | Site/Street Furniture and Equipment
8.5.1 | Site/Street Furniture and Equipment |  |  | 0
| Sub total |  |  |  | 0
8.6 | External Drainage
8.6.1 | Surface Water and Foul Water Drainage
Sub total
8.7 | External Services
8.7.1 | Water Mains Supply
| Sub total |  |  |  | 0
8.8 | Minor Building Works and Ancillary Buildings
8.8.2 | Ancillary Buildings and Structures
8.8.3 | Other Listed Works |  |  | 0
Sub total
| Sub-total Facilitating and Building Works | A |  |  | 0
9 | Main Contractor Preliminaries (Populated from Tab 'Preliminaries') | B |  |  | 0
| Sub-total: Facilitating works and building works (including main contractor's preliminaries) (C) [C= A + B] | C |  |  | 0
10 | Main contractor's overheads and profit (D) - 20% | D |  |  | 0
(Included in our rates for all the amounts quoted above)
| Total: building works (E) [E = C + D] | E | 0 |  | 0
11 | Design Team Fees | F
11.1 | Consultants Fees
11.1.1 | Project/design team Consultants' Fees |  |  | 0
11.1.2 | Other Consultants' Fees |  |  | 0
11.1.3 | Site Investigation Fees |  |  | 0
11.1.4 | Specialist Support Consultants' Fees |  |  | 0
| Sub total |  |  |  | 0
12 | Other Development/Project Costs | G
12.1 | Other Development/Project Costs
12.1.1 | Land Acquisition Costs |  |  | 0
| Sub total |  |  |  | 0
| Total: Project/design team fees and other development/project costs (H) [H = F + G] | H | 0 |  | 0
| Base Cost (I) [I = E + H) | I | 0 |  | 0
13 | Risk Allowance | J
13.1 | Design Development Risks |  |  | 0
13.2 | Construction Risks |  |  | 0
| Sub total |  |  |  | 0
| Sub-total (excluding inflation) (K) [K = I + J] | K | 0 |  | 0
14 | Inflation Allowance | L
14.1 | Tender Inflation
14.2 | Construction Inflation |  |  |  | 0
| Sub total |  |  |  | 0
| Total Firm Fixed Price for the Full Scope (excluding vat assessment) (M) [M = K + L] | M |  |  | 0

## MPS
Contract No: 710996450 - Counter Insurgency Terrorist Stabilization Operation (CITSO), Kenya
MILESTONE PAYMENT SCHEDULE
Ser | Milestone Payment | Date Expecting to reach milestone | Price (GBP) (to 2 decimal points)
(a) | (b) | (c) | (d)
1 | Hoarding around the sites, Erection of Employer's Site Offices, Meeting Room and Toilet Block, Contractor's Site Offices, Meeting Room, Canteens, Drying rooms, Toilets, Washrooms, First Aid Room, Workshops and Stores, Provision of Insurances |  |  | Total Prelims | Payment No. 1 & 2 | Balance Prelims
2 | Supply and assembling of Contractor's Furniture and Equipment to include Staff Workstations, General Office Furniture, Meeting Room Furniture, Photocopy machine, Canteen Furniture & Equipment, Water Dispensers and heaters |  |  | 354481.06 | 116178.38 | 238302.68
Supply and assembling of Furniture & Equipment for the Employer's Representatives to include Office Desks,Chairs, Magnetic White Marker Board, PPE Locker, Storage Cabinet and Wall Clock
Supply and assembling of Kitchen & Office Equipment to include a Refrigerator, a Microwave Oven, Paper Shredder, Printer, Electric Kettle, Water Dispenser and General Curtlery
Supply of Telecommunications & IT Systems for the Employer's Representatives to include 24inch desk monitors, Wall Monitor and internet connectivitivy to the Site Offices
3 | Taking down existing trees, logging into approved sizes, storing at a strategic location on site |  |  | 0% | 7411.2133 | 3.11%
4 | Excavate top soil average 150mmm deep; stockpile on site for re-use as directed |  |  | 0% | 4051.1456 | 1.7%
5 | Clearing vegetation including disposing arisings, transport of the tree logs to the KFS station |  |  | 0% | 3312.4073 | 1.39%
6 | Construction of Generator Concrete Slab for the MC Site, Feeder Pillars & Cable Ducting for both HQ and MC Sites, Swale & Ditch Bank Connection for the MC Site |  |  | 0% | 738.7383 | 0.31%
7 | Excavations involving cut/fill of HQ & MC Sites to reduce levels; stockpile re-usable materials at strategic locations at the site and Water Main Line Diversion for the HQ Site |  |  | 0% | 10342.3363 | 4.34%
8 | Construction of Generator Concrete Slabs, Feeder Pillars & Cable Ducting for HQ Site, Construction of Culverts for HQ and MC Sites, Swale Connection & Ditch Bank for HQ Site and Removal of the 90mm diameter water supply line in MC Site |  |  | 0% | 3789.0126 | 1.59%
9 | Compaction of the excavated surfaces of the reduced levels including swales, disposal of unsuitable excavated materials for HQ and MC Sites |  |  | 0% | 5981.3973 | 2.51%
10 | Excavations, blinding and concreting of Strip Foundations for the HQ & MC Buildings |  |  | 0% | 13130.4777 | 5.51%
11 | Substructure walling, concreting of columns, ground beams, ground floor slab including MEP first fix for the HQ & MC Buildings |  |  | 0% | 15060.7294 | 6.32%
12 | Superstructure walling, concreting of columns, lintel and ring beam for the HQ & MC buildings |  |  | 0% | 14893.9175 | 6.25%
13 | Fixing of Steel Stanchions, steel roof structure and roofing sheets, External render and stone cladding to walls for the HQ & MC Buildings |  |  | 0% | 28763.1335 | 12.07%
14 | Fixing of ceiling framework, MEP FF, HVAC FF, Electrical Cable trays & trunking, UPVC shiplap soffets to eaves, Upvc gutters and downpipes for the HQ and MC Buildings |  |  | 0% | 19040.3841 | 7.99%
15 | Construction of the stormwater Drainage and the Fire & Rainwater Tank for the HQ & MC Buildings |  |  | 0% | 22305.1308 | 9.36%
16 | Internal Plaster, Electrical & Plumbing FF to walls, Wall tiles to wet areas for the HQ & MC Buildings |  |  | 0% | 8984.011 | 3.77%
17 | Floor Screed & Tiles, Fixing of Aluminium Windows and Curtain walling, External Steel Doors and Internal Timber Flush Doors for the HQ & MC Buildings |  |  | 0% | 24330.7036 | 10.21%
18 | Electrical, Plumbing & HVAC SF & TF, General fittings to kitchen and reception and foulwater Drainage for the HQ & MC Buildings |  |  | 0% | 20922.9753 | 8.78%
19 | Painting to internal and external walls for the HQ & MC Buildings |  |  | 0% | 2954.9532 | 1.24%
20 | Construction of the Roads, Parking and footpaths for the HQ & MC Buildings |  |  | 0% | 14798.5964 | 6.21%
21 | Spreading and compaction of Top soil from heaps, planting of grass to both HQ and MC Sites, Testing and Commissioning |  |  | 0% | 17491.4167 | 7.34%
|  |  |  | 0% | 238302.68 | 100%
TOTAL (GBP)

## MPS Build Up
Contract No: 710996450 - Counter Insurgency Terrorist Stabilization Operation (CITSO), Kenya
MILESTONE PAYMENT SCHEDULE - BUILD UP
No. | Description | Amount | Amount | Amount
|  | (GBP) | (GBP) | (GBP)
1.0 | MILESTONE PAYMENT No. 1
.1 | Hoarding around Site
.2 | Erection of Employer's Site Offices,
.3 | Ditto; Meeting Room
.4 | Ditto; Toilet Block,
.5 | Erection of Contractor's Site Offices, Canteens, Drying Rooms etc
.6 | Erection of Contractor's Meeting Room
.7 | Provision of Insurances
2.0 | MILESTONE PAYMENT No. 2
.1 | Supply of Contractor's Office Furniture
.2 | Supply of Meeting Rooms Furniture
.3 | Supply of Photocopier Machine
.4 | Supply of Canteen Furniture & Equipment
.5 | Supply of Water Dispenser and Heaters
.6 | Supply of Employer's Office Furniture
.7 | Supply of white marker board and PPE Locker
.8 | Supply of lockable storage cabinet & a wall clock
.9 | Supply of Plastic Septic Tanks
.10 | Supply to Employer's Office - Water Dispenser, Fridge, Microwave and a Waste Paper Bin
.11 | Supply of an Electric Shredder and a Printer
.12 | Supply of an Electric Kettle and General Cutlery
.13 | Supply of Employer's Office 24inch Desk Monitors
.14 | Supply of Emplyer's Office 52inch Wall monitor
.15 | Internet Connection to both the Employer's and Contractor's Offices
3.0 | MILESTONE PAYMENT No. 3
.1 | HQ Site - Cutting down trees, logging into sizes
.2 | MC Site - Cutting down trees, logging into sizes
.3 | Preliminaries (3.11% of 238,302.68)
4.0 | MILESTONE PAYMENT No. 4
.1 | HQ Site - Excavate top soil 150mm deep, stockpile on site
.2 | MC Site - Excavate top soil 150mm deep, stockpile on site
.3 | Preliminaries (1.7% of 238,302.68)
5.0 | MILESTONE PAYMENT No. 5
.1 | HQ Site - Clearing vegetation including disposing arisings
.2 | MC Site - Clearing vegetation including disposing arisings
.3 | Transport of the tree logs to KFS Station
.4 | Preliminaries (1.39% of 238,302.68)
6.0 | MILESTONE PAYMENT No. 6
.1 | HQ Site - Construction of Feeder Pillar, Service Ducts & Manhole
.2 | MC Site - Construction of Generator Concrete Slab, Feeder Pillar & Cable Ducting
.3 | MC Site - Swale and Ditch Bank Connection
.4 | Preliminaries (0.31% of 238,302.68)
7.0 | MILESTONE PAYMENT No. 7
.1 | HQ Site - Cut and fill to reduce levels, stockpile re-usable materials
.2 | MC Site - Cut and fill to reduce levels, stockpile re-usable materials
.3 | HQ Site - Water Mains Diversion & Removal of existing water pipe
.4 | Preliminaries (4.34% of 238,302.68)
8.0 | MILESTONE PAYMENT No. 8
.1 | HQ Site - Construction of Generator Concrete Slab
.2 | HQ Site - Construction of Culverts
.3 | MC Site - Construction of Culverts
.4 | HQ Site - Swale and Ditch Bank Connection
.5 | MC Site - Removal of existing water pipe
.6 | Preliminaries (1.59% of 238,302.68)
9.0 | MILESTONE PAYMENT No. 9
.1 | HQ Site - Compaction of excavated areas
.2 | MC Site - Compaction of excavated areas
.3 | HQ Site - Disposal of Unsuitable excavated materials
.4 | MC Site - Disposal of Unsuitable excavated materials
.5 | Preliminaries (2.51% of 238,302.68)
10.0 | MILESTONE PAYMENT No. 10
.1 | HQ Building - Excavations and concreting of strip foundations
.2 | MC Building - Excavations and concreting of strip foundations
.3 | Preliminaries (5.51% of 238,302.68)
11.0 | MILESTONE PAYMENT No. 11
.1 | HQ Building - Substructure works including ground floor slab.
.2 | MC Building - Substructure works including ground floor slab.
.3 | Preliminaries (6.32% of 238,302.68)
12.0 | MILESTONE PAYMENT No. 12
.1 | HQ Building - Superstructure concrete frame & walling
.2 | MC Building - Superstructure concrete frame & walling
.3 | Preliminaries (6.25% of 238,302.68)
13.0 | MILESTONE PAYMENT No. 13
.1 | HQ Building - Steel stanchions, Steel roof structure & Roofing
.2 | MC Building - Steel stanchions, Steel roof structure & Roofing
.3 | HQ Building - External Plaster & Stone Cladding
.4 | MC Building - External Plaster & Stone Cladding
.5 | Preliminaries (12.07% of 238,302.68)
14.0 | MILESTONE PAYMENT No. 14
.1 | HQ Building - False Ceilings, MEP & HVAC FF, Cable Trays
.2 | MC Building - False Ceilings, MEP & HVAC FF, Cable Trays
.3 | HQ Building - UPVC gutters & Downpipes
.4 | MC Building - UPVC gutters & Downpipes
.5 | Preliminaries (7.99% of 238,302.68)
15.0 | MILESTONE PAYMENT No. 15
.1 | HQ Building - Stormwater Drainage
.2 | MC Building - Stormwater Drainage
.3 | HQ Building - Fire & Rainwater Tank
.4 | MC Building - Fire & Rainwater Tank
.5 | Preliminaries (9.36% of 238,302.68)
16.0 | MILESTONE PAYMENT No. 16
.1 | HQ Building - MEP First Fix to walls
.2 | MC Building - MEP First Fix to walls
.3 | HQ Building - Internal Plaster & Wall tiles
.4 | MC Building - Internal Plaster & Wall tiles
.5 | Preliminaries (3.77% of 238,302.68)
17.0 | MILESTONE PAYMENT No. 17
.1 | HQ Building - Laying of Floor Screed & Floor Tiles
.2 | MC Building - Laying of Floor Screed & Floor Tiles
.3 | HQ Building - Fixing of windows
.4 | MC Building - Fixing of windows
.5 | HQ Building - Fixing of External & Internal Doors
.6 | MC Building - Fixing of External & Internal Doors
.7 | Preliminaries (10.21% of 238,302.68)
18.0 | MILESTONE PAYMENT No. 18
.1 | HQ Building - MEP Second & Third Fix
.2 | MC Building - MEP Second & Third Fix
.3 | HQ Building - General Fitings to Kitchen & Reception
.4 | MC Building - General Fitings to Kitchen & Reception
.5 | HQ Building - Foulwater Drainage
.6 | MC Building - Foulwater Drainage
.7 | Preliminaries (8.78% of 238,302.68)
19.0 | MILESTONE PAYMENT No. 19
.1 | HQ Building - Painting to External and Internal walls
.2 | MC Building - Painting to External and Internal walls
.3 | Preliminaries (1.24% of 238,302.68)
20.0 | MILESTONE PAYMENT No. 20
.1 | HQ Building - Construction of Roads, Parking & Footpaths
.2 | MC Building - Construction of Roads, Parking & Footpaths
.3 | Preliminaries (6.21% of 238,302.68)
21.0 | MILESTONE PAYMENT No. 21
.1 | HQ Building - Spreading of topsoil, planting of grass
.2 | MC Building - Spreading of topsoil, planting of grass
.3 | Preliminaries (7.34% of 238,302.68)
TOTAL (GBP)