REQUIREMENT FOR PARTICLE CABINET

Background

Border Force officers may inspect some goods on import which may contain chemicals including powders and solids. Typically the types of consignments for this inspection are those from postal and air courier environments. There is a need to provide a safe environment in order to conduct an invasive examination and this will be accomplished by making use of a particle cabinet.

Requirements

We require the supply, delivery and on-site commissioning of 4 class 1 filtration particle cabinets to conduct safe examinations of chemicals. The required width for each cabinet will be determined following the site survey at each site, but are expected to be between around 800mm and 1100mm. As the examination rooms are unlikely to have exterior walls they should be ductless with suitable filtration to retain particles and re-circulate air.

Although it is anticipated that cabinets should be located on existing work counters, you are required to provide details of wheeled stands to accommodate the cabinet.

Please include charcoal and other particulate filters required and indicate life expectancy.

The fume cabinets will need to be delivered to the following locations:

- UPS, London Gateway

- TNT, Barking

- Birmingham Freight Shed

- Felixstowe

You will be required to deliver and install 1 cabinet at each site.

Please provide the following in your response:-

- The cost of supply, delivery, installation and commissioning of 4 particle cabinets as outlined above. Please include quotes for the full range of sizes offered in a price schedule, including a separate line each for the cost of site survey, delivery to the locations specified above, and installation for each size of cabinet offered.

- Minimum lead time for delivery, installation and commissioning. The Authority would expect that delivery can be made as soon as practicable once the Purchase Order has been issued. However delivery, installation and commissioning must be completed by Sunday 25th March 2018 at the latest.

- Maintenance costs for 3 years including a breakdown of parts and labour, any callout charges and support costs (hourly rates) where relevant.

- The Cost (parts and labour) to carry out an examination on performance (under COSHH regulations) for 3 years.

- Details of Warranty provided including any extension costs.

- Details of any help and support available in case of problems/faults.

- Any other maintenance you believe is appropriate to support these cabinets.

- Details of quality standards with which your products comply.

- Prices for accessories including wheeled stands

Additionally, please indicate whether;-

- You offer a service to dispose of waste filters and if so what this entails and include details of costs

As the exact sizes of each particle cabinet are not known at this stage, quotes for compliant equipment will be evaluated on the total cost excluding VAT of;

- The supply of four (4) particle cabinets 1100mm wide (or nearest equivalent size);

- The delivery cost of one (1) cabinet to each of the four locations specified;

- The installation and commissioning of each cabinet at each location; and

- Total cost of three (3) years maintenance services for four (4) cabinets;

Please note any agreement signed with your Company will be subject to the Standard Home Office Terms and Conditions for Goods, and the GLS short form services contract (attached for reference).