## Drop Codes (hidden)
RoomClassification | IA | QualificationTest
Not Classified | Direct Impact | Yes
Grade A | Indirect Impact | No
Grade B | No Impact | n/a
Grade C
Grade D

## Appendix 1 URS
User Requirement Specification |  |  | CPI Internal Tender Reference & Title:- | 1147 | Framework for the Supply, Installation and Commissioning of Digital PCR Systems
| The evalution team will consider bidders combined responses below and give a single overall score based on the adjacent rating in column D, of which the total Quality element score of this sheet will equate to value in column G |  |  |  | The total percentage available which will contribute towards the Quality scoring element of this tender is contained within column G, of which the evaluation team will assess in the "Office Use Only" section below at the base of this form | 50%
USER REQUIREMENT |  |  |  |  | Tenderer Response
Requirement codes |  |  |  |  | Guidance: Tenderers must provide responses within the following Columns; 1. Column F - Please provide details of your equipment functionality in relation to CPI requirements specified in column E 2. Column G - Please confirm if your product complies with CPI's functionality requirements specified in Column E, by providing a Yes (Y) or No (N) response
M | Mandatory
O | Optional requirement which may be quoted for and an assessment made by CPI prior to purchase
D | Desirable, but not necessary - if this can be supplied. Tenderer should suggest alternative if appropriate
Parameter |  | Requirement |  | Requirement (M/O/D) -see codes | Answer or Details with regards to meeting the Requirement | Complies? (Y/N)
System performance and technical specifications
| System | A benchtop digital PCR system that provides absolute nucleic acid quantification. |  | M
| System | A system that partitions droplets, performs thermo cycling and imaging in a fully integrated instrument would be desirable. |  | D
| Application | The system should be capable of accurate quantification of viral genomes. Please provide evidence of how your system meets this criteria. |  | M
| Sensitivity | High sensitivity to detect low copy targets and for monitoring small changes in target levels, compared to qPCR. |  | M
| Throughput | The proposed system should have high throughtput and give high accuracy. Please provide a detailed explanation of how your system meets this criteria. A 96-sample format would be desirable. |  | D
| Speed | The system should deliver fast run times. A total run time of 2-3 hours would be preferable. |  | D
| Ease of workflow | The proposed workflow should have quick and simple workflows with minimal sample preparation time. A plate-based system would be desirable since it would be more amenable to automated sample preparation. |  | D
| Consumables | If associated consumables are required with the system, the consumable costs to run 30 samples should be included. If associated consumables are not available, the consumable costs to run 30 samples using commercially available reagents that have been validated with your system should be included. |  | M
| Software | Instrument software and an appropriate PC/laptop should be supplied. Software and an appropriate server for data analysis should be included. |  | M
| Software | If standalone software is required to analyse run data, costs for at least 3 licenses should be included. |  | D
Installation & Utilities
| Installation | Costs for installation at NBMC, Darlington should be included |  | M
| Site requirements | Size requirements should be detailed as should utilies required for function. |  | M
| Electrical Power | Requirements should be detailed |  | M
Regulatory, support and warranties
| Training | Full operator training on the safe operation of the equipment and associated software, routine maintenance and troubleshooting |  | M
| Support | Must be service engineers available for help/advice in the event of the system malfunctioning. A 3 year maintenance agreement would be desirable. |  | M
| Warranties | Warranty period should cover 36 months from installation |  | M
| CE Marking | The equipment shall be permanently CE marked to confirm that it is in accordance with all relevant EU directives, and a suitable conformance certificate shall be provided |  | M
Head Office: CPI, Wilton Centre, Wilton, Redcar, Cleveland, TS10 4RF, UNITED KINGDOM
Tel: +44 (0)1642 455 340 Email: info@uk-cpi.com Web: www.uk-cpi.com