Clarifications – 10 July 2017

Please see below details of the existing MUGA pitch. Falmouth Exeter Plus requires a like-for-like replacement, or an alternative comparable surface:-

The existing sand filled pitch is:

- Edel Elite PP 24mm.

The dimensions of the pitch are:

- 36.5m by 18.1m including goal recesses.

Approximate surface dressing required:

- 21 tonnes.

Line marking:

- 2 x 5-a-side D’s & goal lines.

- Centre spot.

- PLEASE NOTE: Lines for a tennis court are NOT a requirement.

Thank you.