## Instructions
Bidders are required to complete the following fields to show their offering relevant to the Lots that they are bidding for.
Cell B10 | Confirm whether you are bidding for this Lot by inserting "Yes" or "No"
Bidders MUST also indicate which Lots they are bidding for in their online Delta submission. The Delta selection will take precedence in the evaluation process and any Lots not selected in the online Delta submission will not be taken in to account in the evalution
Services offered must include
Row | Title | Guidance
16 | Pipette dismantled, leak tested, cleaned and inspected - Advise on Replacement of worn parts (Seals and O-rings Free of charge) | Process to be completed during service
17 | Certificate of calibration for each pipette | To be Provided for each Pipette on Completion
18 | Calibration to manufacturer’s specification | To be completed
19 | Two reading accuracy and precision check at min/max points | Price to be provided for
20 | Three reading accuracy and precision check at min/max points | Price to be provided for
21 | Multichannel – Two readings on every channel min& max points | Price to be provided for
Volume Discount
All costs appearing here are for information only and will not be scored as part of AW5.2 Pricing Schedule Evaluation, but are MANDATORY and require completion.
Bidders MUST indicate your prices for the following quantities of pipette servicing over the course of an onsite visit.
Row | Quantity
35 | 100
36 | 250
37 | 500
39 | 750
39 | 1000
All prices are the maximum prices payable for a minimum of 12 months
All prices are exclusive of VAT
It is assumed that UK standard delivery price shall be for Monday to Friday (excluding public holidays) between 8.00am and 5.00pm.
Bidders shall note that for the purpose of evaluation any additional comments on discounts for increased minimum order sizes shall not be considered.

## Cost Model
AW5.2 Price Schedule
SOURCING REFERENCE: | RE21225 |  |  | Bidders are required to complete all red highlighted cells. Where bidders are not offering a discounted price please ensure that you copy your list price into the discounted cell. For the avoidance of doubt the total compiled within cell (F24) will be used for the evaluation of this procurement.
SOURCING DOCUMENT TITLE: | UK SBS - Laboratory Consuamables
BIDDER NAME | [Bidder to add name]
LOT NUMBER AND TITLE | LOT 11 - SERVICING AND CALIBRATION
Bidder to confirm if they are bidding for this lot (Yes or No) | YES/NO
Item Number | Description | Quantity | List | Discounted | Total | Notes & Comments
|  |  | Price | Price | Price
1 | Pipette dismantled, leak tested, cleaned and inspected - Advise on Replacement of worn parts (Seals and O-rings Free of charge) | 1 | 0 | 0 | 0
2 | Certificate of calibration for each pipette | 1 | 0 | 0 | 0
3 | Calibration to manufacturer’s specification | 1 | 0 | 0 | 0
4 | Two reading accuracy and precision check at min/max points | 1 | 0 | 0 | 0
5 | Three reading accuracy and precision check at min/max points | 1 | 0 | 0 | 0
6 | Multichannel – Two readings on every channel min& max points | 1 | 0 | 0 | 0
TOTAL |  |  |  |  | 0
All prices are firm and fixed.
All prices are exclusive of VAT
Volume Discount | All costs appearing here are for information only and will not be scored as part of AW5.2 Pricing Schedule Evaluation but are mandatory and require completion. Please Indicate your prices for the following quantities of Pipette servicing over the course of an on-site clinic.
Item Number | Description | Quantity | List Price | Discounted Price | Total Price
1 | On Site Pipette Clinic | 100 | 0 | 0 | 0
2 | On Site Pipette Clinic | 250 | 0 | 0 | 0
3 | On Site Pipette Clinic | 500 | 0 | 0 | 0
4 | On Site Pipette Clinic | 750 | 0 | 0 | 0
5 | On Site Pipette Clinic | 1000 | 0 | 0 | 0
TOTAL |  |  |  |  | 0