Specification

Summer Works Painting and Decorating

Date May 2022

Contents

1.	Definitions	3

2.	Introduction	4

3.	Background	4

4.	Scope	4

5.	Quality Requirements	8

6.	Visits to Site, Access and Security	9

# Definitions

## “Agreement”

means:	The Framework Agreement or Contract for the provision of the Services, Supplies or Works, which will be awarded to a successful Supplier.

“Contract”

means:	The Framework Agreement or Contract for the provision of the Services, Supplies or Works, which will be awarded to a successful Supplier.

“Services”

means:	the provision of Sport Pitch Service and Maintenance for Plymouth Marjon University as described in this Specification.

“Supplier/Provider”

means:	any person or persons, firm or firms or company or companies applying to tender for the Services, Supplies or Works, or, where there is more than one organisation applying, the lead organisation.

“Supplies”

means:	The Supplies or materials as described in this Specification.

“Works”

means:	The Works as set out in this Specification in relation to Sport Pitch Service and Maintenance for Plymouth

“Plymouth Marjon University Contract Manager”

means:	the representative of Plymouth Marjon University responsible for arranging and leading Contract Review Meetings

“The Supplier’s Contract Manager”

means:	the representative of the Provider/Supplier responsible for attending Contract Review Meetings and actioning any changes

# Introduction

This specification:

    - sets the parameters of the service provision

    - makes clear the outcomes expected as a result of service delivery

    - forms part of the contract with the Supplier

# Background

The current Agreement has expired . Plymouth Marjon University proposes  to enter-into a “Contract” for a period of two (2) years plus a further two separate one (1) year periods subject to the University’s discretion. This term is subject to any termination rights contained within the Contract.

# Scope

Plymouth Marjon University requires the student accommodation to be painted during the summer recess.  The recess dates are from 12 July to 27 August.

Colours are to match existing colour schemes (40% of the scheme is Grey, 40% of the scheme is Cream, 10% of the scheme is White, and 10% of the scheme is Aqua)

Quotes are required for Durable Vinyl Matt (Armstead) with mould resistance for walls and trade gloss or silk for woodwork and doors as per original scheme.

Any door painted needs to be checked for correct closure without binding, any binding issues need to be eliminated before acceptance.

Number of rooms needed to be painted in each block are as follows: -

Exact rooms/ areas will be indicated before the painting commences, please note that not all rooms/ stairwells are being painted.

Husdson, Cromwell, Clark Halls.

Aprox size per bedroom is: corner rooms are 11.267m2, normal room size 9.435m2

Hudson 16 bedrooms, 6 hallways, 6 kitchens, 2 stairwells and landings, 10 % of the ceilings and Radiators

Cromwell 16 bedrooms, 6 kitchens, 2 stairwells and landings, 10 % of the ceilings and Radiators

Clark 16 bedrooms, 6 hallways, 6 kitchens and 2 stairwells and landings, 10 % of the ceilings and Radiators

Tuffnell, Kay-Shuttleworth, Coleridge Halls.

Aprox size per bedroom is: 8.834m2 (enabled room is 12.402m2)

Tuffnell 6 en-suite bedrooms, 4 non en-suite bedrooms, 6 hallways, 6 kitchens, 1 stairwell and landings, 10 % of the ceilings and Radiators

Kay-Shuttleworth 6 en-suite bedrooms, 4 non en-suite bedrooms, 6 hallways, 6 kitchens, 1 stairwell and landings, 10 % of the ceilings and Radiators

Coleridge 6 en-suite bedrooms, 4 non en-suite bedrooms, 6 hallways, 6 kitchens, 1 stairwell and landings, 10 % of the ceilings and Radiators

Dix Hall.

Dix hall, 10 bedrooms, 1 en-suite bedrooms, 6 hallways, 6 kitchens, 1 stairwell and landings, 10 % of the ceilings and Radiators

Village Houses.

Most of these rooms varies in size smallest 6.874m2 and largest 10.213m2

Village houses 1-38,

12 bedrooms split between 38 houses

38 x Kitchen areas

19 x Communal areas split between 38 houses

8 x stairwell and landings split between 38 houses

38 x bedrooms new low-level boxing only covering heating pipes requires undercoat/ top coat.

10 % of the ceilings and Radiators

Please note: Exact rooms/ areas will be indicated before the painting commences

Movable furniture, i.e., wardrobes, chests of draws and tables in rooms need to be moved to enable full wall coverage.  Furniture and carpets need to be covered.  Any paint on furniture, carpets, windows, mirrors, sinks and electrical fittings needs to be removed on completion of painting each room.

Examples of a selection of rooms:

The dates for these decorations are between 12th July to 27th August. The exact dates will be confirmed for each area once the contract has been awarded.

Normal working hours are 0800 – 1600 Monday to Friday.  Due to the timeframe, extra out of hours working may take place as long as the contractor has supervisor coverage on site when any decorating operative is working.  Opening and securing of accommodation out of hours will be arranged through security after agreement with Estates

All personnel must be trained in the correct use of the chemicals they are using and must adhere to COSHH and Health and Safety guidance.  Any chemicals stored overnight must be in a lockable COSHH storage container.

Paint and associated materials must be stored in a secure, inflammable container; an area will be set aside for this purpose.  No flammable materials should be left in the accommodation overnight.

Other maintenance works and deep cleaning will be taking place at the same time as this contract.  There needs to be flexibility of programme from both contractor and client to achieve all required work in the time frame available. To this end, a weekly progress meeting should be attended to reduce any interference factors for client or contractor, to be arranged with Estates and contractor at a mutually agreed date and time once contract is awarded.

On completion of each flat or house a Marjon staff representative will accept the area if deemed acceptable.

Individual Internal Decoration Cancellation Period Notice Period

The below table is the percentage of the decorating charge for the internal room that is cancelled, based on the notice provided by the University, and only where no substitute facility is provided.

| Cancellation Period | % payment of cost of decoration cancelled |
| --- | --- |
| Greater than 30 days | 0% |
| 25 to 30 days | 20% |
| 17 to 24 days | 40% |
| 11 to 16 Days | 60% |
| 6 to 10 days | 80% |
| Fewer than 6 days | 100% |

Please Note there are other areas of the Campus that may come vary into this contract during the lifetime of the contract.

# Quality Requirements

Staff Training - The supplier must ensure that all staff are suitably qualified for the works being completed and that this can be demonstrated through staff training records.

All staff must have an on-going training plan to ensure competency is maintained.

Risk Assessments will be carried out by the Supplier in advance of works being completed (for both facility, equipment and people hazard) and these documents must be provided upon request.

National and local guidance is to be complied with, including guidance by the relevant sporting National governing bodies.

# Visits to Site, Access and Security

Notice for site visits - The Supplier will inform the Contract manager of ALL site visits that are planned.

Reporting and working on site - All staff reporting to the campus on behalf of the Supplier will:

- have suitable protective work wear which must always clearly be labelled with the

Supplier’s name and worn whilst on Site.

- All Suppliers and Sub-Suppliers staff shall carry personal identification, issued by their employers.

- Report to the main reception desk. Giving their name, position and ID badge; vehicle registration number.

- All contractors are issued with a Contractor Pass from the Estates Office which they must wear at all times whilst on site and hand back when they leave campus or at the end of each day.

Site Security - The University shall reserve the right to deny access to or remove immediately

from the University’s site any such staff found not to be carrying the appropriate identification.

  - Vehicle Control

Whilst on campus the Supplier shall observe all Road Traffic Regulations, including the University’s traffic regulations, Statutory, Institution or manufacturers’ regulations and recommendations in respect of the operation and maintenance of vehicles used for the provision of the Services.

  - Parking on Site

The Supplier is responsible for ensuring that their staff are aware of the parking arrangements at the campus.

Parking on site is managed by ANPR. The driver should input the vehicle registration into the tablet at the Sport and Health centre reception for 3 hours parking. Parking required for longer than 3 hours should be arranged in advance via the Sports Centre Manager, Vehicles that are not registered are highly likely to be issued with a parking ticket that will be the responsibility of the Supplier to pay or appeal.

Please be aware the Sport and Health Centre and the Main campus systems are ran independently of each other.

  - Behaviour onsite

The Supplier shall ensure that all staff reporting and working on the campus are considerate to staff, students and general public. This includes the use of radios, inappropriate language or conversation directed at staff, students or general public and or behaviour targeted towards staff, students or general public.

  - Insurance

The Supplier shall produce evidence of adequate insurance, Employer’s and Public Liability cover before any Contract is awarded. Plymouth Marjon University shall be responsible for insurance of the Site during the contract period.

The Supplier shall submit copies of insurance Certificates on renewal of the relevant policies and in respect of any material changes to the insurance cover in respect of the Supplier’s business as it relates to the Contract to the University Procurement Department.

  - Plant and Equipment

The Supplier shall supply all plant and equipment required to undertake the services related to this Contract and shall ensure that all current legislative requirements are adhered to for all equipment and machinery including but not limited to; staff being suitable trained to use the equipment.

  - Environmental Issues

The Supplier is to comply with all relevant legislation, especially in regard to waste removal and documentation, which may be required.

The Supplier shall ensure that there is an auditable trail for the collection, transfer and disposal of waste. The full process must be open for inspection by the University if they so wish.

  - Advertisements

The Supplier shall not display any advertisement on site, unless agreed in writing by the University.

  - Audit Access

The Supplier will make available any documentation relating to this Contract that is requested for audit purposes.

If you would like this information in another format, please contact:

The Finance and Procurement Team Plymouth Marjon University Derriford Road, Plymouth, PL6 8BH Email: procurement@marjon.ac.uk