## SUMMARY
Anstey Community Centre - SUMMARY
Contract Sum Analysis
|  | Preliminaries | Area 1 - Community Hall (Including mezzanine 35m2) | Area 2 - Garage Extension | Area 3 - Refurbish Existing | External Works | TOTAL
The following is not an exhaustive schedule of priced works items required to comply with the Tender Documents. The Contractor shall include at the end of each work/elemental section or at the end of this section of the CSA all other work items he deems necessary to comply with the Tender Documents to provide a fixed price lump sum.
0 | SUMMARY
1 | PRELIMINARIES | 0 | Costed Separately for the entire project |  |  |  | 0
2 | FACILITATING WORKS / SUBSTRUCTURES |  | 0 | 0 | 0 | Not Applicable | 0
3 | SUPERSTRUCTURES |  | 0 | 0 | 0 | Not Applicable | 0
4 | INTERNAL FINISHES |  | 0 | 0 | 0 | Not Applicable | 0
5 | FITTINGS AND FURNITURE |  | 0 | 0 | 0 | Not Applicable | 0
6 | MECHANICAL & ELECTRICAL SERVICES INSTALLATIONS |  | 0 | 0 | 0 | Not Applicable | 0
7 | PREFRABICATED BUILDINGS AND BUILDING UNITS |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 0
8 | WORKS TO EXISTING BUILDINGS |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 0
9 | EXTERNAL WORKS |  | Not Applicable | Not Applicable | Not Applicable | 0 | 0
10 | FEES |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable | 0
11 | CONTRACTOR'S RISK ALLOWANCE/DESIGN DEVELOPMENT ALLOWANCES |  | 0 | 0 | 0 | 0 | 0
12 | OTHER WORKS |  | 0 | 0 | 0 | 0 | 0
13 | MAIN CONTRACTOR'S OVERHEADS AND PROFIT |  | 0 | 0 | 0 | 0 | 0
(Insert percentage to be applied to Contract works sub-total which shall become a non-adjustable fixed price sum)
14 | MAIN CONTRACTOR DIRECTOR'S ADJUSTMENT |  | 0 | 0 | 0 | 0 | 0
| Total Carried to Form of Tender | 0 | 0 | 0 | 0 | 0 | 0

## CSA (Preliminaries)
Anstey Community Centre (Preliminaries)
Contract Sum Analysis |  |  |  | £
The following is not an exhaustive schedule of priced works items required to comply with the Employer's Requirements. The Contractor shall include at the end of each work/elemental section or at the end of this section of the CSA all other work items he deems necessary to comply with the Employer's Requirements to provide a fixed price lump sum.
0 | SUMMARY
1 | PRELIMINARIES |  |  | 0
2 | FACILITATING WORKS / SUBSTRUCTURES |  |  | Not Applicable
3 | SUPERSTRUCTURES |  |  | Not Applicable
4 | INTERNAL FINISHES |  |  | Not Applicable
5 | FITTINGS AND FURNITURE |  |  | Not Applicable
6 | MECHANICAL & ELECTRICAL SERVICES INSTALLATIONS |  |  | Not Applicable
7 | PREFRABICATED BUILDINGS AND BUILDING UNITS |  |  | Not Applicable
8 | WORKS TO EXISTING BUILDINGS |  |  | Not Applicable
9 | EXTERNAL WORKS |  |  | Not Applicable
10 | FEES |  |  | Not Applicable
11 | CONTRACTOR'S RISK ALLOWANCE/DESIGN DEVELOPMENT ALLOWANCES |  |  | Not Applicable
12 | OTHER WORKS |  |  | Not Applicable
13 | MAIN CONTRACTOR'S OVERHEADS AND PROFIT | % |  | Not Applicable
| (Insert percentage to be applied to Contract works sub-total which shall become a non-adjustable fixed price sum) |  |  | Not Applicable
14 | MAIN CONTRACTOR DIRECTOR'S ADJUSTMENT | % |  | Not Applicable
| Total Carried to Summary |  | £ | 0
1 | PRELIMINARIES
Management of the Work
1.1 | Site Management
1.2 | Site Engineer
1.3 | Post Completion Management
1.4 | Attendance Labour/Gateman
1.5 | Works associated with Employer direct packages
1.6 | O & M Manuals/H & S File
1.7 | Site investigations / surveys
Site Accommodation
1.8 | Accommodation/facilities
1.9 | Other site accommodation, set up and removal
General Costs, Services and Facilities
1.1 | Lighting, power, water, fuel, consumption
1.11 | Telephones
1.12 | Safety, health and welfare
1.13 | Storage
1.14 | Removal of rubbish
1.15 | Cleaning
1.16 | Drying out works
1.17 | Road cleaning/wheel wash
1.18 | Tools and small plant
General Costs - Plant
1.19 | Cranes, hoist etc
1.2 | Plant generally
Temporary Works
1.21 | Temporary roads/pavings /hardstandings /compound
1.22 | Scaffolding - Generally
1.23 | Hoardings/fencing/fans
1.24 | Site Waste Management
Others
1.25 | Insurances
1.26 | Warranties
1.27 | Others (Contractor to list)
| Total Preliminaries Carried to Summary |  | £ | 0

## CSA (Area 1 - Community Hall)
Anstey Community Centre (Area 1 - Community Hall)
Contract Sum Analysis |  |  |  | £
The following is not an exhaustive schedule of priced works items required to comply with the Employer's Requirements. The Contractor shall include at the end of each work/elemental section or at the end of this section of the CSA all other work items he deems necessary to comply with the Employer's Requirements to provide a fixed price lump sum.
0 | COLLECTION
1 | PRELIMINARIES |  |  | Costed for entire project seperately
2 | FACILITATING WORKS / SUBSTRUCTURES |  |  | 0
3 | SUPERSTRUCTURES |  |  | 0
4 | INTERNAL FINISHES |  |  | 0
5 | FITTINGS AND FURNITURE |  |  | 0
6 | MECHANICAL & ELECTRICAL SERVICES INSTALLATIONS |  |  | 0
7 | PREFRABICATED BUILDINGS AND BUILDING UNITS |  |  | Not Applicable
8 | WORKS TO EXISTING BUILDINGS |  |  | Not Applicable
9 | EXTERNAL WORKS |  |  | Not Applicable
10 | FEES |  |  | Not Applicable
11 | CONTRACTOR'S RISK ALLOWANCE/DESIGN DEVELOPMENT ALLOWANCES |  |  | 0
12 | OTHER WORKS |  |  | 0
13 | MAIN CONTRACTOR'S OVERHEADS AND PROFIT | % |  | 0
| (Insert percentage to be applied to Contract works sub-total which shall become a non-adjustable fixed price sum) |  |  | 0
14 | MAIN CONTRACTOR DIRECTOR'S ADJUSTMENT | % |  | 0
| Total Carried to Summary |  | £ | 0
1 | PRELIMINARIES
Management of the Work
1.1 | Site Management |  |  | Provide costs on separate tab
1.2 | Site Engineer
1.3 | Post Completion Management
1.4 | Attendance Labour/Gateman
1.5 | Works associated with Employer direct packages
1.6 | O & M Manuals/H & S File
1.7 | Site investigations / surveys
Site Accommodation
1.8 | Accommodation/facilities
1.9 | Other site accommodation, set up and removal
General Costs, Services and Facilities
1.1 | Lighting, power, water, fuel, consumption
1.11 | Telephones
1.12 | Safety, health and welfare
1.13 | Storage
1.14 | Removal of rubbish
1.15 | Cleaning
1.16 | Drying out works
1.17 | Road cleaning/wheel wash
1.18 | Tools and small plant
General Costs - Plant
1.19 | Cranes, hoist etc
1.2 | Plant generally
Temporary Works
1.21 | Temporary roads/pavings /hardstandings /compound
1.22 | Scaffolding - Generally
1.23 | Hoardings/fencing/fans
1.24 | Site Waste Management
Others
1.25 | Insurances
1.26 | Warranties
1.27 | Others (Contractor to list)
| Total Preliminaries Carried to Summary |  | £ | 0
2 | FACILITATING WORKS/SUBSTRUCTURES
Facilitating Works Generally
2.1 | Site works and site clearance
2.2 | Excavation and filling
2.3 | Breaking out / filling softspots etc
2.4 | Others (Contractor to list)
| Total Facilitating Works Carried to Summary |  | £ | 0
Substructure Generally
2.5 | Site works and site clearance (N/A - included in external works)
2.6 | Excavation and filling
2.7 | Breaking out / filling softspots etc
2.8 | Others (Contractor to list)
Foundations
2.9 | Piling mat
2.1 | Piles - Contractor Design Portion - Provide Contractors Proposals with Tender
2.11 | Pile testing - Provide Contractors Proposals with Tender
2.12 | Ground Beams - Provide Contractors Proposals with Tender
2.13 | Others (Contractor to list)
Floor Slab
2.14 | Suspended beam and block floor
| Total Substructure Carried to Summary |  | £ | 0
3 | SUPERSTRUCTURE
Frame
3.1 | Steel frames; beams; columns
3.2 | Purlins
3.3 | Steel design
3.4 | Fire protection
3.5 | Wind posts
3.6 | Steel bracing
3.7 | Secondary Steelwork
3.8 | Steel fittings and connections - Contractor Design Portion - Provide Contractors Proposals with Tender
3.9 | Lintels
3.1 | Masonry support
3.11 | Others (Contractor to list)
| Total Carried Forward |  |  | 0
| Total Brought Forward |  |  | 0
3 | SUPERSTRUCTURE (CONT'D)
Upper floors
3.12 | Mezzanine floor to community store
Roof
3.13 | Kalzip sheet roofing over timber deck and rafters; to match existing; pitched
3.14 | Eaves detail
3.15 | Verge detail
3.16 | Ridge detail
3.17 | Roof gutters, gullies and downpipes
3.18 | Mansafe/latchway and fixing points
3.19 | Others (Contractor to list)
3.2 | Membrane roof with preformed flashing; reference 9
3.21 | Eaves detail
3.22 | Valley detail
3.23 | Junction between new and existing roof
3.24 | Hidden guttering detail
3.25 | Others (Contractor to list)
External Walls
3.26 | Brick faced cavity wall; red facing brickwork; reference 2
3.27 | Soldier course; to external wall
3.28 | Others (Contractor to list)
External Walls Sundries
3.29 | Lintels
3.3 | Movement joints
3.31 | Masonry sundries and insulation
3.32 | Cavity barriers and fire stopping
3.33 | Others (Contractor to list)
External Windows and Doors
3.34 | Windows; UPVC
3.35 | Glazed door sets; UPVC
3.36 | Glazed door sets; with glazed side screen; UPVC
3.37 | Galvanised steel security door set
3.38 | Others (Contractor to list)
Internal Walls and Partitions
3.39 | Blockwork walls
3.4 | Blockwork walls; double skin
3.41 | Blockwork walls; insulated cavity wall
3.42 | Masonry sundries
3.43 | Structural frame casings/enclosures
3.44 | Firestopping
3.45 | Lintels
3.46 | Others (Contractor to list)
| Total Carried Forward |  |  | 0
| Total Brought Forward |  |  | 0
3 | SUPERSTRUCTURE (CONT'D)
Internal Doors
3.47 | Doors, frames and architraves generally
3.48 | Fire rated doors, frames and architraves
3.49 | Fire rated doors, frames and architraves; with glazed side screen
3.5 | Glazed screens
3.51 | Others (Contractor to list)
| Total Superstructure Carried to Summary |  | £ | 0
4 | INTERNAL FINISHES
Wall Finishes
4.1 | External wall linings and plaster
4.2 | Plastering/make good existing walls
4.3 | Plasterboard to new walls
4.4 | Plasterboard to new walls; moisture resistant
4.5 | Wall tiling; splashbacks
4.6 | Window boards/reveals
4.7 | Air tightness measures
4.8 | Others (Contractor to list)
Floor Finishes
4.9 | Screeds
4.1 | Vinyl sheet flooring
4.11 | Vinyl plank flooring
4.12 | Dividing strips/flooring sundries
4.13 | Timber skirting
4.14 | Coved skirtings
4.15 | Recessed matwell
4.16 | Others (Contractor to list)
Ceiling Finishes
4.17 | MF ceilings/linings; including edgings
4.18 | MF ceilings/linings; insulation; including edgings
4.19 | Demountable suspended ceilings; including edgings
4.2 | Ceiling sundries including shadow gaps etc
4.21 | Bulkheads
4.22 | Cavity barriers
4.23 | Access hatches
4.24 | Others (Contractor to list)
Decoration
4.25 | Vinyl silk emulsion paint to plastered walls
4.26 | Vinyl silk emulsion paint to blockwork walls
4.27 | Emulsion paint to plastered ceilings
4.28 | Gloss paint to skirtings
4.29 | Gloss paint to frames/architraves
4.3 | Gloss paint to window boards
4.31 | Others (Contractor to list)
| Total Internal Finishes Carried to Summary |  | £ | 0
5 | FITTINGS AND FURNITURE
FF&E
5.1 | Kitchenette fittings
5.2 | White goods
5.3 | Door stops
5.4 | Acrylic mirrors; 700 x 450
5.5 | Coat hooks
5.6 | Door and wall grab rails
5.7 | Toilet roll dispensers
5.8 | Soap dispensers
5.9 | Wall mounted baby changing unit
5.1 | Others (Contractor to list)
Signage
5.11 | External lighting
5.12 | Way finder signage
5.13 | Others (Contractor to list)
| Total Fittings and Furniture Carried to Summary |  | £ | 0
6 | MECHANICAL & ELECTRICAL SERVICES INSTALLATIONS
Sanitary Installations
6.1 | Sink with taps; to kitchenette
6.2 | Ceramic toilet and seat; exposed cistern
6.3 | Wash hand basin; thermostatic taps; one tap hole
6.4 | Wash hand basin; with full pedestal; thermostatic taps; two tap holes
6.5 | Disabled WC packs; including wash hand basin and grab rails
6.6 | Eco hand dryer
6.7 | Others (Contractor to list)
Disposal Installations
6.8 | Allowance for rainwater pipe installation
6.9 | Others (Contractor to list)
Services Installation
6.1 | Mechanical services installation - Provide Contractors Proposals with Tender
6.11 | Electrical services installation - Provide Contractors Proposals with Tender
6.12 | Others (Contractor to list)
Builders Work in Connection with Services
6.13 | Allowance for builders's work in connection with services
6.14 | Others (Contractor to list)
| Total Mechanical and Electrical Services Installations Carried to Summary |  | £ | 0
7 | PREFRABICATED BUILDINGS AND BUILDING UNITS |  |  | Not Applicable
| Total Prefabricated Buildings & Building Units Carried to Summary |  | £ | Not Applicable
8 | WORKS TO EXISTING BUILDINGS |  |  | Not Applicable
| Total Works to Existing Buildings Carried to Summary |  | £ | Not Applicable
9 | EXTERNAL WORKS |  |  | Not Applicable
| Total External Works Carried to Summary |  | £ | Not Applicable
10 | FEES |  |  | Not Applicable
| Total Fees Carried to Summary |  | £ | Not Applicable
11 | CONTRACTOR'S RISK ALLOWANCE/DESIGN DEVELOPMENT ALLOWANCES FOR CONTRACTOR DESIGN PORTION
11.1 | (Contractor to list)
| Total Contractor's Risk Carried to Summary |  | £ | 0
12 | OTHER WORKS
12.1 | The Contractor is to identify any other items not included in
the above Contract Sum Analysis that require pricing to
complete the construction of the work.
| Total Other Works Carried to Summary |  | £ | 0
13 | MAIN CONTRACTOR'S OVERHEADS AND PROFIT | 0%
(Insert percentage to be applied to Contract works sub-total which shall become a non-adjustable fixed price sum)
| Total Main Contractors OH&P Carried to Summary |  | £ | 0
14 | MAIN CONTRACTOR DIRECTOR'S ADJUSTMENT
| Total Main Contractors Directors Adjustment Carried to Summary |  | £ | 0

## CSA (Area 2 - Garage)
Anstey Community Centre (Area 2 - Garage)
Contract Sum Analysis |  |  |  | £
The following is not an exhaustive schedule of priced works items required to comply with the Employer's Requirements. The Contractor shall include at the end of each work/elemental section or at the end of this section of the CSA all other work items he deems necessary to comply with the Employer's Requirements to provide a fixed price lump sum.
0 | SUMMARY
1 | PRELIMINARIES |  |  | Costed for entire project seperately
2 | FACILITATING WORKS / SUBSTRUCTURES |  |  | 0
3 | SUPERSTRUCTURES |  |  | 0
4 | INTERNAL FINISHES |  |  | 0
5 | FITTINGS AND FURNITURE |  |  | 0
6 | MECHANICAL & ELECTRICAL SERVICES INSTALLATIONS |  |  | 0
7 | PREFRABICATED BUILDINGS AND BUILDING UNITS |  |  | Not Applicable
8 | WORKS TO EXISTING BUILDINGS |  |  | Not Applicable
9 | EXTERNAL WORKS |  |  | Not Applicable
10 | FEES |  |  | Not Applicable
11 | CONTRACTOR'S RISK ALLOWANCE/DESIGN DEVELOPMENT ALLOWANCES |  |  | 0
12 | OTHER WORKS |  |  | 0
13 | MAIN CONTRACTOR'S OVERHEADS AND PROFIT | % |  | 0
(Insert percentage to be applied to Contract works sub-total which shall become a non-adjustable fixed price sum)
14 | MAIN CONTRACTOR DIRECTOR'S ADJUSTMENT | % |  | 0
| Total Carried to Summary |  | £ | 0
1 | PRELIMINARIES
Management of the Work
1.1 | Site Management |  |  | Provide costs on separate tab
1.2 | Site Engineer
1.3 | Post Completion Management
1.4 | Attendance Labour/Gateman
1.5 | Works associated with Employer direct packages
1.6 | O & M Manuals/H & S File
1.7 | Site investigations / surveys
Site Accommodation
1.8 | Accommodation/facilities
1.9 | Other site accommodation, set up and removal
General Costs, Services and Facilities
1.1 | Lighting, power, water, fuel, consumption
1.11 | Telephones
1.12 | Safety, health and welfare
1.13 | Storage
1.14 | Removal of rubbish
1.15 | Cleaning
1.16 | Drying out works
1.17 | Road cleaning/wheel wash
1.18 | Tools and small plant
General Costs - Plant
1.19 | Cranes, hoist etc
1.2 | Plant generally
Temporary Works
1.21 | Temporary roads/pavings /hardstandings /compound
1.22 | Scaffolding - Generally
1.23 | Hoardings/fencing/fans
1.24 | Site Waste Management
Others
1.25 | Insurances
1.26 | Warranties
1.27 | Others (Contractor to list)
| Total Preliminaries Carried to Summary |  | £ | 0
2 | FACILITATING WORKS/SUBSTRUCTURES
Facilitating Works Generally
2.1 | Site works and site clearance
2.2 | Excavation and filling
2.3 | Breaking out / filling softspots etc
2.4 | Others (Contractor to list)
| Total Facilitating Works Carried to Summary |  | £ | 0
Substructure Generally
2.5 | Site works and site clearance (N/A - included in external works)
2.6 | Excavation and filling
2.7 | Breaking out / filling softspots etc
2.8 | Others (Contractor to list)
Foundations
2.9 | Piling mat
2.1 | Piles - Contractor Design Portion - Provide Contractors Proposals with Tender
2.11 | Pile testing - Provide Contractors Proposals with Tender
2.12 | Ground Beams - Provide Contractors Proposals with Tender
2.13 | Others (Contractor to list)
Floor Slab
2.14 | Suspended beam and block floor
2.15 | Car Park ramp
2.16 | Others (Contractor to list)
| Total Substructure Carried to Summary |  | £ | 0
3 | SUPERSTRUCTURE
Frame
3.1 | Steel frames; beams; columns
3.2 | Purlins
3.3 | Steel design
3.4 | Fire protection
3.5 | Wind posts
3.6 | Steel bracing
3.7 | Secondary Steelwork
3.9 | Steel fittings and connections - Contractor Design Portion - Provide Contractors Proposals with Tender
3.1 | Lintels
3.11 | Masonry support
3.12 | Others (Contractor to list)
| Total Carried Forward |  |  | 0
| Total Brought Forward |  |  | 0
3 | SUPERSTRUCTURE (CONT'D)
| Upper floors |  |  | Not Applicable
Roof
3.13 | Kalzip sheet roofing over timber deck and rafters; to match existing; pitched
3.14 | Eaves detail
3.15 | Verge detail
3.16 | Ridge detail
3.17 | Roof gutters, gullies and downpipes
3.18 | Mansafe/latchway and fixing points
3.19 | Junction between new and existing roof
3.2 | Others (Contractor to list)
External Walls
3.21 | Brick faced cavity wall; red facing brickwork
3.22 | Soldier course; to external wall
3.23 | Others (Contractor to list)
External Walls Sundries
3.24 | Lintels
3.25 | Movement joints
3.26 | Masonry sundries and insulation
3.27 | Cavity barriers and fire stopping
3.28 | Others (Contractor to list)
External Windows and Doors
3.29 | Electronically operated roller shutter doors
3.3 | Others (Contractor to list)
| Internal Walls and Partitions |  |  | Not Applicable
| Internal Doors |  |  | Not Applicable
| Total Superstructure Carried to Summary |  | £ | 0
4 | INTERNAL FINISHES
| Wall Finishes |  |  | Not Applicable
Floor Finishes
4.1 | Screeds; power float finish
4.2 | Polish and seal floor
4.3 | Others (Contractor to list)
| Ceiling Finishes |  |  | Not Applicable
Decoration
4.4 | Vinyl silk emulsion to new blockwork
4.5 | Vinyl silk emulsion to existing blockwork
4.6 | Others (Contractor to list)
| Total Internal Finishes Carried to Summary |  | £ | 0
5 | FITTINGS AND FURNITURE
| FF&E |  |  | Not Applicable
Signage
5.1 | Others (Contractor to list)
| Total Fittings and Furniture Carried to Summary |  | £ | 0
6 | MECHANICAL & ELECTRICAL SERVICES INSTALLATIONS
Sanitary Installations
Disposal Installations
6.1 | Allowance for rainwater pipe installation
6.2 | Others (Contractor to list)
Services Installation
6.3 | Mechanical services installation - Provide Contractors Proposals with Tender
6.4 | Electrical services installation - Provide Contractors Proposals with Tender
6.5 | Others (Contractor to list)
Builders Work in Connection with Services
6.6 | Allowance for builders's work in connection with services
6.7 | Others (Contractor to list)
| Total Mechanical and Electrical Services Installations Carried to Summary |  | £ | 0
7 | PREFRABICATED BUILDINGS AND BUILDING UNITS |  |  | Not Applicable
| Total Prefabricated Buildings & Building Units Carried to Summary |  | £ | Not Applicable
8 | WORKS TO EXISTING BUILDINGS |  |  | Not Applicable
| Total Works to Existing Buildings Carried to Summary |  | £ | Not Applicable
9 | EXTERNAL WORKS |  |  | Not Applicable
| Total External Works Carried to Summary |  | £ | Not Applicable
10 | FEES |  |  | Not Applicable
| Total Fees Carried to Summary |  | £ | Not Applicable
11 | CONTRACTOR'S RISK ALLOWANCE/DESIGN DEVELOPMENT ALLOWANCES
11.1 | (Contractor to list)
| Total Contractor's Risk Carried to Summary |  | £ | 0
12 | OTHER WORKS
12.1 | The Contractor is to identify any other items not included in
the above Contract Sum Analysis that require pricing to
complete the construction of the work.
| Total Other Works Carried to Summary |  | £ | 0
13 | MAIN CONTRACTOR'S OVERHEADS AND PROFIT | 0%
(Insert percentage to be applied to Contract works sub-total which shall become a non-adjustable fixed price sum)
| Total Main Contractors OH&P Carried to Summary |  | £ | 0
14 | MAIN CONTRACTOR DIRECTOR'S ADJUSTMENT
| Total Main Contractors Directors Adjustment Carried to Summary |  | £ | 0

## CSA (Area 3 - Refurb Works)
Anstey Community Centre (Area 3 - Refurb Works)
Contract Sum Analysis/Schedules of Work |  |  |  | £
The following is not an exhaustive schedule of priced works items required to comply with the Employer's Requirements. The Contractor shall include at the end of each work/elemental section or at the end of this section of the CSA all other work items he deems necessary to comply with the Employer's Requirements to provide a fixed price lump sum.
0 | SUMMARY
1 | PRELIMINARIES |  |  | Costed for entire project seperately
2 | FACILITATING WORKS / SUBSTRUCTURES |  |  | 0
3 | SUPERSTRUCTURES |  |  | 0
4 | INTERNAL FINISHES |  |  | 0
5 | FITTINGS AND FURNITURE |  |  | 0
6 | MECHANICAL & ELECTRICAL SERVICES INSTALLATIONS |  |  | 0
7 | PREFRABICATED BUILDINGS AND BUILDING UNITS |  |  | Not Applicable
8 | WORKS TO EXISTING BUILDINGS |  |  | Not Applicable
9 | EXTERNAL WORKS |  |  | Not Applicable
10 | FEES |  |  | Not Applicable
11 | CONTRACTOR'S RISK ALLOWANCE/DESIGN DEVELOPMENT ALLOWANCES |  |  | 0
12 | OTHER WORKS |  |  | 0
13 | MAIN CONTRACTOR'S OVERHEADS AND PROFIT | % |  | 0
(Insert percentage to be applied to Contract works sub-total which shall become a non-adjustable fixed price sum)
14 | MAIN CONTRACTOR DIRECTOR'S ADJUSTMENT | % |  | 0
| Total Carried to Summary |  | £ | 0
1 | PRELIMINARIES
Management of the Work
1.1 | Site Management |  |  | Provide costs on separate tab
1.2 | Site Engineer
1.3 | Post Completion Management
1.4 | Attendance Labour/Gateman
1.5 | Works associated with Employer direct packages
1.6 | O & M Manuals/H & S File
1.7 | Site investigations / surveys
Site Accommodation
1.8 | Accommodation/facilities
1.9 | Other site accommodation, set up and removal
General Costs, Services and Facilities
1.1 | Lighting, power, water, fuel, consumption
1.11 | Telephones
1.12 | Safety, health and welfare
1.13 | Storage
1.14 | Removal of rubbish
1.15 | Cleaning
1.16 | Drying out works
1.17 | Road cleaning/wheel wash
1.18 | Tools and small plant
General Costs - Plant
1.19 | Cranes, hoist etc
1.2 | Plant generally
Temporary Works
1.21 | Temporary roads/pavings /hardstandings /compound
1.22 | Scaffolding - Generally
1.23 | Hoardings/fencing/fans
1.24 | Site Waste Management
Others
1.25 | Insurances
1.26 | Warranties
1.27 | Others (Contractor to list)
| Total Preliminaries Carried to Summary |  | £ | 0
2 | FACILITATING WORKS/SUBSTRUCTURES
Facilitating Works Generally
2.1 | Site works and site clearance |  |  | Not Applicable
2.2 | Excavation and filling |  |  | Not Applicable
2.3 | Breaking out / filling softspots etc |  |  | Not Applicable
2.4 | Others (Contractor to list) |  |  | Not Applicable
Demolition/Alteration Works
2.5 | Service disconnections |  |  | Not Applicable
2.6 | Asbestos surveys |  |  | Not Applicable
2.7 | Remove single internal doors; dispose off site
2.8 | Remove 140mm wide internal walls; dispose off site; make good walls, ceilings and floor as required
2.9 | Remove 300mm wide internal walls; dispose off site ; make good walls, ceilings and floor as required
2.1 | Demolish existing single doors; block up opening; make good walls and floor as required; to office 2
2.11 | Form opening; circa 1010 x 2100; to office 3
2.12 | Remove existing window, opening adjusted; circa 1600 x 600 to 1600 x 1050; new double glazed window unit (measured elsewhere) make good walls and floor as required; to existing female WC (new kitchen area)
2.13 | Remove existing window; block up opening; circa 650 x 650; make good walls and floor as required; to existing kitchen
2.14 | Remove existing window; block up opening; circa 700 x 600; make good walls and floor as required; to new female WC
2.15 | Remove existing window; block up opening; circa 1550 x 600; make good walls and floor as required; to existing female WC (new kitchen area)
2.16 | Form new opening in existing load bearing wall; circa 2400 x 2100; including lintel; make good walls and floor as required; through to new garage
2.17 | Form new opening in existing load bearing wall; circa 2450 x 4500; including lintel; make good walls and floor as required
2.18 | Demolish low level wall with plinth to existing garage/store; approximately 500 high
2.19 | Demolish existing kitchen, units and worktops; dispose off site
2.2 | Demolish existing kitchen hatch; dispose off site
2.21 | Remove WC's; dispose off site; to male and female wc's
2.22 | Remove urinals; dispose off site; to male wc
2.23 | Remove Vanity Unit; including 2nr WHB's; to male wc
2.24 | Remove Vanity Unit; including 3nr WHB's; to female wc
2.25 | Remove cubicle; range of 1 with end panel; dispose off site; to male wc
| Total Carried Forward |  |  | 0
| Total Brought Forward |  |  | 0
2 | FACILITATING WORKS/SUBSTRUCTURES (CONT'D)
Demolition/Alteration Works (Cont'd)
2.26 | Remove cubicles; range of 3; dispose off site; to female wc
2.27 | Remove urinal privacy screen; to male wc
2.28 | Demolish existing kitchen, units and worktops; dispose off site
2.29 | Demolish existing kitchen hatch; dispose off site |  |  | Excluded
2.3 | Remove WC's; dispose off site; to male and female wc's
2.31 | Remove urinals; dispose off site; to male wc
2.32 | Remove Vanity Unit; including 2nr WHB's; to male wc
2.33 | Remove Vanity Unit; including 3nr WHB's; to female wc
2.34 | Remove cubicle; range of 1 with end panel; dispose off site; to male wc
2.35 | Remove cubicles; range of 3; dispose off site; to female wc
2.36 | Remove urinal privacy screen; to male wc
2.37 | Remove Doc M pack; dispose off site; to disabled WC
2.38 | Allowance for removal of Electrical elements located within walls due to be removed
2.39 | Allowance for removal of Mechanical elements located within walls due to be removed
2.4 | Refurbishment allowance to existing garage
2.41 | Others (Contractor to list)
| Total Facilitating Works Carried to Summary |  | £ | 0
| Substructure Generally |  |  | Not Applicable
| Foundations |  |  | Not Applicable
| Floor Slab |  |  | Not Applicable
| Total Substructure Carried to Summary |  | £ | 0
3 | SUPERSTRUCTURE
| Frame |  |  | Not Applicable
| Upper floors |  |  | Not Applicable
Roof
3.1 | Others (Contractor to list)
| External Walls (captured with refurbishment works) |  |  | Not Applicable
External Windows and Doors
3.2 | Windows; UPVC
3.3 | Windows; sliding; UPVC
3.4 | UPVC Glazed door sets
3.5 | Others (Contractor to list)
Internal Walls and Partitions
3.6 | Blockwork walls
3.7 | Masonry sundries
3.8 | Structural frame casings/enclosures
3.9 | Firestopping
3.1 | Lintels
3.11 | Range of 1nr toilet cubicle; end panel; to male WC
3.12 | Range of 3nr toilet cubicles; no end panel; 1nr cubicle to be accessible with contrasting grab rails with outward opening door; to new female WC
3.13 | Others (Contractor to list)
Internal Doors
3.14 | Doors, frames and architraves generally
3.15 | Fire rated doors, frames and architraves
3.16 | Serving kitchen hatch; 1 hour fire resistant |  |  | Excluded
3.17 | Others (Contractor to list)
| Total Superstructure Carried to Summary |  | £ | 0
4 | INTERNAL FINISHES
Wall Finishes
4.1 | External wall linings and plaster
4.2 | Plasterboard/make good existing walls
4.3 | Plasterboard to new walls
4.4 | Plasterboard to new walls; moisture resistant
4.5 | Wall tiling
4.6 | Window cills/reveals
4.7 | Air tightness measures
4.8 | Others (Contractor to list)
| Total Carried Forward |  |  | 0
| Total Brought Forward |  |  | 0
4 | INTERNAL FINISHES (CONT'D)
Floor Finishes
4.9 | Screeds
4.1 | Vinyl sheet flooring
4.11 | Vinyl plank flooring
4.12 | Carpet tiling
4.13 | Dividing strips/flooring sundries
4.14 | Timber skirting
4.15 | Coved skirtings
4.16 | Recessed matwell
4.17 | Make good existing floor finishes (as required)
4.18 | Others (Contractor to list)
Ceiling Finishes
4.19 | MF ceilings/linings; including edgings; flat
4.2 | MF ceilings/linings; insulation; including edgings; flat
4.21 | MF ceilings/linings; insulation; including edgings; sloped
4.22 | Demountable suspended ceilings; including edgings
4.23 | Ceiling sundries including shadow gaps etc
4.24 | Bulkheads
4.25 | Cavity barriers
4.26 | Access hatches
4.27 | Make good existing ceiling finishes (as required)
4.28 | Others (Contractor to list)
Decoration
4.29 | Vinyl silk emulsion paint; to plastered walls
4.3 | Emulsion paint; to plastered ceilings
4.31 | Gloss paint to skirtings
4.32 | Gloss paint to frames/architraves
4.33 | Make good existing decoration (as required)
4.34 | Others (Contractor to list)
| Total Internal Finishes Carried to Summary |  | £ | 0
5 | FITTINGS AND FURNITURE
FF&E
5.1 | Kitchen Fittings
5.2 | White goods
5.3 | Door stops
5.4 | Acrylic mirrors; 700 x 450
5.5 | Coat Hooks
5.6 | Door and wall grab rails
5.7 | Toilet Roll Dispenser
| Total Carried Forward |  |  | 0
| Total Brought Forward |  |  | 0
5 | FITTINGS AND FURNITURE (CONT'D)
FF&E (CONT'D)
5.8 | Soap Dispenser
5.9 | Wall mounted baby changing unit
5.1 | Vanity unit; solid grade laminate; for 2nr wash hand basins (measured elsewhere); to male wc
5.11 | Vanity unit; solid grade laminate; for 3nr wash hand basins (measured elsewhere); to female wc
Signage
5.12 | External lighting
5.13 | Way finder signage
5.14 | Others (Contractor to list)
| Total Fittings and Furniture Carried to Summary |  | £ | 0
6 | MECHANICAL & ELECTRICAL SERVICES INSTALLATIONS
Sanitary Installations
6.1 | Ceramic toilet and seat; exposed cistern
6.2 | Urinals; exposed cistern
6.3 | Wash hand basin; within vanity unit (measured elsewhere); thermostatic taps
6.4 | Disabled WC pack; including wash hand basin and grab rails
6.5 | Others (Contractor to list)
Disposal Installations
6.6 | Others (Contractor to list)
Services Installation
6.7 | Mechanical services installation - Provide Contractors Proposals with Tender
6.8 | Electrical services installation - Provide Contractors Proposals with Tender
6.9 | PV panels |  |  | Excluded
6.1 | Others (Contractor to list)
Builders Work in Connection with Services
6.11 | Allowance for builders's work in connection with services
6.12 | Others (Contractor to list)
| Total Mechanical and Electrical Services Installations Carried to Summary |  | £ | 0
7 | PREFRABICATED BUILDINGS AND BUILDING UNITS |  |  | Not Applicable
| Total Prefabricated Buildings & Building Units Carried to Summary |  | £ | Not Applicable
8 | WORKS TO EXISTING BUILDINGS |  |  | Not Applicable
| Total Works to Existing Buildings Carried to Summary |  | £ | Not Applicable
9 | EXTERNAL WORKS |  |  | Not Applicable
| Total External Works Carried to Summary |  | £ | Not Applicable
10 | FEES |  |  | Not Applicable
| Total Fees Carried to Summary |  | £ | Not Applicable
11 | CONTRACTOR'S RISK ALLOWANCE/DESIGN DEVELOPMENT ALLOWANCES
11.1 | (Contractor to list)
| Total Contractor's Risk Carried to Summary |  | £ | 0
12 | OTHER WORKS
12.1 | The Contractor is to identify any other items not included in
the above Contract Sum Analysis that require pricing to
complete the construction of the work.
| Total Other Works Carried to Summary |  | £ | 0
13 | MAIN CONTRACTOR'S OVERHEADS AND PROFIT | 0%
(Insert percentage to be applied to Contract works sub-total which shall become a non-adjustable fixed price sum)
| Total Main Contractors OH&P Carried to Summary |  | £ | 0
14 | MAIN CONTRACTOR DIRECTOR'S ADJUSTMENT
| Total Main Contractors Directors Adjustment Carried to Summary |  | £ | 0

## CSA (External Works)
Anstey Community Centre (External Works)
Contract Sum Analysis |  |  |  | £
The following is not an exhaustive schedule of priced works items required to comply with the Employer's Requirements. The Contractor shall include at the end of each work/elemental section or at the end of this section of the CSA all other work items he deems necessary to comply with the Employer's Requirements to provide a fixed price lump sum.
0 | SUMMARY
1 | PRELIMINARIES |  |  | Costed for entire project seperately
2 | FACILITATING WORKS / SUPERSTRUCTURES |  |  | Not Applicable
3 | SUPERSTRUCTURES |  |  | Not Applicable
4 | INTERNAL FINISHES |  |  | Not Applicable
5 | FITTINGS AND FURNITURE |  |  | Not Applicable
6 | MECHANICAL & ELECTRICAL SERVICES INSTALLATIONS |  |  | Not Applicable
7 | PREFRABICATED BUILDINGS AND BUILDING UNITS |  |  | Not Applicable
8 | WORKS TO EXISTING BUILDINGS |  |  | Not Applicable
9 | EXTERNAL WORKS |  |  | 0
10 | FEES |  |  | Not Applicable
11 | CONTRACTOR'S RISK ALLOWANCE/DESIGN DEVELOPMENT ALLOWANCES |  |  | 0
12 | OTHER WORKS |  |  | 0
13 | MAIN CONTRACTOR'S OVERHEADS AND PROFIT | % |  | 0
(Insert percentage to be applied to Contract works sub-total which shall become a non-adjustable fixed price sum)
14 | MAIN CONTRACTOR DIRECTOR'S ADJUSTMENT | % |  | 0
| Total Carried to Summary |  | £ | 0
1 | PRELIMINARIES
Management of the Work
1.1 | Site Management |  |  | Provide costs on separate tab
1.2 | Site Engineer
1.3 | Post Completion Management
1.4 | Attendance Labour/Gateman
1.5 | Works associated with Employer direct packages
1.6 | O & M Manuals/H & S File
1.7 | Site investigations / surveys
Site Accommodation
1.8 | Accommodation/facilities
1.9 | Other site accommodation, set up and removal
General Costs, Services and Facilities
1.1 | Lighting, power, water, fuel, consumption
1.11 | Telephones
1.12 | Safety, health and welfare
1.13 | Storage
1.14 | Removal of rubbish
1.15 | Cleaning
1.16 | Drying out works
1.17 | Road cleaning/wheel wash
1.18 | Tools and small plant
General Costs - Plant
1.19 | Cranes, hoist etc
1.2 | Plant generally
Temporary Works
1.21 | Temporary roads/pavings /hardstandings /compound
1.22 | Scaffolding - Generally
1.23 | Hoardings/fencing/fans
1.24 | Site Waste Management
Others
1.25 | Insurances
1.26 | Warranties
1.27 | Others (Contractor to list)
| Total Preliminaries Carried to Summary |  | £ | 0
2 | FACILITATING WORKS/SUBSTRUCTURES |  |  | Not Applicable
| Total Facilitating Works/Substructures Carried to Summary |  | £ | Not Applicable
3 | SUPERSTRUCTURE |  |  | Not Applicable
| Total Superstructure Carried to Summary |  | £ | Not Applicable
4 | INTERNAL FINISHES |  |  | Not Applicable
| Total Internal Finishes Carried to Summary |  | £ | Not Applicable
5 | FITTINGS AND FURNITURE |  |  | Not Applicable
| Total Fittings and Furniture Carried to Summary |  | £ | Not Applicable
6 | MECHANICAL & ELECTRICAL SERVICES INSTALLATIONS |  |  | Not Applicable
| Total Mechanical and Electrical Services Installations Carried to Summary |  | £ | Not Applicable
7 | PREFRABICATED BUILDINGS AND BUILDING UNITS |  |  | Not Applicable
| Total Prefabricated Buildings & Building Units Carried to Summary |  | £ | Not Applicable
8 | WORKS TO EXISTING BUILDINGS |  |  | Not Applicable
| Total Works to Existing Buildings Carried to Summary |  | £ | Not Applicable
9 | EXTERNAL WORKS
External Works
9.1 | Site strip
9.2 | Reduce levels; maximum depth not exceeding 2m; disposal of excavated material off site (assumed inactive waste)
9.3 | Retaining wall; circa 975 high
9.4 | Remove tarmac; dispose off site
9.5 | Remove bollards; dispose off site
9.6 | Remove medium tree; dispose off site |  |  | Excluded
9.7 | Remove large tree; dispose off site |  |  | Excluded
9.8 | Remove existing white lining
9.9 | Tarmac
9.1 | Tie in detail between tarmac and existing
9.11 | White lining
9.12 | Hatching and symbols
9.13 | 450 x 450 riven faced paving slabs
9.14 | Topsoil and seeding |  |  | Excluded
9.15 | Soft landscaping |  |  | Excluded
9.16 | Existing hedge trimmed back and retained |  |  | Excluded
9.17 | New Bollards |  |  | Excluded
9.18 | Ramps to ramps (as required)
9.19 | Others (Contractor to list)
M&E
9.2 | Electric car chargers |  |  | Excluded
9.21 | Services connections (assume current supply sufficient)
9.22 | External Lighting; wall mounted fittings
9.23 | Others (Contractor to list)
Drainage
Foul drainage
9.24 | Pipe runs; 150 diameter pipe; average depth not exceeding 500
9.25 | Pipe runs; 150 diameter pipe; average depth 500-1000
9.26 | Drain runs; 150 diameter pipe; average depth 1000-1500
9.27 | Drain runs; 150 diameter pipe; average depth 1500-2000
9.28 | Drain runs; 150 diameter pipe; average depth 2000-2500
9.29 | Drain runs; 150 diameter pipe; average depth 2500-3000
9.3 | Pipe runs to SvP; 150 diameter pipe; average depth 500
9.31 | PPIC; 450 diameter
9.32 | Connect into existing foul manhole
9.33 | Existing foul water to be made redundant
9.34 | Allowance for sewer connections
9.35 | Foul oulets
9.36 | Others (Contractor to list)
| Total Carried Forward |  |  | 0
| Total Brought Forward |  |  | 0
Drainage (Cont'd)
Storm drainage
9.37 | Pipe runs; 100 diameter pipe; average depth not exceeding 500
9.38 | Pipe runs; 100 diameter pipe; average depth 500-1000
9.39 | Drain runs; 100 diameter pipe; average depth 1000-1500
9.4 | Drain runs; 100 diameter pipe; average depth 1500-2000
9.41 | Pipe runs to RWP; 100 diameter pipe; average depth 500
9.42 | Channel drain and sump
9.43 | PPIC; 450 diameter
9.44 | PPIC; 450 diameter; break into existing sewer
9.45 | Manhole; 1200 diameter; including Hydrobrake
9.46 | Cellular attenuation tank
9.47 | Connect into existing SW sewer
9.48 | Allowance for existing surface water sewer to be made redundant
9.49 | Others (Contractor to list)
| Total External Works Carried to Summary |  | £ | 0
10 | FEES |  |  | Not Applicable
| Total Fees Carried to Summary |  | £ | Not Applicable
11 | CONTRACTOR'S RISK ALLOWANCE/DESIGN DEVELOPMENT ALLOWANCES
11.1 | (Contractor to list)
| Total Contractor's Risk Carried to Summary |  | £ | 0
12 | OTHER WORKS
12.1 | The Contractor is to identify any other items not included in
the above Contract Sum Analysis that require pricing to
complete the construction of the work.
| Total Other Works Carried to Summary |  | £ | 0
13 | MAIN CONTRACTOR'S OVERHEADS AND PROFIT | 0%
(Insert percentage to be applied to Contract works sub-total which shall become a non-adjustable fixed price sum)
| Total Main Contractors OH&P Carried to Summary |  | £ | 0
14 | MAIN CONTRACTOR DIRECTOR'S ADJUSTMENT
| Total Main Contractors Directors Adjustment Carried to Summary |  | £ | 0