## Strainless Steel
1076 - Valves Framework (Lot 1) |  |  |  | Supplier Name
Item Description | Size | Pressure / Temperature | Supplier | Your Product Code | Quantity Required(Per Unit) | Price per Pack | Delivery Time (In Days) | Comments
Nuts | 1/8"
Nuts | 1/4"
Nuts | 3/8"
Nuts | 3mm
Nuts | 6mm
Nuts | 10mm
Front Ferrules | 1/8"
Front Ferrules | 1/4"
Front Ferrules | 3/8"
Front Ferrules | 3mm
Front Ferrules | 6mm
Front Ferrules | 10mm
Back Ferrules | 1/8"
Back Ferrules | 1/4"
Back Ferrules | 3/8"
Back Ferrules | 3mm
Back Ferrules | 6mm
Back Ferrules | 10mm
Caps | 1/8"
Caps | 1/4"
Caps | 3/8"
Caps | 3mm
Caps | 6mm
Caps | 10mm
Plugs | 1/8"
Plugs | 1/4"
Plugs | 3/8"
Plugs | 3mm
Plugs | 6mm
Plugs | 10mm
Reducing Union | 1/4" to 1 /8"
Reducing Union | 3/8" to 1/4"
Reducing Union | 6 mm to 1/8"
Reducing Union | 8 mm to 1/4"
Reducing Union | 10 mm to 6 mm
Reducing Union | 10 mm to 8 mm
T Pieces | 1/8"
T Pieces | 1/4"
T Pieces | 3/8"
Reducing T Pieces | 1/2" x 1/2" x 1/4"
Reducing T Pieces | 3/8" x 3/8" x 1/4"
Union cross pieces | 1/8"
Union cross pieces | 1/4"
Union cross pieces | 3/8"
Elbows, 90° | 1/8"
Elbows, 90° | 1/4"
Elbows, 90° | 3/8"
Bulk head unions | 1/8"
Bulk head unions | 1/4"
Bulk head unions | 3/8"
Male adaptors tube to pipe | 1/4" x 1/8"
Male adaptors tube to pipe | 1/2" x 1/4"
Male adaptors tube to pipe | 3/4 "x 3/4"
Female adaptors, tube in, NPT thread | 1/8" x 1/4" NPT
Female adaptors, tube in, NPT thread | 1/4" x 1/4" NPT
Female adaptors, tube in, NPT thread | 3/4" x 1/2" NPT
Female to BSP | 1/4" x 1/4" BSP
Female to BSP | 3/8" x 1/4" BSP
Female to BSP | 1/2" x 1/4" BSP
Ball valves | 1/8" | -60°C - 200°C
Ball valves | 1/4" | -60°C - 200°C
Ball valves | 3/8" | -60°C - 200°C
Needle valves | 1/8"
Needle valves | 1/4"
Needle valves | 3/8"
Vernier valves | 1/8" | -60°C - 200°C
Vernier valves | 1/4" | -60°C - 200°C
Stainless tubing, thin walled | 1/8" | -60°C - 200°C
Stainless tubing, thin walled | 1/4" | -60°C - 200°C
Stainless tubing, thin walled | 3/8" | -60°C - 200°C
Braided hoses (approx. 1.2 M) | 1/4" | -60°C - 200°C
Braided hoses (approx. 1.2 M) | 1/2" | -60°C - 200°C
Tubing adaptors | 1/4"
Tubing adaptors | 1/2"

## PFA
1076 - Valves Framework (Lot 1) |  |  |  | Supplier Name
Item Description | Size | Pressure / Temperature | Supplier | Your Product Code | Quantity Required(Per Unit) | Price per Pack | Delivery Time (In Days) | Comments
Nuts | 1/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Nuts | 1/4" | Min. 6 bar at Room Temp / -20°C - 200°C
Nuts | 3/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Front Ferrules | 1/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Front Ferrules | 1/4" | Min. 6 bar at Room Temp / -20°C - 200°C
Front Ferrules | 3/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Back Ferrules | 1/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Back Ferrules | 1/4" | Min. 6 bar at Room Temp / -20°C - 200°C
Back Ferrules | 3/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Caps | 1/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Caps | 1/4" | Min. 6 bar at Room Temp / -20°C - 200°C
Caps | 3/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Plugs | 1/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Plugs | 1/4" | Min. 6 bar at Room Temp / -20°C - 200°C
Plugs | 3/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Reducing Union | 3/8" to 1 /4" | Min. 6 bar at Room Temp / -20°C - 200°C
Reducing Union | 1/2" to 1/4" | Min. 6 bar at Room Temp / -20°C - 200°C
Reducing Union | 1/2" to 3/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Union Tees | 1/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Union Tees | 1/4" | Min. 6 bar at Room Temp / -20°C - 200°C
Union Tees | 3/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Unions | 1/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Unions | 1/4" | Min. 6 bar at Room Temp / -20°C - 200°C
Unions | 3/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Union Elbows | 1/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Union Elbows | 1/4" | Min. 6 bar at Room Temp / -20°C - 200°C
Union Elbows | 3/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Bulk head unions | 1/4" | Min. 6 bar at Room Temp / -20°C - 200°C
Male connectors | 1/8" x 1/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Male connectors | 1/4" x 1/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Male connectors | 1/4" x 1/4" | Min. 6 bar at Room Temp / -20°C - 200°C
Male connectors | 3/8" x 1/4" | Min. 6 bar at Room Temp / -20°C - 200°C
Male connectors | 3/8 "x 3/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Male connectors | 1/2" x 3/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Male connectors | 1/2" to 1/2" | Min. 6 bar at Room Temp / -20°C - 200°C
Tube cutter |  | Min. 6 bar at Room Temp / -20°C - 200°C
Grove cutter |  | Min. 6 bar at Room Temp / -20°C - 200°C
Tubing, wall thickness 0.03 | 1/8" | Min. 6 bar at Room Temp / -20°C - 200°C
Tubing, wall thickness 0.062 | 1/4" | Min. 6 bar at Room Temp / -20°C - 200°C
Tubing, wall thickness 0.062 | 3/8" | Min. 6 bar at Room Temp / -20°C - 200°C

## PRVs & NRVs
1076 - Valves Framework (Lot 1) |  |  |  | Supplier Name
Item Description | Size | Pressure / Temperature | Supplier | Your Product Code | Quantity Required(Per Unit) | Price per Pack | Delivery Time (In Days) | Comments
Relief valve 10 Bar at 25°C | 1/4" | -20°C - 200°C
Relief valve 10 Bar at 25°C | 1/2" | -20°C - 200°C
Spring kit | 1/4" | -20°C - 200°C
Spring kit | 1/2" | -20°C - 200°C
Seal kit, buna | 1/4" | -20°C - 200°C
Seal kit, EP | 1/4" | -20°C - 200°C
Seal kit, neoprene | 1/4" | -20°C - 200°C
Seal kit, FKM | 1/4" | -20°C - 200°C
Seal kit, buna | 1/2" | -20°C - 200°C
Seal kit, EP | 1/2" | -20°C - 200°C
Seal kit, neoprene | 1/2" | -20°C - 200°C
Seal kit, FKM | 1/2" | -20°C - 200°C
SS Poppet Check Valve, Adjustable Pressure | 1/8" | -20°C - 200°C
SS Poppet Check Valve, Adjustable Pressure 10 Bar at 25°C | 1/4" | -20°C - 200°C
SS Poppet Check Valve, Adjustable Pressure 10 Bar at 25°C | 3/8" | -20°C - 200°C
SS Poppet Check Valve, Adjustable Pressure 10 Bar at 25°C | 1/2" | -20°C - 200°C
SS Poppet Check Valve, Fixed Pressure | 1/8" | -20°C - 200°C
SS Poppet Check Valve, Fixed Pressure | 1/4" | -20°C - 200°C
SS Poppet Check Valve, Fixed Pressure | 3/8" | -20°C - 200°C
SS Poppet Check Valve, Fixed Pressure | 1/2" | -20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C
-20°C - 200°C

## Pressure Gauges
1076 - Valves Framework (Lot 1) |  |  |  | Supplier Name
Item Description | Size | Pressure / Temperature | Supplier | Your Product Code | Quantity Required(Per Unit) | Price per Pack | Delivery Time (In Days) | Comments
64 mm |  | 0-12 bar
64 mm |  | 0-20 bar
100 mm |  | vacuum to 1.0 bar
100 mm |  | 0 to 1.0 bar
100 mm |  | 0 to 5 bar

## Filters and Gaskets
1076 - Valves (Lot 1) |  |  |  | Supplier Name
Item Description | Size | Pressure / Temperature | Supplier | Your Product Code | Quantity Required(Per Unit) | Price per Pack | Delivery Time (In Days) | Comments
Elements kit 0.5 um | 1/8"
Elements kit 0.5 um | 1/4"
Elements kit 0.5 um | 3/8"
Elements kit 0.5 um | 1/2"
Elements kit 7 um | 1/8"
Elements kit 7 um | 1/4"
Elements kit 7 um | 3/8"
Elements kit 7 um | 1/2"
Elements kit 40 um | 1/8"
Elements kit 40 um | 1/4"
Elements kit 40 um | 3/8"
Elements kit 40 um | 1/2"
Gaskets | 1/8"
Gaskets | 1/4"
Gaskets | 3/8"
Gaskets | 1/2"