## AC Register
AIR CONDITIONING SYSTEMS REGISTER | [12 empty] | Replacement System Required | New System Required | Remedial Work Required | Investigate fault / repair as required | Deep Clean | Install insulation to external pipework | Install correct size filters | Outdoor local isolator Req'd. | Service & Maintenance Req'd
Plant | Location | Ref No. | Internal Unit |  |  |  | External Unit |  |  |  | Gas Type | Gas Volume | [9 empty] | Notes & Comments
|  |  | Make | Model | Placement | Serial Number | Make | Model | Placement | Serial Number
Teesside Management Offices | RECEPTION | TMO/1 | FUJITSU | AUY18RLD | CASSETTE | T003390 | FUJITSU | AOY18RZBL | OUTSIDE FLOOR | T001577 | [10 empty] | ü
Teesside Management Offices | OFFICE 1F Printer Room | N/A
Teesside Management Offices | OFFICE 2F HR / Payroll | TMO/2 | FUJITSU | AUY25RLC-W | WALL MOUNTED | T003468 | FUJITSU | AOY25RZBL | OUTSIDE FLOOR | T003005 | R22 | 2.1KG | [8 empty] | ü
Teesside Management Offices | OFFICE 3F M. Buttita | TMO/3 | MITSUBISHI ELEC | SLZKA50VA | CASSETTE | 05M00923 | MITSUBISHI ELEC | SUZ-KA50VAZ | OUTSIDE FLOOR | 04P00291 | R410A | 1.6KG | [8 empty] | ü
Teesside Management Offices | OFFICE 4F L. Gooding | TMO/4 | MITSUBISHI ELEC | SLZKA50VA | CASSETTE | 05M00921 | MITSUBISHI ELEC | SUZKA50VZ | OUTSIDE FLOOR | 04P00296 | R410A | 1.6KG | [8 empty] | ü
Teesside Management Offices | OFFICE 5F Plantroom | N/A
Teesside Management Offices | OFFICE 6F K. Dickinson | TMO/6 | MITSUBISHI HEAVY | SRK35ZMP-S | TBC | 753315523BE | MITSUBISHI HEAVY | SRC35ZMP-S | ROOF | 777022018BE | R410A | 800G | [8 empty] | ü
Teesside Management Offices | OFFICE 7F Conference Room.1 | TMO/7 | FUJITSU | AUYR18RLD | WALL MOUNTED | T002818 | FUJITSU | AOY18RZBL | ROOF | T001121 | R22 | 1.57KG | ü | [7 empty] | ü | Replacement fan unit & chiller unit required - LARGE ROOM
Teesside Management Offices | OFFICE 8F STSC Finance | TMO/8 | MITSUBISHI ELEC | SLZKA50VA | CASSETTE | 05M00939 | MITSUBISHI ELEC | SUZ-KA50VAZ | GROUND OUTSIDE | 04P00311 | R410A | 1.6KG |  |  | ü | ü |  |  |  |  | ü | ???
Teesside Management Offices | OFFICE 9F STSC Procurement | TMO/9 | FUJITSU | AUY24LUAR | CASSETTE | T002836 | FUJITSU | AOY24LMAKL | OUTSIDE FLOOR | T0007812 | R410A | 1.8KG | ü | [7 empty] | ü | Replacement fan unit & chiller unit required
Teesside Management Offices | OFFICE 10F A. Teague | TMO/10 | MITSUBISHI HEAVY | SRK35ZMP-S | WALL MOUNTED | 753315515BE | MITSUBISHI HEAVY | SRC35ZMP-S | ROOF | 777022007BE | [10 empty] | ü
Teesside Management Offices | OFFICE 11F Conference Room.2 | TMO/11 | MITSUBISHI ELEC | PLA-P2.5KA | CASSETTE | 4C000783 | MITSUBISHI ELEC | PUHP2.5VGAA | ROOF | 3E001304 | R407C | 3.1KG |  |  | ü |  |  | ü |  |  | ü
Teesside Management Offices | OFFICE 12F A. Whittingham | TMO/12 | FUJITSU | ASY9FSBCW | WALL MOUNTED | E013658 | FUJITSU | AOY9F | ROOF | NOT VISIBLE | R22 | NOT VISIBLE |  |  | ü |  |  | ü |  | ü | ü
Teesside Management Offices | OFFICE 13F CEO | TMO/13 | MITSUBISHI ELEC | PLA-P2.5KA | CASSETTE | 3M003017 | MITSUBISHI ELEC | PUHP2.5GAA | ROOF | 3B000310 | R407C | 3.1KG |  |  | ü |  |  | ü |  |  | ü
Teesside Management Offices | OFFICE 14F J.H. Mason | TMO/14 | FUJITSU | ASY12RSGCW | CASSETTE | E032956 | FUJITSU | NOT VISIBLE | ROOF | NOT VISIBLE | R22 | NOT VISIBLE | ü | [7 empty] | ü | Replacement fan unit & chiller unit required
Teesside Management Offices | OFFICE 15F STDC Procurement | TMO/15 | FUJITSU | ASY12RSGCW | WALL MOUNTED | E033324 | FUJITSU | AOY12RSG | ROOF | E015203 | R22 | 1.1KG | ü | [7 empty] | ü | Replacement fan unit & chiller unit required
Teesside Management Offices | OFFICE 16F J. McNicholas | TMO/16 | MITSUBISHI HEAVY | SRK45ZMP-S | WALL MOUNTED | 753407545BE | MITSUBISHI HEAVY | SRC45ZMP-S | ROOF | 776109155BE | R410A | 1.2KG | [8 empty] | ü
Teesside Management Offices | OFFICE 17F STDC Team | TMO/17 | FUJITSU | ASY12RSGCW | CASSETTE | E023600 | FUJITSU | AOY12RSGC | ROOF | E015201 | R22 | 1.1KG |  |  | ü | ü |  | ü |  | ü | ü | Leaking water - clean/repair damaged drain pipes
Teesside Management Offices | OFFICE 18F Server Room | TMO/18 | [11 empty] | ü | [6 empty] | ü | New fan unit & chiller unit required
Teesside Management Offices | 1st Flr Kitchen (Pending Building Mods) | TMO/19 | [11 empty] | ü | [6 empty] | ü | New fan unit & chiller unit required
Teesside Management Offices | Gnd Flr Open Office (Near IT Dept.) | TMO/G2 | FUJITSU | A520RGB | WALL MOUNTED | T000103 | FUJITSU | AOY20RMAL | OUTSIDE FLOOR | T000913 | R22 | 1.95KG | ü | [7 empty] | ü | Replacement fan unit & chiller unit required
Teesside Management Offices | Gnd Flr Open Office (Near Main Entrance / EHS) | TMO/G1 | FUJITSU | ASY14RSE-W | WALL MOUNTED | 4044456 | FUJITSU | AOY14RGD | OUTSIDE FLOOR | O07937912 | R22 | 1.1KG | ü | [7 empty] | ü | Replacement fan unit & chiller unit required
Teesside Management Offices | Gnd Flr Meeting Room (EHS Records Library) | TMO/G3 | FUJITSU | ASY14RS-W | CASSETTE | 4057000 | FUJITSU | AOY14RGD | OUTSIDE FLOOR | O01074612 | R22 | 1.1KG | [8 empty] | ü
Teesside Management Offices | Gnd Flr Projects Conf Room. 3 | TMO/G4 | FUJITSU | AUY18FBAB | CASSETTE | T0001044 | FUJITSU | AOY18FNCKL | OUTSIDE FLOOR | T000637 | R410A | 800G | [8 empty] | ü
Teesside Management Offices | Gnd Flr Open Office (Projects - Corridor end) | TMO/G6 | FUJITSU | AUY36RLA3W | CASSETTE | T001887 | FUJITSU | AOY36RCF3L | OUTSIDE FLOOR | T001703 | R22 | 3KG | [8 empty] | ü
Teesside Management Offices | Gnd Flr Open Office (Projects - Stairwell end) | TMO/G5 | FUJITSU | AUY36RLA3W | CASSETTE | T001875 | FUJITSU | AOY36REF3L | OUTSIDE GROUND | T001898 | R22 | 3KG | [8 empty] | ü
Teesside Management Offices | Gnd Flr Projects N. Beard | TMO/G7 | [11 empty] | ü | [6 empty] | ü | New fan unit & chiller unit required
Teesside Management Offices | Gnd Flr Projects STSC | TMO/G8 | [11 empty] | ü | [6 empty] | ü | New fan unit & chiller unit required
Teesside Management Offices | Gnd Flr Projects STDC | TMO/G9 | [11 empty] | ü | [6 empty] | ü | New fan unit & chiller unit required
Redcar Area Workshop Offices | FD11 Structural Team | RAW/11 | MITSUBISHI ELEC | PLA-RP71BA | CASSETTE | 7E02572 | MITSUBISHI ELEC | PUHZ-RP140VKA | ROOF | 6D001222 | R410A | 4.5KG |  |  | ü |  | ü | ü |  |  | ü
Redcar Area Workshop Offices | FD11 Structural Team | RAW/12 | MITSUBISHI ELEC | PLARP71BA | CASSETTE | 7E02492 | MITSUBISHI ELEC | PUHZ-P140VHA | ROOF | 6D001222 | R410A | 4.5KG |  |  | ü | ü | ü |  |  |  | ü | Deep Clean Required & Repairs Required
Redcar Area Workshop Offices | FD13 P&D Control Room | RAW/13 | FUJITSU | ASYA18LCC | WALL MOUNTED | E014117 | FUJITSU | AOY18LCC | ROOF | E004737 | R410A | 1.15KG |  |  | ü | ü | ü |  |  | ü | ü | Deep Clean Required & Repairs Required
Redcar Area Workshop Offices | FD14 R. North | RAW/14 | FUJITSU | ASA12LCC | WALL MOUNTED | E071678 | FUJITSU | NOT VISIBLE | ROOF | E070903 | R410A | 1.05KG | [8 empty] | ü
Redcar Area Workshop Offices | FD15 R. Lavan | RAW/15 | FUJITSU | ASY07LCC | WALL MOUNTED | E002576 | FUJITSU | AOYRO7LCC | ROOF | E005259 | R410A | 900G | [7 empty] | ü | ü
Redcar Area Workshop Offices | FD16 G. Rowling | RAW/16 | FUJITSU | ASYA07LCC | WALL MOUNTED | E002544 | FUJITSU | NOT VISIBLE | ROOF | NOT VISIBLE | R410A | NOT VISIBLE | [7 empty] | ü | ü
Redcar Area Workshop Offices | FD18 EDC Shift Manager | RAW/1 | FUJITSU | ASY12FSBCW | WALL MOUNTED | E021064 | FUJITSU | NOT VISIBLE | ROOF | NOT VISIBLE | R410A | NOT VISIBLE | [7 empty] | ü | ü
Redcar Area Workshop Offices | FD19 S. Wilson | RAW/2 | FUJITSU | ASY12FSBCW | WALL MOUNTED | E021051 | FUJITSU | NOT VISIBLE | ROOF | NOT VISIBLE | R410A | NOT VISIBLE | [7 empty] | ü | ü
Redcar Area Workshop Offices | FD21 M. Guess | RAW/3 | FUJITSU | ABY14FPLOC | WALL MOUNTED | E002543 | FUJITSU | NOT VISIBLE | ROOF | NOT VISIBLE | R410A | NOT VISIBLE | [8 empty] | ü
Redcar Area Workshop Offices | FD22 J. Noteyoung | RAW/17 | FUJITSU | ABY12F58CW | CASSETTE | E021029 | FUJITSU | NOT VISIBLE | ROOF | NOT VISIBLE | R410A | NOT VISIBLE | [7 empty] | ü | ü
Redcar Area Workshop Offices | FD23 D. Havelock | RAW/4 | FUJITSU | ASY12FSBCW | WALL MOUNTED | E021066 | FUJITSU | NOT VISIBLE | ROOF | NOT VISIBLE | R410A | NOT VISIBLE | [7 empty] | ü | ü
Redcar Area Workshop Offices | FD28 PABX Computer Room | RAW/20 | [11 empty] | ü | [6 empty] | ü | New fan unit & chiller unit required - LARGE ROOM
Redcar Area Workshop Offices | FD30 LV Elect. Dist Team | RAW/18 | FUJITSU | ABY24FNBK | UNDER CEILING | T001349 | FUJITSU | AOY24FNBK | 1ST FLOOR BALCONY | T003244 | R410A | 1.55KG | [8 empty] | ü
Redcar Area Workshop Offices | FD39 Conference Room.1 | RAW/10 | FUJITSU | AUY36FUAS | WALL MOUNTED | T000212 | FUJITSU | AOY36FNAXT | ROOF | T000281 | R410A | 2KG | [8 empty] | ü
Redcar Area Workshop Offices | FD40 C. North | RAW/21 | [11 empty] | ü | [6 empty] | ü | New fan unit & chiller unit required
Redcar Area Workshop Offices | FD42 P. Noteyoung | RAW/5 | FUJITSU | ASYRFSBCW | WALL MOUNTED | E023166 | FUJITSU | AOYRFSBC | ROOF | E020896 | R410A | 720G | [7 empty] | ü | ü
Redcar Area Workshop Offices | FD46 Conference Room.2 | RAW/6 | FUJITSU | AUY25ELA-W | CASSETTE | T000955 | FUJITSU | AOY25EMAL | ROOF | T001447 | R407C | 2.1KG | [8 empty] | ü
Redcar Area Workshop Offices | FD47 S. Atkinson / LV Elect Engineers | RAW/7 | FUJITSU | AUY25ELA/W | WALL MOUNTED | T000892 | FUJITSU | AOY25EMAL | ROOF | T001445 | R407C | 2.1KG |  |  | ü | ü |  |  |  |  | ü | Investigate Fault No display on control unit Repair as Required
Redcar Area Workshop Offices | FD48 Fuel Technicians | RAW/8 | FUJITSU | AUY36ELB3W | CASSETTE | T00276 | FUJITSU | AOY36EPA3L | ROOF | T002652 | R407C | 2.3KG | [8 empty] | ü
Redcar Workshops Electrical | Gnd Flr Elect. W/Shop | RAW/9 | FUJITSU | ASY12 | [16 empty] | ü
Redcar Workshops Electrical | Gnd Flr Elect. Supervisor Office | RAW/19 | FUJITSU | R407E | [8 empty] | ü | [7 empty] | ü | Replacement fan unit & chiller unit required
BOS Labs | Lab Offices S. Lowrey / G. Smith | BOS/01 | FUJITSU | ASY18LEC | UNDER CEILING | E000887 | FUJITSU | AOYR18LEC | OUTSIDE WALL | E001701 | R410A | 1.2KG |  |  | ü |  |  |  | ü |  | ü
RCO by products | Control Room | RCO/01 | MITSUBISHI HEAVY | SRK63ZM-S | WALL MOUNTED | 532601295BE | MITSUBISHI HEAVY | SRC63ZM-S | OUTSIDE FLOOR | 578200201BE | R410A | 1.8KG |  |  | ü | ü |  |  |  |  | ü | Remote Control not working
RCO by products | Computer Room near control | RCO/02 | MITSUBISHI HEAVY | SRK63ZM-S | WALL MOUNTED | 532601310BE | MITSUBISHI HEAVY | SRC63-ZM-S | OUTSIDE FLOOR | 578200199BE | R410A | 1.8KG | [8 empty] | ü
RMH OC4 Garage Workshop | Locker Room | RMH/01 | TOSHIBA | RAV-SM104CT-E | WALL MOUNTED | 21130127 | TOSHIBA | SM2804ATE-E | OUTSIDE WAY | 301N0256 | R410A | 5.9KG |  |  | ü | ü | ü |  |  |  | ü | Investigate Fault shows E18 on control display Repair as Required ¦ Strip down and Deep Clean
RMH OC4 Garage Workshop | Locker Room | RMH/02 | TOSHIBA | RAV-SM104CT-E | UNDER CEILING | 2K30126 | TOSHIBA | SM2804AT8-E | OUTSIDE WALL | 301N0256 | R410A | 5.9KG |  |  | ü | ü | ü |  |  |  | ü | Investigate Fault shows E18 on control display Repair as Required ¦ Strip down and Deep Clean
RMH OC4 Garage Workshop | Mess Room | RMH/03 | TOSHIBA | RAVSM806KRT-E | WALL MOUNTED | 32100254 | TOSHIBA | RAVSM1403ATE-E1 | OUTSIDE WALL | 30140665 | R410A | 2.8KG |  |  | ü |  | ü |  |  |  | ü | Strip down and Deep Clean
RMH OC4 Garage Workshop | Mess Room | RMH/04 | TOSHIBA | RAVSM806KRT-E | WALL MOUNTED | 22500311 | TOSHIBA | RAVSM1403AT-E1 | OUTSIDE WALL | 30140665 | R410A | 2.8KG |  |  | ü |  | ü |  |  |  | ü | Strip down and Deep Clean
RPS | Computer Room 2nd Floor | RPS/01 | RITTAL TOP-THERM | SK3273500 | PANEL COOLER | NOT VISIBLE |  |  |  |  | R134A | 700G | [8 empty] | ü
RPS | Computer Room 2nd Floor | RPS/02 | RITTAL TOP-THERM | SK3273500 | PANEL COOLER | 2013D0204795 |  |  |  |  | R134A | 700G | [8 empty] | ü
RPS | Computer Room 2nd Floor | RPS/03 | RITTAL TOP-THERM | SK3384500 | PANEL COOLER | NOT VISIBLE |  |  |  |  | R134A | 700G | [8 empty] | ü
Tech Centre (M5 RTC) | S15 2nd Floor Computer Room | RTC/01 | [11 empty] | ü | [6 empty] | ü | New fan unit & chiller unit required
[13 empty] | 7 | 8 | 15 | 8 | 7 | 5 | 1 | 10 | 59
Note on V2: Procurement: To be installed by STSC LV Electrical Team