## Cost Bathroom
Christian Action Housing Association, Benedict House, 61 Island Centre Way, Enfield, EN3 6GS A charity incorporated as a Community Benefit Society, reference 23577R Registered Office as above Registered with the Homes & Communities Agency (LH0676) A member of the National Housing Federation Tel: 01992 765 900
Bathroom Programme 2018/19
CODE | JOB | DESCRIPTION | UNIT | RATE | QTY | TOTAL
630901 | BATH:RENEW 1700MM STEEL WITH TAPS | Bath:Renew upto 1700mm heavy duty steel bath complete with taps, waste, plug, chain, trap service valves, bath panels, splashback, silicone sealant, make all connections, crossbond, test. | NO |  | 1 | 0
630703 | BASIN:RENEW COMPLETE WITH PEDESTAL | Basin:Renew wash hand basin size ne 560x406mm complete with pedestal, taps, waste, service valves,chain, trap, make all connections, test, splashback, silicone sealant, crossbond. | NO |  | 1 | 0
630707 | BASIN:DISCONNECT AND REMOVE | Basin:Remove basin including brackets/pedestal complete, disconect and seal off pipework. | NO |  | 1 | 0
630503 | WC SUITE:RENEW LOW LEVEL WITH CHINA CISTERN | WC Suite:Renew wc suite complete with pan, 6 litre china low level cistern, service valve, make flush, soil pipe joints with Easy-Fit connectors, test all joints, plastic seat and lid. | NO |  | 1 | 0
432303 | FLOOR TILES:HACK UP VINYL TILES | Floor Tiles:Hack off vinyl floor tiles and clear away, incl make good bed under. | SM |  | 5 | 0
431003 | WALL TILES:HACK OFF AND MAKE GOOD | Wall Tiles:Hack off glazed wall tiling, make good bed. | SM |  | 6 | 0
431007 | WALL TILES:RENEW OR FIX NEW GLAZED TILES | Wall Tiles:Clean off walls, fix new ne 152x152x 6mm glazed ceramic wall tiles to splashback and cills with adhesive, grout, edge strips, cutting, hack off glazed wall tiling, make good, remove spoil. | SM |  | 6 | 0
432603 | SHEET FLOORING:RENEW POLYSAFE AND SUB-BASE | Sheet Flooring:Take up any covering, clear away, supply and lay Polysafe safety flooring with adhesive to and including approved sheet sub-base, cutting, all labours, upstands and clean off. | SM |  | 9 | 0
442501 | SURFACES:APPLY BACTDET AND HALOPHEN | Surfaces:Prepare, wash down with RLT Bactdet solution, prepare and apply one coat RLT Halophen solution to walls or ceilings in accordance with manufacturers directions, 2 coats of Biocheck matt. | SM |  | 11 | 0
450001 | ROOM:REDECORATE UPTO 20SM CEILING AREA | Room:Rub down, prepare for and apply two coats of emulsion to ceilings and walls, one undercoat and gloss on all painted surfaces of any room ne 20.00sm ceiling area (room height over 3.00m). | IT |  | 1 | 0
631337 | TAP:RENEW BATH MIXER WITH SHOWER ATTACHMENT | Tap:Renew mixer tap with shower hose attachment to bath, turn off/on water supply, remove/refix bath panel and studding to gain access, test and made good. | IT |  | 1 | 0
635001 | PIPE:RENEW OR INSTALL 15MM COPPER | Pipe:Renew or fix new any 15mm diameter pipe with copper pipe fixed with clips and including all made bends, connectors, fittings and any adaptors for jointing to pipes of other material. | LM |  | 4 | 0
856615 | BATHROOM LED LIGHT FITTING:RENEW WITH SEALED UNIT | Bathroom LED Light Fitting:Renew existing with or install sealed bathroom light fitting complete with lamp and diffuser, test and make good | NO |  | 1 | 0
305101 | FLOORING:RENEW IN 19MM PLYWOOD | Flooring:Renew any flooring with 19mm WBP plywood including denial joists, remove spoil, punch in nails, level to existing and make good including additional noggins/support battens as required. | SM |  | 9 | 0
460033 | DWELLING:PROVIDE MINI SKIP FOR RUBBISH | Dwelling:Provide mini skip or equivalent for removal of excessive domestic rubbish etc., to tip, including costs of landfill tax (only to be charged when ordered by CA). | NO |  | 1 | 0
841005 | FAN:RENEW VARIABLE SPEED TIMER | Fan:Isolate/reconnect supply, renew plastic cased through-wall or ducted condensation control fan variable speed motor, timer, 14-22 litre/second at variable speed, wall grille, tests, make good. | NO |  | 1 | 0
570003 | SHOWER SCREEN:RENEW GLASS OVER BATH | Shower Screen:Renew framed glass over bath shower screen including remove existing, drill and plug as necessary and fit new screen including all make good. | NO |  | 1 | 0
631501 | SEALANT:RENEW TO SIDES AND ENDS OF BATH | Sealant:Renew sanitaryware silicone sealant to side and ends of bath providing watertight joint. | IT |  | 1 | 0
631505 | SEALANT:RENEW TO BASIN OR SINK | Sealant:Renew sanitaryware silicone sealant to sides of basin or sink to provide watertight joint | IT |  | 1 | 0
631515 | SEALANT:PVC TRIM TO BATH | Sealant:Replace existing sealant to side and ends of bath with PVCU quadrant or flexible cover trim fixed to bath and tiles with sanitaryware silicone sealant, rake out existing defective sealant. | IT |  | 1 | 0
342107 | FRAME:RENEW INTERNAL STOPS+ARCHS+DOOR REMOVAL | Frame:Renew internal softwood door frame or lining ne 32x144mm for single door, remove, rehang door, 14x27mm softwood door stops, ne 25x75mm softwood architraves both sides, make good, decorate. | NO |  | 1 | 0
330005 | DOOR:RENEW INTERNAL EMBOSSED PANELLED | Door:Renew internal with any size ne 40mm thick single embossed hardboard panelled door, hang on 1 No. pair of 100mm steel butt hinges, all ironmongery, make good and prepare to decorate. | NO |  | 1 | 0
830001 | SHOWER:INSTALL NEW NE 8.5KW MIRA UNIT | Shower:Supply and install new ne 8.5KW shower unit connect to water and electrical supplies including shower circuit, RCD, MCB 45A, DP switch adjust pipework fill, test, certificate, make good. | NO |  | 1 | 0
NSI | NON SCHEDULED ITEM: | All 10mm cabling and seperrate RCD and Test | IT |  | 1 | 0
|  |  |  | TOTAL Ex VAT |  | 0
NOTE; THIS IS FOR A STANDARD BATHROOM,
IF SIZES VARY SUBSTITUTIONS AND VARIATIONS WILL HAVE TO BE MADE AND AGREED WITH THE AS.
CODE | VARIATIONS | DESCRIPTION | UNIT | RATE | QTY | TOTAL
413307 | CEILING:FIX NE 12.5MM PLASTERBOARD 3MM SKIM COAT | Ceiling:Supply, cut and fix n.e.12.5mm plasterboard, scrim joints and 3mm skim plaster to ceiling, including additional support battens, noggins to joists, including all labours. | SM |  | 9 | 0
413122 | CEILING:BONDING AGENT | Ceiling:Apply bonding agent to ceiling | SM |  | 9 | 0
435119 | SEALER:APPLY ONE COAT TO WALLS AND CEILINGS | Sealer:Prepare and apply one coat of sealer stabilizer to walls or ceilings in accordance with manufacturers directions. | SM |  | 12 | 0
411107 | WALL:RENEW APPLY 3MM SKIM COAT PLASTER | Wall:Renew defective or apply new skim coat of plaster including hack off existing and renew including all preparation and joints to existing surfaces. | SM |  | 8 | 0
|  |  |  | TOTAL Ex VAT |  | 0
ALL VARIATIONS MUST BE AGREED AND AUTHORISED
WITH THE AS

## Cost Kitchen
Christian Action Housing Association, Benedict House, 61 Island Centre Way, Enfield, EN3 6GS A charity incorporated as a Community Benefit Society, reference 23577R Registered Office as above Registered with the Homes & Communities Agency (LH0676) A member of the National Housing Federation Tel: 01992 765 900
Kitchen Programme 2018/19
CODE | JOB | DESCRIPTION | UNIT | RATE | QTY | TOTAL
460103 | GARDEN OR COMMUNAL AREA:LABOUR MINI-SKIP RUBBISH | Garden or Communal Area:Provide labour, mini-skip or equivalent to remove from communal areas, fly tipping, environmentally unsound material, etc., to tip, landfill tax, wash, disinfect (per skip). | NO | 0 | 1 | 0
NSI | NON SCHEDULED ITEM: | Remove and dispose of existing kitchen. | IT | 0 | 1 | 0
371031 | KITCHEN UNIT:RENEW SINGLE BASE 600X600 | Kitchen Unit:Renew any type of pre-finished single 600x600mm base unit, plug and scribe to walls, any necessary grounds, make good to all finishes. | NO | 0 | 1 | 0
371035 | KITCHEN UNIT:RENEW DOUBLE BASE 1000MM | Kitchen Unit:Renew any type of pre-finished double 1000x600mm base unit, plug and scribe to walls, any necessary grounds, make good to all finishes.. | NO | 0 | 1 | 0
371029 | KITCHEN UNIT:RENEW SINGLE BASE 500X600 | Kitchen Unit:Renew any type of pre-finished single 500x600mm base unit, plug and scribe to walls, any necessary grounds, make good to all finishes. | NO | 0 | 1 | 0
371041 | KITCHEN UNIT:RENEW CORNER BASE 1000MM | Kitchen Unit:Renew any type of pre-finished 1000x600mm corner base unit, plug and scribe to walls, any necessary grounds, make good to all finishes. | NO | 0 | 1 | 0
371073 | KITCHEN UNIT:RENEW DRAWER PACK 600X600 | Kitchen Unit:Renew any type of pre-finished 600x600mm drawer pack unit, plug and scribe to walls, any necessary grounds, make good to all finishes. | NO | 0 | 1 | 0
371057 | KITCHEN UNIT:RENEW SINGLE WALL 600X300 | Kitchen Unit:Renew any type of pre-finished single 600x300mm wall unit, 900mm high, plug and scribe to walls, any necessary grounds, make good to all finishes. | NO | 0 | 1 | 0
371059 | KITCHEN UNIT:RENEW DOUBLE WALL 1000X300 | Kitchen Unit:Renew any type of pre-finished double 1000x300mm wall unit, 500mm high, plug and scribe to walls, any necessary grounds, make good to all finishes. | NO | 0 | 1 | 0
372009 | WORKTOP:PROVIDE END PANEL | Worktop:Supply and fix 18mm chipboard end panel melamine faced both sides, PVC lipped on all edges, 600x870mm high, fixed to worktop and floor with plastic angle brackets. | NO | 0 | 6 | 0
372002 | WORKTOP:RENEW NE 40MM THICK DOUBLE POST FORMED | Worktop:Renew with high density waterproof MR chipboard worktop ne 40mm thick, 1.3mm laminated sheet, post formed two edges, reverse compensated, veneer edges, silicone seal, splashback. | LM | 0 | 6 | 0
372017 | WORKTOP:RENEW JOINT STRIP | Worktop:Renew aluminium joint strip between worktops including remove and refix worktops as necessary and make good. | NO | 0 | 3 | 0
372021 | WORKTOP:PROVIDE COVERBEAD | Worktop:Supply and fix proprietary aluminium L shaped cover bead rounded at end, screwed to edge of chipboard worktop. | NO | 0 | 2 | 0
373023 | KITCHEN UNIT:RENEW PLINTH | Kitchen Unit:Renew plinth to any base unit with melamine faced and edged chipboard replacement plinth including cut and fit to unit. | NO | 0 | 7 | 0
381001 | SKIRTING:RENEW SOFTWOOD SKIRTING | Skirting:Renew any size softwood plain, moulded or chamfered skirting plugged to brickwork, including all ends and angles and decorate to match existing. | LM | 0 | 12 | 0
630203 | SINK TOP:RENEW INSET | Sink Top:Renew with 508x935mm stainless steel inset single bowl single drainer sink top, with taps, waste, plug, chain, trap, service valves, make all connections, sealant, crossbond, test. | NO | 0 | 1 | 0
631339 | TAP:RENEW SINK MIXER | Tap:Renew mixer tap to sink top, turn off/on water supply, make all necessary connections to existing pipework, and test on completion. | IT | 0 | 1 | 0
635001 | PIPE:RENEW OR INSTALL 15MM COPPER | Pipe:Renew or fix new any 15mm diameter pipe with copper pipe fixed with clips and including all made bends, connectors, fittings and any adaptors for jointing to pipes of other material. | LM | 0 | 10 | 0
631507 | SEALANT:APPLY TO WORKTOP AND WALL | Sealant:Seal joint between worktop and wall with silicone sealant. | LM | 0 | 14 | 0
432303 | FLOOR TILES:HACK UP VINYL TILES | Floor Tiles:Hack off vinyl floor tiles and clear away, incl make good bed under. | SM | 0 | 10 | 0
432603 | SHEET FLOORING:RENEW POLYSAFE AND SUB-BASE | Sheet Flooring:Take up any covering, clear away, supply and lay Polysafe safety flooring with adhesive to and including approved sheet sub-base, cutting, all labours, upstands and clean off. | SM | 0 | 10 | 0
442501 | SURFACES:APPLY BACTDET AND HALOPHEN | Surfaces:Prepare, wash down with RLT Bactdet solution, prepare and apply one coat RLT Halophen solution to walls or ceilings in accordance with manufacturers directions, 2 coats of Biocheck matt. | SM | 0 | 10 | 0
435121 | STAIN BLOCK:APPLY ONE COAT | Stain Block:Apply one coat of stain block to plastered ceiling strictly in accordance with the manufacturers instructions. | SM | 0 | 6 | 0
435119 | SEALER:APPLY ONE COAT TO WALLS AND CEILINGS | Sealer:Prepare and apply one coat of sealer stabilizer to walls or ceilings in accordance with manufacturers directions. | SM | 0 | 6 | 0
450001 | ROOM:REDECORATE UPTO 20SM CEILING AREA | Room:Rub down, prepare for and apply two coats of emulsion to ceilings and walls, one undercoat and gloss on all painted surfaces of any room ne 20.00sm ceiling area (room height over 3.00m). | IT | 0 | 1 | 0
861511 | SOCKET:RENEW DOUBLE OUTLET PLATE AND BOX | Socket:Isolate/reconnect supply, renew 13 amp double moulded plastic switch socket outlet and galvanised steel flush box, plug to walls as necessary, remake connections, tests, make good. | NO | 0 | 3 | 0
861513 | SOCKET:RENEW 13A RCD OUTLET | Socket:Isolate/reconnect supply, renew 13 amp single moulded plastic switch socket outlet, integral RCD, 30mA sensitivity, galvanised steel flush box, remake connections, tests, make good. | NO | 0 | 3 | 0
861517 | SOCKET:INSTALL 13A DOUBLE OUTLET PLATE AND BOX | Socket:Supply and fix 13 amp double moulded plastic switch socket outlet and moulded plastic surface mounted box, plug to walls as necessary, make connections, tests, make good. | NO | 0 | 2 | 0
841005 | FAN:RENEW VARIABLE SPEED TIMER | Fan:Isolate/reconnect supply, renew plastic cased through-wall or ducted condensation control fan variable speed motor, timer, 14-22 litre/second at variable speed, wall grille, tests, make good. | NO | 0 | 1 | 0
896001 | TEST:UNOCCUPIED PROPERTY CERTIFICATE | Test:Test domestic installation to unoccupied property complete, disconnect repair and renew as necessary illegal wiring and components, and provide report and NICEIC test certificate to CR. | IT | 0 | 1 | 0
858103 | LIGHT FITTING:RENEW TO LED | Light Fitting:Isolate/reconnect supply, renew any size LED fitting, tests, make good. | NO | 0 | 1 | 0
342115 | FRAME:RENEW INTERNAL FANLIGHT ARCHITRAVE STOPS | Frame:Renew internal door frame or lining with fanlight over with 32x144mm softwood door lining with fanlight for single door, plug to brickwork, fanlight glazed, with new architraves and stops. | NO | 0 | 1 | 0
343113 | SMOKE SEAL:RENEW TO FRAME 1/2 HOUR | Smoke Seal:Renew or supply and fix new cold smoke seal, half hour application, and setting into groove in timber frame or door. | LM | 0 | 1 | 0
330013 | DOOR:RENEW 1/2HR FIRE INTERNAL | Door:Renew internal with any size half hour plywood faced fire check flush door, hang on 1.5 pairs 100mm steel hinges, make good, ironmongery, intumescent strips, smoke seals, prepare to decorate. | NO | 0 | 1 | 0
740043 | GAS COOKER:RENEW STABILITY CHAIN | Gas Cooker:Renew or install gas cooker stability chain in accordance with the manufacturers instructions. | NO | 0 | 1 | 0
740047 | GAS COOKER:SUPPLY OR RENEW BAYONET AND EXTEND PIPE | Gas Cooker:Isolate supply to any gas point, remove existing fitting, extend existing supply pipe by up to 3.00m with copper pipe and fittings, fix bent or straight bayonet socket fitting, test. | NO | 0 | 1 | 0
NSI | NON SCHEDULED ITEM: | Test gas and issue CP/12 certificate. | IT | 0 | 1 | 0
|  |  |  | TOTAL Ex VAT |  | 0
NOTE; THIS IS FOR A STANDARD MEDIUM KITCHEN,
IF SIZES VARY SUBSTITUTIONS AND VARIATIONS WILL HAVE TO BE MADE AND AGREED WITH THE AS.
CODE | VARIATIONS | DESCRIPTION | UNIT | RATE | QTY | TOTAL
371031 | KITCHEN UNIT:RENEW SINGLE BASE 600X600 | Kitchen Unit:Renew any type of pre-finished single 600x600mm base unit, plug and scribe to walls, any necessary grounds, make good to all finishes. | NO | 0 | 1 | 0
371035 | KITCHEN UNIT:RENEW DOUBLE BASE 1000MM | Kitchen Unit:Renew any type of pre-finished double 1000x600mm base unit, plug and scribe to walls, any necessary grounds, make good to all finishes.. | NO | 0 | 1 | 0
371029 | KITCHEN UNIT:RENEW SINGLE BASE 500X600 | Kitchen Unit:Renew any type of pre-finished single 500x600mm base unit, plug and scribe to walls, any necessary grounds, make good to all finishes. | NO | 0 | 1 | 0
371057 | KITCHEN UNIT:RENEW SINGLE WALL 600X300 | Kitchen Unit:Renew any type of pre-finished single 600x300mm wall unit, 900mm high, plug and scribe to walls, any necessary grounds, make good to all finishes. | NO | 0 | 1 | 0
371059 | KITCHEN UNIT:RENEW DOUBLE WALL 1000X300 | Kitchen Unit:Renew any type of pre-finished double 1000x300mm wall unit, 500mm high, plug and scribe to walls, any necessary grounds, make good to all finishes. | NO | 0 | 1 | 0
372009 | WORKTOP:PROVIDE END PANEL | Worktop:Supply and fix 18mm chipboard end panel melamine faced both sides, PVC lipped on all edges, 600x870mm high, fixed to worktop and floor with plastic angle brackets. | NO | 0 | 1 | 0
372002 | WORKTOP:RENEW NE 40MM THICK DOUBLE POST FORMED | Worktop:Renew with high density waterproof MR chipboard worktop ne 40mm thick, 1.3mm laminated sheet, post formed two edges, reverse compensated, veneer edges, silicone seal, splashback. | LM | 0 | 1 | 0
372017 | WORKTOP:RENEW JOINT STRIP | Worktop:Renew aluminium joint strip between worktops including remove and refix worktops as necessary and make good. | NO | 0 | 1 | 0
372021 | WORKTOP:PROVIDE COVERBEAD | Worktop:Supply and fix proprietary aluminium L shaped cover bead rounded at end, screwed to edge of chipboard worktop. | NO | 0 | 1 | 0
631507 | SEALANT:APPLY TO WORKTOP AND WALL | Sealant:Seal joint between worktop and wall with silicone sealant. | LM | 0 | 1 | 0
432303 | FLOOR TILES:HACK UP VINYL TILES | Floor Tiles:Hack off vinyl floor tiles and clear away, incl make good bed under. | SM | 0 | 1 | 0
432603 | SHEET FLOORING:RENEW POLYSAFE AND SUB-BASE | Sheet Flooring:Take up any covering, clear away, supply and lay Polysafe safety flooring with adhesive to and including approved sheet sub-base, cutting, all labours, upstands and clean off. | SM | 0 | 1 | 0
305101 | FLOORING:RENEW IN 19MM PLYWOOD | Flooring:Renew any flooring with 19mm WBP plywood including denial joists, remove spoil, punch in nails, level to existing and make good including additional noggins/support battens as required. | SM | 0 | 1 | 0
431003 | WALL TILES:HACK OFF AND MAKE GOOD | Wall Tiles:Hack off glazed wall tiling, make good bed. | SM | 0 | 1 | 0
431007 | WALL TILES:RENEW OR FIX NEW GLAZED TILES | Wall Tiles:Clean off walls, fix new ne 152x152x 6mm glazed ceramic wall tiles to splashback and cills with adhesive, grout, edge strips, cutting, hack off glazed wall tiling, make good, remove spoil. | SM | 0 | 1 | 0
373023 | KITCHEN UNIT:RENEW PLINTH | Kitchen Unit:Renew plinth to any base unit with melamine faced and edged chipboard replacement plinth including cut and fit to unit. | NO | 0 | 1 | 0
381001 | SKIRTING:RENEW SOFTWOOD SKIRTING | Skirting:Renew any size softwood plain, moulded or chamfered skirting plugged to brickwork, including all ends and angles and decorate to match existing. | LM | 0 | 1 | 0
413307 | CEILING:FIX NE 12.5MM PLASTERBOARD 3MM SKIM COAT | Ceiling:Supply, cut and fix n.e.12.5mm plasterboard, scrim joints and 3mm skim plaster to ceiling, including additional support battens, noggins to joists, including all labours. | SM | 0 | 1 | 0
413122 | CEILING:BONDING AGENT | Ceiling:Apply bonding agent to ceiling | SM | 0 | 1 | 0
435119 | SEALER:APPLY ONE COAT TO WALLS AND CEILINGS | Sealer:Prepare and apply one coat of sealer stabilizer to walls or ceilings in accordance with manufacturers directions. | SM | 0 | 1 | 0
|  |  |  | TOTAL Ex VAT |  | 0
NOTE; ALL VARIATIONS MUST BE AGREED AND AUTHORISED
WITH THE AS