Making good

Upon completion of the contract, all debris, excess materials and building equipment to be removed and all temporary material storage areas used will be made good, as reasonably practical, but no re-seeding or turfing is included. Drives or roads used for delivery of materials and equipment up to the tennis court or place of temporary storage are assumed to be suitable for lorry traffic.

Water and welfare

Free access to a nearby water supply is provided, although pressure levels to meet a certain requirement cannot be guaranteed. Toilet facilities are provided nearby in the ‘Changing Rooms’.

Warranty

All work is to be provided with a warranty upon payment of all monies due under the contract. The warranty is in respect of workmanship and materials and is to be for a minimum period of three years.

SAPCA

Only members of SAPCA, the Sports and Play Construction Association will be considered for this opportunity. All court construction work will be in accordance with the SAPCA Code of Practice for the Construction and Maintenance of Tennis Courts and will also account for the courts heavy Netball use.