Specification:

- 5 yr Gold cover type maintenance service contract for 2x Medtronic AEX Radio Frequency (RF) generators with one annual visit (s/n MTC2030055 & MTC1609047)

- Location: Kings College Hospital NHS Foundation Trust, Neuro Theatre, Denmark Hill, SE5 9RS

- Service type – Gold cover with PM 1 & Electrical Safety Test

- Response times: please advice

- Call-outs charge – please confirm the cost

- Labour charge – please confirm

- Travel charge – please confirm

- Coverage times – please confirm

- Cancellation terms – please confirm

- Payment terms – please confirm

- Loan unit provided for service & repair