## Sheet1
CLARIFICATION LOG
Tender: | Solar Panels - Princess Pavilion, Melvill Road, Falmouth TR11 4AR
Tender Reference:
Published Date: | 2024-06-09
Version number: | 0.2
Number | Clarification | Response | Reply date
1 | We have come across your tender request but could not find the format you are wanting the respond returned to you | We do not have a prescribed format for the tender submissions but would expect all the questions to be answered including a visual outline of where you felt solar panels should be installed, how many and at what cost. | 2024-06-12
2 | Which buildings are you looking for Solar to be installed on. If you can highlight that would be appreciated | The updated plan on Contracts Finder is an approximate drawing of where the solar panels could be installed on the pitched roofs of the theatre and the café (not the veranda area or the flat roofs). This is very rough but should give you an idea of the size / area that could be utilised for the panels. | 2024-06-12
3 | Please can you provide a copy of your half hour data, Mpan Number and current cost you pay per Kilowatt. | Please see attached document indicating Data Usage indicating the actual readings for the year 2022/23 with the cost that year. Please note that that the Council has since changed supplier and have a more advantageous unit rate with British Gas. If we are able to obtain more up to date information then we will look to further update via Contracts Finder. | 2024-06-12
Clarifications will be published against the Contract Notice on Contracts Finder.
If interested in tendering for this project please ensure you add a "watch this notice" for alerts as from time to time additional information or clarifications may be published related to this tender.
It will be the responsibility of Bidders to ensure they are aware of all published clarifications and ensure that their bid has taken these into account.
In the event of any queries please contact: