Schedule D

T26 15/15  VACUUM STEAM AUTOCLAVE SYSTEM

Evaluation Criteria

Tenderers are required to demonstrate and provide evidence that meets or exceeds the specification (schedule A). Tender Submissions will be scored on the following criteria

| Score | Scoring of Tenders |
| --- | --- |
| 4 | Fully meets requirements and may offer a degree of additional benefits |
| 3 | Meets requirements, but with some minor reservations. |
| 2 | Meets some of the requirement, but with major reservations. |
| 1 | Unlikely to be able to deliver what HSE wants. |
| 0 | Cannot deliver what HSE wants or does not address the requirement. |

| Weighting | Description |
| --- | --- |
| 3 | Critical |
| 2 | Important |
| 1 | Standard |

See over page for evaluation table

T26 15/15  VACUUM STEAM AUTOCLAVE SYSTEM

| Tender Evaluation - Scoring Criteria |  |  |  |
| --- | --- | --- | --- |
| Criteria | Score (0-4) | Weighting (1-3) | Weighted Score |
| Vacuum step air removal facility to ensure sterilization of difficult loads |  | 3 |  |
| Built in printer that provides print outs of temperature and times. |  | 3 |  |
| Capable of running up to 131°C under pressure for an hour |  | 3 |  |
| Capable of loading two containers 300mm x 300mm x 400mm in size with additional room to spare |  | 3 |  |
| Capable of completing at least one load in a working day (minimum) |  | 3 |  |
| Capable of running for 450-500 hours per year |  | 3 |  |
| Safety interlocks to ensure operator safety |  | 3 |  |
| Have a foot print area of no more than 900mm x 1600 mm |  | 3 |  |
| Warranty Period (24 Months) |  | 2 |  |
| On Site Training |  | 2 |  |
| Maintenance |  | 2 |  |
| Delivery |  | 2 |  |

Note: the technical evaluation will account for 70% of the evaluation, the remaining 30% is price.