- Specification for the Annual Calibration and Repair of

- Engineering Test Equipment/Instrumentation

| # 1. Extent of Works: | The contract needs to ensure: |
| --- | --- |
|  | All equipment to be calibrated annually. Provision of suitably trained personnel who are regularly updated on new equipment requirements and relevant legislation. Equipment due for repair or calibration to be collected at the Estates Department Reception, Newholme Hospital, Baslow Road, Bakewell, Derbyshire DE45 1AD or Estates Department Reception. Equipment to be returned to the relevant address after completion of works. All maintenance and repairs will be carried out in accordance with the original equipment manufacturers recommendations. Replacement consumables and parts must be supplied and fitted in accordance with original manufacturers specifications. Refurbished parts are not acceptable unless approved by the Supervising Officer. Any equipment that the successful contractor is unable to calibrate shall have its calibration managed by them, employing an appropriate third party, able to carry out the calibration in a timely manner. All services, parts and consumables supplied against this contract shall comply with the relevant legislation, British Standards and Health and Safety requirements. Standard 5 day working return. Calibration and void labels fitted. Guaranteed workmanship. Annual calibration reminders. You shall provide a copy of your 'service report' documentation in your offer. |
| # 2. Prices | Prices must be stated in the Offer Schedule and must remain open for acceptance for 90 days. |
|  | Prices must be firm for a period of one year from the commencement of the contract and shall include all expenses for visits to site, materials used and labour necessary to comply with this specification |
|  | Prices for subsequent years of the contract may be subject to annual review dependant upon market conditions. Any increase requested by the contractor will need to be supported by a detailed explanation and evidence of increased costs, which should be submitted at least two months before the anniversary of the contract. The Trust reserves the right to reject any such request and to retender the contract. |

|  | The contract is for a four year period subject to annual review and satisfactory performance on the part of the Company, with an option to extend for one year. |
| --- | --- |
|  | The contractor shall tender for each item separately as laid out in the Offer Schedule. Derbyshire Community Health Services NHS Trust reserves the right to accept or reject any or all of the separate charges quoted. |
|  | Please provide your prices on the offer schedule enclosed. |
| # 3. Equipment Inventory | See Offer Schedule. |
| # 4. Invoicing # Requirements | A purchase order will be issued to cover the contract and the order number must be quoted on all invoices and correspondences. Payment will be made within 30 days of the invoice date or receipt of invoice whichever is the later. |
| # 5. Standards | A high level of service is required and the company's staff will be expected to re-attend on any areas of work that are found to be unsatisfactory. |
|  | All works are to be carried out by a qualified engineer conforming to the appropriate regulations and to the entire satisfaction of the Supervising Officer. No work shall be permitted without the authority of the Supervising Officer or his deputy. |
| # 6. Statutory # Requirements | The contractor will be expected to meet the full requirements of the contract and all associated legislations including:- - Health & Safety at Work Act 1974 - Calibration complying and in accordance with the relevant British Standard requirements and traceable to national standards. - The Electricity at Work Regulations 1989 |
| # 7. Monitoring of Works | On completion of works by the company all relevant paperwork and quotations for repairs will be forwarded to the Supervising Officer without delay. |
|  | The company will maintain an awareness of current and future aspects of legislation affecting the service and advise the trust of any changes, irrespective of the trust or company's responsibilities as part of a comprehensive advisory service. |
|  | The contact shall be formed on the basis of the NHS Conditions of Contract for the Maintenance of Equipment (July 2007) and the Special Conditions contained within the specification. |

| # 8. Security | Contractor's staff when on site must wear, at all times, ID badges complete with photograph and company name. |
| --- | --- |
|  | The contractor shall remove any of its staff from the premises where the Trust's Supervising Officer requests on grounds of efficiency or public interest. |

| Newholme Estates Offer Schedule |  |  |  |  |
| --- | --- | --- | --- | --- |
| Serial No. | Description | Manufacturer Code | Model | Cost Per |
|  |  |  |  | Calibration |
| 0009205 | INSULATION TESTER | CALMET / CON | 16D |  |
| 00602465 | Digital Multimeter | Iso - Tech / CON | IDM63N |  |
| 00602471 | Digital Multimeter | Iso - Tech / CON | IDM63N |  |
| 007888 | DIGITAL PRESSURE GAUGE | CALKEL / CON | LEO 2 |  |
| 0312/HJ/1002 | BLOCK CALIBRATOR | CALCMI / CON | TE1095 / CON |  |
| 031684 | PRESSURE PUMP | CALKEL / CON | LEO 2 |  |
| 040504/1147 | INSULATION TESTER | CALMEG / CON | MIT320EN |  |
| 040604/1392 | RCD TESTER | CALMEG / CON | RECT320ENBS |  |
| 040604/1702 | INSULATION TESTER | CALMEG / CON | MIT320 |  |
| 04B-0681 | PA TESTER | CALSEA / CON | PRIME TEST 50 |  |
| 04B-0707 | PA TESTER | CALSEA / CON | PRIME TEST 50 |  |
| 050405/2647 | RCD TESTER | CALMEG / CON | RCDT320 |  |
| 050405/2720 | LOOP TESTER | CALMEG / CON | LT320 |  |
| 050405/2726 | LOOP TESTER | CALMEG / CON | LT320ENBS |  |
| 0601/RS/330 | TEMPERATURE REF UNIT | CALCMI / CON | TYPE BE 1095-10 |  |
| 081008/1169 | MULTIFUNCTION TESTER | CALMEG / CON | 1502 |  |
| 081008/1170 | MULTIFUNCTION TESTER | CALMEG / CON | 1502 |  |
| 081008/1171 | MULTIFUNCTION TESTER | CALMEG / CON | 1502 |  |
| 081008/1173 | MULTIFUNCTION TESTER | CALMEG / CON | 1502 |  |
| 081008/1175 | MULTIFUNCTION TESTER | CALMEG / CON | 1502 |  |
| 10447 | LOOP TESTER | CALEDG / CON | 16L |  |
| 145327 (CKT005) | DIGITAL MANOMETER | CALCOM / CON | C9553 |  |
| 177 | PRESSURE GAUGE | CALKEL / CON | LEO 1 |  |
| 22A-0654 | PA TESTER HAND HELD | CALSEA / CON | PRIMETEST 50 |  |
| 2321 | MILLIVOLT SOURCE | CALEZE / CON | MARK 4 |  |
| 23A-0271 | PA TESTER HAND HELD | CALSEA / CON | PRIMETEST 50 |  |
| 23A-0278 | PA TESTER | CALSEA / CON | PRIME TEST 50 |  |
| 25213/1 | BLOCK CALIBRATOR | CALISO / CON | FAST-CAL |  |
| 2552536 | DIGITAL PRESSURE INDICATOR | CALDRU / CON | DP1104 |  |
| 25B-0027 | PA TESTER HAND HELD | CALSEA / CON | PRIMETEST 50 |  |
| 261832-2 | BLOCK CALIBRATOR | CALISO / CON | FAST-CAL |  |
| 2863 | MILLIVOLT SOURCE | CALEZE / CON | MARK 4 |  |
| 33B-0611 | PA TESTER | CALSEA / CON | PRIME TEST 50 |  |
| 40B-4272 | PA TESTER HAND HELD | CALSEA / CON | PRIMETEST 50 |  |
| 40B-4800 | PA TESTER HAND HELD | CALSEA / CON | PRIMETEST 50 |  |
| 449215 | RCD TESTER | CALMET / CON | 16R |  |
| 449289 | RCD TESTER | CALEDG / CON | 16R |  |
| 450325 | LOOP TESTER | CALMET / CON | 16L |  |
| 4603107842 (CQT001) | DIGITAL PRESSURE METER | CALDIG / CON | 2022P |  |
| 51A-0669 | PA TESTER HAND HELD | CALSEA / CON | PRIMETEST 50 |  |
| 541 | PRESSURE GAUGE | CALMAN / CON | DM-80259-1 |  |
| 6008349 | INSULATION TESTER | CALMET / CON | 16D |  |
| 6011674 | INSULATION TESTER | CALMET / CON | 16D |  |
| 6011691 | INSULATION TESTER | CALMET / CON | 16D |  |
| 6011697 | INSULATION TESTER | CALMET / CON | 16D |  |
| 69470919 (CHT001) | RMS MULTIMETER | CALFLU / CON | 79III TRUE |  |
| 7000673 | LOOP TESTER | CALMET / CON | 16L |  |
| 7000675 | LOOP TESTER | CALMET / CON | 16L |  |
| 7001523 | RCD TESTER | CALMET / CON | 16R |  |
| 7001528 | RCD TESTER | CALMET / CON | 16R |  |
| 7001641 | RCD TESTER | CALMET / CON | 16R |  |
| 7001649 | RCD TESTER | CALMET / CON | 16R |  |
| 7001745 | LOOP TESTER | CALMET / CON | 16L |  |
| 7001751 | LOOP TESTER | CALMET / CON | 16L |  |
| 7011725 | INSULATION TESTER | CALMET / CON | 16D |  |
| 7013304 | LOOP TESTER | CALMET / CON | 16L |  |
| 7115 (CHT004) | DIGITAL MANOMETER | CALDIG / CON | P200 L |  |
| 72490702 | DIGITAL MULTIMETER | CALFLU / CON | 79 mk III |  |
| 77080528 (CKT002) | DIGITAL MULTIMETER | CALFLU / CON | 79 mk III |  |
| 78510092 (CLT001) | DIGITAL MULTIMETER | CALFLU / CON | 79 mk III |  |
| 800016648 | DIGITAL THERMOMETER | CALTES / CON | 905-T1 |  |
| 8001232 | LOOP TESTER | CALMET / CON | 16L |  |
| 8001416 | RCD TESTER | CALMET / CON | 16R |  |
| 8001784 | RCD TESTER | CALMET / CON | 16R |  |
| 8104733 | MULTIFUNCTION TESTER | CALKEW / CON | KT64 |  |
| 85 521483 | INSUL & CONT TESTER | CALMAR / CON | IN2003 |  |
| 890704 | HEAT SOURCE | CALTECH / CON | TRU |  |
| 91108694 (CJT009) | OSCILLOSCOPE | CALLG / CON | OS 5020 |  |
| 95382954 (CTT008) | 3LITRE CALIBRATION SYRINGE | CALCAR / CON | 36-SM2125 (Non Stock Req- DKM) |  |
| CAT002 | THRUST GAUGE | CALGRAS / CON |  |  |
| DM6440150 (CAT009) | SCOPEMETER | CALFLU / CON | 96 |  |
| H0512487 (CST001) | GENIUS CALIBRATOR | CALCOV / CON | 3000PC |  |
| K8002227 (CKT005) | VARIABLE FLOW METER | CALKDG / CON | C9553 |  |
| KB0046002 | SQUIRREL DATA LOGGER | CALGRA / CON | 1022 |  |
| KS0809007 | SQUIRREL DATA LOGGER | CALGRA / CON | 2020 |  |
| KS0848007 | SQUIRREL DATA LOGGER | CALGRA / CON | 2020 |  |
| KS1046018 | SQUIRREL DATA LOGGER | CALGRA / CON | FLUKE |  |
| P28-0053 | PA TESTER AT HOLMEWOOD | CALSEA / CON | SEAWARD |  |
| R04-0795 | PA TESTER | CALSEA / CON | SUPERNOVA |  |
| R39-0427 | PA TESTER | CALSEA / CON | SUPERNOVA |  |
| S084602677B6 | POWER LOGGER | CALFLU / CON | 1735 |  |
| S090403212B6 | POWER LOGGER | CALFLU / CON | 1735 |  |
| Ti25-08120002 | THERMAL IMAGER | CALFLU / CON | Ti25 |  |
| U3555400101099019 | 4 POINT RECORDER | CALCHE / CON | 41036 |  |
| V37-0861 | PA TESTER | CALSEA / CON | SUPERNOVA PLUS |  |
| X50-0530 | Equipment belongs to Holmewood | CALSEA / CON |  |  |
| X52-0069 | Equipment belongs to Holmewood | CALSEA / CON |  |  |
| Y26-0454 | PA TESTER | CALSEA / CON | SUPERNOVA PLUS |  |
| Z18-0882 | PA TESTER | CALSEA / CON | SUPERNOVA |  |
| Z18-0909 | PA TESTER | CALSEA / CON | SUPERNOVA |  |
| Z451143 (CTT007) | BLOOD PRESSURE SIMULATOR | CALSEA / CON | RIGEL 390 |  |

SUMMARY OF TENDER COSTS

Total for Year 1	                                     £	plus VAT

- Repair Charges

Hourly Rate (Office Hours)					£

Transport/Mileage Charge					£

Please advise any maximum mileage charge amount	£

Response Time							…………… hours