| Ser | Description | Pass/Fail | Scoring Criteria | Weighting % | Evidence required / additional info |
| --- | --- | --- | --- | --- | --- |
| 1 | Facility accreditation to ISO 17025:2017 The Authority requires all ballistic testing to be conducted in a facility accredited to ISO 17025:2005/2017 for the duration of the contract. Bidders shall provide their transition plan towards achieving ISO 17025:2017. | Yes | 5 Pass Facility is currently accredited to ISO 17025:2005/2017; or will be accredited by contract award (anticipated 11th February 2019). 0 Fail Facility is not accredited by contract award (anticipated 11th February 2019). | 15% | For facilities already accredited: - Tenderers have provided evidence of accreditation certificates demonstrating compliance with ISO 17025 ISO 17025:2005/2017 requirements. AND - Plan for facility transition from ISO 17025:2005 to 17025: 2017 For facilities NOT already accredited: - Project plan/roadmap required detailing how facility accreditation will be achieved and demonstrated by contract award. Evidence shall not exceed ten sides of A4 (including pictures, tables and diagrams). - Tenderers shall be required to demonstrate evidence of accreditation prior to contract award. Note: Facilities with 17025:2005 have until 30 November 2020 to upgrade to the 2017 version. Therefore, both versions are acceptable (at contract award), with the facility to provide transition plans. |
| 2 | Scoped to conduct ballistic testing in accordance with the requirements of NATO AEP 2920 Standard The Authority requires all ballistic testing to be conducted to the requirements of NATO STANDARD AEP 2920: Procedures for the evaluation and classification of personal armour, bullet and fragmentation threats. This requires the facility to be familiar with the use and adoption of the ballistic testing standard and to be able to conduct testing to all / any part of the testing standard as the Authority requires. | No | 5 High Confidence The facility is already scoped to test in accordance with NATO AEP 2920 and holds all the instrumentation / equipment as company assets that meet the requirements of AEP 2920. 3 Moderate Confidence The facility has conducted and continues to have the ability to ballistic test (such as proof testing of plates AND V50 testing of soft armour) in accordance with elements of AEP 2920 (tenderers to specify what test standards used). 1 Low Confidence The facility has previously conducted ballistic testing (either proof testing of hard plates OR V50 testing) of soft armour that is similar to the requirements of AEP 2920 (tenderers to specify what test standards used) 0 No Confidence The facility has not provided evidence of conducting ballistic testing using NATO AEP 2920 or using other similar standards. | 25% | Copies of the ISO 17025 accreditation certificate will list the standards that a facility is scoped for; evidence is required that the facility is scoped to test in accordance with NATO AEP 2920. Further evidence to be provided of all the instrumentation / equipment held as company assets that meet the requirements of AEP 2920. If facility is NOT currently scoped to test to the NATO AEP 2920; confirmation is required by the Authority that facility can achieve it by contract award (anticipated 11th February 2019) and a technology roadmap is to be provided to demonstrate how and when the facility will acquire the necessary instrumentation / equipment to demonstrate compliance with NATO AEP 2920. Evidence shall not exceed ten sides of A4 (including pictures, tables and diagrams). AND Evidence is required by the Authority of the types of ballistic testing that the facility has previously conducted (e.g. proof testing of hard armour plates, V50 testing of soft armour, helmets etc.) and to what standards the testing was conducted. Evidence shall not exceed ten sides of A4 (including pictures, tables and diagrams). |
| 3 | Back Face Signature material (Roma Plastilina No1) The Back-Face Signature (BFS) used in ballistic testing is to be pre-conditioned and calibrated / validated prior to conducting ballistic testing and the BFS in the BFS material is to be measured accurately and in accordance with the requirements of NATO AEP 2920. The only material approved by the Authority for this purpose is Roma Plastilina No 1. The Authority requires the facility to be familiar with the sourcing, use, conditioning and calibration of Roma Plastilina No1. The facility must: - Be able to source Roma Plastilina No1 from a supplier and can provide the lead-times for acquiring the material - Able to condition and calibrate the material in accordance with the requirements of AEP 2920 - The accuracy of the measuring equipment to measure any depression in the material shall be correct to within 1mm as defined by the requirements of AEP 2920 | No | 5 High Confidence The facility can source Roma Plastilina No1, has access to the required equipment necessary to condition and calibrate the material, and the facility can demonstrate the ability to accurately measure any depression in the material. 3 Moderate Confidence The facility can source Roma Plastilina No1 but does not yet have all the required equipment to condition, calibrate and measure the material. 0 No Confidence The facility cannot source Roma Plastilina No1 nor meet any of the conditioning, calibration and measurement requirements. Tenderers failing to achieve a minimum score of ‘3 Moderate Confidence’ for this question shall be excluded from the competition. | 10% | Evidence is to be provided of: - The facility’s ability to source Roma Plastilina No 1 and the lead times for its acquisition are known/confirmed - The facility’s ability to condition and calibrate the material in accordance with the requirements of NATO AEP 2920 AND - The Tenderer’s access to the measuring equipment to be used to measure the back-face signature in the back-face signature material and provide evidence of how this is calibrated OR A technology roadmap shall be provided to demonstrate how C will be achieved by contract award (anticipated 11th February 2019). Total evidence supplied shall not exceed ten sides of A4 (including pictures, tables and diagrams). |
| 4 | Sourcing of fragment simulating projectiles (FSPs) listed in NATO AEP 2920 The Authority requires the facility to be able to source all of the Fragment Simulating Projectiles (FSPs) as listed in NATO AEP 2920. | No | 5 High Confidence The facility has an established supply chain and can demonstrate its ability to acquire ALL fragments listed in AEP 2920. 3 Moderate Confidence The facility has an established supply chain and can demonstrate its ability to acquire SOME fragments listed in AEP 2920. 0 No Confidence The facility cannot provide evidence of ability to source any of the fragments listed in AEP 2920. Tenderers failing to achieve a minimum score of ‘3 Moderate Confidence’ for this question shall be excluded from the competition. | 13% | Evidence of supplier relationship/s required Evidence of ability to source FSPs (including type) and confirmation of lead times Evidence of Certificates of Conformity from suppliers that the fragments meet the requirements detailed in AEP 2920 Total evidence supplied shall not exceed ten sides of A4 (including pictures, tables and diagrams). |
| 5 | Security Clearance Potential tenderers must have access to a facility and processes for the storage of UK SECRET information (Provisional List X or List X status) and any employees who are expected to work on this project and who will need access to UK SECRET information must hold Baseline Personnel Security Standard (BPSS), Security Check (SC) or Developed Vetting (DV) clearances. | No | 5 High confidence The facility has access, to/processes for the storage of UK SECRET information (holds List X status) and all employees who will need access to UK SECRET information hold the necessary clearances. 1 Low Confidence The tenderer has provided a statement detailing how they will work with the Authority to achieve provisional List X Status as detailed in JSP440, by contract award. 0 No Confidence Facility is not List X and employees do not hold BPSS, DV or SC / will not be List X or hold BPSS, DV or SC by contract award (anticipated 11th February 2019). Tenderers failing to achieve a minimum score of ‘1 Low Confidence’ for this question shall be excluded from the competition. | 10% | Please answer the following questions: - Does your company hold List X or Provisional List X status or a non-UK national Facility Security Clearance (FSC)? Please provide the registered company name, the address and post code of the facility with List X or Provisional List X or FSC in which you plan to store any project related UK SECRET material. - Do the employees you expect to employ on this project and who will need access to UK SECRET information hold BPSS, SC or DV clearances or non-UK national equivalents? Please provide the names and dates of birth of these employees, their employing organisation and highest security clearance? For facilities and employees NOT already cleared to the necessary level to achieve Low Confidence you must: Provide a statement of how you will work with the Authority to achieve provisional List X status as detailed in JSP 440, by contract award (anticipated 11th February 2019). |
| 6 | Specific Facility Availability – Task 1 The Authority has identified an initial work package detailed in the draft Tasking Form 1 (Enclosure 10) that is scheduled to start post-contract award. The Authority requires evidence that the facility can work within these specific timeframes. | No | 5 High Confidence The facility has the availability to complete the task by 8th March 2019 3 Moderate Confidence The facility has the availability to complete the task by 29th March 2019. 1 Low Confidence The facility has the availability to complete the task by 12th April 2019. 0 No confidence The facility does not have availability to complete the task by 12th April 2019. | 12% | Please refer to Tasking Form 1 Task 1 testing and reporting to be completed by 8th March 2019. Materials available from Contract Award. |
| 7 | Specific Facility Availability – Task 2 The Authority has identified an initial work package detailed in the draft Tasking Form 2 (Enclosure 11) that is scheduled to start post-contract award. The Authority requires evidence that the facility can work within these specific timeframes. | No | 5 High Confidence The facility has the availability to complete the task by 31st May 2019. 3 Moderate Confidence The facility has the availability to complete the task by 14th June 2019. 1 Low Confidence The facility has the availability to complete the task by 28th June 2019. 0 No confidence The facility does not have availability to complete the task by 28th June 2019. | 15% | Please refer to Tasking Form 2 Task 2 testing and reporting to be completed by 31st May 2019. Anticipated plate availability for commencement of testing from Contract Award. |