**Specification:**

* 1 year maintenance service contract for Comprehensive cover for Centrimags - 2 visits (6 mthly calibration EST & battery check and Comprehensive with PM 1 & EST for Paratherms. Both Centrimag and Paratherm cover include parts, labour and travel.
* Equipment: 6x Centrimags and 11x Paratherm.
* Location: King’s College Hospital NHS Foundation Trust Cardiothoracic (Perfusion)
* Response times: Please advise
* Coverage times: Please advise
* Loan unit available
* Cancellation terms: Please advise
* Payment terms: Please advise

|  |  |  |  |
| --- | --- | --- | --- |
| **Location** | **Equipment**  | **s/n** | **Contract Type & visits** |
| Cardiothoracic (Perfusion) | Centrimag V2 blood pump console | L06357-0006 | Comprehensive cover - 2 visits (6 mthly calibration EST & battery check / replacement every 2 yrs) |
| Cardiothoracic (Perfusion) | Centrimag V2 blood pump console | L06336-0003 | Comprehensive cover - 2 visits (6 mthly calibration EST & battery check / replacement every 2 yrs) |
| Cardiothoracic (Perfusion) | Centrimag blood v.2 pump console | L06927-0007 | Comprehensive cover - 2 visits (6 mthly calibration EST & battery check / replacement every 2 yrs) |
| Cardiothoracic (Perfusion) | Centrimag blood v.2 pump console | L06927-0004 | Comprehensive cover - 2 visits (6 mthly calibration EST & battery check / replacement every 2 yrs) |
| Cardiothoracic (Perfusion) | CENTRIMAG V2 blood pump console | 19250295 | Comprehensive cover - 2 visits (6 mthly calibration EST & battery check / replacement every 2 yrs) |
| Cardiothoracic (Perfusion) | CENTRIMAG V2 blood pump console | L07906-0001 | Comprehensive cover - 2 visits (6 mthly calibration EST & battery check / replacement every 2 yrs) |
|   |   |   |   |
| Cardiothoracic (Perfusion) | Paratherm - Bypass Heater-Cooler Unit | 18-0083 | Comprehensive with PM 1 & EST |
| Cardiothoracic (Perfusion) | Paratherm - Bypass Heater-Cooler Unit | 19.0108 | Comprehensive with PM 1 & EST |
| Cardiothoracic (Perfusion) | Paratherm - Bypass Heater-Cooler Unit | 19-0109 | Comprehensive with PM 1 & EST |
| Cardiothoracic (Perfusion) | Paratherm - Bypass Heater-Cooler Unit | 18.0084 | Comprehensive with PM 1 & EST |
| Cardiothoracic (Perfusion) | Paratherm - Bypass Heater-Cooler Unit | 20.0197 | Comprehensive with PM 1 & EST |
| Cardiothoracic (Perfusion) | Paratherm - Bypass Heater-Cooler Unit | 21076130 | Comprehensive with PM 1 & EST |
| Cardiothoracic (Perfusion) | Paratherm - Bypass Heater-Cooler Unit | 21065815 | Comprehensive with PM 1 & EST |
| Cardiothoracic (Perfusion) | Paratherm - Bypass Heater-Cooler Unit | 21055656 | Comprehensive with PM 1 & EST |
| Cardiothoracic (Perfusion) | Paratherm - Bypass Heater-Cooler Unit | 21055661 | Comprehensive with PM 1 & EST |
| Cardiothoracic (Perfusion) | Paratherm - Bypass Heater-Cooler Unit | 21055663 | Comprehensive with PM 1 & EST |
| Cardiothoracic (Perfusion) | Paratherm - Bypass Heater-Cooler Unit | 21055700 | Comprehensive with PM 1 & EST |