## DP 2
Ref | Description | Unit | Qty | Rate | Amount £
SERIES 2500 : SPECIAL STRUCTURES
2500.1 | Special Structure designed by the Contractor, attenuation tank as detailed on drawing RD 367 Rev B "Open precast attenuation tank by fli-flow or similar approved 10m x 20m x 1.1m to be designed for full HGV loading and a 50 year design life " including temporary dewatering as required to allow construction until tank commissioned. Also to include steps set into lagoon wall a location of access ladder and penstock with non rising spindle to be operated manually as referenced on drawing 367 rev B | item | 1
Within this section please provide details of the sums allowed for
Preliminaries
Design and detailing
Manufacture
Delivery, Off Loading and Lifting
Site Works
|  |  |  | Page Total carried forward to Grand Summary (DP 2 - 2500/1) | 0