OIDECA-RFI014

REQUEST FOR INFORMATION

PROVISION OF PRESSURE CALIBRATION AND INDICATION TEST AND MEASUREMENT EQUIPMENT

RFI Title: Provision of Pressure Calibration and Indication Test and Measurement Equipment

Issue Date: 31 March 2021

Reference: OIDECA-RFI014

Version: 1.0

Table of Content

Contents

1.	Introduction	3

2.	Background	3

Digital multifunction calibrators	3

Digital hand-held pressure indicators	3

Pressure gauges	3

3.	RFI intended outcomes	4

4.	RFI procedure	4

5.	How to submit responses to this RFI	4

6.	Confidentiality & proprietary information	4

7.	Costs of preparing your RFI response	5

8.	Contact	5

Annex A	6

- Introduction

This RFI is not a bidding opportunity, it is a means by which industry can provide information. Any resulting procurement activity will be conducted competitively. This RFI is an information gathering exercise, and no further discussions with industry are planned at this stage. However, any future procurement activity will be advertised in line with public procurement regulations.

- Background

There exists an emergent requirement to replace a range of pressure calibrators and indicator test and measurement equipment currently in use by the United Kingdom Ministry of Defence. Below is a list of requirements for guidance, we would be interested in any COTS equipment which could fulfil these requirements and future technical solutions. Any solutions must be supported for at least 5 years.

- Digital Multifunction Calibrators

  - To cover both mains (bench) and portable operation (with a minimum 10 hour battery life).

  - The ability to be able to measure and/or generate both atmospheric and hydraulic pressures (oil and water).

  - The ability to provide temperature-corrected pressure measurement over the operating range.

  - Be capable of undertaking leak testing.

  - Resolution, Damping and Pressure units to be user selectable.

  - Aeronautical Ranges and units to be selectable.

  - Be capable of recording/logging data.

  - Be capable of supplying electrical excitation for external pressure transducers and transmitters, and be capable of measuring the resulting electrical outputs.

  - Interchangeable adaptor kits for ease of connection.

  - For portable equipment, all cases must be at least IP65 compliant.

- Digital Hand-held Pressure Indicators

  - Portable operation with a minimum 10 hour battery life.

  - Possible requirements for use within intrinsically safe locations.

  - The ability to be able to measure and/or generate pressure.

  - The ability to provide temperature-corrected pressure measurement over the operating range.

  - Be capable of undertaking leak testing.

  - Resolution, Damping and Pressure units to be user selectable.

  - Be capable of recording/logging data.

  - Be capable of supplying electrical excitation for external pressure transducers and transmitters, and be capable of measuring the resulting electrical outputs.

  - Interchangeable adaptor kits for ease of connection.

  - For portable equipment, all cases must be at least IP65 compliant.

- Pressure Gauges

  - Bourdon tube, capsule and differential design.

  - Ability to be able to measure atmospheric (gas and oxygen), absolute and hydraulic pressure (oil and water).

  - Be capable of Direct, Surface and Flush (3 Hole or clamp) mounting.

  - Must be at least IP65 compliant.

Desirable

  - Any software updates for the proposed solution, if required, should be able to be loaded locally.

- RFI intended outcomes

This RFI aims to achieve 4 outcomes:

  - Explore the market to see if existing products or technology could meet the requirements set out above. To establish what direction is the market going in and how quickly.

  - Develop a procurement strategy that will deliver best value for Defence.

  - Implement an enduring solution that allows the Authority to plan its requirement against an assured continuity of supply.

  - To inform a procurement strategy that enables the implementation of an enduring solution, for commencement from potentially Q4 2021.

- RFI Procedure

Responses to this RFI will be reviewed by subject matter experts from the Operational Infrastructure Delivery Team and the DECA Managed Services Team.

Any details provided in response to this RFI will be used for information purposes only and will not be used to determine the potential Suppliers who will be invited to bid, should the Authority proceed to tender.

The results and analysis of this RFI shall not constitute any form of pre-qualification exercise.

Any formal procurement process will be undertaken in accordance with the relevant Procurement Law.

Nothing in this RFI, or any other engagements with Industry prior to a formal procurement process, shall be construed as a representation as to the Authority’s ultimate decision in relation to the future requirement.

- How to submit responses to this RFI

Respondents should provide information in accordance with the format provided in Annex A, in PDF, quoting the RFI reference on all documentation and emails.

If upon review of your submission any clarifications or additional information is required, you will be contacted using the details provided within your RFI response.

Please do not submit additional documents such as company overviews, as the purpose of the RFI is to collect information related to the technical solution, so any additional documents will not be included in the review process. Responses should be limited to 800 words per section.

Any responses received after the deadline will be passed to the subject matter experts for information, however they may not be included in the RFI review meetings which are to be held immediately following the deadline.

Once completed, please return electronically to the e-mail address shown below in section 8, no later than 12:00, Monday 26th April 2021.

Responses will be acknowledged electronically by return e-mail.

- Confidentiality & Proprietary Information

No information included in your response, or in discussions connected to it, will be disclosed to any other third party.

Proprietary information, where included, should be kept to minimum and must be clearly marked.

For the purposes of this RFI, any documentation submitted should be classification OFFICIAL.

- Costs of preparing your RFI response

Any costs relating to the preparation and submission of a response to this RFI are the sole responsibility of the respondent.

- Contact

Quoting the RFI reference, please submit:

i) any requests for clarification,

ii) all responses to this RFI and,

iii) any questions regarding Classification of document(s) intended for submission, to:

DECA.MSPROC@DECA.MOD.UK

- Annex A

| Question | Answer |
| --- | --- |
| Company Name |  |
| Company Address |  |
| Name of Company representative completing the RFI |  |
| Contact details (e-mail and telephone number) |  |
| Company web site address |  |
| Main products/services/line of business |  |
| Main market sector |  |
| Number of years in this market sector |  |
| QUESTIONS |  |
| 1. What are the best technical solutions currently available which are able to be supported for at least 5 years? |  |

2. Are there technical solutions which may be available within the next 2 years?

3. Please include links to product catalogues/data sheets where applicable?

Innovative solutions are most welcome, even if they do not meet all of the requirements above, we would welcome the opportunity to consider further options.