## Cost Model
AW5.2 Price Schedule
SOURCING REFERENCE: | UK SBS FM17173 |  |  |  |  | Bidders are required to complete all Red highlighted Cells All Prices are to be firm and fixed and exclusive of VAT Bidders are not to amend this spreadsheet, other than to complete the required Red cells. The figure detiled in cell J237 & L25 Will be the total price you will be evaluated on for this tender
SOURCING DOCUMENT TITLE: | UK SBS FM17173 Mastic Joint Replacement Works
BIDDER NAME
The prices for section 2 are to be evaluated on 40% of total price of works inside normal working hours (0800 - 1600) and 60% of the total price for works outside of normal working hours (1600 - 0700).
Contract Services Breakdown
| Description | [8 empty] | Total
Notes & Comments
1 | PROVISION OF ACCESS FOR THE WORKS | [8 empty] | 0
2 | MASTIC JOINT REPLACEMENT | [8 empty] | 0
3 | PRELIMINARIES AND GENERAL CONDITIONS | [8 empty] | 0
[9 empty] | Total Price | 0
Section 1 - Provision of Access for the Works
|  | Quantity | Unit | Rate |  | Notes |  |  |  | Total
Area of Work | Part / Service | [8 empty] | Price |  | Notes & Comments
Provide access for mastic replacement works and inspection by the Engineer (to check the filler board type) to 494 area
| Expansion joints upto a maximum height of 2.8m rooms and communal areas | 25 | Nr | [6 empty] | 0
[8 empty] | Section 1 Total Price |  | 0
Section 2 - Mastic Joint Replacement
|  | Quantity | Unit | Rate | Notes | Notes |  |  |  | Total Price Inside | Total Price Outside
Area of Work | Part / Service | [8 empty] | Normal Working Hours | Normal Working Hours | Price Notes & Comments
Room 494/01, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 21.4 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | Item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 4.5 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 21.4 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours - 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes | Notes
Room 494/02, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 27.6 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 0 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 6.2 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 27.6 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours - 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes | Notes
Room 494/03, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 13.5 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.05 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 4.5 | m | [6 empty] | 0 | 0
0.06 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 13.5 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours - 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes | Notes
Room 494/07, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 11.8 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 4.5 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 11.8 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes | Notes
Room 494/08, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 15 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 6.2 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 15 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes | Notes
Room 494/09, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 11.7 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 4.5 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 11.7 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes | Notes
Room 494/10, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 15.1 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 6.2 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 15.1 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes | Notes
Room 494/11, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 11.4 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 4.5 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 11.4 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes | Notes
Room 494/12, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 16 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 6.2 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 16 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes | Notes
Room 494/13, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 10.7 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.05 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 4.5 | m | [6 empty] | 0 | 0
0.06 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 10.7 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes | Notes
Room 494/14, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 11.8 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 6.2 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 11.8 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes | Notes
Room 494/15, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 11.7 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 4.5 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 11.7 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes | Notes
Room 494/16, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 15.1 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 6.2 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 15.1 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes
Room 494/17, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 16 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 6.2 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 16 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes
Room 494/19, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 11.4 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 4.5 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 11.4 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes
Room 494/20, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 15.5 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 6.2 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 15.5 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes
Room 494/100, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 55.7 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 55.7 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 55.7 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes
Room 494/101, Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 56.7 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 150mm; 25mm thick | 54.9 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 25mm depth 25mm | 55.7 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes
493/100, RC Slab Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 33.4 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 300mm; 25mm thick | 37.6 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 50mm depth 25mm | 33.4 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes
495/100, RC Slab Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 33.4 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | 2 x Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 300mm; 25mm thick | 62.6 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 50mm depth 25mm | 33.4 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes
496/01, RC Slab Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 14.6 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | 2 x Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 300mm; 25mm thick | 14.6 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 50mm depth 25mm | 14.6 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 - 1600
Above works to be completed out of normal working hours 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes
496/02, RC Slab Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 18 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | 2 x Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 300mm; 25mm thick | 18 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 50mm depth 25mm | 18 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 -1600
Above works to be completed out of normal working hours - 1600 - 0700 | [9 empty] | 0 | 0
| Part / Service | Quantity | Unit | Rate | Notes
496/101, RC Slab Expansion joints upto a maximum height of 2.8m
0.01 | Raking out and enlarging mastic nominal 25mm depth from expansion joints 16mm wide | 8.6 | m | [6 empty] | 0 | 0
0.02 | Allow for the inspection of all joints to Room 494/01 by the Engineer before application of new mastic | 1 | item | [6 empty] | 0 | 0
0.03 | 2 x Formed; Rockwool Firepro Intumescent Expansion Joint or other equal; width not exceeding 300mm; 25mm thick | 1.5 | m | [6 empty] | 0 | 0
0.04 | Sealants; Hilti CP 606 Fire Sealant or other equal, width 16 to 50mm depth 25mm | 8.6 | m | [6 empty] | 0 | 0
Above works to be completed in normal working hours - 0800 -1600
Above works to be completed out of normal working hours - 1600 - 0700 | [9 empty] | 0 | 0
[7 empty] | Section 2 Total to Summary |  |  | Total Price for Inside Normal Working Hours | Total Price for Outside Normal Working Hours
[10 empty] | 0 | 0
Total Price
0
Section 3 - Preliminaries and General Conditions
| Please note that all areas in Light Grey are optional areas and are to be filled in if you intend on their use. If you have priced for these areas as part of another (I.E. they come together) please note this in the Notes tab to the right. Areas in Red must be filled out for your bid to be complaint. |  | Notes |  |  |  | FINAL PRICE
1 | Local Authority Fees | 0 |  |  |  |  | Section 1 Total | 0
2 | Liaison with local and statutory authorities | 0
3 | Parent Company Guarantee | 0 |  |  |  |  | Section 2 Total | 0
4 | Performance Bond | 0
5 | Considerate Constructors Scheme | 0 |  |  |  |  | Section 3 Total | 0
6 | Insurances | 0
7 | Management - Contracts Manager | 0 |  |  |  |  | Overall Final Price | 0
8 | Management - Site Managers / Agents | 0
9 | Management - M&E Co-ordinator | 0
10 | Management - Quantity Surveyor | 0
11 | Management - Other, please state:
12 | Labourers | 0
13 | Accommodation for Welfare Provisions - Contractors | 0
14 | Services and Facilities | 0
15 | Catering for site meetings (tea, coffee, bacon rolls, doughnuts etc) | 0
16 | Power and lighting for the Works | 0
17 | Water for the Works | 0
18 | Plant | 0
19 | Internal Access Scaffolding | 0
20 | External Access Scaffolding | 0
21 | Temporary Works - formation of Site Access and Site Compound | 0
22 | Temporary Works - other required form the works, please state;
23 | Heras fencing to form Contractors Compound and Other Working Areas | 0
24 | Maintain access throughout the Works | 0
25 | CAT scan for existing services | 0
26 | Fire fighting equipment and signage for Fire exit routes | 0
27 | Site Name Board | 0
28 | Photographic condition survey | 0
29 | General Protection | 0
30 | Protection of pavements and roads | 0
31 | Reinstatement to area of Site Access and Site Compound | 0
32 | Samples | 0
33 | Air test | 0
34 | Disposal of rubbish and debris | 0
35 | Final cleaning | 0
36 | Other preliminary items. Please state;
37 | Sundries | 0
| TOTAL TO SUMMARY OF | 0