QUESTIONS/CLARIFICATION TO BIDDERS – STAGE SYSTEMS

Question 1	3.1.5a  Which bars are to be replaced over-stage							Answer - All over-stage bars

Question 2 	3.1.5j  16amp sockets not compatible with 15amp can we fit PowerCon			Answer  - PowerCon acceptable

Question 3 	3.1.5l  linking a new board from existing not recommended fit new?				Answer – yes acceptable

Question 4 	3.2.2c Speakers should be 47hz to 20khx is this correct						Answer – yes

Question 5 	3.2.2d  VGA cable rarely installed now.  Can we fit SDI cable					Answer  - yes acceptable

Question 6 	3.4.1a & b  track lengths not stated									Answer Allow 7.5 mtr + 1 meter overlap

Question 7 	3.1.5 h – DMX 5 pin DMX connection can we use 2 pair Van-Damme cable. 			Answer – yes Van-Damme acceptable

Question 8	 3.2.2 d – Green Room – Please confirm that HDMI feed to green room 				Answer – yes HDMI acceptable

Question 9	 3.3.3 b – Projection Screen is a 16:10 format, acceptable					Answer – yes 16:10 acceptable