Medicines Manufacturing Innovation Centre, Advanced Manufacturing Innovation District Scotland, Renfrewshire

CONTRACT: NEC4 Engineering and Construction Contract

CLERK OF WORKS: SCHEDULE OF PROFESSIONAL SERVICES

|  | Description | Man Days |
| --- | --- | --- |
|  | review the works information, becoming familiar with all the relevant drawings and written instructions, checking them and using them as a reference when inspecting work |  |
|  | propose a schedule of tests and inspections based on the requirements of the works information; implement and witness these with the contractor (while minimising impact on the programme); provide evidence and follow up accordingly |  |
|  | with due regard to the programme, maintaining sufficient presence on site to facilitate adherence to the works information; making visual inspections and providing records and progress reports of these to CPI and the Project Manager |  |
|  | making sure that work is carried out to the client's standards, specification, correct materials, workmanship and schedule, in accordance with the works information and statutory requirements |  |
|  | taking measurements and samples on site to make sure that the work and the materials meet the specifications and quality standards |  |
|  | being familiar with legal requirements and checking that the work complies with them. |  |
|  | having a working knowledge of health and safety legislation and bringing any shortfalls observed to the attention of the resident engineer and the project manager. |  |
|  | advising the contractor and Project Manager about certain aspects of the work, particularly when these do not meet requirements – although this advice should not be interpreted as an instruction |  |
|  | Inspection of Civil and Structural works during the installation. |  |
|  | Inspection of Mechanical & Electrical Services during the installation. |  |
|  | Witnessing the commissioning and validation of the systems within the scope of the design and build |  |
|  | Checking and ensuring site specific (i.e. not generic) O&M manuals are provided for all equipment and systems to provide a comprehensive reference set to the client. |  |
|  | Attendance and reporting at project meetings including a pre-start meeting with the Project Manager and monthly site progress meetings |  |
|  | Attendance at three design review meetings |  |
|  | Total Number of Man Days |  |
|  | Daily Rate 1 |  |
|  | Daily Rate 2 |  |
|  | Total Fee for Scheduled Services |  |

|  | Additional Services Proposed (Please indicate daily rates for additional services even if nothing has been identified at this point) | Man Days |
| --- | --- | --- |
|  | Total Number of Man Days |  |
|  | Daily Rate 1 |  |
|  | Daily Rate 2 |  |
|  | Total Fee for Scheduled Services |  |