## Sheet1
Item | Description | Quantity
1 | MULTI TIER PRO UNIT 1795MM SHUTTER Fosters pro multi deck chillers with lockable shutter. Stainless steel finish throughout. 4 x 450mm deep adjustable shelves. Digital temp display. LED internal lighting. Temp range +2 to +4c. Operates in an ambient temp of upto 25c. O/DIMS 1795 x 775 x 1995mm 13 amp plug 3 YEARS ON SITE PARTS AND LABOUR WARRANTY FREE DELIVERY AND 3 YEARS ON SITE PARTS AND LABOUR WARRANTY FREE DELIVERY AND POSITIONING | 2
2 | EXISTING AMBIENT DISPLAY | 1
3 | FRONT COUNTER Manufacture of ’L’ shaped servery counter nominally 2910mm x 3920mm, widths of 600mm and 900mm respectively, 850mm high. Front of counter to be natural 20mm stone/granite preferably to be matt black textured anti smear finish. Worktop to be natural stone/granite finish as above. 25mm MRMDF base. Kick plinths to be brushed effect aluminium laminate. | 1
4 | COLD DISPLAY Features eye-level gantry mounted digital temperature display and control panel. Cold unit features integral energy efficient chilled hydrocarbon refrigeration (HT). Can achieve temperatures of 0-C to 5-C (max 27-C ambient 55% relative humidity). Integral automatic condensate water evaporation eliminates the need for site drainage. Optional compatibility to Dixell & Modbus RTU network store food monitoring systems. Curved glass profile is designed to compliment other units within the range.24-hour operation as standard. Product illumination is from diffused triphosphor lighting in an elliptical profile gantry. 3 tier toughened glass shelving, adjustable in both height and angle, for increased product display area. Refrigeration condensing unit is housed in an underslung self contained cradle. Self help application. Rear hinged double glazed doors offer easier restocking access and visual stock checking. Modular removable deck plate system for easier cleaning and maintenance. Superstructure in bright polished steel and aluminium profile. Supplied with 2m lead for connection to a single 13 Amp socket (13A 230V 50 Hz). Features tamper proof temperature control facility. 40mm tall point of sale display/ ticket strips are fitted as standard. Capacity: 2/1 GN Model: MDR2HT Power: (kW) 1.65 (13A 230V) | 1
5 | AMBIENT DISPLAY Self help application. Curved glass profile is designed to compliment other units within the range. 3 tier toughened glass shelving, adjustable in both height and angle, for increased product display area. Product illumination is from diffused triphosphor lighting in elliptical profile gantries Rear loading/ open to rear for easier restocking access. Lighting is controlled from an elliptical push button switch at eye level on gantry end plate. Modular removable deck plate system for easier cleaning and maintenance. Superstructure in bright polished steel and aluminium profile. Supplied with 2m lead for connection to a single 13 Amp socket (13A 230V 50 Hz). 40mm tall Point Of Sale display/ ticket strips are fitted as standard. Capacity: 2/1 GN Model: MDA2 Power (kW) 0.1 (13A 230V) | 1
6 | TILL UNIT - BY OTHERS | 1
7 | REAR COUNTER Manufacture of back bar counter nominally 2600mm x 700mm x 850mm high. Doors to be laminate finish. Worktop to be stainless steel or laminate finish, 25mm MRMDF base. Kick plinths to be brushed effect aluminium laminate. | 1
8 | BASIN TAPS | 1
9 | COFFEE MACHINE - BY OTHERS | 1
10 | U/C MILK COOLER - BY OTHERS Single door refrigerator model 153 litres (5.4cu ft). Aluminium interior with stainless steel exterior. Digital thermometer display. Front breathing, forced airrefrigeration system, suitable for use in enclosed areas. 2 shelves. Operates in ambient temperatures of up to 32deg C. 13 amp plug. O/D: 605w x 650d x 830mm high. 3 YEARS PARTS AND LABOUR WARRANTY | 1
11 | HOT CHOCOLATE MACHINE - BY OTHERS | 1
12 | OVEN - BY OTHERS | 1
Price
0