**Specification:**

* 6 year maintenance service comprehensive cover, to include annual 1 PM and probe calibration, software updates, support, call-outs and repairs or replacement parts due to normal use.
* Equipment: 1x Fibroscan 530 s/n F81874 M probe S2001004 & XL probe S2001018. This equipment is out of warranty 26/12/2022
* Location: King’s College Hospital Liver outpatients
* Loan equipment to be provided
* Response times: Monday to Friday 8-6pm
* Coverage times: Please advise
* Cancellation terms: Please advise
* Payment terms: Please advise.