## Sheet1
Thornton House Condition Survey Works
£
Preliminaries
Contingencies
Location |  | £
Boiler Room | Install Gas Knock off Safety System (Gas Interlock)
Boiler Room | Replace Vaillant Eco Tech Pro 28 gas fired combination boiler with similar product. Energy efficient rating A
Boiler Room | Replace pump set for the underfloor heating
Single WC | Install Thermostatic Mixing Valves on the basin
Single WC | Replace Vinyl flooring with a suitable similar product, hard wearing and suitable for under floor heating.
Small Office | Replace Vinyl flooring with a suitable similar product, hard wearing and suitable for under floor heating.
Kitchen | Replace Vinyl flooring with a suitable similar product, hard wearing and suitable for under floor heating.
Small Office | Paint ceilings, walls and skirting boards. Mid range product.
Single WC | Paint ceilings & walls with a suitable bathroom paint. Mid range product.
Main Bathroom | Paint ceilings & walls with a suitable bathroom paint. Mid range product.
Kitchen | Paint ceilings & walls with a suitable kitchen paint. Mid range product.
Hall Way / Corridor & Open Area | Paint ceilings, walls and skirting boards. Mid range product.
Front Bedroom | Paint ceilings, walls and skirting boards. Mid range product.
Office | Paint ceilings, walls and skirting boards. Mid range product.
Lighting | Replace all internal surface lighting with suitable product which is hard wearing and energy efficient?
Lighting | Replace emergency bulk head lighting at exits.
Kitchen | Replace Extractor Fan
Bathroom | Replace Extractor Fan
WC | Replace Extractor Fan
External | Repair roof leak above the kitchen. Please allocate sum to repair or replace the fascia/soffit, removal and replace render on side wall and any other necesarry works required to make water tight. (Roof survey to be undertaken shortly, results will be shared).
Total |  | 0