HSE/T3611R

STATEMENT OF SERVICE REQUIREMENTS FOR SCAFFOLDING AT HSE’S BUXTON OFFICE

- HEALTH & SAFETY EXECUTIVE, SCIENCE DIVISION

1.1 	The Health and Safety Executive (HSE) is a Crown non-departmental public body with specific statutory functions in relation to health and safety.  It is appointed by the Secretary of State for Work and Pensions and employs around 3500 staff including policy advisers, inspectors, technologists and scientific and medical advisers. HSE’s job is to prevent people being killed, injured or made ill by work.

  - HSE consists of a governing Board comprising of a Chair and nine non-executive members, all of whom are appointed by the Secretary of State for Work and Pensions after consultation with organisations representing employers, employees, local authorities and others, as appropriate.  HSE comprises various directorates and groups and is led by a senior management team.  HSE`s Science & Research Centre is located within a 550 acres site near Buxton in Derbyshire and is part of HSE`s Science Division.  HSE works from over 30 locations throughout Great Britain.

  - The science and research centre is Britain's leading industrial & occupational health and safety research facility. Science Division supports HSE’s mission to protect the health and safety of the national workforce by ensuring risks in the workplace are adequately controlled.

  - Science Division employs circa 420 people including scientists, engineers, psychologists, social scientists, health professionals and technical specialists.  Its capabilities encompass a wide range of topics including: health solutions, risk and human factors, fire, explosion and process safety; occupational and environmental health; safety engineering; work environment; and specialist photographic and technical services.

Services Include:

- Research and development

- Specialist advice and consultancy

- Forensic investigation into the causes of accidents

- Environmental and biological monitoring

- Assessment of levels of risk and investigation of their control

- Establishing realistic requirements for standards, and processes or meeting those standards

- Validation and certification

- Training

  - To deliver these services Science Division has advanced facilities that range from high power computers for modeling and analysis, well equipped laboratories covering biomedical, occupational hygiene and environmental work to unique facilities for large scale experiments in the areas of engineering, fires, explosions and process safety.

2	BACKGROUND TO THE PROJECT

Site Location:

Internal location in an experimental hall (Burn Hall) at HSE Science and Research Centre, Harpur Hill, Buxton, Derbyshire, SK17 9JN.

Period the scaffold is required to be in place:

Initial rental 3 months from August  2020.

Intended use: scaffold for experimental assembly. It is intended to run a length of small diameter pipework up the scaffold to the top. Then support the pipework to protrude approximately 3 m out from the scaffold.

Height and length and any critical dimensions which may affect the scaffold:

- Must tie into the side of the burn hall.

- There are some joists and struts which may be used for tie in.

- Scaffold must be able to accommodate an 8m release point.

- Maximum height of the side of the burn hall is 11.5m.

- Must not protrude into the path of a fire exit which is approximately 2.5 m from the tie in edge.

- Safety rails required.

- Internal ladder access required.

- Ground conditions concrete slab.

Scaffold Dimensions

- 1.5 m depth

- 1.5 m – 2m length

Maximum working loads to be imposed and maximum number of people using the scaffold at any one time:

- Pipework (diameter): 12mm

- Maximum fluid pressure: 20 bar

- Protruding pipework: 3 m

- Weight estimate: 2 persons plus pipework.

- Ability to clip on using scaffold hooks (and fall arrest)

Site restrictions

- Burn hall access restricted and will require on site clearance. Staff undertaking inspections will need to obtain a key and have a site induction and clearance.

- Roller shutter door to burn hall – vehicle access can be permitted with escorting staff.

Safety compliance

- Weekly inspections to be completed each week on a Monday or Tuesday.

- Scaffold tags.

- Paper copy of scaffold tags.

- Competence records available on request.

- Risk assessment and method statement to be provided in advance.

- CISRS – membership preferred

3	Request for Quote Response

- Provide a firm price for the supply, erection and weekly inspection of the scaffolding.

- Confirmation that you can provide this service by the required time.

4	Site Visit

HSE has arranged for all potential suppliers to view the experimental hall at the HSE Science and Research Centre on Thursday 24th July 2020 from 14:00 hrs until 15:30 hrs.  We ask that you send a maximum of 2 people to view the experimental hall which requires the scaffolding to be erected.

It is imperative that all attendee names are emailed to louise.osullivan@hse.gov.uk

prior to the event.  Attendees that arrive without informing HSE will not be permitted onsite.