## Asset List
Asset List of Fire Fighting Equipment by Plant Area
Location | No. off | Size (mm) | Type | Make | Model
Blast Furnace Fire Fighting | 3 | 100 | Wet Valves | Matthew Hall
| 1 | 150 | Wet Valves | Matthew Hall
| 2 | 80 | Wet Valves | Matthew Hall
| 8 | 150/100/80 | Non-Return Valve
| 3 |  | Control Panels
| 2 | 150/100 | Strainers
| 2 | 150 | Non-return Valve
| 8 |  | Flow Alarms
| 1 |  | Air Compressor
| 1 |  | Diesel Fire Pump | Clarke +W&S 6L11
| 1 |  | Electric Fire Pump | W&S6L11
| 1 |  | Jockey Pump
| 3 |  | Pressure switch
| 8 |  | Alarm test valve
| 9 |  | Sprinkler alarm bell
| 1 | 200m3 | Tank and associated equipment
| 2 |  | Tank Ball valves
| 14 | 150/100/80 | System isolation valves
| 25 |  | Pressure gauges
| 1 |  | Trace Heating
Redcar Coke Ovens | No. off | Size (mm) | Type | Make | Model
| 2 | 150 | Wet Deluge | Butterfly Wafer
| 2 |  | Control Panels
| 2 | 200 | Strainers
| 3 | 150 | Non-return Valve
| 2 | 80 | Actuation Valves | Saunders ( sub Deluge)
| 2 | 150 | Actuation Valves | Saunders ( sub Deluge)
| 1 | 100 | Actuation Valve | Saunders ( sub Deluge)
| 1 | 200/200 | Diesel Fire Pump | Cummins NT856F1 + M&P
750028
| 1 |  | Jockey Pump
| 1 |  | Alarm test valve
| 1 |  | Sprinkler alarm bell
| 1 | 351m3 | Tank and associated equipment
| 2 |  | Tank Ball float valves
| 9 | 200/150 | System isolation valves
| 9 |  | Pressure switch
| 15 |  | Pressure gauge
Steelmaking | No. off | Size (mm) | Type | Make | Model
| 2 | 150 | Wet Valves | Mather & Platt | Type C
| 3 |  | Control Panels
| 3 | 150 | Strainers
| 3 | 150 | Non-return Valve
| 15 |  | Flow Alarms
| 2 |  | Diesel Fire Pump | Clarke + SPPKP10X
| 2 | 100/125 | Electric Fire Pump | Medivane
| 2 | 158m3 | Tank and associated equipment
| 2 |  | Ball Float Valves
| 9 | 150 | System isolation valves
| 1 |  | Trace heating
| 3 |  | Pressure switch
| 7 |  | Pressure Gauge
| 2 |  | Alarm bell
Redcar Power Station | No. off | Size (mm) | Type | Make | Model
| 2 | 150 | Wet Valves | Mather & Platt
| 3 | 100 | Wet Valves | Mather & Platt
| 12 | 100 | Manual Valves | Mather & Platt
| 2 |  | Control Panels
| 2 | 200 | Strainers
| 2 | 200 | Non-return Valve
| 2 |  | Flow Alarms
| 1 | 200/250 | Diesel Fire Pump | Leyland PU680/758 + M&P
CP2/120
| 1 | 200/250 | Electric Fire Pump | M&P CP2/120
| 1 |  | Jockey Pump
| 10 | 200/150/100 | Isolation Valve
| 1 | 90m3 | Tank and associated equipment
| 2 |  | Ball Float valves
| 7 |  | Pressure Switches
| 16 |  | Pressure Gauges
| 1 |  | Trace Heating
Kinkerdale Sub Station | No. off | Size (mm) | Type | Make | Model
| 1 | 100 | Wet Valves | Mather & Platt | Type C
| 1 |  | Flow Alarm
| 1 |  | Air Compressor
| 1 | 45m3 | Pressure Tank
| 2 |  | Isolation Valve
| 1 |  | Non-return Valve
| 3 |  | Pressure Switches
| 6 |  | Pressure Gauges
| 1 |  | Trace Heating
Dock Road Sub Station | No. off | Size (mm) | Type | Make | Model
| 1 | 100 | Wet Valves | Mather & Platt | Type C
| 1 |  | Flow Alarm
| 1 |  | Air Compressor
| 1 |  | Control panel
| 1 | 45m3 | Pressure Tank 4
| 1 |  | Non-return Valve
| 3 |  | Pressure Switches
| 6 |  | Pressure Gauges
| 1 |  | Trace Heating
Redcar Bulk Terminal Material Handling C1 | No. off | Size (mm) | Type | Make | Model
| 2 | 150 | Wet Valves | Matthew Hall
| 1 |  | Control Panels
| 3 | 150 | Strainers
| 1 | 150 | Non-return Valve
| 3 |  | Flow Alarms
| 1 | 100/80 | Electric Fire Pump | SPP Av03M
| 1 |  | Jockey Pump
| 6 |  | Isolation Valves
| 2 |  | 15m3 Tank and associated equipment
| 2 |  | Ball Float valves
| 4 |  | Pressure Switches
| 8 |  | Pressure Gauges
| 3 |  | Alarm Bell
Redcar Bulk Terminal Material Handling CH1 | No. off | Size (mm) | Type | Make | Model
| 2 | 100 | Wet Valve | Matthew Hall
| 1 |  | Control Panels
| 2 | 100 | Strainers
| 1 | 100 | Non-return Valve
| 2 |  | Flow Alarms
| 1 | 100/80 | Electric Fire Pump | SPP Av03M
| 1 |  | Jockey Pump
| 6 |  | Isolation valves
| 1 | 21m3 | Tank and associated equipment
| 2 |  | Ball Float valves
| 4 |  | Pressure Switches
| 8 |  | Pressure Gauges
| 2 |  | Alarm Bell