|  |  | T: 03459 335577 helpline@defra.gov.uk www.gov.uk/defra |
| --- | --- | --- |
|  | Kings Meadow House Reading RG1 8DQ |  |

# Specification Template

Project / contract Information

| Project name | BMS Upgrade KMH 23/24 |
| --- | --- |
| Project SOP reference | TBC |
| Contract reference | TBC |
| Date | 29/09/23 |
| Version number | V01 |
| Author | Shane Lake |

Revision history

| Revision date | Summary of changes | Version number |
| --- | --- | --- |
| 29/09/23 | First Issue | V01 |

Details of the Works

Details of works are: -

Upgrades to the Building Management system (BMS) this involves a replacement/upgrade to the PC that controls the BMS system. Will also include replacement of several Fan coil units (FCU’S) or associated parts around the building.

  - .1 Objective

- Upgrades to the heating/cooling system at Kings Meadow House, Reading (KMH) to gain the best possible building temperatures. This will include the below -

Provision and set up of head end supervisor module and PC in first floor Facilities Management office. We currently have 2 systems for the BMS (Priva & Trend) we want to explore if this can be migrated onto one system.

Replacement of several FCU’S around the building we do have a priority list of how these are done.

This will be a design and build project.

  - 1.2 Specification

- Provision and set up of head end supervisor module and PC.

- Following the attached FCU report we would like all of the actions to be completed. We have a priority of meeting rooms, individual rooms/enclosed spaces and finally in the open plan office area.

- Remove any redundant equipment.

1.3 The works specifically exclude – TBC

2. Drawings, site information or reports already available:

- KMH - Original building plans to be provided on request.  A lot of the documents are hard copies only.

3. Constraints on how the Contractor delivers the Works:

a) Working hours to be agreed with client, Normal working hours 09:00 to 17:00.  Out of hours works by request only.

b) Making good as necessary.

c) Removing and disposing of all redundant parts and waste within Waste Management Regulations.

4. Requirements of the programme:

a) The work needs to be completed by 31/03/24

b)  Site visit will be required on: - TBC

c) Updated drawings and technical information to be supplied on completion

d) O & M’s will be required on completion

5. Services and other things provided by the Purchaser:

a) Welfare facilities during works.

Toilets, Changing rooms, Showers.