{NOTE FOR EDITING OF THIS DOCUMENT – TEXT IN RED FONT SHOULD BE EDITED AND CHANGED TO BLACK FOR THE FINISHED DOCUMENT} {Insert photo of finished scheme agreed with the Client to this size after deleting this ‘table’}

{Insert name of scheme} {Insert date of issue – mm/year}

CDM Regulations Health & Safety File

{Insert client address from Section 1} {Insert CDM-C company logo – size 25mm x 5mm} {Insert CDM-C company name and address} {Insert CDM-C company hyperlink to web page} Job Number: {Insert CDM-C company job number}

THIS FILE IS A PERMANENT LEGAL RECORD

REQUIRED UNDER THE CDM REGULATIONS

DO NOT DESTROY IT

CDM REGULATIONS HEALTH & SAFETY FILE

FILE NUMBER: {Insert EA project code e.g. IMTHxxxxxx or similar}

CATCHMENT			{Insert details or “Not applicable”}

STRUCTURE/DEFENCE/RIVER REACH	{Insert details or “Not Applicable” to any part}

NATIONAL GRID REF:		From:	{Insert}		to	{Insert}

PREPARED BY:	{Insert CDM-C contact and company name}	DATE:	{Insert as Pg.2}

ISSUE / AMENDMENT RECORD

ISSUE INFORMATION

This document is the master controlled copy of the Health and Safety File which is retained at the Environment Agency’s {insert town name (address)} office.

Inside the front cover of this document is a CD containing two directories each containing the Health and Safety File main body text, one in PDF format and one in WORD format as well as other relevant digital information. The as-constructed drawings are also on the CD in both AutoCAD and PDF format.

As the works involve a 3rd party, this document has been copied to them as detailed below:-

- {insert name, address, tel etc No’s and e-mail address of 3rd party)

- {insert details of document copied to 3rd party i.e. what part (all of it or if part, list pages and whether an original or water marked uncontrolled) and details of what is on CD if one is issued}

- A copy of the transmittal letter to the 3rd party as well as the receipt of the document is included in Appendix F.

AMENDMENT RECORD (Amendment ‘0’ being the original)

| No. | DATE | AMENDMENT MADE | MADE BY |
| --- | --- | --- | --- |
| 1 |  |  |  |

CONTENTS

SECTION NUMBER	TITLE

Preface

Section 1		General description

Section 2		Project files and other documents

Section 3		Design criteria

Section 4		Equipment specification

Section 5		As-constructed/installed records

Section 6		Materials used

Section 7		Public utilities and services

Section 8		Ground investigation information

Section 9		Access, land ownership and rights of way

Section 10	                Operating procedures (including residual risks and risk assessments)

Section 11		Operating and Maintenance manuals

Section 12		Methods used in construction

Section 13		Confined Spaces

Section 14		Electrical safety

Section 15		COSHH

Section 16		Information relevant to demolition

Section 17		Flood warning

Section 18		Site Waste Management Plan

APPENDICES

Appendix 1	Statutory consents

Appendix 2	Project Reports and Other Documents

Appendix 3	Equipment Specification Sheets

Appendix 4	As-constructed/installed records

Appendix 5 	Materials Specification Sheets

Appendix 6 	As Found Services Information

Appendix 7	Ground investigation information

Appendix 8	Access, land ownership and rights of way

Appendix 9	Risk assessments

Appendix 10	Test CertificatesAppendix 11	Site Waste Management Plan

Appendix 12	Photographs

- PREFACE

- A	INTRODUCTION

This Health & Safety File has been prepared in accordance with the Construction (Design and Management) Regulations 2015 (CDM Regulations).

The CDM Regulations provide a framework, in health and safety terms, under which any construction work is designed, constructed, maintained and, ultimately, demolished.

The Regulations require that a Health and Safety File is prepared upon completion of the work. The File is to create a permanent, easily accessible record of any information relevant to health and safety matters, ascertainable from the design and construction methods, which will be required for the future maintenance, alterations, extension or demolition of the works.  It also should contain information relating to the normal maintenance of the structure, plant and locations of incoming mains, etc.

In accordance with the Regulations the Client (who is defined in the Regulations as anyone for whom work is carried out) is required to ensure that a Health and safety File is made available to any persons undertaking work on the structure including Principal Designers, Designers and Contractors.

If the Client disposes of his entire interest in the structure the Health and Safety File is to be delivered to the person who acquires the interest of the structure and the Client shall ensure that this person is aware of the nature and purposes of the Health and Safety File.

All new structures constructed after the full implementation of the original CDM Regulations (1 January 1996) and some structures constructed after the initial implementation (31 March 1995) will have Health and Safety Files prepared, but structures created before this time will not have such a File. If work is undertaken to a structure with a Health and Safety File, the File must be updated to include the alterations / additions undertaken.  If work is undertaken to existing structures without a File, a Health and Safety File only needs to be created in relation to the work carried out and for the maintenance, alterations and demolition of the new work.

Dependent on the nature and use of the works covered by this Health and Safety File it may be necessary to make it available to a leaseholder(s).  In this case either a copy all as detailed in the ISSUE INFORMATION shall be prepared or, the leaseholder(s) shall be advised where the original is located and make it available for them to refer to it in a controlled manner.  In the event leaseholder(s) may act as Client Agents then a copy shall be issued as detailed before.

In the event sections of this Health and Safety File require the establishment of separate stand alone document(s) (e.g. operation and maintenance manuals) these shall be clearly annotated as to the details of and where this Health and Safety File and its copy are retained.  This Health and Safety File and its copy shall also be annotated in the relevant sections as to the details of and where the separate stand alone document(s) are retained.

B	PURPOSE OF THE FILE

The purpose of the Health and Safety File is to assist persons at any time in the future who may be carrying out:-

- Construction work

- Maintenance work

- Operation/use

- Repairs

- Cleaning windows and the like work

- Dismantling and  demolition work

The Health and Safety File is intended to alert those responsible for any of the above operations in relation to the building structure, or its equipment to any significant risks in carrying out any work.

C	STATUTORY IMPLICATIONS OF THE FILE

This Health and Safety File is a statutory document.

The Client is under statutory duty, under the Regulation 4 of the CDM Regulations, to comply with the following requirements of the regulations:-

- Ensure that the Principal Designer is provided with all the health and safety information  in the Client’s possession  (or which is reasonable to obtain through sensible enquiry) relating to the project which is likely to be needed for inclusion in the Health and Safety File, including information specified in regulation 4(9)(c) of the Control of Asbestos Regulations 2012.

- Where a single Health and Safety File relates to more than one project, site or structure, or where it includes other related information, the Client shall ensure that the information relating to site or structure can be easily identified.

- The Client shall take reasonable steps to ensure that after the construction phase the information in the Health and Safety File :- (Regulation 4)

  - is kept available for inspection by any person  who may need it to comply with the relevant statutory provisions; and (Regulation 4)

  - is revised as often as may be appropriate to incorporate any relevant new information. (Regulation 4)

- It shall be sufficient compliance with (Regulation (4) (7)) by a Client who disposes of his entire interest in the structure if he delivers the Health and Safety File to the person who acquires his interest in it and ensures that he is aware of the nature and purpose of the file.

D	FUTURE ALTERATIONS

All future alterations which come under the scope of the CDM Regulations will require the formal updating of this Health and Safety File.  In order to maintain the validity and effectiveness of this File, it is essential that the details of all minor work, alterations etc, which are outside the scope of the regulations, are recorded.  For this purpose an Amendment Record is included.  Any person or organisation carrying out minor works outside the scope of the CDM Regulations should record the nature of the work carried out by completing the Amendment Record and include the relevant details, data sheets, test certificates etc with this Health and Safety File.

Insert protocol for updating the HSF and O&M Manual.

E	REMOVAL OF HEALTH AND SAFETY FILE DOCUMENTS

The Health and Safety File is a statutory document and under normal circumstances should not be removed either in full or in part from its designated location.

The only time that information may be removed is:-

- Where record information is required at the site of the works being carried out in order to allow that the work be carried out safely.

- Where it is essential to remove information in order to update if following any alterations.

- By a Principal Designer or Designer appointed for any future works for which record information is required.

In all such cases only the information necessary for the purpose should be removed and its removal must be recorded.

SECTION 1 	GENERAL DESCRIPTION

1.1 Location {Insert text} Designer to insert details

1.2 Location plan {Insert text} Designer to insert details

1.3 Project history {Insert text} Designer to insert details

1.4 Scheme objectives {Insert text} Designer to insert details

1.5 Description of works completed {Insert text} Designer to insert details

1.6 Project dates Construction start: {Insert in mm/year format} Principal Contractor to insert details Construction finish: {Insert in mm/year format} Date contractor demobilises and clears site, not contractual completion. Principal Contractor to insert details

| - Statutory consents and permissions A summary table of the statutory consents and permissions is given below. Front pages of the consents and permissions are included in Appendix 1. {Insert details or “Not applicable” in sections below} |  |  |  |  |
| --- | --- | --- | --- | --- |
| Consent/Permission | Authority | Date | Reference |  |
| Permanent works |  |  |  |  |
| Designer to insert details. |  |  |  |  |
| Temporary works |  |  |  |  |
| Principal Contractor to insert details |  |  |  |  |

1.8	Project key participants {Insert details or “Not applicable” in sections below}

| Organisation | Contact name/ e-mail/tel no/fax no | Address and postcode | Project job number |
| --- | --- | --- | --- |
| Client: | {Insert name} | Environment Agency | {Insert} |
|  | E-mail: {Insert} |  |  |
|  | Tel. No: {Insert} |  |  |
|  | Fax No.: {Insert} |  |  |
| ECC Project Manager: | {Insert name} | {Insert} | {Insert} |
|  | E-mail: {Insert} |  |  |
|  | Tel. No: {Insert} |  |  |
|  | Fax No.: {Insert} |  |  |
| Designer: | {Insert name} | {Insert} | {Insert} |
|  | E-mail: {Insert} |  |  |
|  | Tel. No: {Insert} |  |  |
|  | Fax No.: {Insert} |  |  |
| Principal Designer: | {Insert name} | {Insert} | {Insert} |
|  | E-mail: {Insert} |  |  |
|  | Tel. No: {Insert} |  |  |
|  | Fax No.: {Insert} |  |  |
| Principal Contractor: | {Insert name} | {Insert} | {Insert} |
|  | E-mail: {Insert} |  |  |
|  | Tel. No: {Insert} |  |  |
|  | Fax No.: {Insert} |  |  |
| {Others, list as need be using above format or delete row} |  |  |  |

SECTION 2	PROJECT FILES AND OTHER DOCUMENTS {Insert details or “Not applicable”. Delete unused rows}

| Date | Ref | Document | Location | Reference and date if formally issued to the client |
| --- | --- | --- | --- | --- |

SECTION 3	DESIGN CRITERIA, ENVIRONMENTAL ISSUES AND CONSULTATIONS {Insert details or “Not applicable” in sections below. Delete unused rows}

| Design criteria – Consultant Design Information |  |
| --- | --- |
| Civil |  |
| Structural |  |
| Mechanical |  |
| Electrical |  |
| Hydraulic |  |
| ICA |  |
| {List others or delete row} |  |

| Design criteria – Contractor Lead Design Information |  |
| --- | --- |
| Civil |  |
| Structural |  |
| Mechanical |  |
| Electrical |  |
| Hydraulic |  |
| ICA |  |
| {List others or delete row} |  |
| Environmental |  |
|  | Environmental constraints |
|  | Habitat plans etc. |
| Consultees – see Section 1 for consents |  |
| Statutory |  |
| Non statutory |  |

SECTION 4	EQUIPMENT SPECIFICATIONS

{Insert text} – Designer to insert specified details

{Insert text} – Principal Contractor to insert Contractor lead specified details

Equipment specification sheets are included in Appendix 3

SECTION 5	AS-CONSTRUCTED / INSTALLED RECORDS {Designer to insert details or “Not applicable” in sections below. Delete unused rows}

The drawings listed below are included in Appendix 4 in A3 (L) format as well as on the CD inside the front cover of this document. Copies will also be held on Asite.

Selections of all photographs taken before, during and after construction/installation are included in Appendix 12 that provide a linear image of the full extent and development of the works. Most all of the photographs taken during the construction of the works are included on a second CD, again inside the front cover of this document.

| Drawing No/Rev/Date | Title |
| --- | --- |
| Civil |  |
| Structural |  |
| Mechanical |  |
| Electrical |  |
| Hydraulic |  |
| ICA |  |
| {List other diciplines if need be, or delete this and rows} |  |

SECTION 6	MATERIALS USED {Principal Contractor to insert details or “Not applicable” in sections below. Delete unused rows}

The following table lists the principle materials used in the works. Where annotated, data sheets for the material are included in Appendix 5. Materials that have COSHH data sheets available for them are identified yes/no in the table below and again included in Appendix 5.

| Materials | Description | Name of Supplier | Address/contact details |
| --- | --- | --- | --- |
|  | Product description MSDS – Y/N? |  |  |
|  | Product description MSDS – Y/N? |  |  |
|  | Product description MSDS – Y/N? |  |  |
|  | Product description MSDS – Y/N? |  |  |
|  | Product description MSDS – Y/N? |  |  |
|  | Product description MSDS – Y/N? |  |  |
|  | Product description MSDS – Y/N? |  |  |

SECTION 7	PUBLIC AND PRIVATE UTILITIES AND SERVICES {Principal Contractor to insert details or “Not applicable” in sections below}.

The following information regarding services is a record of that available at the time of completing the Health & Safety File and may be used for general information only.  Due to the possibility that the service authorities may alter their apparatus at any time, it is imperative that those using this document complete their own services enquiry before commencing any work in the vicinity of the flood alleviation scheme.

The locations of existing services are shown in Appendix 6 based on services actually located/installed etc during the works or accurately identified by other means. See Section 5.

| PUBLIC UTILITIES AND SERVICES |  |  |  |
| --- | --- | --- | --- |
| Water |  | Telephone |  |
| Name: |  | Name: |  |
| Address: |  | Address: |  |
| Contact: |  | Contact: |  |
| Tel. No.: |  | Tel. No.: |  |
| Fax: |  | Fax: |  |
| e-mail: |  | e-mail: |  |
| Gas |  | Electric |  |
| Name: |  | Name: |  |
| Address: |  | Address: |  |
| Contact: |  | Contact: |  |
| Tel. No.: |  | Tel. No.: |  |
| Fax: |  | Fax: |  |
| e-mail: |  | e-mail: |  |
| Private services |  |  |  |
| Name: |  | Name: |  |
| Address: |  | Address: |  |
| Contact: |  | Contact: |  |
| Tel. No.: |  | Tel. No.: |  |
| Fax No.: |  | Fax: |  |
| e-mail: |  | e-mail: |  |

SECTION 8	GROUND INVESTIGATION INFORMATION {Designer insert details or “Not applicable” in section below. Delete unused rows}.

The following table lists the ground investigation documentation produced for the scheme. Where annotated, the documents are included in Appendix 7

| Title | Date | Reference | Revision |
| --- | --- | --- | --- |
| {If information available, state “See Appendix 7 and Asite location} |  |  |  |
| Summary of key findings to be highlighted below |  |  |  |

SECTION 9	ACCESS, LAND OWNERSHIP AND RIGHTS OF WAY {Designer Insert details or “Not applicable” in section below. Delete unused rows}.

The following table lists the general details of this and there any specific information is available it is annotated below and included in Appendix 8.

| Location | Area affected e.g. defence works, access | Party involved | Date/reference of transmittal of relevant section of H&S file to responsible party, if not Environment Agency |
| --- | --- | --- | --- |
| {If information available, state “See Appendix 8” and state what it is e.g. plan, agreement etc} |  |  |  |

SECTION 10	OPERATING PROCEDURES (INCLUDING INSPECTION OF STRUCTURES, RESIDUAL RISKS AND RISK ASSESSMENTS) {Designer and Principal Contractor to insert details or “Not applicable” in sections below. Delete unused rows}.

Operational procedures are detailed below. However, the Client local area office will probably have their own operational procedures and safe systems of working practices which shall be read in conjunction with this.

An inspection schedule is given below for the various sections of the scheme. (Designer to insert design assumptions details)

| Element | Frequency | Signs | Consequence | Action |
| --- | --- | --- | --- | --- |
| {Insert text in all cells} |  |  |  |  |
| {Insert text in all cells} |  |  |  |  |

An inspection schedule is given below for the various sections of the scheme. (Principal Contractor to insert contractor designed details)

| Element | Frequency | Signs | Consequence | Action |
| --- | --- | --- | --- | --- |
| {Insert text in all cells} |  |  |  |  |
| {Insert text in all cells} |  |  |  |  |

A completed Public Safety Risk Assessment (PSRA), prepared by the Designers, is included in Appendix 9.

SECTION 11	OPERATING AND MAINTENANCE MANUALS

All Operation and Maintenance Manuals provided as part of the scheme are identified below:

| Title | Date | Reference | Revision |
| --- | --- | --- | --- |
| {state and Asite location} |  |  |  |
| {Insert text in all cells} |  |  |  |

SECTION 12	METHODS USED IN CONSTRUCTION {Delete unused rows}

Risk Assessments and Method Statements (RAMS) prepared for the works are detailed in the schedule below. Those deemed of relevance for any future modifications, alterations, demolition etc. are highlighted and included in Appendix 9

All of the following are potentially available from the Principal Contractor for the scheme.

| SCHEDULE OF RISK ASSESSMENTS AND METHOD STATEMENTS |  |  |  |
| --- | --- | --- | --- |
| Ref No | Date | Description | Revision |

SECTION 13	CONFINED SPACES (Delete unused rows)

A schedule of confined spaces is given below for the various sections of the scheme:

(Designer to insert details)

| Location | Description | Dimensions, area, size of access and depth | Hazard |
| --- | --- | --- | --- |
| {Insert text in all cells} | {Insert text in all cells} Pre - existing/new design | {Insert text in all cells} | {Insert text in all cells} |
| {Insert text in all cells} | {Insert text in all cells} Pre - existing/new design | {Insert text in all cells} | {Insert text in all cells} |
| {Insert text in all cells} | {Insert text in all cells} Pre - existing/new design | {Insert text in all cells} | {Insert text in all cells} |
| {Insert text in all cells} | {Insert text in all cells} Pre - existing/new design | {Insert text in all cells} | {Insert text in all cells} |

SECTION 14	ELECTRICAL SAFETY

(Insert details of general design assumptions)

(Designer to insert details in the table below)

| Item | Location | Relevant Information/Assumptions |
| --- | --- | --- |
| (Insert text in all cells) |  |  |
| (Insert text in all cells) |  |  |

(Principal Contractor to insert Contractor designed details in the table below)

| Item | Location | Relevant Information/Assumptions |
| --- | --- | --- |
| (Insert text in all cells) |  |  |
| (Insert text in all cells) |  |  |

SECTION 15	COSHH {Delete unused rows}

COSHH assessments/data sheets for materials that are hazardous in their permanent form and subject to maintenance procedures and included in Appendix 5 and identified in the schedule in Section 6 thus.

| Materials | Description | Name of Supplier | Address/contact details |
| --- | --- | --- | --- |
|  | Product description MSDS – Y/N? |  |  |
|  | Product description MSDS – Y/N? |  |  |
|  | Product description MSDS – Y/N? |  |  |
|  | Product description MSDS – Y/N? |  |  |
|  | Product description MSDS – Y/N? |  |  |
|  | Product description MSDS – Y/N? |  |  |

SECTION 16	INFORMATION RELEVANT TO DEMOLITION

(Designer to insert general summary of design assumptions) (Designer to insert details) Item; Location; Relevant Information/Assumptions. (Insert text in all cells). (Insert text in all cells). (Principal Contractor to insert Contractor lead design details) Item; Location; Relevant Information/Assumptions. (Insert text in all cells). (Insert text in all cells).

SECTION 17	FLOOD WARNING

The scheme has/has not affected current flood warning systems for the catchment. Additional information or requirements created by this scheme are as follows: (Insert Text) (Client to insert text)

SECTION 18	SITE WASTE MANAGEMENT PLAN

{Insert summary of contaminated land if applicable and include the Site Waste Management Plan if deemed appropriate in Appendix 11).

Appendix 1

Appendix 2

Appendix 3

Appendix 4

Appendix 5

Appendix 6

Appendix 7

Appendix 8

Appendix 9

Appendix 10

Appendix 11

Appendix 12