Section 2b

Specification

For Richard Close Cemetery, Fleet

For Information

| Table of Contents |  |  |
| --- | --- | --- |
| Title |  | Page |
| D | Groundwork | 4 |
| D20 | Excavating and filling | 6 |
| F | Masonry | 11 |
| F10 | Brick/ block walling | 13 |
| Q | Paving/Planting/Fencing/Site furniture | 17 |
| Q10 | Kerbs/ edgings/ channels/ paving accessories | 19 |
| Q20 | Granular sub-bases to roads/ pavings | 27 |
| Q21 | In situ concrete roads/ pavings/ bases | 31 |
| Q22 | Coated macadam roads/ pavings | 38 |
| Q23 | Gravel/ hoggin/ woodchip roads/ pavings | 41 |
| Q24 | Interlocking brick/ block roads/ pavings | 45 |
| Q25 | Slab/ brick/ sett/ cobble pavings | 50 |
| Q26 | Special surfacings/ pavings for sport/ general | 57 |
|  | amenity |  |
| Q28 | Topsoil and growing media | 61 |
| Q30 | Seeding/ turfing | 64 |
| Q31 | External planting | 69 |
| Q40 | Fencing | 76 |
| Q41 | Barriers/ guardrails | 84 |
| Q50 | Site/ street furniture/ equipment | 87 |
| R | Disposal systems | 88 |
| R12 | Below ground drainage systems | 90 |
| Z | Building fabric reference specification | 94 |
| Z11 | Purpose made metalwork | 96 |
| Z21 Z23 | Mortars Sealants | 101 105 |

Standard Landscape Specification

30 January 2014

D Groundwork

Standard Landscape Specification 	D20 Excavating and filling

D20 Excavating and filling

To be read with Preliminaries/General conditions

GENERALLY/THE SITE

CLEARANCE/EXCAVATING

164 TREE ROOTS

• Protected area: Do not cut roots within an area which is the larger of:

-The branch spread of the tree.

-An area with a radius of half the tree's height, measured from the trunk.

• Excavation in protected area:

-Method: By hand.

-Backfill as soon as possible or temporarily line with polyethylene sheet to reduce evaporation.

- Outside protected area: Give notice of roots exceeding 25 mm and do not cut without approval.

- • Cutting:

- -Make clean smooth cuts with no ragged edges.

- -Pare cut surfaces smooth with a sharp knife.

- -Treatment of cut roots: Not required.

- Backfill: As dug material, enriched with amelioration as section Q31.

168 SITE CLEARANCE

- Timing: Before topsoil stripping, if any.

- General: Clear site of rubbish, debris and vegetation. Do not compact topsoil.

- Treatment: Apply a suitable non-residual herbicide to areas to receive planting.

170 REMOVING SMALL TREES, SHRUBS, HEDGES AND ROOTS

Identification: Clearly mark trees to be removed.

Small trees, shrubs and hedges: Cut down

Roots: Grub up and dispose of without undue disturbance of soil and adjacent areas

Safety: Comply with HSE/ Arboriculture and Forestry Advisory Group Safety Guides.

175 FELLING LARGE TREES

Definition: Girth over 600 mm.

Identification: Clearly mark trees to be removed.

Safety: Comply with HSE/ Arboriculture and Forestry Advisory Group Safety Guides.

Felling: As close to the ground as possible.

Stumps: Remove mechanicallyincluding all below ground level root systems.

Work near retained trees: Take down trees carefully in small sections to avoid damage to adjacent trees that are to be retained, where tree canopies overlap and in confined spaces generally.

General: Permitted, remove arisings from site.

180 CHIPPING AND SHREDDING

General: is permitted. Spread arisings on site in areas designated.

220 STRIPPING TOPSOIL

- General: Before beginning general excavation or filling, strip topsoil from areas where there will be regrading, buildings, pavings/ roads and other areas shown on drawings.

- • Depth:

- -Remove to an average depth of 50 mm.

- -Give notice where the depth of topsoil is difficult to determine.

- Handling: Handle topsoil for reuse or sale in accordance with clause 225.

- Around trees: Do not remove topsoil from below the spread of trees to be retained.

- Site storage: Keep separate from excavated sub-soil in bunds of no more than 1m high.

221 TREATING TOPSOIL

- Treatment: Apply a suitable translocated non residual herbicide.

- Timing: Not less than two weeks before excavating topsoil.

225 HANDLING TOPSOIL

• Aggressive weeds:

-Species: Included in the Weeds Act, section 2 or the Wildlife and Countryside Act, Schedule 9, part II.

-Give notice: Obtain instructions before moving topsoil.

Earthmoving equipment: Select and use to minimize disturbance, trafficking and compaction.

• Contamination: Do not mix topsoil with:

-Subsoil, stone, hardcore, rubbish or material from demolition work.

-Oil, fuel, cement or other substances harmful to plant growth.

-Other grades of topsoil.

Multiple handling: Keep to a minimum. Use topsoil immediately after stripping.

Wet conditions: Handle topsoil in the driest condition possible. Do not handle during or after heavy rainfall or when it is wetter than the plastic limit as defined by BS 3882, Annex N2.

250 PERMISSIBLE DEVIATIONS FROM FORMATION LEVELS

Beneath mass concrete foundations: ±25 mm.

Beneath ground bearing slabs and r.c. foundations: ±15 mm.

Embankments and cuttings: ±50 mm.

Ground abutting external walls: ±50 mm, but such as to ensure that finished level is not less than 150 mm below dpc.

320 RECORDED FEATURES

- Recorded foundations, beds, drains, manholes, etc: Break out and seal drain ends.

- Contaminated earth: Remove and disinfect as required by local authority.

330 UNRECORDED FEATURES

• Give notice: If unrecorded foundations, beds, voids, basements, filling, tanks, pipes, cables, drains, manholes, watercourses, ditches, etc. not shown on the drawings are encountered.

370 UNDERGROUND STRUCTURES IN LANDSCAPE AREAS

- Generally: Remove walls, roads, foundations, disused services, drains, manholes and the like to minimum depth.

- • Minimum depth below finished levels:

- -Grass, ground cover and perennial planting: 500 mm.

- -Shrub planting: 750 mm.

- -Within 2 m of tree planting: 1000 mm.

- Walls and slabs remaining: In every 10 m² of wall or slab, make a drainage hole at least 600 mm diameter.

DISPOSAL OF MATERIALS

410 EXCAVATED TOPSOIL STORAGE

• Storage: Stockpile in temporary storage heaps 1m high max .

415 EXCAVATED TOPSOIL REMOVAL

• General: Remove from site unless required to make up levels for the path.

420 TOPSOIL STORAGE HEAPS

- Location: As agreed with CA .

- Height (maximum): 1m .

- • Protection:

    - Do not place any other material on top of storage heaps.

    - Do not allow construction plant to pass over storage heaps.

-Prevent compaction and contamination.

441 SURPLUS SUBSOIL

Excavated material: Stockpile in temporary storage heaps.

• Retained material: Spread and level surplus subsoil on site.

-Locations: As agreed with CA not more than 100m from excavation .

-Protected areas: Do not raise soil level within root spead of trees that are to be retained.

Remaining material: Remove from site.

450 WATER

• Generally: Keep all excavations free from water until:

-Formations are covered.

-Below ground construction are completed.

-Basement structures and retaining walls are able to resist leakage, water pressure and flotation.

Drainage: Form surfaces of excavations and fill to provide adequate falls.

Removal of water: Provide temporary drains, sumps and pumping as necessary. Do not pollute watercourses with silt laden water.

454 GROUND WATER LEVEL/ RUNNING WATER

- Give notice: If it is considered that the excavations are below the water table.

- Springs/ Running water: Give notice immediately if encountered.

FILLING

510 HAZARDOUS, AGGRESSIVE OR UNSTABLE MATERIALS

• General: Do not use fill materials which would, either in themselves or in combination with other materials or ground water, give rise to a health hazard, damage to building structures or instability in the filling, including material that is:

-Frozen or containing ice.

-Organic.

-Contaminated or noxious.

-Susceptible to spontaneous combustion.

-Likely to erode or decay and cause voids.

-With excessive moisture content, slurry, mud or from marshes or bogs.

-Clay of liquid limit exceeding 80 and/or plasticity index exceeding 55.

-Unacceptable, class U2 as defined in the Highways Agency 'Specification for highway works', clause 601.

520 FROST SUSCEPTIBILITY

- General: Except as allowed below, fill must be non frost-susceptible as defined in Highways Agency 'Specification for Highway Works', clause 801.17.

- • Test reports: If the following fill materials are proposed, submit a laboratory report confirming they are non frost- susceptible:

- -Fine grained soil with a plasticity index less than 20%.

- -Coarse grained soil or crushed granite with more than 10% retained on a 0.063 mm sieve.

- -Crushed chalk.

- -Crushed limestone fill with average saturation moisture content in excess of 3%.

- -Burnt colliery shale.

- Frost-susceptible fill: May only be used within the external walls of buildings below spaces that will be heated. Protect from frost during construction.

535 COMPACTION

General: Compact fill as soon as possible after placing.

After compaction: Surface of each layer must be well closed, showing no movement under compaction plant, and without cracks, holes, ridges, loose material and the like.

Defective areas: Remove and recompact to full thickness of layer using new material.

540 BENCHING IN FILL

- Adjacent areas: If, during filling the difference in level between adjacent areas of filling exceeds 600 mm, cut into edge of higher filling to form benches 600 mm minimum width and height equivalent to depth of a layer of compacted filling.

- New filling: Spread and compact to ensure maximum continuity with previous filling.

550 GEOTEXTILE SHEET

• Manufacturer: Lotrak.

-Product reference: 2800.

- Jointing: 300mm.

- • Protect from:

- -Exposure to light, except for five hours (maximum) during laying.

- -Contaminants.

- -Materials listed as potentially deleterious by geotextile manufacturer.

- -Damage until fully covered by fill.

- -Wind uplift, by laying not more than 15 m before covering with fill.

- Preparation: Before laying, remove humps and sharp projections. Fill hollows.

570 CELLULAR GEOSYNTHETIC WEBS

• Manufacturer: Cooper Clarke .

-Product reference: Geoweb .

-Size of cells (length x width x thickness): as advised .

- Preparation of subgrade: geotextile as 550 .

- Fixing/ Connecting: as manufacturers recommendations .

610 COMPACTED FILLING FOR LANDSCAPE AREAS

Fill: Material capable of compaction by light earthmoving plant.

Filling: Layers not more than 200 mm thick. Lightly compact each layer to produce a stable soil structure.

615 LOOSE TIP FILLING FOR LANDSCAPE AREAS

• Filling: Do not firm, consolidate or compact when laying. Tip and grade to approximate levels in one operation with minimum of trafficking by plant.

Page 9 of 105 30 Jan 2014

Standard Landscape Specification D20 Excavating and filling

617 HIGHWAYS AGENCY TYPE 1 GRANULAR FILLING Fill: To Highways Agency 'Specification for highway works', clause 803:

- Crushed rock (other than argillaceous rock).

- Crushed concrete.

-Recycled aggregates.

-Crushed non-expansive slag to clause 801.2.

-Well-burned non-plastic colliery shale.

• Filling: To Highways Agency 'Specification for highway works', clauses 801.3 and 802.

620 SUBGRADE IMPROVEMENT LAYER (CAPPING)

- Fill: To Highways Agency 'Specification for highway works', Table 6/1, Class 6F1 or 6F2.

- Filling: Place and compact to Highways Agency Specification for highway works, Table 6/1, clause 612 and clause 613.3, 613.9 and 613.10.

626 FILL FOR GEOWEB

- Open graded sub-base, clean angular stone Type 4/20 or Type 20/40 as to BS7533-13:2009 and to the Design Manual for Roads and Bridges (DMRB), Volume 4 Geotechnics and Drainage, Section 1 Earthworks, HA44/91, Volume 7 – IAN 73/06 Design Guidance for road pavement foundations and Manual of Contract Documents for Highway Works (MCHW), Volume 1 Specification for Highway Works for the construction and maintenance of the fill material.

700 BACKFILLING AROUND FOUNDATIONS

Under oversite concrete and pavings: Hardcore as clause 710.

Under grassed or soil areas: Material excavated from the trench, laid and compacted in 300 mm maximum layers.

730 BLINDING

• Surfaces to receive sheet overlays or concrete: Blind with:

-Concrete where shown on drawings; or

-Sand, fine gravel, or other approved fine material applied to fill interstices. Moisten as 			necessary before final rolling to provide a flat, closed, smooth surface.

Sand for blinding: To BS EN 12620, grade 0/4 or 0/2 (MP).

Permissible deviations on surface level: +0 -25 mm.

Page 10 of 105 30 Jan 2014

F Masonry

F10 Brick/ block walling

Standard Landscape Specification F10 Brick/ block walling

F10 Brick/ block walling

To be read with Preliminaries/ General conditions.

TYPES OF WALLING

110 CLAY FACING BRICKWORK TO EXTERNAL WALLS BETWEEN DPC BRICKWORK AND CAPPING

• Bricks: To BS 3921.

-Manufacturer: Submit proposals. Product reference: Submit proposals.

-Special shapes: To BS 4729,

• Mortar: As section Z21.

-Standard: To BS EN 998-2.

-Mix: 1:1:6 cement:lime:sand.

-Additional requirements: Coloured mortar to match existing .

- Bond: To match existing.

- Joints: Flush.

- Features: Archway.

380 ENGINEERING BRICKWORK AS DETAILED

• Engineering bricks: To BS 3921.

-Class A.

-Manufacturer: Submit proposals. Product reference: Submit proposals.

• Mortar: As section Z21.

-Standard: To BS EN 998-2.

-Mix: 1:0.25:3 cement:lime:sand.

-Additional requirements: Coloured mortar to match existing.

- Bond: To match existing.

- Joints: Flush.

WORKMANSHIP GENERALLY

430 CONDITIONING OF CLAY AND CALCIUM SILICATE BRICKS

- Bricks delivered warm from manufacturing process: Do not use until cold.

- Absorbent bricks in warm weather: Wet to reduce suction. Do not soak.

Page 13 of 105 30 Jan 2014

Standard Landscape Specification F10 Brick/ block walling

460 MORTAR GROUPS

• Mix proportions: For a specified group select a mix design from the following:

Group 1 2 3 4

PC*:lime:sand with or without air entraining additive 1:0-0.25:3 1:0.5-4.5 1:1:5-6 1:2:8-9

Masonry cement:sand containing PC* and lime in approx ratio 1:1, and an air entraining additive

-1:3 1:3.5-4 1:4.5

Masonry cement:sand containing PC* and inorganic materials other than lime and air entraining additive

-1:2.5-3.5 1:4-5 1:5.5-6.5

PC*:sand and air entraining additive

1:3 1:3-4 1:5-6 1:7-8

PC* = Portland cement

- Batching: Mix proportions by volume.

- Mortar type: Continuous throughout any one type of masonry work.

500 LAYING GENERALLY

- Mortar joints: Fill vertical joints. Lay bricks, solid and cellular blocks on a full bed.

- Bond where not specified: Half lap stretcher.

- Vertical joints in facework: Even widths. Plumb at every fifth cross joint.

520 ACCURACY

- Courses: Level and true to line.

- Faces, angles and features: Plumb.

- Permissible deviations:

-Position in plan of any point in relation to the specified building reference line and/ or point at the same level ± 10 mm.

-Straightness in any 5 m length ± 5 mm.

- Verticality up to 3 m height ± 10 mm.

- Verticality up to 7 m height ± 14 mm.

-Overall thickness of walls ± 10 mm.

- Level of bed joints up to 5 m (brick masonry) ± 11 mm.

- Level of bed joints up to 5 m (block masonry) ± 13 mm.

Page 14 of 105 30 Jan 2014

Standard Landscape Specification F10 Brick/ block walling

535 HEIGHT OF LIFTS IN WALLING USING CEMENT GAUGED OR HYDRAULIC LIME MORTAR

- Quoins and advance work: Rack back.

- Lift height (maximum): 1.2 m above any other part of work at any time.

- Daily lift height (maximum): 1.5 m for any one leaf.

540 HEIGHT OF LIFTS IN WALLING USING THIN JOINT MORTAR GLUE

- Quoins and advance work: Rack back.

- Lift height (maximum): 1.3 m above any other part of work at any time.

560 COURSING BRICKWORK

• Gauge: Four brick courses including bed joints to 300 mm.

561 COURSING BRICKWORK WITH EXISTING

• Gauge: Line up with existing brick courses.

580 LAYING FROGGED BRICKS

- Single frogged bricks: Frog uppermost.

- Double frogged bricks: Larger frog uppermost.

- Frog cavity: Fill with mortar.

585 LAYING CELLULAR BRICKS

• Orientation: Cavities downward.

620 BLOCK BONDING NEW WALLS TO EXISTING

• Pocket requirements: Formed as follows:

-Width: Full thickness of new wall.

-Depth (minimum): 100 mm.

-Vertical spacing: Brick to brick: 4 courses high at 8 course centres. Block to block: Every other course.

- Pocket joints: Fully filled with mortar.

635 JOINTING

- Profile: Consistent in appearance.

- Jointing: Struck flush as work proceeds.

645 ACCESSIBLE JOINTS NOT EXPOSED TO VIEW

690 ADVERSE WEATHER

General: Do not use frozen materials or lay on frozen surfaces.

• Air temperature requirements: Do not lay bricks/ blocks:

    - In cement gauged mortars when at or below 3°C and falling or unless it is at least 1°C and rising.

    - In hydraulic lime:sand mortars when at or below 5°C and falling or below 3°C and rising.

    - In thin joint mortar glue when outside the limits set by the mortar manufacturer.

    - Temperature of walling during curing: Above freezing until hardened.

    - Newly erected walling: Protect at all times from:

-Rain and snow.

-Drying out too rapidly in hot conditions and in drying winds.

Page 15 of 105 30 Jan 2014

Standard Landscape Specification F10 Brick/ block walling

ADDITIONAL REQUIREMENTS FOR FACEWORK

760 APPEARANCE

Brick/ block selection: Do not use units with damaged faces or arrises.

Cut masonry units: Where cut faces or edges are exposed cut with table masonry saw.

• Quality control: Lay masonry units to match relevant reference panels.

-Setting out: To produce satisfactory junctions and joints with built-in elements and components.

-Coursing: Evenly spaced using gauge rods.

Lifts: Complete in one operation.

Methods of protecting facework: Submit proposals.

780 GROUND LEVEL

• Commencement of facework: Not less than 150 mm below finished level of adjoining ground or external works level.

830 CLEANLINESS

- Facework: Keep clean.

- Mortar on facework: Allow to dry before removing with stiff bristled brush.

- Removal of marks and stains: Rubbing not permitted.

Page 16 of 105 30 Jan 2014

Q Paving/Planting/Fencing/Site furniture

Q10 Kerbs/ edgings/ channels/ paving accessories

Standard Landscape Specification Q10 Kerbs/ edgings/ channels/ paving accessories

Q10 Kerbs/ edgings/ channels/ paving accessories

To be read with Preliminaries/General conditions.

TYPES OF KERBS/EDGINGS/CHANNELS

110C PROPRIETARY PRECAST CONCRETE EDGINGS

- Standard: To BS EN 1340.

- • Manufacturer: Contractor's choice.

- -Product reference: Submit proposals.

- Designations: EF Edging, flat top.

- Size (width x height x length): 50 x 150 x 915 mm.

- Special shapes: None.

- Finish: As cast.

- Colour: Grey.

- Bedding: Cement mortar.

- Joints generally: Dry, 2-3 mm gap.

-Sealant movement joints: Not required.

110E TIMBER EDGINGS

- Type: Pressure preservative treated softwood timber as Z12 and British Wood preserving and damp proofing association commodity specification C4.

- Size (width x height) 38 x 150mm .

- Fixings: PPT softwood timber pegs 50 x 50 x 600mm at max 1000mm centres fixed usings 2 no. galvanised nails per peg.

- Other requirements: kerfing as necessary to ensure smooth curves. All cut ends to be treated with two coats hand applied preservative.

110H PROPRIETARY PRECAST CONCRETE KERBS

Standard: To BS EN 1340.

• Manufacturer: [Marshalls, Landscape house, Premier WayLowfields Business Park, Elland, West Yorkshire HX5 9HT. Tel: 0845 3020 600. Fax: 0845 3020 www.marshalls.co.uk].

-Product reference: [Conservation ].

Designations: [HB1 Kerb, half battered]. Size (width x height x length): [255 x 205 x 915 mm].

Special shapes: [ Dropper kerbs, Quadrant kerbs,, Internal radius kerbs, External radius kerbs,].

Finish: [As cast].

Colour: [To be agreed].

Bedding: [Cement mortar].

Joints generally: [Dry, 2-3 mm gap].

Page 21 of 105 30 Jan 2014

Standard Landscape Specification Q10 Kerbs/ edgings/ channels/ paving accessories

LAYING

510 LAYING KERBS, EDGINGS AND CHANNELS

• Cutting: Neat, accurate and without spalling. Form neat junctions.

-Long units (450 mm and over) minimum length after cutting: 300 mm.

-Short units minimum length after cutting: The lower of one third of their original length or 50 mm.

- Bedding of units: Positioned true to line and levelled along top and front faces, in a mortar bed on accurately cast foundations or on a race of fresh concrete.

- Securing of units: After bedding has set, secured with a continuous haunching of concrete or on a race of fresh concrete with backing concrete cast monolithically.

530 CONCRETE FOR FOUNDATIONS, RACES AND HAUNCHING

- Standard: To BS 8500-2 and BS EN 206-1.

- Designated mix: Not less than GEN0 or Standard mix ST1.

- Workability: Very low.

540 CEMENT MORTAR BEDDING

- General: To section Z21.

- • Mix: (Portland cement:sand): 1:3.

- -Portland cement: Class CEM I 42.5 to BS EN 197-1.

- -Sand: to BS EN 12620, grade 0/4 or 0/2 (MP).

- Bed thickness: 12-40 mm.

- Standard: To BS 7533-6.

547 BEDDING/BACKING OF UNITS ON FRESH CONCRETE RACES

570 CHANNELS

- Installation: To an even gradient, without ponding or backfall.

- Lowest points of channels: 6 mm above drainage outlets.

630 NARROW MORTAR JOINTS

• Jointing: Ends of units buttered with bedding mortar as laying proceeds. Joints completely filled, tightly butted and surplus mortar removed immediately.

-Joint width: 3 mm.

Q20 Granular sub-bases to roads/ pavings

Standard Landscape Specification Q20 Granular sub-bases to roads/ pavings

Q20 Granular sub-bases to roads/ pavings

To be read with Preliminaries/ General conditions.

140 EXCAVATION OF SUBGRADES

- Final excavation to formation/ subformation level: Carry out immediately before compaction of subgrade.

- Soft spots and voids: Give notice.

- Wet conditions: Do not excavate or compact when the subgrade may be damaged or destabilized.

145 PREPARATION AND COMPACTION OF SUBGRADES

Timing: Immediately before placing sub-base.

Soft or damaged areas: Excavate and replace with sub-base material, compacted in layers 300 mm (maximum) thick.

Compaction: Thoroughly, by roller or other suitable means, adequate to resist subsidence or deformation of the subgrade during construction and of the completed roads/ pavings when in use. Take particular care to compact fully at intrusions, perimeters and where local excavation and backfilling has taken place.

.

170 GEOTEXTILE FILTER/ SEPARATOR MEMBRANES

• Manufacturer: lotrak.

-Product reference: 2800.

Jointing: 300mm.

• Protected from: ..

-Exposure to light, except during laying (maximum five hours).

-Contaminants.

-Materials listed as potentially deleterious by geotextile manufacturer.

-Damage, until fully covered by fill.

-Wind uplift, by laying not more than 15 m before covering with fill.

- Preparation: Humps and sharp projections removed and hollows filled before laying.

200 SUBGRADE IMPROVEMENT LAYER (CAPPING)

- Material: To Highways Agency 'Specification for highway works', table 6/1, Class 6F1, 6F2 or 6F3.

- Standard: Placed and compacted to Highways Agency 'Specification for highway works', table 6/1, clauses 612 and 613.3, 613.8, 613.9, 613.10 and 613.13.

210 HIGHWAYS AGENCY TYPE 1 GRANULAR MATERIAL

• Material: Type 1 unbound mixture to Highways Agency 'Specification for highway works', clause 801.

-Recycled aggregate: Permitted.

Page 27 of 105 30 Jan 2014

Standard Landscape Specification Q20 Granular sub-bases to roads/ pavings

211 GRANULAR MATERIAL

• Quality: Free from excessive dust, well graded, all pieces less than 75 mm in any direction, minimum 10% fines value of 50 kN when tested in a soaked condition to BS 812-111 and BS EN 1097-2, and in any one layer only one of the following:

-Crushed rock (other than argillaceous rock) or quarry waste with not more binding material than is required to help hold the stone together.

-Crushed concrete, crushed brick or tile, free from plaster, timber and metal.

-Gravel or hoggin with not more clay content than is required to bind the material together, and with no large lumps of clay.

    - Natural gravel.

    - Natural sand.

- Filling: Spread and levelled in 150 mm maximum layers, each layer thoroughly compacted.

230 PLACING GRANULAR MATERIAL GENERALLY

- Preparation: Loose soil, rubbish and standing water removed.

- Structures, membranes and buried services: Ensure stability and avoid damage.

250 LAYING GRANULAR SUB-BASES FOR ALL AREAS

- General: Spread and levelled.

- Compaction:

-Timing: As soon as possible after laying.

-Method: By roller or other suitable means, adequate to resist subsidence or deformation of the sub-base during construction and of the completed paving when in use. Take particular care to compact fully at intrusions, perimeters and where local excavation and backfilling has taken place.

310 ACCURACY

• Permissible deviation from required levels, falls and cambers (maximum):

-Subgrades: Roads and parking areas: +20 -30 mm. Footways and recreation areas: ± 20 mm.

-Sub-bases: Roads and parking areas: ± 20 mm.

-Footways and recreation areas: ± 12 mm .

330 COLD WEATHER WORKING

Frozen materials: Do not use.

Freezing conditions: Do not place fill on frozen surfaces. Remove material affected by frost. Replace and recompact if not damaged after thawing.

340 PROTECTION

- Sub-bases: As soon as practicable, cover with subsequent layers, specified elsewhere.

- Subgrades and sub-bases: Prevent degradation by construction traffic, construction operations and inclement weather.

Page 29 of 105 30 Jan 2014

Q21 In situ concrete roads/ pavings/ bases

Standard Landscape Specification Q21 In situ concrete roads/ pavings/ bases

Q21 In situ concrete roads/ pavings/ bases

To be read with Preliminaries/ General conditions.

TYPES OF PAVING

GENERAL/ PREPARATION

140 READY-MIXED CONCRETE

- Production plant: Currently certified by a body accredited by UKAS to BS EN 45011 for product conformity certification of ready-mixed concrete.

- • Source of ready-mixed concrete: Obtain from one source if possible. Otherwise, submit proposals.

- -Name and address of depot: Submit before any concrete is delivered.

- -Delivery notes: Retain for inspection.

- Declarations of nonconformity from concrete producer: Notify immediately.

150 REINFORCEMENT

• Standards: To BS 4449, BS 4483 or BS 6744.

-Cutting and bending: To BS 8666.

- Supplier: A firm currently approved by the UK Certification Authority for Reinforcing Steels (CARES).

240 SUB-BASE PREPARATION

Surface: Sound, free of debris, mud and soft spots, and suitably close textured.

• Levels and falls: Within specified tolerances:

-Vehicular areas: ±20 mm.

-Pedestrian areas: ±12 mm.

-Drainage outlets: +0 to -10 mm of required finished level.

- Kerbs and edgings: Complete, adequately bedded and haunched, and to required levels.

250 LAYING MESH REINFORCEMENT

Flatness: Lay in flat sheets, straight and out of winding.

Main reinforcement: Parallel to long axis of slab.

Temporary support: Securely fix and support mesh during construction of slab.

• Lapping at joints:

-Transversely: 450 mm (minimum).

-Longitudinally: 300 mm (minimum).

• Extent of mesh: Fully within slab and:

    - 300 ±50 mm from slab edges.

    - 300 ±50 mm from centre line of transverse joints.

    - -125 ±25 mm from centre line of longitudinal joints.

- Alternative placing method: Mesh may be placed on top of first compacted layer of concrete, followed by top layer of concrete, placed within two hours of the first layer.

260 STEEL FORMWORK

Side forms: Steel, drilled for dowel bars, free from warping and kinks.

• Fixing:

    - To required line, ±10 mm.

    - To required level, ±3 mm.

- Locking plates: Use where necessary to ensure rigidity and prevent movement during laying and compaction of concrete.

- Removal of forms: Six hours (minimum) after completing compaction. Treat exposed edges with waterproof compound.

Page 32 of 105 30 Jan 2014

Standard Landscape Specification Q21 In situ concrete roads/ pavings/ bases

265 TIMBER PERMANENT FORMWORK

• Side forms: Softwood board, drilled as required for dowel bars.

-Size: 150 x 38 mm.

-Fixing: Galvanized nails to 50 x 50 x 450 mm long softwood pegs driven into the ground at 1200 mm centres.

- Preservative treatment: As section Z12 and British Wood Preserving and Damp-Proofing Association Commodity Specification C4.

-Type/ Desired service life: CCA, 20 years.

LAYING CONCRETE

310 TRANSPORTING CONCRETE

- General: Avoid contamination, segregation, loss of ingredients, excessive evaporation and loss of workability. Protect from heavy rain.

- Entrained air: Anticipate effects of transport and placing methods in order to achieve specified air content.

- Placing: Use suitable walkways and barrow runs for traffic over reinforcement and freshly placed concrete.

320 LAYING CONCRETE GENERALLY

- Timing: Place as soon as practicable after mixing and while sufficiently plastic for full compaction. After discharge from the mixer do not add water or retemper.

- • Temperature of concrete at point of delivery:

    - In hot weather (maximum): 30°C.

    - In cold weather (minimum): 5°C.

    - • Cold weather:

    - -Do not use frozen materials.

    - -Do not place concrete against frozen or frost covered surfaces.

    - -Do not place concrete when air temperature is below 3°C on a falling thermometer. Do not resume placing until rising air temperature has reached 3°C.

- Surfaces on which concrete is to be placed: Free from debris and standing water.

- • Placing in final position: Place in one continuous operation up to construction joints.

- -Do not place concrete simultaneously on both sides of movement joints.

- Spreading: Spread and strike off with surcharge sufficient to obtain required compacted thickness.

- Adjacent work: Form neat junctions and prevent damage. Keep clean all channels, kerbs, inspection covers, etc.

330 COMPACTING

- General: Fully compact concrete to full depth (until air bubbles cease to appear on the surface) especially around reinforcement, cast-in accessories, into corners and at joints.

- Poker vibrators: Do not use to make concrete flow into position. Do not allow to come into contact with fabric reinforcement.

- Wet formed joint grooves: Rectify any irregularities by means of a vibrating float.

- Finish: A dense, even textured surface free from laitance or excessive water.

-Excess concrete: Remove from top of groove formers.

Page 33 of 105 30 Jan 2014

Standard Landscape Specification Q21 In situ concrete roads/ pavings/ bases

350 LEVELS

- Lines and levels of finished surface: Smooth and even, with regular falls to prevent ponding.

- Finished surfaces: Within ±6 mm of required levels (+6 -0 mm adjacent to gullies and manholes).

360 SURFACE REGULARITY

- General: Where appropriate in relation to the geometry of the surface, the variation in gap under a 3 m straightedge (with feet) placed anywhere on the surface to be not more than 5 mm.

- Sudden irregularities: Not permitted.

JOINTS

410 JOINTS GENERALLY

Layout: All joints to be accurately located, straight and well aligned.

Construction joints made at end of working day: Form as contraction joints.

Modifications to joint design or location: Submit proposals.

Temporary support: Prior to concreting, set formwork, dowel bars, tie bars, joint filler boards, sealing groove fillets and the like rigidly in position and support to prevent displacement. Maintain support until concrete has set.

• Keep clean:

    - Do not allow concrete to enter any gaps or voids in the formwork or to render the movement joints ineffective.

    - Do not allow concrete to impregnate or penetrate any materials used as compressible joint fillers.

420 TIE BARS

- Materials: Plain round mild steel to BS 4449 grade 250, 12 mm diameter x 1000 mm long, and free from oil, dirt, loose rust and scale.

- Finish: Middle 400 mm to be thoroughly cleaned and coated with a corrosion resistant flexible polymeric coating.

- Location: Place tie bars in longitudinal joints at 600 mm centres, centred on and

perpendicular to line of joint. Position within middle third of the slab depth and not less than 20 mm mm below top crack inducer joint grooves.

430 DOWEL BARS

- Materials: Plain, round, mild steel to BS 4449, grade 250 and free from oil, dirt, loose rust and scale.

- Bar dimensions: 25 mm diameter x 600 mm long.

- Location: Place dowel bars in movement joints at mid depth of the slab ±20 mm, centred on joint and at 300 mm centres. Bars to be parallel to longitudinal axis and top surface of the slab within a misalignment tolerance of ±3 mm per 300 mm length of dowel bar.

- Debonding of bars: Flexible plastics sleeve covering, not less than 0.6 mm thick.

- Bars in expansion joints: Provide 100 mm long plastics caps for free bar movement. Before placing concrete, ensure there is a space between the end of the cap and the end of the dowel bar 10 mm greater than the thickness of the joint filler board.

Page 34 of 105 30 Jan 2014

Standard Landscape Specification Q21 In situ concrete roads/ pavings/ bases

440 LONGITUDINAL CONSTRUCTION JOINTS

Definition: Longitudinal joints are those parallel to the main axis of the paving.

Standard: To Concrete Society Technical report 28.

• Formed groove:

-Size (minimum width x depth): 15 x 13 mm.

-Preparation: Repair damaged edges of initially cast slab prior to forming groove.

-Method: Fix preformed fillet against top edge of the initially cast slab before placing the adjacent slab. Remove when concrete is fully cured.

- Completion: Round upper edges of slabs at joints to 5 mm radius. Do not overwork concrete.

450 CONTRACTION JOINTS WITH SAWN GROOVE

Standard: To Concrete Society Technical report 28.

Temperature: Do not start sawing if temperature is falling.

• Sawn groove:

-Timing: Cut as early as possible after the slab has been placed but without causing edges of groove to spall.

-Width (minimum): 3 mm.

-Depth: 3 mm per 10 mm depth of slab or 50 mm, whichever is the greater.

Upper portion of joint: Enlarge by sawing a groove:

-Width (minimum): 13 mm.

-Depth: 20 mm.

470 EXPANSION JOINTS

• Joint filler board: Bitumen impregnated fibre board.

-Thickness: 25 mm.

-Depth: Joint filler board must extend from underside of sealing groove fillet to full depth of slab to provide complete separation of adjacent slabs.

-Holes for dowel bars: Accurately bored or punched holes to form a sliding fit for dowel bars.

- Completion: Round upper edges of slabs at joints to 5 mm radius. Do not overwork concrete.

SURFACE FINISH

520 TAMPED FINISH

• Method: Tamp surface with edge of a board or beam to give an even texture of parallel ribs.

530 BRUSHED FINISH

Direction: At right angles to longitudinal direction of the slab.

Texture depth: Approximately 1 mm with finished surface having an overall even texture.

Page 35 of 105 30 Jan 2014

Standard Landscape Specification Q21 In situ concrete roads/ pavings/ bases

CURING/ PROTECTION/ FINISHING

610 CURING

- General: Immediately after completion of surface treatment prevent evaporation from surface and exposed edges of slabs for a minimum period of seven days.

- • Early curing:

- -Cover with waterproof sheeting held clear of surface. Seal against draughts at edges and junctions.

- -Do not apply sprayed compounds or sheets in direct contact until surface is in a suitable state and will not be marked.

- Coverings for curing: Contractor's choice of:

-Impervious sheet material.

-Resin based aluminized curing compound containing a fugitive dye and with an efficiency index of 90% when tested to BS 7542.

-Sprayed plastics film.

650 COLD JOINT SEALING

• Sealant: To BS 5212-1, type N in pedestrian areas and F in vehicular areas.

-Provide manufacturer's certificate of compliance in accordance with annex B.

- Application: Prepare joints and apply sealant in accordance with BS 5212-2.

660 PROTECTION

• Prevent damage to concrete:

- From rain, indentation, physical damage, dirt, staining, rust marks and other disfiguration.

- From thermal shock.

-In cold weather, from freezing expansion of water trapped in pockets, etc.

-By use as a building platform or for storing, mixing or preparing materials.

Page 36 of 105 30 Jan 2014

Q23 Gravel/ hoggin/ woodchip roads/ pavings

Standard Landscape Specification Q23 Gravel/ hoggin/ woodchip roads/ pavings

Q23 Gravel/ hoggin/ woodchip roads/ pavings

To be read with Preliminaries/ General conditions.

TYPES OF SURFACING

130 RECYCLED RUBBER PAVING FOR FOOTPATHS

• Granular sub-base: Highways Agency Type 4  granular material, as section Q20 only used where paving is constructed above existing ground level (to avoid tree roots).

-Compacted thickness: used to infill Geoweb, cell containment system

• Surface course: 40mm recycled shredded rubber in polyurethane binder.

LAYING

310 TIMBER EDGING

• Softwood board:

-Size: 150 x 38 mm.

-Fixing: Galvanized nails into softwood pegs.

• Softwood pegs:

-Size: 50 x 50 x 450 mm long or 600mm where necessary in “no dig” areas.

-Fixing: Drive into ground avoiding tree roots.

-Centres: 900 mm.

- Preservative treatment: As section Z12 and British Wood Preserving and Damp-Proofing Association (BWPDA) Commodity Specification C4, type CCA category C with 20 year desired service life.

340 LAYING GENERALLY

- Channels, gullies, etc: Keep clear.

- Finished surfaces:

-Lines and levels: To prevent ponding.

-Overall texture: Even.

-State at completion: Clean.

350 COLD WEATHER WORKING

Frozen materials: Do not use.

Freezing conditions: Do not lay pavings.

360 DRAINAGE FALLS

• Sealed surfaces:

-Falls and cross falls (minimum): 1:40.

-Camber (minimum): 1:50.

- Unsealed surfaces (minimum): 1:30.

Page 43 of 105 30 Jan 2014

Q40 Fencing

Standard Landscape Specification Q40 Fencing

Q40 Fencing

To be read with Preliminaries/ General conditions.

TYPES OF FENCING

210 WOODEN POST AND RAIL FENCING

Standard: To BS 1722-7, type SPR 11/3.

Height: 1100 mm.

• Wood: Softwood.

-Preservative treatment: To provide a 15 year service life.

Maximum centres of posts: 2.85 m.

Method of setting posts: 300 mm square or round holes, 600 mm deep filled to not less than half the depth with concrete .

INSTALLATION

610 INSTALLATION

• Set out and erect:

-In straight lines or smoothly flowing curves as shown on drawings.

-With tops of posts following profile of the ground.

-With posts set rigid, plumb and to specified depth, or greater where necessary to ensure adequate support.

-With correct fasteners and all components securely fixed.

620 SETTING POSTS IN CONCRETE

- Mix: To BS 8500-1 and -2 and BS EN 206-1, Designated mix not less than GEN1 or Standard mix not less than ST2.

- Alternative mix for small quantities: 50 kg Portland cement to 150 kg fine aggregate to 250 kg 20 mm nominal maximum size coarse aggregate, medium workability.

- Admixtures: Do not use.

- Holes: Excavate neatly and with vertical sides.

- Filling: Position post/ strut and fill hole with concrete to not less than the specified depth, well rammed as filling proceeds and consolidated.

- Backfilling of holes not completely filled with concrete: Excavated material, well rammed and consolidated.

630 EXPOSED CONCRETE FOUNDATIONS

- Filling: Compact until air bubbles cease to appear on the upper surface.

- Finishing: Weathered to shed water and trowelled smooth.

650 DRIVEN POSTS

• Damage to heads: Minimize.

-Repair: Neatly finish post tops after installation.

660 NAILED WOOD RAILS

- Length (minimum): Two bays, with joints in adjacent rails staggered.

- Fixing: Nail each length of rail to each post with two 100 mm galvanized nails.

- Rails with split ends: Replace.

Page 81 of 105 30 Jan 2014

Standard Landscape Specification Q40 Fencing

670 SITE CUTTING OF WOOD

General: Kept to a minimum.

Below or near ground level: Cutting prohibited.

Treatment of surfaces exposed by minor cutting and drilling: Two flood coats of solution recommended for the purpose by main treatment solution manufacturer.

680 DAMAGE TO GALVANIZED SURFACES

- Treatment of minor damage (including on fasteners and fittings): Low melting point zinc alloy repair rods or powders made for this purpose, or at least two coats of zinc-rich paint to BS 4652.

- Thickness: Apply sufficient material to provide a zinc coating at least equal in thickness to the original layer.

Page 82 of 105 30 Jan 2014

Q50 Site/ street furniture/ equipment

Standard Landscape Specification Q50 Site/ street furniture/ equipment

Q50 Site/ street furniture/ equipment

To be read with Preliminaries/ General conditions.

INSTALLATION

510 CONCRETE FOUNDATIONS GENERALLY

Standard: To BS 8500-2.

Mix: Designated concrete not less than GEN 1 or Standard prescribed concrete not less than ST2.

Admixtures: Do not use.

515 SETTING COMPONENTS IN CONCRETE

- Foundation holes: Neat vertical sides; bottom covered with a 50 mm layer of concrete.

- Components: Accurately positioned and securely supported.

- Depth of foundations, bedding and haunching: Appropriate to provide adequate support and to receive overlying soft landscape or paving finishes.

- Concrete fill: Fully compacted as filling proceeds.

- Temporary support: Maintain for 48 hours (minimum) and prevent disturbance..

- Concrete foundations exposed to view: Compacted until air bubbles cease to appear on the upper surface, then weathered to shed water and trowelled smooth.

520 SETTING IN EARTH

- Holes: As small as practicable to allow refilling.

- Components being fixed: Accurately positioned and securely supported.

- Earth refilling: Well rammed as filling proceeds.

530 PRESERVATIVE TREATED TIMBER

• Surfaces exposed by minor cutting and drilling: Treated by immersion or with two flood coats of a solution recommended for the purpose by main treatment solution manufacturer.

540 BUILDING IN TO MASONRY WALLS

- Components being built in: Accurately positioned and securely supported. Set in mortar and pointed neatly to match adjacent walling.

- Temporary support: Maintain for 48 hours (minimum) and prevent disturbance.

Page 87 of 105 30 Jan 2014

Z Building fabric reference specification

Z21 Mortars

Standard Landscape Specification Z21 Mortars

Z21 Mortars

To be read with Preliminaries/ General conditions.

CEMENT GAUGED MORTARS

110 CEMENT GAUGED MORTAR MIXES

• Specification: Proportions and additional requirements for mortar materials are specified elsewhere.

120 SAND FOR SITE MADE CEMENT GAUGED MASONRY MORTARS

Standard: To BS EN 13139.

• Grading: 0/2 (FP or MP).

-Fines content where the proportion of sand in a mortar mix is specified as a range (e.g.

1:1: 5-6): Lower proportion of sand: Use category 3 fines. Higher proportion of sand: Use category 2 fines.

- Sand for facework mortar: Maintain consistent colour and texture. Obtain from one source.

131 READY-MIXED LIME:SAND FOR CEMENT GAUGED MASONRY MORTARS

- Standard: To BS EN 998-2.

- • Lime: Nonhydraulic to BS EN 459-1.

- -Type: CL 90S.

- Pigments for coloured mortars: To BS EN 12878.

135 SITE MADE LIME:SAND FOR CEMENT GAUGED MASONRY MORTARS

- Permitted use: Where a special colour is not required and in lieu of factory made ready-mixed material.

- • Lime: Nonhydraulic to BS EN 459-1.

- -Type: CL 90S.

- Mixing: Thoroughly mix lime with sand, in the dry state. Add water and mix again. Allow to stand, without drying out, for at least 16 hours before using.

160 CEMENTS FOR MORTARS

• Cement: To BS EN 197-1 and CE marked.

-Types: Portland cement, CEM I.

Portland limestone cement, CEM ll/A-L or CEM ll/A-LL. Portland slag cement, CEM II/B-S. Portland fly ash cement, CEM II/B-V.

-Strength class: 32.5, 42.5 or 52.5.

• White cement: To BS EN 197-1 and CE marked.

-Type: Portland cement, CEM I.

-Strength class: 52.5.

• Sulfate resisting Portland cement:

-Types: To BS 4027 and Kitemarked. To BS EN 197-1 fly ash cement, CEM ll/B-V and CE marked.

-Strength class: 32.5, 42.5 or 52.5.

- Masonry cement: To BS EN 413-1 and CE marked.

-Class: MC 12.5.

Page 101 of 105 30 Jan 2014

Standard Landscape Specification Z21 Mortars

180 ADMIXTURES FOR SITE MADE CEMENT GAUGED MORTARS

- Air entraining (plasticizing) admixtures: To BS EN 934-3 and compatible with other mortar constituents.

- Other admixtures: Submit proposals.

- Prohibited admixtures: Calcium chloride, ethylene glycol and any admixture containing calcium chloride.

190 RETARDED READY TO USE CEMENT GAUGED MORTAR

Standard: To BS EN 998-2.

• Lime for cement:lime:sand mortars: Nonhydraulic to BS EN 459-1.

-Type: CL 90S.

Pigments for coloured mortars: To BS EN 12878.

Time and temperature limitations: Use within limits prescribed by mortar manufacturer.

-Retempering: Restore workability with water only within prescribed time limits.

200 STORAGE OF CEMENT GAUGED MORTAR MATERIALS

- Sands and aggregates: Keep different types/ grades in separate stockpiles on hard, clean, free-draining bases.

- Factory made ready-mixed lime:sand/ ready to use retarded mortars: Keep in covered containers to prevent drying out or wetting.

- Bagged cement/ hydrated lime: Store off the ground in dry conditions.

210 MAKING CEMENT GAUGED MORTARS

• Batching: By volume. Use clean and accurate gauge boxes or buckets.

-Mix proportions: Based on dry sand. Allow for bulking of damp sand.

• Mixing: Mix materials thoroughly to uniform consistency, free from lumps.

-Mortars containing air entraining admixtures: Mix mechanically. Do not overmix.

Working time (maximum): Two hours at normal temperatures.

Contamination: Prevent intermixing with other materials.

LIME:SAND MORTARS

310 LIME:SAND MORTAR MIXES

• Specification: Proportions and additional requirements for mortar materials are specified elsewhere.

320 SAND FOR LIME:SAND MASONRY MORTARS

• Type: Sharp, well graded.

-Quality, sampling and testing: To BS EN 13139.

-Grading/ Source: As specified elsewhere in relevant mortar mix items.

330 READY PREPARED LIME PUTTY

• Type: Slaked directly from CL 90 quicklime to BS 890, using an excess of water.

-Maturation: In pits/ containers that allow excess water to drain away.

-Density of matured lime putty: 1.3 - 1.4 kg/litre.

- Maturation period before use (minimum): Seek instructions.

345 ADMIXTURES FOR HYDRAULIC LIME:SAND MORTARS

- Air entraining (plasticizing) admixtures: To BS EN 934-3 and compatible with other mortar constituents.

- Prohibited admixtures: Calcium chloride, ethylene glycol and any admixture containing calcium chloride.

Page 102 of 105 30 Jan 2014

Standard Landscape Specification Z21 Mortars

350 STORAGE OF LIME:SAND MORTAR MATERIALS

- Sands and aggregates: Keep different types/ grades in separate stockpiles on hard, clean, free-draining bases.

- Ready prepared nonhydraulic lime putty: Prevent drying out and protect from frost.

- Nonhydraulic lime:sand mortar: Store on clean bases or in clean containers that allow free drainage. Prevent drying out or wetting and protect from frost.

- Bagged hydrated hydraulic lime: Store off the ground in dry conditions.

360 MAKING LIME:SAND MORTARS GENERALLY

- Batching: By volume. Use clean and accurate gauge boxes or buckets.

- Mixing: Mix materials thoroughly to uniform consistency, free from lumps.

- Contamination: Prevent intermixing with other materials, including cement.

370 SITE PREPARED NONHYDRAULIC LIME:SAND MORTARS

• Mixing: Mix materials thoroughly by compressing, beating and chopping. Do not add water.

-Equipment: Roller pan mixer or submit proposals.

Maturation period before use (maximum): Seven days.

390 KNOCKING UP NONHYDRAULIC LIME:SAND MORTARS

• Knocking up before and during use: Achieve and maintain a workable consistency by compressing, beating and chopping. Do not add water.

-Equipment: Roller pan mixer or submit proposals.

400 MAKING HYDRAULIC LIME:SAND MORTARS

• Mixing hydrated hydraulic lime:sand: Follow the lime manufacturer's recommendations for each stage of the mix.

-Water quantity: Only sufficient to produce a workable mix.

Working time: Within limits recommended by the hydraulic lime manufacturer.

Page 103 of 105 30 Jan 2014

Z22 Sealants

Standard Landscape Specification Z22 Sealants

Z22 Sealants

To be read with Preliminaries/General conditions.

310 JOINTS As Specified in the relvant section

• Primer, backing strip, bond breaker: Types recommended by sealant manufacturer.

EXECUTION

610 SUITABILITY OF JOINTS

• Presealing checks:

-Joint dimensions: Within limits specified for the sealant.

-Substrate quality: Surfaces regular, undamaged and stable.

- Joints not fit to receive sealant: Submit proposals for rectification.

620 PREPARING JOINTS

• Surfaces to which sealant must adhere:

-Remove temporary coatings, tapes, loosely adhering material, dust, oil, grease, surface water and contaminants that may affect bond.

-Clean using materials and methods recommended by sealant manufacturer.

- Vulnerable surfaces adjacent to joints: Mask to prevent staining or smearing with primer or sealant.

- Backing strip and/ or bond breaker installation: Insert into joint to correct depth, without stretching or twisting, leaving no gaps.

- Protection: Keep joints clean and protect from damage until sealant is applied.

630 APPLYING SEALANTS

- Substrate: Dry (unless recommended otherwise) and unaffected by frost, ice or snow.

- Environmental conditions: Do not dry or raise temperature of joints by heating.

- Sealant application: Fill joints completely and neatly, ensuring firm adhesion to substrates.

- • Sealant profiles:

- -Butt and lap joints: Slightly concave.

- -Fillet joints: Flat or slightly convex.

- Protection: Protect finished joints from contamination or damage until sealant has cured.

Page 105 of 105 30 Jan 2014