## 01-Bill 24-082 ASSENTECH PRICIN
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
General - All
| DOCUMENT AND PRICING PREAMBLE |  |  |  |  | Lot 1 | A
Lot 2
| Generally |  |  |  |  | Outside of the scope of supply | A05.000
A | Information Provided and Supplementary Information has not
ben referred to in this Pricing Document., but is deemed to be
included within the design information, drawings and
Specifications supplied. Should the Contractor deem the
information provided to be deficient or insufficient in this
regard, they must advise the Architect/Contract Administrator,
in writing, of the deficiencies or insufficiences, prior to
submitting their tender. Failure to do so will evidence their
acceptance that the information provided is completely
adequate and no subsequent claims in connection therewith
| will be entertained. |  | Item | 0 | 0 |  | A05.010
B | where an item has been specified to a specific brand or
supplier has been detailed in the design information, drawings
Specifications supplied, the Contractor may offer an alternative
that meets or exceeds that of the item specified but this
should be raised and agreed as part of the Clarifications stage
| of the tender process |  | Item | 0 | 0 |  | A05.015
C | items contained within this pricing document are summarised
descriptions from LLP 'Building Regulations and General
Specification Notes'. The Contractor is to refer to the LLP
document for full descriptions when pricing the works. No
| claim for want of knowledge in this respect will be entertained |  | Item | 0 | 0 |  | A05.025
| 1.00 GENERAL DESCRIPTION OF THE WORKS | [5 empty] | AA
| 1.01 - 1.07 | [5 empty] | AA05.000
D | compliance with all documents referred to within the tender,
including, but not limited to drawings, specifications and
| reports |  | Item | 0 | 0 |  | AA05.005
| 1.08 | [5 empty] | AA06.000
E | Contractors not permitted to publicise the project |  | Item | 0 | 0 |  | AA06.005
| 1.09 | [5 empty] | AA07.000
F | sign board commissioned by the Client |  | Item | 0 | 0 |  | AA07.005
| 1.1 | [5 empty] | AA08.000
G | Contractors to review all information and visit site |  | Item | 0 | 0 |  | AA08.005
| To Collection |  |  |  | 0
PAGE 1 / 1
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 1.11 | [5 empty] | AA09.000
A | compliance with current legislation |  | Item | 0 | 0 |  | AA09.005
| 1.12 | [5 empty] | AA10.000
B | Building Regulations - refer to all documents |  | Item | 0 | 0 |  | AA10.005
| 1.13 | [5 empty] | AA11.000
C | safety, security, weatherproofing and privacy of the works |  | Item | 0 | 0 |  | AA11.005
| 1.14 | [5 empty] | AA12.000
D | removal of all temporary services connections on completion
| of the works |  | Item | 0 | 0 |  | AA12.005
| 1.15 - 1.17 | [5 empty] | AA13.000
E | scope of the works |  | Item | 0 | 0 |  | AA13.005
| 1.18 | [5 empty] | AA14.000
F | provide secure hoarded Contractor's compound |  | Item | 0 | 0 |  | AA14.005
| 1.19 | [5 empty] | AA15.000
G | Contractor to take photograhic dilapidation survey prior to
| taking possession and reinstating on completion of the works |  | Item | 0 | 0 |  | AA15.005
| 1.2 | [5 empty] | AA20.000
H | works undertaken adjacent to main highway and residential
| dwelling |  | Item | 0 | 0 |  | AA20.005
| 1.21 | [5 empty] | AA21.000
J | access to the site is from the public highway |  | Item | 0 | 0 |  | AA21.005
| 1.22 | [5 empty] | AA22.000
K | Contractor to make themselves familiar with site conditions |  | Item | 0 | 0 |  | AA22.005
| 1.23 | [5 empty] | AA23.000
L | compliance with Contract Preliminaries |  | Item | 0 | 0 |  | AA23.005
| 1.24 - 1.25 | [5 empty] | AA24.000
M | removal of asbestos containing materials |  | Item | 0 | 0 |  | AA24.005
| 1.26 | [5 empty] | AA26.000
N | adequate precautions against fire |  | Item | 0 | 0 |  | AA26.005
| 1.27 | [5 empty] | AA27.000
P | protecting existing materials, finishes, fixtures, drainage,
| infrastructure and fittings; internally and externally |  | Item | 0 | 0 |  | AA27.005
| To Collection |  |  |  | 0
PAGE 1 / 2
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 1.28 | [5 empty] | AA28.000
A | compliance with BS 8000 |  | Item | 0 | 0 |  | AA28.005
| 1.29 | [5 empty] | AA29.000
B | requirements apply to work in all elements |  | Item | 0 | 0 |  | AA29.005
| 1.3 | [5 empty] | AA30.000
C | minimising harmful emissions |  | Item | 0 | 0 |  | AA30.005
| 1.31 | [5 empty] | AA31.000
D | locally sourced timber |  | Item | 0 | 0 |  | AA31.005
| 1.32 | [5 empty] | AA32.000
E | insulation materials |  | Item | 0 | 0 |  | AA32.005
| 1.33 | [5 empty] | AA33.000
F | arrange services usage arrangements with the Client |  | Item | 0 | 0 |  | AA33.005
| 1.34 | [5 empty] | AA34.000
G | compliance with and discharging Building Regulations
| obligations |  | Item | 0 | 0 |  | AA34.005
| 1.35 | [5 empty] | AA35.000
H | substitution of substituted products |  | Item | 0 | 0 |  | AA35.005
| 1.36 | [5 empty] | AA36.000
J | Contractor responsible for their own security and Health &
| Safety during construction |  | Item | 0 | 0 |  | AA36.005
| 1.37 | [5 empty] | AA37.000
K | Contractor to carry out 'mail drop' |  | Item | 0 | 0 |  | AA37.005
| 1.38 | [5 empty] | AA38.000
L | British Standards and European Standards |  | Item | 0 | 0 |  | AA38.005
| 1.39 | [5 empty] | AA39.000
M | Building Control Full Plans Check compliance |  | Item | 0 | 0 |  | AA39.005
| 2.00 DEMOLITIONS AND GROUNDWORKS | [5 empty] | B
| 2.01 | [5 empty] | B01.000
N | demolitions and the like may be carried out as an integral part
| of the works package or as an enabling works Contract |  | Item | 0 | 0 |  | B01.005
| To Collection |  |  |  | 0
PAGE 1 / 3
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 2.02 | [5 empty] | B02.000
A | refer to Site Investigation reports, etc |  | Item | 0 | 0 |  | B02.005
| 2.03 | [5 empty] | B03.000
B | scope of demolition works - measured under Section 2.20 |  | Item | 0 | 0 |  | B03.005
| 2.04 | [5 empty] | B04.000
C | demolition notes |  | Item | 0 | 0 |  | B04.005
| 2.05 - 2.06 | [5 empty] | B05.000
D | disconnection of existing services |  | Item | 0 | 0 |  | B05.005
| 2.07 | [5 empty] | B07.000
E | Contractor to submit Section 80 demolition notice |  | Item | 0 | 0 |  | B07.005
| 2.08 - 2.19 | [5 empty] | B08.000
F | general demolition notes |  | Item | 0 | 0 |  | B08.005
| 2.20 LOBBY (RG.01) | [5 empty] | B20.000
G | remove external door and frame | 1 | Nr | 0 | 0 |  | B20.005
H | remove key cabinet | 1 | Nr | 0 | 0 |  | B20.005
J | remove floor tiles | 4 | m² | 0 | 0 |  | B20.005
K | remove timber skirtings | 5 | m | 0 | 0 |  | B20.005
| 2.20 OFFICE (RG.02) | [5 empty] | B21.002
L | remove internal door and frame | 1 | Nr | 0 | 0 |  | B21.010
M | remove shelving |  | Item | 0 | 0 |  | B21.015
N | remove carpet | 8 | m² | 0 | 0 |  | B21.020
P | remove timber skirting | 11 | m | 0 | 0 |  | B21.025
Q | remove 1500 x 1200 window | 1 | Nr | 0 | 0 |  | B21.030
R | enlarge 1500 x 1200 window opening in cavity wall to form
| 1500 x 2100 door opening | 1 | Nr | 0 | 0 |  | B21.035
| 2.20 OFFICE (RG.03) | [5 empty] | B22.007
S | remove internal door and frame | 1 | Nr | 0 | 0 |  | B22.012
T | remove shelving |  | Item | 0 | 0 |  | B22.017
U | remove built-in cupboards |  | Item | 0 | 0 |  | B22.022
V | remove carpet | 11 | m² | 0 | 0 |  | B22.023
W | remove radiator | 1 | Nr | 0 | 0 |  | B22.025
X | remove timber skirting | 12 | m | 0 | 0 |  | B22.027
| To Collection |  |  |  | 0
PAGE 1 / 4
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
A | remove 1800 x 1200 window; prepare for new | 1 | Nr | 0 | 0 |  | B22.032
| 2.20 ENTRANCE LOBBY/WC'S (RG.04, 13, 14, 15, 16) | [5 empty] | B23.009
B | remove pair of entrance doors and frames; 1800 x 2100 | 1 | Nr | 0 | 0 |  | B23.010
C | remove internal door and frame | 2 | Nr | 0 | 0 |  | B23.014
D | remove carpet | 29 | m² | 0 | 0 |  | B23.028
E | remove timber skirting | 20 | m | 0 | 0 |  | B23.029
F | remove radiator | 1 | Nr | 0 | 0 |  | B23.030
G | remove wall tiling; replaster |  | Item | 0 | 0 |  | B23.033
H | remove benches |  | Item | 0 | 0 |  | B23.035
J | remove desk |  | Item | 0 | 0 |  | B23.040
K | remove all sanitaryware, tanks and equipment |  | Item | 0 | 0 |  | B23.045
L | remove stud/blockwork partitions, including doors; making
| good floor, wall and ceiling finishes | 38 | m² | 0 | 0 |  | B23.050
M | remove window; 1500 x 2100 | 1 | Nr | 0 | 0 |  | B23.055
N | remove window; 1300 x 1050 | 1 | Nr | 0 | 0 |  | B23.060
P | remove window; 900 x 1000 | 1 | Nr | 0 | 0 |  | B23.065
Q | adapt existing 1500 x 2100 window opening in blockwork cavity
wall to form 900 x 900 and 600 x 900 window openings; build
up new cavity walling as necessary under/between windows;
| new precast concrete lintels with cavity gutters | 1 | Nr | 0 | 0 |  | B23.070
R | block up existing window opening in blockwork cavity wall; to
| match existing; 900 x 1050 | 1 | Nr | 0 | 0 |  | B23.075
S | block up existing window opening in blockwork cavity wall; to
| match existing; 1300 x 1050 | 1 | Nr | 0 | 0 |  | B23.080
| 2.20 OFFICE (RG.05) | [5 empty] | B24.011
T | remove internal door and frame | 1 | Nr | 0 | 0 |  | B24.019
U | remove radiator | 1 | Nr | 0 | 0 |  | B24.032
V | remove carpet | 13 | m² | 0 | 0 |  | B24.033
W | remove timber skirting | 13 | m | 0 | 0 |  | B24.034
X | remove 1800 x 1200 window; prepare for new | 1 | Nr | 0 | 0 |  | B24.037
| 2.20 SALES SHOWROOM/OFFICE (RG.06/07) | [5 empty] | B25.016
Y | remove internal door and frame | 2 | Nr | 0 | 0 |  | B25.024
Z | remove radiator | 2 | Nr | 0 | 0 |  | B25.035
[ | remove carpet | 21 | m² | 0 | 0 |  | B25.038
| To Collection |  |  |  | 0
PAGE 1 / 5
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
A | remove timber skirting | 20 | m | 0 | 0 |  | B25.039
B | remove 1600 x 1200 window; prepare for new | 2 | Nr | 0 | 0 |  | B25.044
C | remove 1800 x 1200 window; prepare for new | 1 | Nr | 0 | 0 |  | B25.045
D | remove stud/blockwork partitions, including doors; making
| good floor, wall and ceiling finishes | 6 | m² | 0 | 0 |  | B25.052
E | block up existing door opening; 100 thick blockwork plastered
both sides; jointing to existing walls with Furfix wall starter
| system; 900 x 2100 | 2 | Nr | 0 | 0 |  | B25.080
F | forming 900 x 2100 door opening in blockwork cavity wall; 2 Nr
100 x 140 Stressline R15A precast concrete lintels with cavity
| gutter over | 1 | Nr | 0 | 0 |  | B25.085
| 2.20 CORRIDOR/KITCHEN (RG.08/09) | [5 empty] | B26.021
G | remove internal door and frame | 1 | Nr | 0 | 0 |  | B26.029
H | remove sink top, unit and associated worktops and fittings | 2 | Nr | 0 | 0 |  | B26.030
J | remove radiator | 1 | Nr | 0 | 0 |  | B26.040
K | remove timber skirting | 20 | m | 0 | 0 |  | B26.041
L | remove carpet | 12 | m² | 0 | 0 |  | B26.043
M | remove linoleum/sheet vinyl | 5 | m² | 0 | 0 |  | B26.048
N | remove stud/blockwork partitions, including doors; making
| good floor, wall and ceiling finishes | 13 | m² | 0 | 0 |  | B26.057
P | block up existing door opening; 100 thick blockwork plastered
both sides; jointing to existing walls with Furfix wall starter
| system; 900 x 2100 | 1 | Nr | 0 | 0 |  | B26.082
Q | block up existing window opening in blockwork cavity wall; to
| match existing; 900 x 940 | 1 | Nr | 0 | 0 |  | B26.085
R | remove 900 x 940 window | 1 | Nr | 0 | 0 |  | B26.087
| 2.20 LOBBY/SERVICE CUPBOARD/FACTORY FLOOR (RG.10, 11, 12) | [5 empty] | B27.026
S | make good existing concrete floor | 148 | m² | 0 | 0 |  | B27.045
T | remove internal staircase, including balustrade and all
| associated works; straight flight |  | Item | 0 | 0 |  | B27.050
U | remove sliding door and associated gear; 1500 x 2100 | 1 | Nr | 0 | 0 |  | B27.055
V | remove sliding door and associated gear; 3200 x 3400 | 1 | Nr | 0 | 0 |  | B27.060
W | remove stud/blockwork partitions, including doors; making
| good floor, wall and ceiling finishes | 38 | m² | 0 | 0 |  | B27.062
X | remove 800 x 950 window | 1 | Nr | 0 | 0 |  | B27.092
| To Collection |  |  |  | 0
PAGE 1 / 6
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 2.20 FIRST FLOOR GENERALLY (RF.01 - 06) | [5 empty] | B28.031
A | remove wall tiling; replaster |  | Item | 0 | 0 |  | B28.038
B | remove all sanitaryware, tanks and equipment |  | Item | 0 | 0 |  | B28.047
C | remove 1800 x 520 window; prepare for new | 2 | Nr | 0 | 0 |  | B28.049
D | remove 1800 x 700 window; prepare for new | 2 | Nr | 0 | 0 |  | B28.054
E | remove stud/blockwork partitions, including doors; making
| good floor, wall and ceiling finishes | 125 | m² | 0 | 0 |  | B28.067
| 2.20 INTERNAL WORKS GENERALLY | [5 empty] | B30.002
F | remove redundant mechanical installations |  | Item | 0 | 0 |  | B30.005
G | remove redundant electrical installations |  | Item | 0 | 0 |  | B30.010
H | remove all sundry fixtures and fittings |  | Item | 0 | 0 |  | B30.015
J | remove existing ceiling | 108 | m² | 0 | 0 |  | B30.020
| 2.20 EXTERNAL WORKS GENERALLY | [5 empty] | B31.007
K | remove fascia board | 70 | m | 0 | 0 |  | B31.012
L | remove soffit board | 70 | m | 0 | 0 |  | B31.017
M | remove gutter and fittings | 22 | m | 0 | 0 |  | B31.022
N | remove rainwater pipe and fittings | 42 | m | 0 | 0 |  | B31.027
P | remove external soil pipe and fittings | 12 | m | 0 | 0 |  | B31.032
Q | remove flat roof decking | 38 | m² | 0 | 0 |  | B31.037
R | remove firrings, battens and counter battens at 400 centres | 38 | m² | 0 | 0 |  | B31.042
S | remove flat roof joists at 400 centres; APPROXIMATE | 19 | m² | 0 | 0 |  | B31.047
T | remove render to expose lintels |  | Item | 0 | 0 |  | B31.052
U | replacement lintels; APPROXIMATE ALLOWANCE |  | Item | 0 | 0 |  | B31.057
V | testing concrete slab carried out as a Direct Contract by the
| Employer - see Section 27.00 |  | Item | 0 | 0 |  | B31.062
W | cavity wall tie survey |  | Item | 0 | 0 |  | B31.067
X | taking out existing lintels; replacing with 2 Nr. 100 x 140 x
1950 long Stressline R15A precast concrete lintels; cavity
| gutter over | 2 | Nr | 0 | 0 |  | B31.068
Y | taking out existing lintels; replacing with 2 Nr. 100 x 215 x
3000 long Stressline R15A precast concrete lintels; cavity
| gutter over | 1 | Nr | 0 | 0 |  | B31.070
Z | replacement wall ties; APPROXIMATE ALLOWANCE |  | Item | 0 | 0 |  | B31.072
[ | check line of floor joist supporting wall |  | Item | 0 | 0 |  | B31.077
| To Collection |  |  |  | 0
PAGE 1 / 7
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
A | clean and treat existing horizontal steel angle at head of
| blockwork to gable end, including bolted connections |  | Item | 0 | 0 |  | B31.082
B | inspect existing concrete purlins once roof coverings removed |  | Item | 0 | 0 |  | B31.087
C | repair joints in between concrete gutter sections; expose and
| treat heavily corroded steel support angles and treat | 47 | m | 0 | 0 |  | B31.092
D | repair top inner lip of gutter; treat exposed reinforcement and
| make good spalled concrete | 47 | m | 0 | 0 |  | B31.097
E | make good vertical crack in blockwork; Helifix Helibars at 450
| centres; resin bonding | 36 | m | 0 | 0 |  | B31.102
F | decommission and certify below ground fuel tanks; remove
| ventilation pipes |  | Item | 0 | 0 |  | B31.105
| 3.00 SITE/ EXTERNAL WORKS | [5 empty] | BB
| 3.01 - 3.03 | [5 empty] | BB01.000
G | general notes |  | Item | 0 | 0 |  | BB01.002
| 3.04, 3.06 | [5 empty] | BB01.003
H | works to mains supplies - included with building services
| Sections |  | Item | 0 | 0 |  | BB01.004
| 3.05 - surface water drainage | [5 empty] | BB01.005
J | excavate drainage trench; remove excavated material from
site; 100 diameter uPVC pipes and fittings; granular bed and
| surround; maximum 1000 deep | 93 | m | 0 | 0 |  | BB01.006
K | Extra over; breaking up and reinstating hard surfacing | 93 | m | 0 | 0 |  | BB01.010
L | rainwater gully; bedding and surrounding in concrete | 8 | Nr | 0 | 0 |  | BB01.015
M | PPIC; 450 diameter x maximum 1000 deep, cutting; to required
| height; medium duty cover and frame | 5 | Nr | 0 | 0 |  | BB01.020
N | PPIC silt trap; 450 diameter x maximum 1000 deep, cutting; to
| required height; medium duty cover and frame | 1 | Nr | 0 | 0 |  | BB01.025
P | modular unit soakaway; 3000 x 5000 x 800 deep; 1600 below
| existing ground level; as MBA Drawing 23200/211/P1 | 1 | Nr | 0 | 0 |  | BB01.030
Q | repurpose existing septic tank to new soakaway; connecting in
| new pipe | 1 | Nr | 0 | 0 |  | BB01.035
R | testing new and existing surface water drainage system |  | Item | 0 | 0 |  | BB01.040
| To Collection |  |  |  | 0
PAGE 1 / 8
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 3.05 - foul water drainage | [5 empty] | BB01.100
A | excavate drainage trench; remove excavated material from
site; 100 diameter uPVC pipes and fittings; granular bed and
| surround; maximum 1000 deep | 8 | m | 0 | 0 |  | BB01.106
B | excavate drainage trench; remove excavated material from
site; 100 diameter uPVC pipes and fittings; granular bed and
| surround; maximum 1500 deep | 13 | m | 0 | 0 |  | BB01.107
C | Extra over; breaking up and reinstating hard surfacing | 21 | m | 0 | 0 |  | BB01.110
D | Extra over; breaking through existing external wall and floor for
| new drain connection; reinstating; not exceeding 1000 deep | 1 | Nr | 0 | 0 |  | BB01.112
E | soil pipe connection; rest bend, vertical pipe with adaptor;
| bedding and surrounding in concrete | 1 | Nr | 0 | 0 |  | BB01.115
F | PPIC; 450 diameter x maximum 1000 deep, cutting; to required
| height; medium duty cover and frame | 1 | Nr | 0 | 0 |  | BB01.120
G | Klargester Alpha septic tank; excavation and disposal; concrete
| bed and surround | 1 | Nr | 0 | 0 |  | BB01.125
H | drainage field; 900 wide x 2800 deep; clean stone bedding
covered with sand; 100 diameter perforated pipe and fittings
bedded and surrounded in clean stone; Terram lining;
backfilling with excavated material; as MBA Drawing
| 23200/211/P1 | 21 | m | 0 | 0 |  | BB01.130
J | Extra over; breaking up and reinstating hard surfacing | 21 | m | 0 | 0 |  | BB01.135
K | Extra over; vent | 1 | Nr | 0 | 0 |  | BB01.136
L | testing new and existing foul water drainage system |  | Item | 0 | 0 |  | BB01.140
| 3.05 - work to existing drainage | [5 empty] | BB01.200
M | breaking into existing manhole; building in new 100 diameter
pipe; making good channel, benching and all works disturbed;
| 420 deep to invert | 1 | Nr | 0 | 0 |  | BB01.210
N | breaking into existing drain run; building in new 100 diameter
| pipe; making good all works disturbed; 500 deep to invert | 1 | Nr | 0 | 0 |  | BB01.220
P | locating, excavating and exposing existing pipe; grubbing up;
| backfilling with imported hardcore; not exceeding 1000 deep | 12 | m | 0 | 0 |  | BB01.250
Q | Extra over; breaking up and reinstating hard surfacing | 12 | m | 0 | 0 |  | BB01.252
R | Extra over; sealing remaining pipe end with 600 long plug of
| concrete | 4 | Nr | 0 | 0 |  | BB01.255
S | abandon existing septic tank; sealing and venting as required |  | Item | 0 | 0 |  | BB01.255
| To Collection |  |  |  | 0
PAGE 1 / 9
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 3.07 | [5 empty] | BB02.007
A | external signage, seating and furniture |  | Item | 0 | 0 |  | BB02.008
| 3.08 | [5 empty] | BB03.009
B | forming 300 wide gravel strip; 50 thick 12mm silver grey
chippings; Terram weed suppression membrane; excavation
| and disposal | 77 | m | 0 | 0 |  | BB03.010
| 3.09 | [5 empty] | BB04.011
C | steps and ramps to provide ambulant access |  | Item | 0 | 0 |  | BB04.012
| 3.1 | [5 empty] | BB05.013
D | accessible thresholds into building - included with external
| doors |  | Item | 0 | 0 |  | BB05.014
| 3.11 | [5 empty] | BB06.015
E | external signage to meet legislation |  | Item | 0 | 0 |  | BB06.016
F | external signage to meet Client's requirements |  | Item | 0 | 0 |  | BB06.017
| 3.12 - 3.13 | [5 empty] | BB07.018
G | designated parking bays, complete with line markings |  | Item | 0 | 0 |  | BB07.019
| 3.14 | [5 empty] | BB08.020
H | making good existing bitmac where disturbed by the works |  | Item | 0 | 0 |  | BB08.021
| 4.00 LANDSCAPING/ PLANTING | [5 empty] | C
| 4.01 - 4.03 | [5 empty] | C01.000
J | general notes |  | Item | 0 | 0 |  | C01.001
| 4.02 | [5 empty] | C01.002
K | perimiter bitmac foorpaths |  | Item | 0 | 0 |  | C01.003
| 4.03 | [5 empty] | C01.004
L | door protection - see Section 14.27 |  | Item | 0 | 0 |  | C01.005
| 4.04 | [5 empty] | C01.010
M | 50 x 150 precast concrete edging; 350 x 100 C7.5P concrete
foundation and haunching; excavation and disposal; making
| good bitmac where disturbed (to gravel margin) | 77 | m | 0 | 0 |  | C01.012
| To Collection |  |  |  | 0
PAGE 1 / 10
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 4.05 | [5 empty] | C01.035
A | ACO Multiline Sealin drainage channel, complete with ends,
outlets and Heelguard slotted composite grating; C7.5P
| concrete bed and haunching; excavation and disposal | 13 | m | 0 | 0 |  | C01.040
| 5.00 SUBSTRUCTURE WORKS | [5 empty] | CC
| 5.01 | [5 empty] | CC01.000
B | information only |  | Item | 0 | 0 |  | CC01.005
| 5.02 | [5 empty] | CC01.010
C | excavate 250 x 350 foundation trench adjacent to existing
foundations, including exposing existing foundations; removal
of excavated material off site; level and compact bottoms of
| excavations; earthwork support; APPROXIMATE | 77 | m | 0 | 0 |  | CC01.015
D | C20 concrete foundation; 250 x 350; cast against existing
| foundations; formwork | 77 | m | 0 | 0 |  | CC01.020
| 5.03 | [5 empty] | CC01.025
E | below ground drainage -- to MBA details |  | Item | 0 | 0 |  | CC01.030
| 6.00 SUPERSTRUCTURE | [5 empty] | D
| 6.01 - 6.03 | [5 empty] | D01.000
F | general scope notes |  | Item | 0 | 0 |  | D01.005
| 6.04 | [5 empty] | D01.010
G | mineral wool fire stopping works |  | Item | 0 | 0 |  | D01.015
| 6.04 | [5 empty] | D01.020
H | intumescent fire proof expansion joint seal; Tenmat linear gap
| seal |  | Item | 0 | 0 |  | D01.025
| 7.00 GROUND FLOOR | [5 empty] | DD
| 7.01 - 7.03 | [5 empty] | DD01.000
J | general scope notes |  | Item | 0 | 0 |  | DD01.005
| 7.04 | [5 empty] | DD01.010
K | transition strips - included in Section 25 |  | Item | 0 | 0 |  | DD01.015
| 7.05 | [5 empty] | DD01.020
L | levelling compound - included in Section 25 |  | Item | 0 | 0 |  | DD01.025
| To Collection |  |  |  | 0
PAGE 1 / 11
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 7.06 | [5 empty] | DD01.030
A | cutting out existing solid floor for new floor box; APPROXIMATE | 10 | Nr | 0 | 0 |  | DD01.035
B | cutting out existing solid floor for new conduit; APPROXIMATE | 30 | m | 0 | 0 |  | DD01.040
| 7.07 - 7.11 | [5 empty] | DD01.045
C | new floor finishes - included in Section 25 |  | Item | 0 | 0 |  | DD01.048
| 8.00 FIRST FLOOR | [5 empty] | E
| 8.01 | [5 empty] | E01.000
D | scope notes only |  | Item | 0 | 0 |  | E01.005
| 8.02 | [5 empty] | E01.010
E | Promat boarding included in Section 17.06 |  | Item | 0 | 0 |  | E01.012
F | 22 thick Egger P5 tongued and grooved moisture resistant
| chipboard; glued and screwed joints | 95 | m² | 0 | 0 |  | E01.015
| 8.03 | [5 empty] | E01.020
G | cutting out existing solid floor for new floor box; APPROXIMATE | 10 | Nr | 0 | 0 |  | E01.025
H | cutting out existing solid floor for new conduit; APPROXIMATE | 30 | m | 0 | 0 |  | E01.030
| 8.04 | [5 empty] | E01.035
J | levelling screeds included in Section 17.06 |  | Item | 0 | 0 |  | E01.040
| Structural works | [5 empty] | E01.050
K | 50 x 200 treated sawn softwood C24 floor joist | 33 | m | 0 | 0 |  | E01.055
L | 63 x 200 x 400 long treated sawn softwood C24 wall plate;
| fixing to masonry with Hilti resin anchors at 450 centres | 1 | Nr | 0 | 0 |  | E01.058
M | 63 x 200 x 800 long treated sawn softwood C24 wall plate;
| fixing to masonry with Hilti resin anchors at 450 centres | 1 | Nr | 0 | 0 |  | E01.060
N | 50 x 200 galvanised steel joist hanger; nail over | 5 | Nr | 0 | 0 |  | E01.060
P | 50 x 200 galvanised steel joist hanger; face fixed;
| APPROXIMATE | 19 | Nr | 0 | 0 |  | E01.060
Q | 100 x 200 galvanised steel joist hanger; face fixed;
| APPROXIMATE | 2 | Nr | 0 | 0 |  | E01.060
| 9.00 ROOF | [5 empty] | EE
| 9.01 - 9.02 | [5 empty] | EE01.000
R | scope of works comments |  | Item | 0 | 0 |  | EE01.005
| To Collection |  |  |  | 0
PAGE 1 / 12
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 9.03 | [5 empty] | EE01.010
A | existing roof finish removed under demolitions |  | Item | 0 | 0 |  | EE01.015
B | carefully inspect concrete purlins |  | Item | 0 | 0 |  | EE01.020
C | roof coverings - Direct Contract carried out by Employer - see
| Section 27.00 |  | Item | 0 | 0 |  | EE01.025
| 9.04 | [5 empty] | EE01.050
D | existing extension flat roof coverings removed in demolitions |  | Item | 0 | 0 |  | EE01.055
E | existing porch flat roof coverings removed in demolitions |  | Item | 0 | 0 |  | EE01.056
F | cutting out and replacing with new 50 x 200 C24 treated sawn
softwood flat roof joists at 400 centres; jointing to existing;
| galvanised steel hangers as required; APPROXIMATE | 23 | m² | 0 | 0 |  | EE01.060
G | 50 x 50 treated sawn softwood battens; at 400 centres | 45 | m² | 0 | 0 |  | EE01.062
H | 50 x 50 treated sawn softwood counter battens; at 400 centres | 45 | m² | 0 | 0 |  | EE01.063
J | 50 x average 75 C16 treated sawn softwood firrings; at 400
| centres | 45 | m² | 0 | 0 |  | EE01.065
K | 18 thick Class 3 exterior grade WBP bonded plywood decking | 45 | m² | 0 | 0 |  | EE01.070
L | Visqueen 500 gauge vapour control layer | 45 | m² | 0 | 0 |  | EE01.075
M | 130 thick PIR insulation; between rafters | 45 | m² | 0 | 0 |  | EE01.075
N | Garland or equivalent roof coverings, to extension and porch - included in
| Section 27.00 |  | Item | 0 | 0 |  | EE01.080
P | 25 x 200 treated wrought softwood fascia board | 31 | m | 0 | 0 |  | EE01.082
Q | 12 x 250 WBP plywood soffit board | 31 | m | 0 | 0 |  | EE01.083
R | 50 x 50 treated sawn softwood framing to fascia/soffit | 31 | m | 0 | 0 |  | EE01.084
S | 50 x 63 treated sawn softwood C16 angle fillet | 31 | m | 0 | 0 |  | EE01.085
T | uPVC continuous soffit ventilator | 31 | m | 0 | 0 |  | EE01.086
| 9.05 - 9.08, 9.10, 9.12 | [5 empty] | EE01.090
U | notes on roof coverings generally - included with roof coverings |  | Item | 0 | 0 |  | EE01.095
| 9.09 | [5 empty] | EE01.100
V | Mansafe fall arrest system |  | Item | 0 | 0 |  | EE01.105
| 9.11 | [5 empty] | EE01.110
W | bat mitigation requirements; in accordance with bat
| survey/ecology report |  | Item | 0 | 0 |  | EE01.115
| To Collection |  |  |  | 0
PAGE 1 / 13
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 10.00 EXTERNAL WALLS | [5 empty] | F
| 10.01 - 10.02 | [5 empty] | F01.000
A | general scope comments |  | Item | 0 | 0 |  | F01.005
| 10.03, 10.06 - 10.10 | [5 empty] | F01.010
B | cleaning down existing blockwork; removing vegetation | 306 | m² | 0 | 0 |  | F01.015
C | Garland composite PIR wall panels and fixings or equivalent
|  |  | Item | 0 | 0 |  | F01.020
| 10.04 | [5 empty] | F02.005
D | 72.5 thick Celotex PL4060 insulated plasterboard lining; fixing
with plaster dabs to existing walls; measured over openings,
| allow for work to reveals | 28 | m² | 0 | 0 |  | F02.010
E | 5 thick skim coat of plaster; measured over openings, allow for
| work to reveals and beads | 28 | m² | 0 | 0 |  | F02.015
F | remove timber skirting | 12 | m | 0 | 0 |  | F02.020
G | wrought softwood skirting; profile to match existing | 12 | m | 0 | 0 |  | F02.025
| 10.11 - 10.15 | [5 empty] | F03.005
H | Weinerberger blue perforated wire cut engineering bricks;
half-brick thick; in Class M4/(iii) mortar, pointing to match
| existing; 150 high | 58 | m | 0 | 0 |  | F03.010
J | Stylite wall insulation and starter track; fixed to existing
| blockwork with EWI fixings; 80 thick x 250 high | 58 | m | 0 | 0 |  | F03.015
K | brickwork sample panel |  | Item | 0 | 0 |  | F03.020
L | movement joint in half-brick thick engineering brickwork;
Fosroc Hydrocell XL foam backing strip with Fosroc Nitroseal
| MS100 sealant one side; 250 high; APPROXIMATE | 27 | Nr | 0 | 0 |  | F03.025
| 10.18 - 10.19 | [5 empty] | F04.007
M | general notes/specifications - works included elsewhere |  | Item | 0 | 0 |  | F04.022
| 11.00 PARTY/SEPARATING WALLS | [5 empty] | FF
| 11.01 | [5 empty] | FF01.000
N | Section not used |  | Item | 0 | 0 |  | FF01.005
| 12.00 INTERNAL WALLS/ PARTITIONS | [5 empty] | G
| 12.01 - 12.04, 12.24 - 12.44 | [5 empty] | G01.000
P | 100 thick 7N blockwork; in cement/sand mortar (1:3) | 36 | m² | 0 | 0 |  | G01.005
| To Collection |  |  |  | 0
PAGE 1 / 14
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
A | Furfix wall starter system | 9 | m | 0 | 0 |  | G01.010
B | head restraints to tops of blockwork partitions | 17 | m | 0 | 0 |  | G01.012
C | 100 x 65 x 1200 Stressline prestressed precast concrete lintel | 2 | Nr | 0 | 0 |  | G01.015
D | 100 x 140 x 2100 Stressline R15A prestressed precast concrete
| lintel | 1 | Nr | 0 | 0 |  | G01.020
E | 100 wide Hyload dpc | 13 | m | 0 | 0 |  | G01.025
F | 30 minute fire resisting stud partition; 122 mm GypWall
Robust metal stud system; Gypframe AcouStud at 600 centres;
25 thick Isover APR 1200 acoustic insulation; facing both sides
with 12.5 thick Gyproc Wallboard Soundbloc; measured over
| openings | 95 | m² | 0 | 0 |  | G01.030
G | Extra over; moisture resistant plasterboard (both sides
| measured) | 37 | m² | 0 | 0 |  | G01.032
H | 60 minute fire resisting stud partition; 122 mm GypWall
Robust metal stud system; Gypframe AcouStud at 600 centres;
25 thick Isover APR 1200 acoustic insulation; facing both sides
with two layers 12.5 thick Gyproc Wallboard Soundbloc;
| measured over openings | 49 | m² | 0 | 0 |  | G01.035
J | Extra over; moisture resistant plasterboard (both sides
| measured) | 9 | m² | 0 | 0 |  | G01.037
K | 18 thick WBP bonded plywood sheathing board; APPROXIMATE | 288 | m² | 0 | 0 |  | G01.042
L | head restraints to tops of studwork partitions | 54 | m | 0 | 0 |  | G01.047
M | 5 thick skim coat of plaster; measured over openings, allow for
| work to reveals and beads | 288 | m² | 0 | 0 |  | G01.105
N | 11 thick cement and sand render coat, wood float finish; 5 thick
skim coat of plaster; measured over openings; allow for work
| to reveals and beads | 86 | m² | 0 | 0 |  | G01.110
P | firestopping service penetrations and at perimiters |  | Item | 0 | 0 |  | G01.115
| 12.05 | [5 empty] | G02.005
Q | 52.5 thick Celotex PL4060 insulated plasterboard lining; fixing
with plaster dabs to existing walls; measured over openings,
| allow for work to reveals | 27 | m² | 0 | 0 |  | G02.010
R | 5 thick skim coat of plaster; measured over openings, allow for
| work to reveals and beads | 27 | m² | 0 | 0 |  | G02.015
| To Collection |  |  |  | 0
PAGE 1 / 15
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 12.06 | [5 empty] | G03.005
A | make good existing wall surface; coating with diluted PVA
adhesive; 5 thick skim coat of plaster; measured over
| openings, allow for work to reveals and beads | 237 | m² | 0 | 0 |  | G03.010
B | make good existing wall surface; coating with diluted PVA
adhesive; 5 thick skim coat of plaster; measured over
openings, allow for work to reveals and beads; (fFirst Floor
| Offices); APPROXIMATE | 67 | m² | 0 | 0 |  | G03.015
| 12.07 | [5 empty] | G04.005
C | First Floor partitions included in Section 12.01 - 12.04 |  | Item | 0 | 0 |  | G04.010
| 12.08 | [5 empty] | G05.005
D | clean and make good areas of exposed blockwork and
reinforced concrete structural framing; prepare for decorations
| (decorations measured separately) |  | Item | 0 | 0 |  | G05.010
| 12.09 - 12.23 | [5 empty] | G05.015
E | Altro Whiterock PVCu wall cladding; 2.5 thick; fixing with
| adhesive; including all trims (measured net) | 54 | m² | 0 | 0 |  | G05.020
F | Altro Whiterock PVCu wall cladding; 2.5 thick; fixing with
| adhesive; including all trims (measured net); APPROXIMATE | 26 | m² | 0 | 0 |  | G05.022
G | Altro Whiterock PVCu wall cladding; 2.5 thick x 150 wide to
reveals; fixing with adhesive; including all trims (measured
| net) | 6 | m | 0 | 0 |  | G05.025
| 13.00 WINDOWS/GLAZING | [5 empty] | GG
| 13.01 - 13.13 | [5 empty] | GG01.000
H | certain windows have been procured by the Employer and will
| be supplied free of charge to the Contractor - see Section 27.00 |  | Item | 0 | 0 |  | GG01.005
J | allow for taking delivery of, storing, unpacking and checking all
| units supplied by Employer |  | Item | 0 | 0 |  | GG01.010
Fixing windows supplied by Employer, complete with ironmongery;
| Fosroc Nitroseal MS100 mastic sealant pointing | [5 empty] | GG01.015
K | 800 x 1000 | 1 | Nr | 0 | 0 |  | GG01.030
L | 1650 x 1350 | 2 | Nr | 0 | 0 |  | GG01.045
M | 1950 x 1350 | 3 | Nr | 0 | 0 |  | GG01.055
| To Collection |  |  |  | 0
PAGE 1 / 16
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
Supplying and fixing windows, double glazed uPVC, complete with
| ironmongery; Fosroc Nitroseal MS100 mastic sealant pointing - Refer to spec item 13.01 | [5 empty] | GG02.015
A | 600 x 1000 | 1 | Nr | 0 | 0 |  | GG02.025
B | 1000 x 1000 | 1 | Nr | 0 | 0 |  | GG02.040
C | 1800 x 600 | 4 | Nr | 0 | 0 |  | GG02.050
| 13.08 | [5 empty] | GG05.005
D | 25 x 225 Tulip wood window board; rounded front edge | 19 | m | 0 | 0 |  | GG05.020
E | 25 x 225 uPVC window board; rounded front edge | 2 | m | 0 | 0 |  | GG05.025
| 14.00 EXTERNAL DOORS | [5 empty] | H
| 14.01 - 14.23 | [5 empty] | H01.000
F | certain external doors have been procured by the Employer
and will be supplied free of charge to the Contractor - see
| Section 27.00 |  | Item | 0 | 0 |  | H01.005
G | allow for taking delivery of, storing, unpacking and checking all
| units supplied by Employer |  | Item | 0 | 0 |  | H01.010
Fixing external doors and frames supplied by Employer and procured by the contractor, complete
with ironmongery; Fosroc Nitroseal MS100 mastic sealant
| pointing: | [5 empty] | H01.020
H | 1600 x 2100; side hung door with fixed sidelight | 1 | Nr | 0 | 0 |  | H01.048
Supplying and fixing external doors and frames, double glazed
uPVC, complete with ironmongery; Fosroc Nitroseal MS100 mastic
| sealant pointing: | [5 empty] | H01.100
J | 900 x 2100; side hung door | 1 | Nr | 0 | 0 |  | H01.110
K | 1700 x 2100; side hung door with fixed sidelight | 1 | Nr | 0 | 0 |  | H01.120
Protecting existing external doors and frames, double glazed
| uPVC; pre-installed by Employer | [5 empty] | H01.200
L | 1220 x 2100; side hung fire escape door | 1 | Nr | 0 | 0 |  | H01.210
M | 3200 x 3400; roller shutter door | 1 | Nr | 0 | 0 |  | H01.215
| 14.22 | [5 empty] | H02.010
N | door manifestation |  | Item | 0 | 0 |  | H02.015
| 15.00 TIMBER SCREENS / INTERNAL DOORS | [5 empty] | HH
| 15.01 - 15.20 | [5 empty] | HH01.000
P | flush solid core plywood faced door; 900 x 2100 x 44 thick; Type
| 3 | 2 | Nr | 0 | 0 |  | HH01.005
| To Collection |  |  |  | 0
PAGE 1 / 17
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
A | flush solid core plywood faced door; 1000 x 2100 x 44 thick;
| Type 4 | 1 | Nr | 0 | 0 |  | HH01.007
B | flush solid core plywood faced door; FD30S; 762 x 1981 x 44
thick; 2 Nr. vision panels with 7 mm thick Pyrodur glazing and
| screwed hardwood beads; Type 1 | 2 | Nr | 0 | 0 |  | HH01.015
C | flush solid core plywood faced door; FD30S; 762 x 1981 x 44
thick; 2 Nr. vision panels with 7 mm thick Pyrodur glazing and
| screwed hardwood beads; Type 8 | 1 | Nr | 0 | 0 |  | HH01.017
D | flush solid core plywood faced door; FD30S; 838 x 1981 x 44
thick; 2 Nr. vision panels with 7 mm thick Pyrodur glazing and
| screwed hardwood beads; Type 2 | 4 | Nr | 0 | 0 |  | HH01.020
E | flush solid core plywood faced door; FD30S; 1000 x 2100 x 44
thick; 2 Nr. vision panels with 7 mm thick Pyrodur glazing and
| screwed hardwood beads; Type 7 | 3 | Nr | 0 | 0 |  | HH01.025
F | flush solid core plywood faced door; FD60S; 850 x 2100 x 54
| thick; Type 5 | 4 | Nr | 0 | 0 |  | HH01.030
G | flush solid core plywood faced door; FD60S; 1000 x 2100 x 54
thick; 2 Nr. vision panels with 7 mm thick Pyrodur glazing and
| screwed hardwood beads; Type 7 | 2 | Nr | 0 | 0 |  | HH01.035
H | wrought softwood lining; 32 x 125 | 16 | m | 0 | 0 |  | HH01.040
J | wrought softwood stop; 12 x 25 | 16 | m | 0 | 0 |  | HH01.045
K | wrought softwood quadrant; 25 x 25 | 96 | m | 0 | 0 |  | HH01.050
L | wrought softwood architrave; 25 x 75 | 114 | m | 0 | 0 |  | HH01.055
M | wrought hardwood frame; 44 x 94; rebated | 68 | m | 0 | 0 |  | HH01.060
N | wrought hardwood lining; 44 x 165 | 13 | m | 0 | 0 |  | HH01.065
P | wrought hardwood stop; 25 x 50; screwed | 23 | m | 0 | 0 |  | HH01.070
Q | intumescent/fire/acoustic seal; FD30S | 51 | m | 0 | 0 |  | HH01.075
R | intumescent/fire/acoustic seal; FD60S | 23 | m | 0 | 0 |  | HH01.080
S | PROVISIONAL SUM for supply of ironmongery |  | Item | 8000 | 8000 |  | HH01.085
T | fix only butt hinges; 100 mm | 57 | Nr | 0 | 0 |  | HH01.090
U | fix only mortice latch | 4 | Nr | 0 | 0 |  | HH01.095
V | fix only mortice lock | 13 | Nr | 0 | 0 |  | HH01.100
W | fix only thumb turn | 3 | Nr | 0 | 0 |  | HH01.105
X | fix only pair of lever handles | 17 | Nr | 0 | 0 |  | HH01.110
Y | fix only push plate | 38 | Nr | 0 | 0 |  | HH01.115
Z | fix only kick plate | 38 | Nr | 0 | 0 |  | HH01.120
| To Collection |  |  |  | 8000
PAGE 1 / 18
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
A | fix only pull handle | 38 | Nr | 0 | 0 |  | HH01.125
B | fix only overhead door closer | 16 | Nr | 0 | 0 |  | HH01.130
C | fix only flush bolt | 4 | Nr | 0 | 0 |  | HH01.135
D | fix only door stop | 16 | Nr | 0 | 0 |  | HH01.140
E | fix only door signs | 21 | Nr | 0 | 0 |  | HH01.145
F | fix only Doc M pack, including door ironmongery and all grab
| rails, hinged support rails and the like | 1 | Nr | 0 | 0 |  | HH01.150
G | 7 thick Pyrodur; bedding in intumescent tape/paste; 762 x 285 | 1 | Nr | 0 | 0 |  | HH01.155
H | 7 thick Pyrodur; bedding in intumescent tape/paste; 908 x 870 | 2 | Nr | 0 | 0 |  | HH01.160
| 16.00 JOINERY | [5 empty] | I
| 16.01 - 16.05 | [5 empty] | I01.000
J | architraves and window boards measured elsewhere |  | Item | 0 | 0 |  | I01.005
K | 19 x 150 wrought softwood pencil rounded skirting | 142 | m | 0 | 0 |  | I01.010
| 16.06 | [5 empty] | I02.002
L | see Section 26.01 for kitchen installation |  | Item | 0 | 0 |  | I02.022
| 17.00 CEILINGS | [5 empty] | II
| 17.01 - 17.04 | [5 empty] | II01.000
M | general specification/scope |  | Item | 0 | 0 |  | II01.005
| 17.05 | [5 empty] | II02.000
N | 12.5 thick Gyproc Soundbloc; to ceilings | 23 | m² | 0 | 0 |  | II02.010
P | 5 thick skim coat of plaster; to ceilings | 23 | m² | 0 | 0 |  | II02.010
| 17.06 | [5 empty] | II03.000
Q | 12 thick Supalux Promat; to ceilings | 99 | m² | 0 | 0 |  | II03.010
R | 5 thick skim coat of plaster; to ceilings | 99 | m² | 0 | 0 |  | II03.015
| 17.07 | [5 empty] | II04.000
S | Casoline MF ceiling; metal suspended ceiling system; 2 layers
12.5 thick Gyproc Wallboard; 100 thick Isover Spacesaver
| Readycut sound deadening quilt | 98 | m² | 0 | 0 |  | II04.010
T | 5 thick skim coat of plaster; to ceilings | 98 | m² | 0 | 0 |  | II04.015
| 17.08 - 17.11 | [5 empty] | II05.000
U | general specification/scope |  | Item | 0 | 0 |  | II05.005
| To Collection |  |  |  | 0
PAGE 1 / 19
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
18.00 WASTES / DRAINAGE /
| SANITARYWARE | [5 empty] | J
| 18.01 - 18.06, 18.08, 18.09, 18.16, 18.17 | [5 empty] | J01.000
A | soil and vent and waste pipework |  | Item | 0 | 0 |  | J01.005
| 18.07 | [5 empty] | J02.002
B | treated sawn softwood pipe casing; 38 x 50 longitudinal
members at 250 centres; 38 x 50 cross members at 400
centres; two sided; 300 x 300; 100 thick fibreglass insulation
| around pipe | 26 | m | 0 | 0 |  | J02.007
C | 2 x 12.5 thick Soundbloc plasterboard; to two sided pipe casing;
| 300 x 300 | 26 | m | 0 | 0 |  | J02.012
D | 5 thick skim coat of plaster; to two sided pipe casing; 300 x
| 300; angle bead | 26 | m | 0 | 0 |  | J02.017
| 18.10 - 18.15 | [5 empty] | J03.004
E | back to wall WC suite and cistern; rimless floor mount;
Armitrage Shanks S305601 Contour 21+; complete with pre-
| plumbed Venesta Vepps unit | 2 | Nr | 0 | 0 |  | J03.009
F | right hand accessible WC; Contour 21+ CC pack RH corner;
consisting of full Armitage Shanks S0684AC Doc M Contour 21+
close coupled WC pan, water saving delay fill cistern with
spatula level, grab rails, hinged support rail with toilet roll
holder, seat with retaining buffers and no seat; copper tails on
| TMV3 mixer tap | 1 | Nr | 0 | 0 |  | J03.014
G | wash hand basin; Sanceram Chartham 530 mm inset basin,
centre taphole and overflow; Insignia tilt and turn lever mono
basin mixer with press top waste, ref. INS113; Thermostatic
mixing valve, ref. SCBW113 and 15 mm isolating valve;
| Venesta vanity unit | 2 | Nr | 0 | 0 |  | J03.019
H | wash hand basin; to accessible WC; Contractor's choice, to suit
statutory requirements; mono basin mixer with extended
| lever; all required grab and support rails | 1 | Nr | 0 | 0 |  | J03.024
J | cleaners sink; complete with brackets, support legs and
| stainless steel grating; pair of wall mounted bib taps | 1 | Nr | 0 | 0 |  | J03.029
K | Slimline stainless steel warm air drier; black ABS and brushed
| satin finish stainless steel front | 3 | Nr | 0 | 0 |  | J03.034
| 18.18 - 18.23 | [5 empty] | J04.005
L | surface and foul water drainage - see Section 3.05 |  | Item | 0 | 0 |  | J04.010
| To Collection |  |  |  | 0
PAGE 1 / 20
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 19.00 VERTICAL CIRCULATION (STAIRS) | [5 empty] | JJ
| 19.01 - 19.05 | [5 empty] | JJ01.000
A | commercial grade timber staircase; straight flight; 930 clear
width, 2640 total rise; ash wall fixed handrail on brackets one
| side | 1 | Nr | 0 | 0 |  | JJ01.005
20.00 SAFETY / FIRE PROTECTION /
| SECURITY/LIGHTNING PROTECTION | [5 empty] | K
| 20.01 - 20.04, 20.08, 20.10, 20.11, 20.16 - 20.18 | [5 empty] | K01.000
B | general specifrication/scope notes |  | Item | 0 | 0 |  | K01.005
| 20.05 | [5 empty] | K02.002
C | fixing only fire extinguishers and blankets; supplied by
| Employer; allow for all necessary pattresses |  | Item | 0 | 0 |  | K02.010
| 20.06 | [5 empty] | K03.007
D | fire alarm and detection - direct award by Client - see Section
| 27 |  | Item | 0 | 0 |  | K03.015
| 20.07 | [5 empty] | K04.012
E | fire exit signage |  | Item | 0 | 0 |  | K04.020
| 20.09 | [5 empty] | K05.017
F | 60 minute firestopping around structural column; single layer
of 50 thick Promat Promaseal fire barrier; Promaseal fire
| barrier coating; protective steel sheet cover | 12 | Nr | 0 | 0 |  | K05.025
| 20.12 | [5 empty] | K06.030
G | Rockwool encapsulated mineral wool cavity barriers; 60 minute
| fire resistance; top of existing cavities/gables | 70 | m | 0 | 0 |  | K06.035
H | Rockwool encapsulated mineral wool cavity barriers; 60 minute
| fire resistance; in existing cavities | 9 | m | 0 | 0 |  | K06.040
J | Rockwool encapsulated mineral wool cavity barriers; 30 minute
| fire resistance; top of new partitions | 51 | m | 0 | 0 |  | K06.043
K | Rockwool encapsulated mineral wool cavity barriers; 60 minute
| fire resistance; top of new partitions | 48 | m | 0 | 0 |  | K06.045
| 20.13 | [5 empty] | K06.055
L | Tenmat ventilated cavity closers; 60 minute fire resistance;
| within cladding rail zone | 123 | m | 0 | 0 |  | K06.060
| To Collection |  |  |  | 0
PAGE 1 / 21
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 20.14 | [5 empty] | K07.062
A | fire protection to services penetrations |  | Item | 0 | 0 |  | K07.065
| 20.15 | [5 empty] | K08.057
B | fire dampers in ventilation duct penetrations |  | Item | 0 | 0 |  | K08.070
| 20.19 - 20.22 | [5 empty] | K09.062
C | CCTV system procured by Employer; allow for co-ordination of
| installation |  | Item | 0 | 0 |  | K09.075
D | providing passport for compliance document |  | Item | 0 | 0 |  | K09.080
| 20.23 - 20.24 | [5 empty] | K09.100
E | Contractor to provide intruder/security alarm as part of the
| works (Employer has obtained Quotations) |  | Item | 0 | 0 |  | K09.110
| 21.00 RAINWATER GOODS | [5 empty] | KK
| 21.01 - 21.06 | [5 empty] | KK01.000
F | general specification/scope |  | Item | 0 | 0 |  | KK01.005
G | lining existing precast concrete eaves gutters; including all
| fittings | 48 | m | 0 | 0 |  | KK01.010
H | Polyester powder coated Aluminium gutter and fittings; 100
| diameter | 31 | m | 0 | 0 |  | KK01.015
J | Polyester powder coated Aluminium rainwater pipe and
| fittings; 68 diameter | 12 | m | 0 | 0 |  | KK01.020
K | Polyester powder coated Aluminium rainwater pipe and
| fittings; 150 diameter | 30 | m | 0 | 0 |  | KK01.030
| 22.00 BUILDING SERVICES - ELECTRICAL | [5 empty] | L
| 22.01 - 22.13, 22.15, 22.16, 22.19 | [5 empty] | L01.000
L | electrical installation |  | Item | 0 | 0 |  | L01.005
M | builders work in connection |  | Item | 0 | 0 |  | L01.015
| 22.14 | [5 empty] | L02.000
N | providing provision for large screen displays linked by Wi-Fi; to
| rooms RG.05 & RF.03) |  | Item | 0 | 0 |  | L02.010
| 22.17 | [5 empty] | L03.000
P | providing physical infrastructure for high-speed electroncic
| communications network |  | Item | 0 | 0 |  | L03.005
| To Collection |  |  |  | 0
PAGE 1 / 22
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 22.18 | [5 empty] | L04.000
A | car charging points |  | Item | 0 | 0 |  | L04.005
| 22.2 | [5 empty] | L05.000
B | relocating exisitng electrical distribution point; works to be
| carried out by WPD/National Grid |  | Item | 0 | 0 |  | L05.010
C | co-ordination of all Employer related matters in connection
| with the execution of the works |  | Item | 0 | 0 |  | L05.012
D | liaison with Supplier |  | Item | 0 | 0 |  | L05.014
E | allow for all trenching and ducting in accordance with National
| Grid requirements; reinstating |  | Item | 0 | 0 |  | L05.015
F | additional duct with draw cord installed in services trench |  | Item | 0 | 0 |  | L05.020
| 23.00 BUILDING SERVICES - MECHANICAL | [5 empty] | LL
| 23.01 - 23.06, 23.12 - 23.14 | [5 empty] | LL01.000
G | mechanical installation |  | Item | 0 | 0 |  | LL01.005
H | background ventilation |  | Item | 0 | 0 |  | LL01.010
J | MV installation |  | Item | 0 | 0 |  | LL01.020
K | builders work in connection |  | Item | 0 | 0 |  | LL01.025
L | fire dampers - see also Section 20.15 |  | Item | 0 | 0 |  | LL01.025
| 23.07 | [5 empty] | LL02.000
M | providing suitably isolated and terminated connection for the
| future installations of the solar arrays |  | Item | 0 | 0 |  | LL02.050
| 23.08 | [5 empty] | LL03.000
N | car charging points - see also Section 22.18 |  | Item | 0 | 0 |  | LL03.005
| 23.09 | [5 empty] | LL04.000
P | AV system will be a Employer direct appointment; allow for
| associated services containment |  | Item | 0 | 0 |  | LL04.005
| 23.1 | [5 empty] | LL05.000
Q | installation of security, CCTV, alarm installations - see Sections
| 20.19 - 20.22 & 20.23 - 20.24 |  | Item | 0 | 0 |  | LL05.005
| 23.11 | [5 empty] | LL06.000
R | installation of data/telephone installations - see Section 22.17 |  | Item | 0 | 0 |  | LL06.005
| To Collection |  |  |  | 0
PAGE 1 / 23
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 24.00 BUILDING SERVICES - OTHER | [5 empty] | M
| 24.01 | [5 empty] | M01.000
A | specification/scope comments |  | Item | 0 | 0 |  | M01.005
| 25.00 DECORATIONS & FINISHES | [5 empty] | MM
| 25.01 - 25.15 | [5 empty] | MM01.000
B | painting and decorating works; internally |  | Item | 0 | 0 |  | MM01.005
C | painting and decorating works; externally |  | Item | 0 | 0 |  | MM01.010
| 25.16 | [5 empty] | MM02.000
D | Altro Whiterock - included in other sections |  | Item | 0 | 0 |  | MM02.005
| 25.17 - 25.18 | [5 empty] | MM03.000
E | silicone sealant - included in other sections |  | Item | 0 | 0 |  | MM03.005
| 25.19 - 25.40 | [5 empty] | MM04.000
F | recessed clean-off zone matting; Interface Barricade, colour
| Anthracite 5732; brick laying pattern | 11 | m² | 0 | 0 |  | MM04.005
G | heavy duty Contract commercial carpet tiles | 107 | m² | 0 | 0 |  | MM04.010
H | heavy duty Contract commercial safety vinyl; Altro Walkway,
| colour Dolphin/VM2010 | 95 | m² | 0 | 0 |  | MM04.015
J | 150 high skirtings; coved junction with flooring; heavy duty
Contract commercial safety vinyl; Altro Walkway, colour
| Dolphin/VM2010 | 71 | m | 0 | 0 |  | MM04.018
K | levelling screed | 214 | m² | 0 | 0 |  | MM04.020
L | transition strips; between differing finishes | 25 | m | 0 | 0 |  | MM04.025
| 26.00 FIXTURES/ FITTINGS/ EQUIPMENT | [5 empty] | N
| 26.01 | [5 empty] | N01.000
M | supplying and fixing commercial grade kitchen base and wall
units and worktops, including sink, taps and white goods;
providing additional fixings as required; Howdens Trade
| Clerkenwell range |  | Item | 0 | 0 |  | N01.030
| 26.02 | [5 empty] | N02.002
N | Section not used |  | Item | 0 | 0 |  | N02.007
| 26.03 - 26.06 | [5 empty] | N03.004
P | duct panel systems - included with sanitaryware installation |  | Item | 0 | 0 |  | N03.010
| To Collection |  |  |  | 0
PAGE 1 / 24
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
| 26.07 | [5 empty] | N04.009
A | floor finishes specification - included elsewhere |  | Item | 0 | 0 |  | N04.010
| 26.08 | [5 empty] | N05.014
B | coat hooks; James & Thedin; ref. JT-103 anti-ligature hook;
| APPROXIMATE | 35 | Nr | 0 | 0 |  | N05.020
| 26.09 - 26.10 | [5 empty] | N06.014
C | drawers and fitted storage works - not included within the
| tender |  | Item | 0 | 0 |  | N06.020
| 26.11 | [5 empty] | N07.014
D | mirrors; 650 x 350 | 4 | Nr | 0 | 0 |  | N07.020
| 26.12 | [5 empty] | N08.014
E | vertical blinds; Sol Komfort KVL31 Premium profiledvertical
blind range; Kestrel magnetic anti-ligature system; 40 x 25
white headrail with wand control operation and built-in slip
clutch for louvre tilt; 89 wide flame-retardent fabric, Sol
| Komfort Dart range with louvre enclosed weights; 600 x 1000 | 1 | Nr | 0 | 0 |  | N08.020
F | vertical blinds; Sol Komfort KVL31 Premium profiledvertical
blind range; Kestrel magnetic anti-ligature system; 40 x 25
white headrail with wand control operation and built-in slip
clutch for louvre tilt; 89 wide flame-retardent fabric, Sol
| Komfort Dart range with louvre enclosed weights; 1000 x 1000 | 1 | Nr | 0 | 0 |  | N08.030
G | vertical blinds; Sol Komfort KVL31 Premium profiledvertical
blind range; Kestrel magnetic anti-ligature system; 40 x 25
white headrail with wand control operation and built-in slip
clutch for louvre tilt; 89 wide flame-retardent fabric, Sol
Komfort Tribune range with louvre enclosed weights; 900 x
| 1000 | 1 | Nr | 0 | 0 |  | N08.060
H | vertical blinds; Sol Komfort KVL31 Premium profiledvertical
blind range; Kestrel magnetic anti-ligature system; 40 x 25
white headrail with wand control operation and built-in slip
clutch for louvre tilt; 89 wide flame-retardent fabric, Sol
Komfort Tribune range with louvre enclosed weights; 1500 x
| 1200 | 1 | Nr | 0 | 0 |  | N08.063
| To Collection |  |  |  | 0
PAGE 1 / 25
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
A | vertical blinds; Sol Komfort KVL31 Premium profiledvertical
blind range; Kestrel magnetic anti-ligature system; 40 x 25
white headrail with wand control operation and built-in slip
clutch for louvre tilt; 89 wide flame-retardent fabric, Sol
Komfort Tribune range with louvre enclosed weights; 1600 x
| 1350 | 1 | Nr | 0 | 0 |  | N08.065
B | vertical blinds; Sol Komfort KVL31 Premium profiledvertical
blind range; Kestrel magnetic anti-ligature system; 40 x 25
white headrail with wand control operation and built-in slip
clutch for louvre tilt; 89 wide flame-retardent fabric, Sol
Komfort Tribune range with louvre enclosed weights; 1800 x
| 600 | 4 | Nr | 0 | 0 |  | N08.070
C | vertical blinds; Sol Komfort KVL31 Premium profiledvertical
blind range; Kestrel magnetic anti-ligature system; 40 x 25
white headrail with wand control operation and built-in slip
clutch for louvre tilt; 89 wide flame-retardent fabric, Sol
Komfort Tribune range with louvre enclosed weights; 2000 x
| 1350 | 3 | Nr | 0 | 0 |  | N08.070
| 26.13 - 26.14 | [5 empty] | N09.025
D | specification/scope notes |  | Item | 0 | 0 |  | N09.027
| 26.15 | [5 empty] | N10.014
E | shelving to Cleaners Store |  | Item | 0 | 0 |  | N10.020
27.00 DIRECT ORDER AND SEPARATE
| CONTRACT/ PRE CONTRACT WORKS | [5 empty] | NN
27.01 & 27.03 - Employer Direct Contracts; allow for incorporating
| into Contractor's programme and all co-ordination | [5 empty] | NN01.000
F | demolition of roof and North building |  | Item | 0 | 0 |  | NN01.005
G | removal of asbestos |  | Item | 0 | 0 |  | NN01.010
H | move mains electrical distribution board |  | Item | 0 | 0 |  | NN01.015
J | purchase of electrical mains distribution board |  | Item | 0 | 0 |  | NN01.020
K | purchase of radiators |  | Item | 0 | 0 |  | NN01.025
L | fire and security alarms |  | Item | 0 | 0 |  | NN01.030
M | rear fencing |  | Item | 0 | 0 |  | NN01.035
N | landscaping |  | Item | 0 | 0 |  | NN01.040
P | signage |  | Item | 0 | 0 |  | NN01.045
Q | remedial works to main building |  | Item | 0 | 0 |  | NN01.050
| To Collection |  |  |  | 0
PAGE 1 / 26
Item | Description | Qty | Unit | Rate | Total
|  |  |  | £ | £
A | concrete testing |  | Item | 0 | 0 |  | NN01.055
B | core samples |  | Item | 0 | 0 |  | NN01.060
C | fencing and gates |  | Item | 0 | 0 |  | NN01.065
D | scaffolding |  | Item | 0 | 0 |  | NN01.070
E | roof coverings |  | Item | 0 | 0 |  | NN01.075
F | wall cladding |  | Item | 0 | 0 |  | NN01.080
G | flat roof coverings |  | Item | 0 | 0 |  | NN01.085
H | CCTV installation |  | Item | 0 | 0 |  | NN01.090
J | intruder installation |  | Item | 0 | 0 |  | NN01.095
K | AV installation |  | Item | 0 | 0 |  | NN01.100
| 27.02 - Employer to supply; Contractor to fix | [5 empty] | NN02.002
L | certain windows |  | Item | 0 | 0 |  | NN02.012
M | certain external doors |  | Item | 0 | 0 |  | NN02.017
| 27.04 - 27.06 | [5 empty] | NN05.004
N | included in other sections |  | Item | 0 | 0 |  | NN05.009
| 28.00 MISCELLANEOUS | [5 empty] | O
| 28.01 - 28.08 | [5 empty] | O01.000
P | general specification/scope |  | Item | 0 | 0 |  | O01.005
| 29.00 REVISIONS | [5 empty] | OO
| 29.01 | [5 empty] | OO01.000
Q | general specification/scope |  | Item | 0 | 0 |  | OO01.005
| 30.00 APPENDICES | [5 empty] | P
| 30.01 |  |  | 0 |  |  | P01.000
R | Conditional Building Regulation approval, with Conditions |  | Item | 0 | 0 |  | P01.005
| To Collection |  |  |  | 0
PAGE 1 / 27
Total
£
Collection From
| 1/1 |  |  |  | 0
| 1/2 |  |  |  | 0
| 1/3 |  |  |  | 0
| 1/4 |  |  |  | 0
| 1/5 |  |  |  | 0
| 1/6 |  |  |  | 0
| 1/7 |  |  |  | 0
| 1/8 |  |  |  | 0
| 1/9 |  |  |  | 0
| 1/10 |  |  |  | 0
| 1/11 |  |  |  | 0
| 1/12 |  |  |  | 0
| 1/13 |  |  |  | 0
| 1/14 |  |  |  | 0
| 1/15 |  |  |  | 0
| 1/16 |  |  |  | 0
| 1/17 |  |  |  | 0
| 1/18 |  |  |  | 8000
| 1/19 |  |  |  | 0
| 1/20 |  |  |  | 0
| 1/21 |  |  |  | 0
| 1/22 |  |  |  | 0
| 1/23 |  |  |  | 0
| 1/24 |  |  |  | 0
| 1/25 |  |  |  | 0
| 1/26 |  |  |  | 0
| 1/27 |  |  |  | 0
| Bill 24-082 ASSENTECH PRICING DOCUMENT Carried to Summary |  |  |  | 8000