Tender for THE PROVISION OF CONSULTANCY SERVICES FOR HEAT NETWORK MAPPING AND ENERGY MASTERPLANNING STUDY

Tender – Document Two

Specification

Thank you for expressing interest in this procurement for tender for the provision of consultancy services for heat network mapping and energy masterplanning study

Please ensure that you register your interest with the procurement contact named in Document One in order to receive updates, question responses, etc.

We now invite you to submit a tender. Further stages of the process are outlined in this document.

To assist you in this, four documents have been provided:

Document One – Information and instructions (including the timetable)

Document Two – Specification (this document)

Document Three – General Terms and Conditions

Document Four – Tender Response Document

When completed, please return two hard copies and a copy electronically saved on a CD of the response document (Document Four).

Please mark envelopes/packages with only “Tender Response: Tender for the provision of consultancy services for heat network mapping and energy masterplanning study (Private and Confidential)” and with no company markings or anything else which might identify your organisation e.g. personalised franking, and return to:

Democratic Services Manager

Corby Borough Council

Democratic Services Department

Corby Cube

Parklands Gateway, George Street

Corby, Northamptonshire, NN17 1QG

To be received not later than noon 27th October 2017. Late submissions will be disregarded.

Tender – Document Two

Specification

|  | CONTENTS |  | PAGE |
| --- | --- | --- | --- |
| 1 | Introduction |  | 3 |
| 2 | Background |  | 3 |
| 3 | Project Aims |  | 3 |
| 4 | Project Objectives |  | 3 |
| 5 | Scope |  | 4 |
| 6 | Statement of Requirements |  | 10 |
| 7 | Quality Requirements |  | 11 |
| 8 | Security |  | 11 |
| 9 | Project Management |  | 12 |
| 10 | Invitation to Tender |  | 13 |
| 11 | Contact |  | 13 |

- Introduction

- Corby Borough Council is looking to commission pre-feasibility work to assess the potential for a (renewable, low carbon, a mix, or phased approach to zero carbon) Heat Network for a cluster of mostly public sector buildings in development around the area the town centre and industrial area.

- The pre-feasibility work will require the production of a Heat Map for the Town and Energy Master planning for area of to help identify the best business solution to carry forward into any subsequent future feasibility work in future.

- Background

- Several development opportunities are currently being explored by Corby Borough Council with opportunities of the town including the industrial areas which house TATA Steel and Roquette Foods. There is also the potential for the Parkland Gateway regeneration area in the Town Centre through biomass CHP. A detailed feasibility for the Parkland Gateway has already been produced which focused on the Cube, Grosvenor House and Corby East Midlands International Pool. Other buildings are being assessed including the new Cinema and the Job Centre but are not included in the modelling at this stage.

- The project would have several positive consequences including

- A major contribution to corporate goals on climate change

- Creating a further positive contribution to the physical regeneration of Corby town centre

- Educational and community engagement facilities through the creation of a renewable energy centre or visitor within the facility

- A District Heat Network (DHN) would supports the Council’s carbon reduction programme and consideration of low carbon options in the replacement of the leisure centre, through the productions of a pre-feasibility assessment to identify suitable DHN options that could be the subject of more detailed feasibility work. At this stage we are therefore looking to employ a consultancy to produce a Heat Map and Energy Master Plan for the town centre and industrial areas around Corby.

- The work is funded by a grant awarded by the Department for Business, Energy & Industrial Strategy Heat Networks Delivery Unit (HNDU) and Corby Borough Council may apply for further funding if the pre-feasibility work indicates potential for a heat network to be established in Corby.

- PROJECT AIMS

- Undertake an energy mapping and modelling study of the proposed area to identify the following for the purposes of decentralised energy scheme development so that they may meet the strategic corporate aims of Corby Borough Council (2015-25) particularly Theme 5 which focuses on Environment and Climate Change. This will be done by highlighting the potentially useful heating, cooling and power demand loads; heat supply opportunities; clearly defined low and zero carbon energy supply for the study area; and clearly defined cost savings/revenue streams.

- Use the outputs of energy mapping to inform the development of an energy master plan for the proposed area encompassing short and long term scheme plans, which identifies, evaluates and prioritises any potential DH scheme opportunities.

- To identify an initial core scheme and full potential scheme over the long term together with potential phasing, timeline, key dependencies and constraints.

- PROJECT OBJECTIVES

- Meet relevant objectives within the CIBSE/ADE1 Heat Networks Code of Practice relevant to this stage of work.

- Review the red line boundary for the study and highlight any opportunities to extend the study boundary where this is appropriate and could potentially add value to the scheme (shown on the attached map 1)

- Identify and categorise existing, heating, cooling and power demand loads potentially relevant to district heating, cooling and power scheme opportunities and represent with GIS mapping.

- Identify and estimate key residential and non-residential development and model the associated heating, cooling and power demand loads and represent with GIS mapping

- Determine the suitability of identified heating, cooling and power demands for district energy scheme development

- Determine and assess the full range of potentially relevant low and zero carbon district energy supply technologies (including private wire and potential use of battery storage)

- Determine potential energy centre locations and network routes

- Identify the key district heating, cooling, and private wire scheme options and undertake a high level economic assessment

- Evaluate and prioritise identified district heating/cooling/private wire scheme options according to criteria to be agreed with the client, to determine the recommended scheme options to progress.

- Provide a comprehensive GIS representation outputs to client requirements

- Identify key risks, constraints, benefits and opportunities presented by the recommended scheme options to Corby Borough Council and key stakeholders

- Identify next steps for recommended options

- Scope

Corby Borough Council would like a quote which includes all of the following pieces of work and meets the relevant objectives within the CP1 Heat Networks: Code of Practice for the UK relevant to this stage of work.

  - Heat Mapping

Review and provide advice regarding the Corby Borough Council’s proposed red line boundary for the study (see map 1) to ensure it is appropriate and encompasses the range of geographic locations within and adjacent to the proposed study area of potential relevance to strategic district energy opportunities over the short- and long-term. This should encompass heating, cooling and power related district energy opportunities.

Identify, categorise and GIS map existing heating, cooling and power demand loads including monthly and annual load profiles for key non-residential and residential buildings within the red line boundary including but not be limited to:

Council-owned buildings

Other public sector buildings

Private sector buildings with potentially significant heating, power or cooling loads

Commercial undertakings with high heating, power or cooling demands

High-density private and social residential housing, including low-rise and high-rise tower blocks

Liaise with Corby Borough Council and utilise relevant development masterplans and planning documents to identify and inform estimates of residential and non-residential demand for significant potential future developments. Estimates should also include development densities, timeframes and phasing.

Undertake heating, cooling and power demand energy modelling of identified development using appropriate industry benchmarks as identified in the CIBSE/ADE Heat Networks Code of Practice and in line with the nature and scale of envisaged development. The modelling should also take account of building regulations standards likely to be applicable for the various phases of development. Where the consultant deems it prudent any modelling outcomes can be adjusted to form a more realistic baseline position regarding energy demands. Projected energy demand and supply loads shall be categorised and mapped in GIS.

Opportunities for heat supply from existing installations shall include but not be limited to: Energy from Waste (EfW) plants, industrial waste heat (IWH), and spare heat export capacity from existing power stations, boiler plant and district heating schemes. Innovative heat recovery solutions may be investigated as well, such as recovery of heat from electricity substations.

Heat supply mapping should assess the potential heat options, their financial feasibility, scale of technology requires, technical feasibility, supply and assess all practicalities.

  - Energy Master Planning:

Technical Assessment

- Identify and account for any potentially relevant constraints on district energy development e.g. infrastructure, utilities location and capacities, water, ground conditions, ecology including whether they pose any potential significant technical or cost risks.

- Identify ALL potentially suitable clusters of heating, cooling and power demand as well as heat supply from existing buildings and envisaged new development which are of relevance to district energy scheme opportunities over the short and long term. This should include both high temperature and low temperature heat network solutions

- Undertake appropriate modelling to identify the range of potential district energy opportunities over the short and long term. Determine potential energy centre locations and network route options accounting for key limiting constraints or opportunities.

- Determine the initial suitability of connection of existing buildings and their connection needs as well as the requirements of future development to enable connection to any potential district energy network.

- Undertake initial assessment of heat supply opportunities including determining the technical suitability of connection of potential sources of heat, any key requirements and the cost implications on potential heat networks viability

- Evaluate the full range of relevant low carbon and renewable energy technology supply options for both the initial and long term district energy scheme opportunities. Potential technologies suitable for further investigation in a feasibility stage should not be prematurely limited.  The analysis should be applied consistently across identified technologies and the consultant should agree with the client which criteria are suitable for direct comparison between technologies at this stage and which should be viewed as more binary criteria i.e. the technology in itself does or does not offer a potentially acceptable solution for the particular criteria

- Options shall include, but not be limited to, energy from waste (EfW), industrial waste heat, geothermal, solar thermal, gas combined heat and power (CHP), biomass/biofuel/biogas CHP, use of battery storage in combination with CHP based schemes, heat pumps (air source/ground source/water source including minewater), anaerobic digestion and biomass boilers. Potential criteria should include:

Technology suitability

Financial performance including in response to key sensitivities

CO2 reduction potential initial and full potential scheme

Cost per tonne of CO2 saved for initial and full potential scheme

Development risk

Supply risk

Provide initial technology recommendations including a technology pathway and timeline to achieve zero carbon heat for identified potential projects as well as the details of any thermal storage requirements.

Determine the high level potential for direct electricity supply to significant non-residential buildings via development of a ‘private- wire network’ in the case of potential CHP projects identified

Refine the overall district energy potential options in relation to the energy centre location, network routes, scale and phasing of schemes for both initial core scheme opportunities through to the full potential long term scheme opportunities.

Refine the choice of potential energy supply technology for each identified opportunity. This should be done through quantitative assessment of a shortlist of at least two suitable technologies for each opportunity and should provide an initial assessment of sizing for low-carbon plant, peaking plant, and thermal storage. This should include an options assessment that assesses the viability of meeting at least one of the following requirements:

75% of the annual heat demand to be met from non-renewable fuelled CHP;

50% of the annual heat demand to be met from a renewable source;

50% of the annual heat demand to be met from recovered heat; or

50% of the annual heat demand to be met by any combination of renewable/recovered heat and non-renewable fuelled CHP.

Estimate high level project costs for initial and future phases including the level of accuracy. Provide a breakdown of the key capital cost items included in capex estimates including

## Energy centre building

Major plant

Mechanical

Electrical

DH Network

DH Substations

Customer Connections

Project Management

Contingency

Provide a breakdown of pipe network sizes and lengths together with assumed costs per metre installed

  - Economic assessment

Undertake an initial economic assessment of the identified technical project opportunities through the development of a high level financial model and on the basis of whole life costs covering the scenarios identified in the technical assessment detailed in 5.2.

Identify pre-interest range of internal rates of return (IRR) and net present value (NPV) over a 25 year, 30 year and 40 year project life for the base line scenarios and in response to key sensitivities to be agreed with client and reflective of assumed cost estimate accuracies including:

Capex,

Energy purchase prices

Energy sales tariffs/% cost saving to customer

Heat demand

Identify and determine the gap funding requirements for the assessed opportunities against the clients suggested investment threshold IRR(s)

Basic economic assumptions to be used in the economic assessment should include but not be limited to:

Benchmark energy tariffs used should be based on real data or, where modelled, based on market realistic tariffs appropriate for the proposed customer types

The baseline will assume a cost neutral position regarding overall energy costs for customers

Estimated operating and maintenance (O & M) costs should be included but energy purchase costs should be presented separately

The technical and economic assessments should cover initial and phased schemes

Any assumed connection costs for new developments should be clearly justified.

  - Refinement of Opportunities and Recommendations

This stage will utilise the technical and financial outputs of the energy master planning study to determine which project opportunities are potentially suitable to progress to a future detailed techno-economic feasibility study covering both compliance and non-compliance with the requirements described in relation to the proportion of heat supplied from low carbon sources.

Potential opportunities should not be prematurely limited by the evaluation process.  Any analysis should be applied consistently and evaluation criteria agreed with the client. Comparators should help the client to clearly differentiate between potential project options where it is reasonable to do so at this stage.

Determine the recommended district heating, cooling and private wire scheme options to progress for the study area with full supporting rationale. Recommendations should identify the nature, scale, costs, timeframe, phasing and location of potential schemes, and gap funding requirements. They should also clearly explain the key risks and constraints issues in the Risks and Issues Registers. The potential benefits to the various stakeholders over the BAU development scenario should be clearly explained e.g. avoided development costs, infrastructure upgrade costs, and alternative carbon reduction costs.

Complete a HNDU Project Metrics template to be submitted to BEIS for each heat network scheme opportunities for the study area.

The next steps and implementation requirements for the recommended schemes should be presented including an estimate of costs for next steps. The optimum timeframe to undertake the next steps should be determined accounting for key client and stakeholder requirements in relation to existing buildings and envisaged new developments.

  - Outputs

Submission of draft reports to Corby borough Council for comment.

Consultant to present results and respond to stakeholder questions

Submission of final Heat Map and energy master plan

All key project outputs will also be made available to BEIS as part of the HNDU funding requirements Consultants should carefully note the following requirements and ensure they are fully addressed in tender responses:

Draft and Final Mapping and Masterplanning Study including:

Detailed outcomes and key recommendations as to which short and long term district heating, cooling and power network opportunities to progress to future feasibility study and why

Key technical, cost, environmental, and other relevant details of recommended district energy schemes including benefits, opportunities , risks and constraints

GIS mapping of recommended scheme, including network route(s), energy centre locations, buildings connected, scheme phasing to full build out.

Risks and Issues Register using HNDU template

Executive Summary for non-technical audience which outlines the scale of opportunity and how this is best delivered encompassing

- Overarching summary of the study – i.e. the subject matter of the report

- Key background summary – rationale for study , terms of reference, key aims, timeframe and current status

- Summary method of analysis

- Key Outputs – for each work package area

- Discussion – key opportunities/risks/limitations

- Conclusion/recommendations reflecting future funding opportunities through HNDU

- Next steps

Heat Network Project Metric Template for each project opportunity identified (provided by Corby Borough Council, and submitted back to Corby Borough Council and HNDU for each heat network scheme opportunity identified for the study area).

Additional Requirements:

GIS ‘Shape’ files to be made available unlocked and for the Corby Borough Council’ subsequent unlicensed use and submission to BEIS

## Outputs must be compatible with existing software used by the Client

## A full list of the inputs and assumptions used for any technical and financial modelling should be provided

## Maps should include copies of PDF and GIS files

## An energy demand and supply listing for all network buildings should be provided in Excel with unlocked tables

- Statement of Requirements

# Outputs

- Submission of draft reports to Corby borough Council for comment.

- Consultant to present results and respond to stakeholder questions

- Submission of final Heat Map and energy master plan

All key project outputs will also be made available to BEIS as part of the HNDU funding requirements Consultants should carefully note the following requirements and ensure they are fully addressed in tender responses:

Draft and Final Mapping and Masterplanning Study including:

- Detailed outcomes and key recommendations as to which short and long term district heating, cooling and power network opportunities to progress to future feasibility study and why

- Key technical, cost, environmental, and other relevant details of recommended district energy schemes including benefits, opportunities , risks and constraints

- GIS mapping of recommended scheme, including network route(s), energy centre locations, buildings connected, scheme phasing to full build out

- Risks and Issues Register using HNDU template

- Executive Summary for non-technical audience which outlines the scale of opportunity and how this is best delivered encompassing

- Overarching summary of the study – i.e. the subject matter of the report

- Key background summary – rationale for study , terms of reference, key aims, timeframe and current status

- Summary method of analysis

- Key Outputs – for each work package area

- Discussion – key opportunities/risks/limitations

- Conclusion/recommendations reflecting future funding opportunities through HNDU

- Next steps

Heat Network Project Metric Template for each project opportunity identified (provided by Corby Borough Council, and submitted back to Corby Borough Council and HNDU for each heat network scheme opportunity identified for the study area).

Additional Requirements:

- GIS ‘Shape’ files to be made available unlocked and for the Corby Borough Council’ subsequent unlicensed use and submission to BEIS

- Outputs must be compatible with existing software used by the Client

- A full list of the inputs and assumptions used for any technical and financial modelling should be provided

- Maps should include copies of PDF and GIS files

- An energy demand and supply listing for all network buildings should be provided in Excel with unlocked tables

- Quality Requirements

Corby Borough Council reserves the right to not appoint any bidder as an outcome of this quotation process.

Corby Borough Council reserves the right to withdraw from using the services of the consultant at any time during the project if it is not satisfied with the standard or quality of the work.

Payment of fees will be on completion (to the Council’s satisfaction) of the project, in accordance with this Brief.

Any work outside the Brief, or as subsequently agreed in writing between the Council and the appointed consultant will be considered as additional work. The parties must first agree the content and cost of any such work before it is undertaken.

No part of the work should be sub-contracted to third parties without the Council’s prior consent.

The appointed consultant shall at all times be fully covered by professional indemnity insurance.

Corby Borough Council will own the copyright of the final report and will have the right to copy, publish and distribute it as required (subject to the work being accredited to the consultant).

- Security

The successful tenderer must comply with the Data Protection Act (DPA) 1998 and any information collected, processed and transferred on behalf of Corby Borough Council, and in particular personal information, must be held and transferred securely.

Contractors must provide assurances of compliance with the DPA and set out in their proposals details of the practices and systems they have in place for handling data securely including transmission between the field and head office and then to Corby Borough Council.

Contractors will have responsibility for ensuring that they and any subcontractor who processes or handles information on behalf of Corby Borough Council is conducted securely.

The sorts of issues which must be addressed satisfactorily and described in contractors’ submissions include:

- Procedures for storing both physical and system data;

- Data back-up procedures;

- Procedures for the destruction of physical and system data;

- How data is protected;

- Data encryption software used;

- Use of laptops and electronic removable media;

- Details of person/s responsible for data security;

- Policies for unauthorised staff access or misuse of confidential/personal data;

- Policies for staff awareness and training of DPA;

- Physical security of premises.

- How research respondents will be made aware of all potential uses of their data.

- Project Management

The minimum requirements for client-related meetings are as follows:

- Project inception meeting

- Client update meetings in person with the consultant’s key project team, on a monthly basis as a minimum

- Fortnightly updates by telephone or email

- Draft final report review meeting

## Additional requirements are as follows, however consultants may wish to suggest additional meetings as part of their proposed programme of work:

- Site visits – 1 day

- Interim options review work shop – ½ day

- Final energy master planning presentation to the Client Project Board - ½ day

## The consultant’s project management approach should be consistent with Prince 2 or other recognised project management methodology and be clearly detailed and presented together with all key roles, responsibilities and hours allocated.

## A project highlight report, together with Risks and Issues Registers using the HNDU template must be provided to the Corby Borough Council at least monthly, a copy of which will also be provided to BEIS.

## The consultant’s approach to performance monitoring of the delivery of this scheme must be clearly presented within tender responses with a clearly defined approach to dealing with significant client dissatisfaction issues including:

- A named Project Director who will be the key contact for the receipt of client concerns/issues

- An escalation procedure

- Maximum Response time commitment

Corby Borough Council will be the first point of contact for key potential private and public sector customers of the scheme. Any planned communication with potential customers should, in the first instance, to be discussed and agreed with the Corby Borough Councils internal project manager.

- Invitation to Tender

When completed, please return two hard copies and a copy electronically saved on a CD of the response document (Document Four) to:

Democratic Services Manager

Corby Borough Council

Democratic Services Department

Corby Cube

Parklands Gateway

George Street

Corby, Northamptonshire

NN17 1QG

To arrive by no later than noon on the 27th October 2017.

Please note that no other identifying mark should appear on the envelope. Failure to observe this will mean the tender will be disqualified.

- Contacts

In the event of any queries or requests for further information arising from this tender, please contact:

Charlotte Milligan-Everett (Policy & Strategy Officer)

charlotte.milligan-everett@corby.gov.uk

Note that the Council cannot accept the return of completed tender responses by e-mail.

If the Council considers any question or request for clarification to be of material significance, both the query and the response will be communicated, in a suitably anonymous form, to all service providers / suppliers who have responded.