## Sheet1
CLARIFICATION LOG
Tender: | Penzance Dry Dock Air Ring Main
Tender Reference: | BUS003_0081_4.2
Published Date: | 2024-11-13
Version number: | 0.2
Number | Clarification | Response | Reply date
1. Building Size:
| Could you provide the dimensions of the building where the installation will take place? | Approx 65m x 20m | 2024-11-29
2. Building Location:
| Can you confirm the specific location of the building within the site outline? | it’s the entire workshop area as detailed. | 2024-11-29
3. Pipework Installation:
| Will the pipework be installed at a high level? | Yes. 7.5M high. We will provide all lifting equipment and working platforms | 2024-11-29
| 4. Connection Points: | Yes. In the region of… | 2024-11-29
Is there a total of 60 connection points required for the system?
Clarifications will be published against the Contract Notice on Contracts Finder.
If interested in tendering for this project please ensure you add a "watch this notice" for alerts as from time to time additional information or clarifications may be published related to this tender.
It will be the responsibility of Bidders to ensure they are aware of all published clarifications and ensure that their bid has taken these into account.
In the event of any queries please contact: jackie.george@linkedsolutionsmarine.com