## Schedule of Works
0
0
0
0
0
0
| CITY COLLEGE PLYMOUTH |  |  |  | 0
| KINGS ROAD |  |  |  | 0
| PLYMOUTH |  |  |  | 0
| PL1 5QG |  |  |  | 0
0
0
| PROJECT DETAILS: |  |  |  | 0
| STEM RS324 Project Room |  |  |  | 0
0
0
|  | Qty | Item | Rate | £ p
0
| This specification is to be priced in conjunction with drawing: CCP-GP-ST3-01 |  |  |  | 0
0
| PROJECT REQUIREMENTS |  |  |  | 0
NOTES
Allow for all works associated with working on 3rd floor of STEM Building to include carrying all materials and waste disposal.
| BENCHING WORKS |  |  |  | 0
1 | Supply and fit new 2 runs of white square edge worktop @950mm high. Depth to be 750mm, as indicated on drawing. Allow for supports and joining trims and support battens. |  |  |  | 0
| DECORATION WORKS |  |  |  | 0
1 | Paint walls with Crown Eggshell. Colour to be white. |  |  |  | 0
2 | Paint existing woodwork, with Dark Grey undercoat & top coat of Satinwood RAL 7016. |  |  |  | 0
NOTES | Allow to remove all pictures, pin boards, wipe boards, notice boards, transfers, stickers and flyers and set aside and allow to refit. Allow for all preparation works to include filling any holes, sanding, filling, fire stopping, chalking. Do not allow for painting of radiators, pipes, doors or windows.
| FLOORING WORKS |  |  |  | 0
1 | Allow to supply and fit Altro Walkway flooring 44m2. Allow to uplift existing and dispose,and for all floor preparation to include trims and welding. |  |  |  | 0
| MECHANICAL & ELECTRICAL WORKS |  |  |  | 0
1 | Relocate existing media screen to include mains socket and data connection and suitable support pattress. Also relocate or provide new power and data for teaching computer. Allow for certification for data and power. |  |  |  | 0
2 | Allow to supply and fit new new twin compartment trunking with 10nr double sockets and 3nr double data points as indicated on drawing. Allow for certification for data and power.
3 | Allow to supply and fit new new twin compartment trunking to include altering existing trunking with 6nr double sockets and 4nr double data points. Allow for certification for data and power.
0
4 | Allow to supply and fit new ceiling hung 1nr double socket fitted in 2 locations positioned over metal benches supplied by others. Allow for certification for power.
5 | Relocate existing radiator. Allow to drain down and refill system, to include pipework, fittings, brackets etc.
0
| SUB TOTAL |  |  |  | 0
| VAT @ 20% |  |  |  | 0
| TOTAL PROJECT COST |  |  |  | 0