Specification

Refurbishment and redesign of toilets and showers at The Wharf

Contract Reference:

Date: 04/01/18

Version: 2

## Contents

Contents	2

1. Introduction	3

2. Background to the Requirement	3

3. Procurement Timetable	3

4. Scope	4

5. Pricing this tender	4

6. Specifying Goods	5

7. Management and Contract Administration	6

8. Security	6

9. Documentation	6

10. Arrangement for End of Contract	6

11. Evaluation Criteria	7

12. Points of Contact	8

Annex 1 – Evaluation criteria quality factors	8

Annex 2 – Layouts and approximate measurements	9

Annex 3 – DfT Short-Form Conditions of Contract	12

Annex 4 – Tender evaluation criteria	14

## 1. Introduction

The Rail Accident Investigation Branch (RAIB) was established to independently investigate accidents on the UK’s railway to improve safety and inform the industry and the public.

The RAIB invites proposals for the works described in Section 4 of this document.  This contract will be subject to the DfT Short-Form Conditions of Contract (Annex 3).

## 2. Background to the Requirement

The RAIB requires the toilets and shower/changing rooms at The Wharf in Derby to be refurbished and redesigned to accommodate the current staffing level.  The project is being split into four different lots to enable a phased refurbishment, with minimal disruption to the organisation.  All works are to be undertaken during normal office hours and to the agreed timescale.

Lot 1 is for the refurbishment of the 1st floor female and male toilets, Lot 2 is for the refurbishment of the female and male toilet on 2nd floor, Lot 3 is for the refurbishment of the showers on the ground floor and Lot 4 is for the refurbishment of the female, male and accessible toilet on the ground floor.

## 3. Procurement Timetable

| Description | Date |
| --- | --- |
| Start of tender | 05/01/18 |
| Close of tender | 19/01/18 at 16:00 |
| Tender evaluation | 24/01/18 |
| Contract award | 26/01/18 |
| Lot 1 completion | 23/03/18 |
| Lot 2 | dates to be agreed |
| Lot 3 | dates to be agreed |
| Lot 4 | dates to be agreed |
| Contract end | 22/03/19 |

## 4. Scope

The overall scope of the works is described below:

- Strip out and removal from site of all the existing WC’s, cubicles and shower rooms

- Strip out and removal from site of all ceiling tiles, wall tiles, floor tiles, wall panelling and doors

- Supply and install all new sanitary ware

- Supply and install a water efficient toilet system with concealed cistern

- Supply and install all new cubicles, partitions and doors colour tbc

- Supply and install accessible toilet compliant with the specification set out in BS8300. Some variations may be necessary but these must be agreed with RAIB in advance.

- Supply and install new ironmongery to all doorsets to match, including, but not exclusively, kickplates, pushplates, pull handles, door closers.

- Supply and install female/male/accessible WC signage, Euro profile lock and thumb-turn and Escutcheons

- Supply and install easy care non slip floor covering appropriate for each area

- Supply and install new lighting and hand dryers

- Supply and install new showers fed from mains water supply if suitable

- Supply and install wall covering appropriate for each area

- Every sanitary appliance is to have its own ‘ball ‘o’ fix’ isolation valve directly before it on both hot and cold feeds as applicable

- All hot and cold pipe work is to run in copper tubing with soldered and compression fitting connections where applicable. Stainless steel braded flexible tap connectors may be used to make the final connection between appliance and pipe system. Push fit, plastic pipes, crimped connections and alike will not be permitted.

The required layout and measurements are shown in Annex 2.  Measurements are approximate, but can be considered accurate to +/-50mm. To confirm absolute accuracy a site visit may be required.

## 5. Pricing this tender

The pricing structure should be as follows;

- Individually listing cost and specification of main components including ceiling system, lighting system, toilets, cubicles, partitions, urinals, basin, taps, radiators and hand dryers.

- Total cost for all other materials ,e.g. cables and pipework

- Applicants should submit a base bid for each lot, using mid-range sanitary ware/equipment (unless otherwise specified in section 6). Applicants are welcome to offer priced alternatives as options and RAIB may choose to exercise one or more of those options.

- Labour costs.

- Identify additional savings if multiple lots are run simultaneously, or consecutively, whilst still leaving sufficient facilities available for use.

- All prices are to be exclusive of VAT

## 6. Specifying Goods

For Lots 1, 2 and 4 the RAIB require plumbing and sanitary works for the refurbishment of the male, female and accessible toilets over the 3 floors at The Wharf, Derby.

Toilet refurbishment to include:

- Supply and fit a suitable demountable suspended ceiling design compliant with BS/EN-13501-2 2016 including new support system if required

- Supply and fit low energy lighting with presence control compliant with current legislation

- Supply and fit suitable wall coverings to match or complement the colours and design in matching or complementary colours and design

- Supply and install waterless urinal to all gents toilets (Stream Hygiene - Streamless urinal system)

- Supply and fit new radiators suitable for the environment

- Supply and install porcelain sinks with eco flow mixer tap and vanity units to complement the colour and design of the facilities

- Supply and install a low energy Airblade style hand dryer

- Advise the RAIB contact of any items not listed but considered to be required

For lot 3 the RAIB require plumbing and sanitary works for the refurbishment of the male and female changing / shower rooms on the ground floor at The Wharf, Derby.

Changing/shower room’s refurbishment to include:

- Convert current showers from electric to mains fed with suitable mixer head

- Convert current shower cubicles into wet room with appropriate drainage system and door

- Supply appropriate drainage for 3 showers

- Supply and fit new radiators suitable for the environment

- Repair and recover walls in durable easy to maintain materials

- Supply and fit a suitable demountable suspended ceiling design compliant with BS/EN-13501-2 2016  including new support system if required

- Supply and fit low energy lighting with presence control compliant with current legislation

- Advise the RAIB contact of any items not listed but considered to be required

## Management and Contract Administration

The tender should include details of any milestone payment to be made, such as a provisional sum for the removal of current fixtures and fittings, a sum for the cost of the new fixtures and fittings.  On completion of works a retention of 2.5% of total value shall be withheld until all snagging works are completed and any issues resolved.

DfT is committed to removing barriers to SME participation in its contracts, and would like to also actively encourage its larger suppliers to make their sub-contacts accessible to smaller companies and implement SME-friendly policies in their supply-chains (see our website for further information).

To help us measure the volume of business we do with SMEs, our Form of Tender document asks about the size of your own organisation and those in your supply chain.

If you tell us you are likely to sub-contract to SMEs, and are awarded this contract, we will send you a short questionnaire asking for further information. This data will help us contribute towards Government targets on the use of SMEs. We may also publish success stories and examples of good practice on our website.

## 8. Safety and security

The Stores Road site is shared between the RAIB and a tenant who occupies the second floor.  The appointed contractor is expected to show consideration for all occupants of The Wharf while undertaking the works and minimise disruption in the car park and building at all times.

A full risk assessment and method statement is to be provided to RAIB prior to the commencement of each lot.

Safe and secure storage of all items is the responsibility of the contractor and all contractors and their employee will observe RAIB security policies and procedures.

The chosen contractor shall nominate a single point of contact who will be available to speak to the RAIB contact regarding any matters relating to the works, including safety and security.

## 9. Documentation

Annex 1 provides details of the evaluation criteria.

Annex 2 provide outline designs and approximate measurements (possible +/-50mm variance)

Annex 3 DfT Short-from conditions of contract

## 10. Arrangements for End of Contract

On completion of the project compete details of future maintenance and after care is to be supplied to RAIB contact and contractors. All areas are to be left clean and fully functional on completion of the works. All guarantees must be for a minimum of 12 months and are to be left for RAIB to register on completion of each lot.

## 11. Evaluation Criteria

Each lot will be evaluated individually and therefore each lot could be won by a different contractor. Multiple lots could be awarded to a single contractor.

Selection will be based on the evaluation criteria encompassing the most economically advantageous tender, which demonstrates a high degree of overall value for money, competence, credibility and ability to deliver. The initial assessment will be on quality and any tender scoring below 70% will be discounted and no financial assessment will take place.

This tender will be evaluated using the weightings set out at Annex 1 to obtain the optimal balance of quality and cost.

Quality Factors Scoring Methodology

The Quality Factors will be assessed against the criteria specified in Annex 1.

Tender Score Criteria

| Score | Definition of Score |
| --- | --- |
| 5 | The Tenderer demonstrates fully that they can meet the requirement as detailed in the Specification |
| 4 | Meets all requirements but with minor issues |
| 3 | Meets some requirements but with a few major gaps or issues |
| 2 | Meets some requirements; major concerns |
| 1 | Meets few requirements; serious concerns |
| 0 | The method of fulfilling the stated requirement is inadequate / not addressed |

Financial / Price Factors Scoring Methodology:

### Tendered / Lowest Price Methodology

A lowest Price Scoring Methodology will be used to evaluate all cost proposals for this requirement.  This methodology is based on the following principles:

Firstly, RAIB will establish the Lowest Price from the tender’s received. The mark of 100 will be allocated to the tenderer with the lowest price.  All other bids that arrive will be scored using the following formula:

(Lowest Price÷ Price Tendered) x 100

This quality of the submission will be assessed separately and cost and quality factors combined as described shown in Annex 1 to allow an overall score to be assigned.

## 12. Points of Contact

| Procurement Contact |  |  |
| --- | --- | --- |
|  | Name | Ian Stuart |
|  | Tel | 01332 253323 |
|  | e-mail | Ian.stuart@dft.gsi.gov.uk |
|  | Address |  |
| Project Lead |  |  |
|  | Name | Damian Dutton |

All queries/ questions should be sent to the procurement contact

## Annex 1 – Evaluation Criteria: Quality Factors

| Primary Criteria | Primary Criteria Weighting (%) | Sub-criteria weighting and description | Individual Sub -Criteria Weighting (%) |
| --- | --- | --- | --- |
| Company’s appropriate capabilities and quality of fixtures and fitting | 70 | Company’s experience in similar projects | 30 |
|  |  | Proposed methodology | 20 |
|  |  | Experience of proposed staff/team | 20 |
|  |  | Energy rating and economy of products | 15 |
|  |  | Quality and suitability of proposed products | 15 |
| Cost | 30 | Includes all material and labour costs | NA |
|  | Total = 100% |  |  |

.

## Annex 2 – Layouts and approximate measurements

## Annex 3 – DfT Short-Form Conditions of Contract

## Annex 4 – Tender evaluation criteria

Tender Assessment Stage 1 – Quality Element

Tenderer:

| Quality Criteria (Example only) Company’s experience of similar tasks Proposed methodology Experience of proposed team Energy rating and economy of products Quality and suitability of proposed products | ASPECT WEIGHTING (A) 30 20 20 15 15 | MARKS AWARDED (B) | WEIGHTED MARKS (C) (AxB=C) |
| --- | --- | --- | --- |
|  |  |  | Total score (possible 500) |

The total of the ‘Weighted Marks’ is then divided by five to give the Total Score (or Quality Assessment Mark).

Tender Score Criteria

| A B C D E F | CRITERIA Very high standard with no reservations at all about acceptability. High standard but falls just short of A. Good standard. Generally of a good standard but with some reservations. Basic compliance only. Fails to meet the minimum requirements (bid rejected) | MARKS 5 4 3 2 1 0 |
| --- | --- | --- |

Quality Evaluation Criteria and sub-criteria

- Company’s experience of similar projects

  - Has the provider completed similar projects in commercial environments?

  - Has the company undertaken similar works for government agencies?

- Proposed methodology

  - Proposed programme of works

  - Proposed safe system of works

  - Commitment to completion of task on time

- Qualification and experience of team undertaking the work

  - Involvement in similar work

  - Blend of experience of fitters

  - Evidence of qualifications of those assessing the works on completion

- Efficiency of products

  - Energy rating of proposed items

  - Efficiency rating for running costs of proposed products

- Quality and sustainability of products

  - Design quality of products

  - Ongoing maintenance and energy consumption where applicable.

Tender Assessment Stage 2 – Financial Element

Worked Example

Tender A	Tender Total		£12,000

Tender B	Tender Total		£10,000

Tender C	Tender Total		£13,000

Tender D	Tender Total		£15,000

Tenderer B is awarded 100

Lowest tender priceTender pricex 100=Financial Mark

Tender A

£10,000£12,000x 100=83

Tender B

£10,000£10,000x 100=100

Tender C

£10,000£13,000x 100=77

Tender D

£10,000£15,000x 100=67

Tender Assessment Stage 3 – Overall Tender Assessment

Worked example

In the example below 70% weighting has been given to quality and 30% to financial.

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |
| Tender | Quality Mark | 70% of (2) | Financial Mark | 30% of (4) | Aggregate (3) + (5) |
| A B C D | 90 80 100 90 | 63 56 70 63 | 83 100 77 67 | 25 30 23 20 | 88 86 93 83 |

C is successful