[image: image1.png]g .& 2
JE)
<

Maritime &
Coastguard
Agency




SPECIFICATION

FOR

DIESEL ENGINE POWER PACKS
MCA REFERENCE TCA 3/7/948 Part 2
The Maritime and Coastguard Agency (MCA) is an Executive Agency of the Department for Transport. The MCA is responsible throughout the UK for implementing and developing the UK Government's maritime safety and environmental protection policy. That includes co-ordinating Search and Rescue (SAR) at sea through Her Majesty’s Coastguard 24 hours a day, and checking that ships meet UK and international safety rules. The MCA work to prevent the loss of lives at the coast and at sea, to ensure that ships are safe, and to prevent coastal pollution: Safer Lives, Safer Ships, Cleaner Seas
The MCA provide a full range of search and rescue, counter pollution, survey, inspection and enforcement activities and has 12 major business activities: 

	· Survey
	· Seafarers Services

	· Inspection
	· Search & Rescue

	· Enforcement
	· Pollution Response & Salvage

	· Ship Registration
	· Stakeholder Communication

	· Navigation Services
	· Ministerial Services

	· Strategic Prevention Design/Development
	· Regulatory Process


These activities are supported by support services responsible for providing a range of administrative functions including; infrastructure, MCA people, financial management & administration and corporate management.

In accordance with the Equality Act 2010, in our capacity as a public body we have a statutory duty to eliminate unlawful discrimination, promote equality of opportunity and promote good race relations between people of different groups.  Contractors will be expected to ensure that the service they provide promotes good relations between the MCA and its customers and does not directly or indirectly discriminate on the grounds of race in accordance with both the Act and the Duty.
You are invited to submit a tender for the following project: 

General Requirement

1.
The MCA wishes to purchase two Diesel Engine Power Packs.  

2.
The Power Packs will be used, in the event of a marine oil spill, by the MCA’s contracted oil spill responders to drive large oil recovery and containment equipment such as large skimmers and recovery pumps, sometimes simultaneously, and boom reels. 

3.
The Power Packs must be have a capacity of at least 50kw, hydraulic flow from 0-160 litres per minute and a max hydraulic pressure of 210 BAR.

4.
The Power Packs must feature dual control valves, flow control valves and the following connections:
I. 1 x ¾ connection inch ISO fittings

II. 2 x ½ connection ISO fittings

III. 1 x 3/8 connection ISO fittings

5.
The power packs must be suitable for use in potentially hazardous environments and have appropriate safeguards available/included. The systems must be suitable for use in marine environments, adverse weather and a range of temperatures, i.e. on the deck of a ship or on a dockside, and must be appropriately enclosed to protect from the elements.
6.
It would be our preference that the power packs feature an integrated air blower capacity (for the inflation of oil containment booms) with a capacity of 12psi 1 bar and an air flow 27m3/h.

Storage and Distribution

7.
For ease of storage we would like the complete systems to be housed as a single package on a skid with forklift pockets and lifting slings.

8.
The Tenderer shall fully recommend how the proposed equipment is to be stored, including suitable environmental conditions.

Guarantee
9.
We regard warranties as an important component of achieving overall best value for money.  Full details of your warranty on the tendered equipment is required including the period of cover.  Please also explain if in-house maintenance affects your warranty terms.

Technical Support

10.
The MCA may require technical support for the tendered equipment by telephone throughout the life of the equipment.  Tenderers shall detail what technical support and back up they are able to provide, including standard and emergency response times, and detail whether there is a cost for this service.  
Maintenance
11.
The maintenance of this equipment will be carried out in house.  For this purpose the Tenderer should provide an operating manual in common electronic format, including maintenance requirements.

12.
The MCA will require details and expected life of all major components and consumables for the Power Packs. Any spare parts or ancillaries not already included in the price of each unit should be identified in the pricing schedule. Recommendations of what spare parts or ancillaries should be held in our stock would be appreciated.
Delivery
13.
The MCA has counter pollution equipment and stockpiles at Barnsley, Bristol and Dundee.  However, the price for this tender should be for delivery costs to Barnsley.
14.

Suppliers should state in their Tender their lead time for delivery of the equipment to Barnsley.  Delivery on or before 31st March 2017 is essential.

Payment

15.
Payment shall be made upon delivery of the goods to Barnsley in accordance with the ‘General Conditions of Contract for the Supply of Goods and Associated Services’, and subject to the receipt of a valid and correctly submitted invoice.  The MCA pays undisputed invoices 30 days in arrears.


Contractors should note that the MCA has migrated its invoicing activity to the DfT Shared Service Centre (Swansea). Invoices should be sent to the address below and include a case reference number and transaction account code (to be assigned by the Agency). Invoices also need to detail the purchase order number issued by the MCA and a full description of items provided:

DfT Shared Service Centre 

Arvato Bertelsmann

Sandringham Park,

Swansea Vale, 

Swansea, Wales,

SA7 0EA
Submission of Tenders

16.
Tenders must be submitted by the deadline date stated in the Invitation to Tender letter, and in accordance with the Instructions to Tenderers.  The MCA reserves the right not to consider any tender that is late or otherwise not in accordance with the Instructions to Tenderers. Tenderers must include as part of their bids:
a. 
The MCA’s Form of Tender, signed and dated by an authorised representative of the tendering organisation;
b.
Lead time for delivery of the equipment to Barnsley

c.  
 A full system specification for the Diesel Engine Power Packs, including all major critical parts and assemblies, and a complete comprehensive method statement detailing how the system operates.  Tenderers are asked to take the time to answer these questions in the same order as listed here, rather than simply submitting printed literature.  The Tenderer is requested to provide details on the following:

I. The capacity of the unit;
II. Hydraulic systems in-built for supplying various flow rates including pressure and return coupling sizes and types;
III. Suitability for operation in potentially hazardous environments and safeguards available/included;
IV. Electric start
V. Overall length approx. 2m
VI. Overall width up to approx.1m
VII. Overall height approx.1.25m
VIII. Overall weight approx. empty 1040kg, full 1200kg
IX. Noise levels at 1 metre, 5 metres and 10 metres. Operators should be able to work within the immediate vicinity of the power pack, using ear defenders, for prolonged periods in some comfort and without sustaining hearing damage.
X. Product ISO,EN, BS or equivalent certification
XI. Operational life of the system with a minimum lifespan of 10 years
XII. A recommendation of how the proposed equipment is to be stored, including suitable environmental conditions;
XIII. A description of the forklift pockets, rope holds and other lifting or moving mechanisms;
XIV. Warranty on the tendered equipment and whether in-house maintenance affects the warranty terms;
XV. Schedules of when and what maintenance will be required for the equipment, and an operating manual;
XVI. Expected life of all major components and consumables/spare parts, with recommendations of what should be held in our stock;
XVII. Lead time for delivery of the system to Barnsley.
XVIII. Covers made of marine grade material

17.
Although Tenderers may have all this information available on the internet or on printed literature, in order to assist the MCA with the evaluation process it is essential that the responses to the above questions could be provided in the order set out above.

18.
The Tenderer should submit their completed Pricing Schedule, providing separate quotes for:

· Diesel Engine Power Packs x 2

· Ancilliaries/spare parts
· Delivery to Barnsley

· Technical support

 Sustainability

19
The MCA is committed to sustainable procurement.  This means making the necessary decisions to protect our environment and to operate its procurement activity in an economically, socially and environmentally responsible way.  Tenderers should indicate ways in which their organisation promotes and practices sustainable development and how this can impact on this contract. 


Consideration should be taken to account for the following areas;

· Origin and recycled/recyclable content of materials 

· Tenderers should detail the quantities used and recycled content of the product. 

· Recyclability of product once it has reached its end of life. 

· Type of paints and coverings used. 
· Transport mode selected for freight 

· Tenderers should detail options to identify and promote measures to reduce emissions during transport of goods. Including rail freight or low emission/fuel efficient heavy goods vehicles 

More information on the environmental consideration can be found at: 

https://www.gov.uk/government/policies/making-sustainable-development-a-part-of-all-government-policy-and-operations
https://www.gov.uk/government/collections/sustainable-procurement-the-government-buying-standards-gbs
 Selection Process

Evaluation Criteria

Quality Score represents 60% of Total Scores
Weightings
Compliance with the Technical Requirement
60
Ease of Operation
25
Warranties & Technical Support
5
Delivery Timeframe
5
Sustainability
5
Quality Points

5 - Proposal fully meets the requirement

4 - Proposal fulfils the requirement but with minor omissions

3 - Proposal covers only the basic requirement

2 - Proposal falls short of fulfilling the requirement

1 - Proposal inadequate  

0 - Requirements not addressed

Each Bidder’s Quality Score

Quality Score =   _____________________________  x Weightings

Highest Quality Score Possible for the Criterion
Price:

Price Score represents 40% of Total Scores
Weightings

System including Warranty

80
Technical Support

10


Delivery cost

10
                                Lowest Bid Cost 

Cost Score =  _______________________  x Weightings

                               Each Bidder’s Cost

TOTAL SCORE = Total Quality Score + Total Cost Score
THE MCA INTENDS TO AWARD THE CONTRACT TO THE HIGHEST SCORING TENDERER
