
[image: image1.jpg]Northamptonshire Healthcare NHS

NHS Foundation Trust




SPECIFICATION & SCHEDULE OF WORKS

FIRE COMPARTMENTATION
REMEDIAL WORKS

TRUSTWIDE PROPERTIES

Northamptonshire Healthcare

NHS Foundation Trust

St Mary’s Hospital

London Road

Kettering

Northants

NN15 7PW

SECTION A: PRELIMINARIES

A.1.01
Scope of Works: 

The scope of works comprises carrying out the recommended remedial actions identified in the enclosed Oakleaf Fire Compartmentation surveys together with barrier fire resistance period in minutes.
A.1.02
The Site of the Works :


Various Trustwide properties as per summary of tender.
A.1.03
Site Visit:


The contractor is advised to visit and inspect the sites prior to submitting a tender.

A.1.04
Appointment to View:


Geoff Dawson


Tel 01604 678067

Capital Projects Manager

Mob 07713 077107

A.1.05
Permit to Work:


The contractor must comply with the Estates Department Control of Contractors Procedure, ED2.
A.1.06
Evaluation Criteria and Weightings:


There are specific requirements which are Pass/Fail. These are:

a)  that the prospective supplier acknowledges and accepts the Trust’s ‘Procedure for the Control of Contractors’ should they be appointed to fulfil the requirements of the contract

b) That the prospective supplier confirms that the work will be be FIRAS or BRE / LPCB certified upon completion.
c) That the prospective supplier accepts the NHS Terms & Conditions of Contract for the Supply of Services
Subsequent evaluation of all suppliers that have passed on the above points will be based on cost. Therefore, the cost criterion carries 100% weighting, and the lowest cost will be awarded the contract.
SECTION B: SCHEDULE OF WORKS

B.1.01 
Remedial works: Supply and install all Fire Resisting (FR) materials where recommended including FR batts, FR mastic, FR collars, intumescent strips and cold smoke seals etc. 

Carry out all minor building works and adjust doors etc. where recommended.
B.1.02
Certification: The works shall be FIRAS or BRE / LPCB certified upon completion.
B.1.03
Contingency sum: Allow a contingency sum of £10,000.00.

