## Sheet1
Scitech House Mill Lane Godalming Surrey GU7 1EY www.scitech.com
Ref | Description | Unit | Rate | Total
MOD2 Building
| Preliminary and General items |  |  | 0
1.1 | Allow for Supervision of the works |  |  | 0
1.2 | Allow for the management of Health and Safety |  |  | 0
1.3 | Allow for temporary hoarding and protection as necessary |  |  | 0
1.4 | Allow for skips and rubbish removal |  |  | 0
1.5 | Allow for CAD of as-built architectural, mechanical, electrical and data drawings. |  |  | 0
General
Reference drawings
30687-AR-DR-1001,1201,1301,1401,1501,3001,3002, 3011
30687-AR-SP-0001
Builders Work including demolition
MOD2 Disinvestment works
2.1 | Remove and dispose vinyl faced plasterboard from external walls |  |  | 0
2.2 | Remove and dispose vinyl faced plasterboard from both sides of office wall |  |  | 0
2.3 | Remove and dispose existing floor carpet tiles |  |  | 0
2.4 | Remove and dispose external door DEX1 |  |  | 0
2.5 | Remove and dispose windows W01 – W12 inclusive |  |  | 0
2.6 | Remove and dispose of internal vision panel |  |  | 0
2.7 | Remove and disposed area of OSB floor from new intake room as shown on Melliss drawing i-M6663-01 |  |  | 0
Structural Works
3.1 | Install galvanised cold rolled floor beams as shown on Melliss drawing i-M6663-01 |  |  | 0
3.2 | Install 18mm WBP plywood floor to intake room as shown on Melliss drawing i-M6663-01 |  |  | 0
Builders Work
4.1 | Fit replacement door and frame DEX1 available from Relocatable Building Systems Unit 25 Hilton Industrial Estate Sutton Lane Hilton Derbyshire DE65 5FE Tel: 01283 734900 Mob: 07956 060658 or similar approved |  |  | 0
4.2 | Mastic bond and rivet new Plastisol coated steel sheet externally to cover removed split coil fan units |  |  | 0
4.3 | Install windows W01 – W07 and W12 available from Premier Installations Unit C The Old Diary, Manor Road, Marston Trading Estate, Frome, BA11 4BN. Or similar approved |  |  | 0
4.4 | Remove windows W8 to W11 and dispose off of site. Remove the complete steel Plastisol covered sheet and replace with a new steel sheet. Insulate the wall and internally and clad as described elsewhere |  |  | 0
4.5 | Cut holes in external walls for MHVR air intakes and extracts |  |  | 0
4.6 | External walls to have: 1 no. layer 12mm WBP plywood and new 12mm square edge vinyl coated duplex plasterboard over |  |  | 0
4.7 | White UPVC Joint cover strips to match existing |  |  | 0
4.8 | UPVC Skirting/architrave/coving to match existing |  |  | 0
4.9 | Window voids to be full filled with PIR insulation. |  |  | 0
4.10 | Internal walls: 12mm plywood to the control room side. |  |  | 0
4.11 | 12mm square edge vinyl coated plasterboard to control room side to match existing |  |  | 0
4.12 | Full fill Rockwool sound deadening quilt |  |  | 0
4.13 | White UPVC Joint cover strips to match existing |  |  | 0
4.14 | UPVC Skirting/architrave/coving to match existing |  |  | 0
4.15 | Where existing electrical and mechanical building services are removed fixing holes are to be filled and made good |  |  | 0
4.16 | Ceiling to have 2 no. coats white Dulux Trade Satinwood |  |  | 0
4.17 | Control room to have Forbo Structure 2 Linear 50x50cm carpet tiles fitted |  |  | 0
4.18 | Intake room to have Forbo Surestep Original R10 fully welded vinyl floor fitted |  |  | 0
External works
5.1 | Provide new external reinforced concrete slab for AHU’s as shown on Melliss drawing i-M6663-01 |  |  | 0
5.2 | Provide new galvanised 1.8m high chain link fence and gate around concrete base |  |  | 0
Mechanical Works
Reference Drawings/Documents
30687-BS-DR-1001 & 5001
30687-BS-SC-0001 to 0004 for equipment schedules
30687-BS-DR-1101
30687-BS-SP-0001 to 0005
6.1 | Install new external Heat Pumps on concrete pad in secure compound |  |  | 0
6.2 | Install new HRVU in the Intake Room. Level unit by means of adjustable feet. |  |  | 0
6.3 | Supply and install ductwork flexible connections at HRVU. |  |  | 0
6.4 | Fit condensate traps as supplied with unit and supply and install condensate drain lines pipe to exterior. |  |  | 0
6.5 | Supply & install all ductwork complete with fixing/supports. |  |  | 0
6.6 | Supply & install volume control dampers & access doors. |  |  | 0
6.7 | Supply & install grilles and diffusers. |  |  | 0
6.8 | Supply & install inlet and extract louvres through external wall |  |  | 0
6.9 | Supply & install electric heater in fresh air inlet duct. |  |  | 0
6.10 | Supply and install electronic controller on wall. Supply & install duct temperature probe in fresh air inlet |  |  | 0
6.11 | Supply & install all ductwork insulation to supply air, return air, fresh air inlet |  |  | 0
6.12 | Supply & install complete VRF system as outlined on Schedule 30687-BS-SC-0005 |  |  | 0
6.13 | Commission MOD2 Control room |  |  | 0
Electrical Works
Reference Drawings/Documents
3067-EL-DR-1001 3067-EL-DR-1002
30687-EL-SP-0001
7.1 | Allow for temporary electrical board lighting and 110Volt small power system |  |  | 0
7.2 | Allow for attendance on ADT clients direct employed Fire alarm installer |  |  | 0
7.3 | Allow for attendance on Front Line Clients direct employed Access Control and CCTV contractor. |  |  | 0
7.4 | A New Submains Cable will be installed by others from the East Feeder Pillar including a new DB located within the Intake Room. |  |  | 0
7.5 | Installation of new Dado trunking system |  |  | 0
7.6 | Installation of New UPS System requiring new distribution board for out going sockets. |  |  | 0
7.7 | Install of small power and data systems as indicated on drawings |  |  | 0
7.8 | Cat 5 data cabling from data points to new rack in the intake room (rack supplied by the Employer) |  |  | 0
7.9 | Take delivery of the following equipment supplied free issue by the employer, collect from store unpack dispose of wrapping and install as follows |  |  | 0
7.10 | Three 55inch monitors fixed to the control room walls as indicated on drawings including power and data supplies |  |  | 0
7.11 | One 42inch permit screen fixed to the control room wall including power and data supplies. |  |  | 0
7.12 | Four sit stand control room desks each desk with three 27 inch monitors including power and data supplies taking note of the cable management. |  |  | 0
7.13 | Control panels as indicated on the drawings including connection cabling and CAT5 data cabling (fibre cables will be supplied and terminated by the employer's in house team) |  |  | 0
7.14 | RTK life safety alarm panels with 100 pairs of 1.5mm signal cables |  |  | 0
7.15 | Interconnection of 118 pairs between the RTK panel and the PLC Panel |  |  | 0
7.16 | Interconnection of 5 Pairs between UPS and the PLC Panel for status indication |  |  | 0
7.17 | Interconnection of 4 Pairs between Wall Beacon and the PLC Panel for status indication |  |  | 0
7.18 | Honeywell Viglion Panel mounting and power supply (fibre connection by others) |  |  | 0
7.19 | Interconnecting cables from all mechanical installations |  |  | 0
| Sub Total MOD2 Control Room |  |  | 0
Plowright Building
Preliminary and General items
8.1 | Allow for Supervision of the works |  |  | 0
8.2 | Allow for the management of Health and Safety |  |  | 0
8.3 | Allow for temporary hoarding and protection as necessary |  |  | 0
8.4 | Allow for skips and rubbish removal |  |  | 0
8.5 | Allow for CAD of as-built architectural, mechanical, electrical and data drawings. |  |  | 0
General
Reference Drawings/Documents
3067-AR-DR 1002,1202,1302,1402,1502,300,3007,4001
30687-AR-SP-0001
9.1 | Initial Control Room extension works to be carried out when MOD2 works are at an advanced stage |  |  | 0
9.2 | Return to site after MOD2 Control Room has been operating for a period to complete removal of the partion wall and fit-out works for the enlarged control room. |  |  | 0
Builders Work including demolition
| Plowright Disinvestment works |  |  | 0
10.1 | Remove existing office furniture and storage and store/relocate on site |  |  | 0
10.2 | Remove and dispose ceiling and grid affected by works |  |  | 0
10.3 | Remove and dispose of stud partition wall to underside of concrete soffit |  |  | 0
10.4 | Remove office carpet – keep best tiles to refit administration GW01 area upon completion of control room walls |  |  | 0
10.5 | Existing control room services to be protected for duration of works |  |  | 0
Structural Works
11.1 | Install steel frame as shown on Melliss drawing i-M6663-01 |  |  | 0
11.2 | Decorate steel frame as detailed in architectural specification |  |  | 0
Builders Work
12.1 | Construct new stud partition wall to underside of soffit – plasterboard to be scribed around services in ceiling void |  |  | 0
12.2 | Skirting and architrave to match existing |  |  | 0
12.3 | Install Komfort Polar 35 glazed partition system – obscure panels to be provided by means of applied film |  |  | 0
12.4 | Existing and new walls to have 2 no. coats emulsion from the Dulux Dimensions range – see architectural specification |  |  | 0
12.5 | Install new Ecophon Focus DG suspended ceiling grid and tiles to match existing |  |  | 0
12.6 | Make good/amend existing suspended ceiling locally adjacent to extended control room |  |  | 0
12.7 | Control room to have Forbo Struktur 2 Linear 50x50cm carpet tiles fitted |  |  | 0
12.8 | Existing administration GW01 area carpet tiles to be re-laid to suit new control room walls |  |  | 0
12.9 | Fabricate and install metal protection system to obsure lower panes of North wall glazing systyem to match existing control room |  |  | 0
Mechanical Work
Reference Drawings/Documents
30687-BS-DR-1002 & 5004
13.1 | Remove and clean all return air grilles. |  |  | 0
13.2 | Support retained ceiling cassettes. |  |  | 0
13.3 | Clean units and fit with new air filters |  |  | 0
13.4 | Relocate diffuser to provide fresh air into control room. Extend duct if required or provide extended flexible ducting. |  |  | 0
13.5 | Reposition extract grilles in new locations. |  |  | 0
13.6 | Re-install cassettes in new ceiling. |  |  | 0
13.7 | Commission and Plowright Control rooms |  |  | 0
Electrical Work
Reference Drawings/Documents
30687-EL-DR-1503,1504,1003,1004
30687-EL-SP-0001
14.1 | Allow for temporary electrical board lighting and 110Volt small power system |  |  | 0
14.2 | Allow for attendance on ADT clients direct employed Fire alarm installer |  |  | 0
14.3 | Allow for attendance on Front Line Clients direct employed Access Control and CCTV contractor. |  |  | 0
14.4 | Removal of all Electrical accessories & Data from area as shown in the drawing. |  |  | 0
14.5 | Removal of lighting |  |  | 0
14.6 | Removal of IT from Dado |  |  | 0
14.7 | Installation of New UPS System requiring new distribution board for out going sockets. |  |  | 0
14.8 | Install of small power and data systems as indicated on drawings |  |  | 0
14.9 | Cat 5 data cabling from data points to new rack in the control room room (rack supplied by the Employer) |  |  | 0
14.10 | Take delivery of the following equipment supplied free issue by the employer, collect from store unpack dispose of wrapping and install as follows |  |  | 0
14.11 | Three 55inch monitors fixed to the control room walls as indicated on drawings including power and data supplies. |  |  | 0
14.12 | One 42inch permit screen fixed to the control room wall including power and data supplies. |  |  | 0
14.13 | Four sit stand control room desks each desk with three 27 inch monitors including power and data supplies taking note of the cable management. |  |  | 0
14.14 | Control panels as indicated on the drawings including connection cabling and CAT5 data cabling (fibre cables will be supplied and terminated by the employer's in-house team) |  |  | 0
14.15 | RTK life safety alarm panels with 100 pairs of 1.5mm signal cables to be connected to the three existing RTK panels |  |  | 0
14.16 | Final termination of 5 Pairs between UPS and the PLC Panel for status indication
14.17 | Final termination of 4 Pairs between Wall Beacon and the PLC Panel for status indication.
| Sub Total Plowright Control Room |  |  | 0
| Grand Total for the Project |  |  | 0