## Sheet1
9 FIR STREET, BURNLEY, BB10 4AL
Please note that the numbers in the left hand column relate to the specification where applicable. The specification should be used for guidance purposes, any similar or equal alternative will be considered. Any variation from the specification should be discussed with the technical officer on site unless otherwise stated in the schedule of works.
Contractors are advised to visit the site prior to submitting their price. Visits to be arranged with the Technical Officer
Contractors are required to supply a break-down of their price on the following sheet. Prices will not be accepted without a break-down.
Contractors are required to arrange for water mains to be connected with the necessary utility companies.
Please note that penalty clauses are now in place to prevent the contact running over the allocated time.
The properties are to be scaffolded front and back with suitably spaced lifts, fully boarded with necessary handrails, toe boards and access points. Where scaffolding is deemed to be unsafe or inappropriate for the required use, work will be stopped until the scaffolding is made safe at the expense of the main contractor.
Means of escape windows are to be fitted as shown on the drawings.
Contractors are advise to allow for thorough cleaning of the property on completion. If a suitable standard of cleaning is not achieved, an independent cleaning contractor will be appointed by the client at the main contractors expense
Contactors are advised that the project will be carried out under a JCT MINOR WORKS contract 2007 and as such liquidated damages are in place.
Item Number | Description | Estimated Cost
| ROOF | £
1.1.1 | Main roof - Carefully remove all slates and ridge tiles and store safely in preparation for re-use. Remove the existing battens and dispose of accordingly. Felt the roof using a high performance breather membrane roofing underlay secured with stainless steel staples or large headed galvanised clout nails. Re-fix pressure impregnated softwood tile / slate battens. Re-slate using original slate where possible. Second hand / replacement slates of the same size, gauge and colour are to be mixed with the existing slates. Re-bed the ridge tiles & re-point using a cement mortar (1:1:6). Scaffold must be erected to both sides of the roof and conform to all current health and safety standards.
Check the chimney and repair, replace and seal with a suitable sealant as necessary.
Recap chimney and fit cowl if necessary.
1.1.6 | Hack out and repoint the chimney.
1.1.4 | Build up fire stop walls in the loft where necessary; both sides.
Check the gutters are free of any blockages and that water can drain freely (front, rear & kitchen).
FRONT ELEVATION & GARDEN WALL
Remove satellite dish and alarm box.
2.1.2 | Rake out the joints to a depth 15 -20mm. Take care to avoid damaging the face of the stone when grinding out. Re-point the elevation; wash down the wall to remove any remaining dust / debris. Re-point using a 1:1:6 (cement, lime, sand) mix to a flush finish (pointing work to be carried out using the scaffolding).
2.1.5 | Replace the windows using UPVC frames in black (white inside). Allow for window linings. Fit escape windows to the first floor with suitable restrictors.
2.1.6.1 | Fit a new Composite door & casing with multi-point locking with 'black' effect finish (allow for linings).
3.1.5.1 | Remove all loose render from the yard walls and re-render with K-Rend; allow for all necessary angle / stop beads and bell-cast moulds.
Clean iron railing and gate to the front garden forcourt, ensure the gate closes and catches correctly and paint with 1 coat of primer and 2 coats of paint.
Remove any vegitation from the front garden forcourt and re-surface using concrete paving slabs.
REAR ELEVATION & KITCHEN ANNEX
2.1.1 | Sandblasting (First floor level upwards) - Rake out the joints to a depth 15 -20mm. Take care to avoid damaging the face of the stone when grinding out. Stone clean the elevation using a 'wet-blasting' method. Avoid the window. Allow for all necessary sheeting up / cleaning. (Sandblasting work to be carried out off the scaffolding). Inform all surrounding neighbours at least 24 hours prior to sandblasting.
2.1.2 | Re-point the elevation; wash down the wall to remove any remaining dust / debris. Re-point using a 1:1:6 (cement, lime, sand) mix to a flush finish (pointing work to be carried out using the scaffolding).
2.1.3 | Apply a minimum of 2 coats of silicone water seal to the wall. Ensure that all windows / doors etc. are protected and suitably cleaned after completion.
2.1.5 | Replace the windows using UPVC frames with a 'black' effect (white on the inside), allow for window linings. Fit escape window to the first floor with suitable restrictors.
2.1.5 | Replace the kitchen extension window using UPVC frames with a 'black' effect (white inside), allowing for window linings.
2.1.6.1 | Fit a new Composite door & casing with multi-point locking with 'black' effect finish (white inside, to match windows), allow for linings. (Rock door or similar)
REAR YARD
Remove / clear all rubbish, debris and vegetation and cart away.
Check if the water main to the property has been replaced and report back to the Technical Officer.
Check drains are to building standards and not blocked; clear if necessary and ensure water drains freely.
3.1.5.1 | Remove all loose render from the yard walls and re-render with K-Rend; allow for all necessary angle / stop beads and bell-cast moulds.
3.1.7 | Fit a good quality new yard gate and paint / stain / treat to match rear elevation windows and door.
Power wash yard floor surface.
GENERAL INTERNAL WORKS
4.0.0 | REMOVAL / DISPOSAL
4.0.1 | Ceilings throughout the property.
4.0.2 | Plaster from all walls throughout the property.
Remove the brick / stone built part of the breakfast bar seperating the rear lounge and kitchen. Make good the floor. (additional base units to be used to form a new breakfast bar.)
4.0.2 | Redundant plumbing throughout the property.
4.0.3 | Redundant electrics throughout the property.
4.0.4 | Previous insulation material.
4.1.1 | DPC
Provide a DPC to all ground floor walls (ALLOW FOR WATERPROOF RENDER / TANKING UP TO 1200MM BEFORE DRY LINING).
4.1.2 | Provide a full new electrical installation to the property. Allow for extractor fans to the kitchens and bathrooms, LED down lights in the kitchen ceiling; hard wired carbon monoxide detector, heat and smoke detectors where shown on the drawings. Allow for 1 security light with PIR sensor at the rear and separate switch within the property. All necessary certification to be provided on completion.
4.1.3 | Supply and fit a basic hard wired alarm system consisting of a minimum of key pad control, 2 X PIR's, door sensors to the front and rear doors and bell box to the external wall.
4.1.4 | Provide a new hot and cold water supply to the kitchen & bathroom.
4.1.4 | Provide a new heating system allowing for 1 radiator to each room (preferably located under the window; see drawings) and room thermostat (see spec for boiler; should have a minimum 5 year guarantee.)
4.1.8 | Render all walls with a scratch coat render prior to dry lining. Allow for waterproofing / salt resisting additives.
4.2.3 | All walls and ceilings are to be skimmed to a smooth finish.
4.2.7 / 4.2.8 | Replace the skirting's, architraves and plinth blocks throughout the property in wood.
4.2.9 | Fit new doors throughout the property complete with door furniture
4.3.0 | Provide door stops to all doors opening against internal walls.
4.3.7 | Decorate all walls and ceilings using brilliant white matt emulsion.
Woodwork to be finished in white gloss.
GROUND FLOOR FRONT
Check timber floor for rot and report back to the Technical Officer if there are any issues.
Vestibule - retain the existing vestibule (as per drawings) but replace the door with a new one with safety glazing in the top half (glazing must be to British Safety Standard).
4.1.8 / 4.1.9.4 / 4.2.3 | Dry-line the walls using insulated plasterboard (Thermaline Super 50mm) to the external walls, soundbloc boards to the party-walls and regular 12.5mm plasterboard to the internal walls. Skim to a smooth finish. Allow for the replacement / alteration of the window linings and sill boards as necessary.
4.2.1 / 4.2.3 | Counter batten and board the ceiling and skim to smooth finish.
4.3.8 | Construct a new meter cupboard with suitable catches and door handles as shown on the drawings.
4.2.7 / 4.2.8 | Replace all skirting and architraves.
4.2.9 | Open up the wall to create a door to the bottom of the stairs, fit a new internal door and casing.
Block off the current access under the stairs into the kitchen, using a stud partiotion wall.
4.3.0 | Fit a door stop.
GROUND FLOOR REAR (open plan with the kitchen)
4.1.8 / 4.1.9.4 / 4.2.3 | Dry-line the walls using insulated plasterboard (Thermaline Super 50mm) to the external walls, soundbloc boards to the party-walls and regular 12.5mm plasterboard to the internal walls. Skim to a smooth finish. Allow for the replacement / alteration of the window linings and sill boards as necessary.
4.1.7 | Remove the fire / surround, build up the fireplace opening and allow for suitable ventilation. Fit a low profile adjustable vent cover with opening and closing control (white)
4.2.1 / 4.2.3 | Counter batten and board the ceiling and skim to smooth finish.
Create an under stairs cupboard by using a stud partition wall and doorway. Remove the door and frame for the current storage area.
4.2.9 | Fit 2 x new internal doors and casings to stairs and under stairs cupboard.
4.2.7 / 4.2.8 | Replace all skirting and architraves (in wood).
4.3.0 | Fit door stops where necessary.
UNDERSTAIRS AREA
4.1.9.1 / 4.2.1 / 4.2.3 | Plasterboard under the stairs using fireboards, walls using 12.5mm boards to internal walls and soundbloc boards to the party-walls; skim to a smooth finish.
Remove the existing cupboard door and casing.
Fit a new door and casing on the stairs wall. Opening out into the rear lounge / dining area.
KITCHEN
4.1.8 / 4.1.9.4 / 4.2.3 | Dry-line the walls with regular 12.5mm plasterboard (External insulation) and skim to a smooth finish. Allow for the replacement / alteration of the window linings and sill boards as necessary.
4.2.1 / 4.2.3 | Take down the existing ceiling and replace, batten, plasterboard and skim to a smooth finish. Ensure insulation is installed above.
4.3.4 | Fit new kitchen units as shown on the drawing. Units to be 'Greenwich Gloss Dove grey with brushed steel handles and white or wood effect worktop', including a breakfast bar.
Allow for built in electric cooker and gas hob.
4.3.5 | Provide a minimum of 3 rows (300mm) of tiles to the rear of all work surfaces and behind the cooker position tile the area from the worktop to the extractor hood, seal tiles to worktop. Ensure all walls are sealed with 'Poly-bond' prior to applying adhesive. Allow for white brick effect tiles with grey grouting.
Install plumbing for washing machine.
Fit a extractor hood as shown on the drawings.(ducting to outside).
4.2.7 / 4.2.8 | Replace all skirting and architraves.
4.2.5 | Lay a self levelling LATEX floor screed to a smooth level finish in preparation for vinyl floor covering.
STAIRS & FIRST FLOOR LANDING (including stairs to bathroom)
Re-configure the bathroom and bedrooms as per drawings, in order to bring the bathroom down to the same floor level as the bedrooms.
4.2.1 / 4.2.3 | Take down the existing ceiling and replace, batten, plasterboard and skim to a smooth finish. Ensure insulation is installed above.
4.1.9.1 / 4.2.1 / 4.2.3 | Plasterboard the walls using 12.5mm boards to internal walls and soundbloc boards to the party-walls; skim to a smooth finish.
4.3.1 | Handrails are to be fixed at an appropriate height of between 900mm -1000mm above the step nosing's.
4.3.2 / 4.3.3 | Remove any items / rubbish in the loft. Renew the loft hatch and linings ( Relocate the loft hatch from the landing ceiling to a more suitable location (Bedroom). Install a minimum of 400mm of mineral wool insulation to the loft space.
FRONT BEDROOM
4.1.8 / 4.1.9.4 / 4.2.3 | Dry-line the walls using insulated plasterboard (Thermaline Super 50mm) to the external walls, soundbloc boards to the party-walls and regular 12.5mm plasterboard to the internal walls. Skim to a smooth finish. Allow for the replacement / alteration of the window linings and sill boards as necessary.
4.2.1 / 4.2.3 | Counter batten and board the ceiling and skim to smooth finish.
4.2.4 | Replace the floorboards where necessary.
Check the condition of the floor joists and boards and report back to the Technical Officer if necessary.
4.2.9 | Fit a new internal door and casings.
4.2.7 / 4.2.8 | Replace all skirting and architraves.
4.3.0 | Fit door stop.
REAR BEDROOM
4.1.8 / 4.1.9.4 / 4.2.3 | Dry-line the walls using insulated plasterboard (Thermaline Super 50mm ) to the external walls, soundbloc boards to the party-walls and regular 12.5mm plasterboard to the internal walls. Skim to a smooth finish. Allow for the replacement / alteration of the window linings and sill boards as necessary.
Plasterboard the partition between the bathroom and bedroom. Allow for installing sound insulation quilt between studs.
4.2.1 / 4.2.3 | Counter batten and board the ceiling and skim to smooth finish
4.2.4 | Replace the floorboards where necessary
Check the condition of the floor joists and boards and report back to the Technical Officer if necessary.
4.2.9 | Fit a new internal door and casings.
4.2.7 / 4.2.8 | Replace all skirting and architraves.
4.3.0 | Fit door stop.
BATHROOM
Re-configure the bathroom and bedrooms as per drawings, in order to bring the bathroom down to the same floor level as the bedrooms.
Remove the existing bathroom suite.
4.1.8 / 4.1.9.4 / 4.2.3 | Dry-line the walls using soundbloc boards to the party-walls and regular 12.5mm plasterboard to the internal walls. Skim to a smooth finish.
Plasterboard the partition between the bathroom and bedroom. Allow for installing sound insulation quilt between studs.
4.2.1 / 4.2.3 | Fix new 75mm X 25mm battens to the underside of the original ceiling, pack level where possible. Plasterboard the ceiling using 12.5mm plasterboard. Skim to smooth finish
4.2.4 | Replace the floorboards if necessary
4.1.4.1 | Install a new bathroom suite with shower over bath as shown on the drawings.
4.1.4.2 | Install a thermostatic mixer shower over the bath.
4.1.5 | Fit a hinged glass shower screen to the bath / wall ensuring a suitable seal along the edge of the bath.
4.3.6 | Provide approx. 12 sq. m of tiling (from bath to ceiling level & tiled splashback to the sink)
4.2.6 | Cover the existing floor with 6mm plywood in preparation for vinyl floor covering.
4.2.9 | Fit a new internal door and casing.
4.2.7 / 4.2.8 | Replace all skirting and architraves.
4.3.0 | Fit door stop.
Fit an extractor fan with condensation trap (to come on with the light and have a 15 min overrun), vented through the roof.
COMPLETION
Ensure all floorboards are securely fixed after being lifted.
Thoroughly clean the property before final handover.
Provide a completion pack containing the correct documentation for Gas / Electric / DPC and Window installations.
Return all keys from sub-contractors.