WITHAM TOWN COUNCIL SAFER STREETS CCTV EXPANSION PROJECT

SUPPLY & INSTALLATION OF 16 CCTV CAMERAS OVER 9 LOCATIONS IN WITHAM TO INTEGRATE INTO THE TOWN COUNCIL’S CURRENT SYSTEM. UPGRADE AND REPLACEMENT OF CURRENT CCTV SERVER.

INVITATION TO BID

Contents

SECTION 1 - INSTRUCTIONS TO BID .......................................................................................... 3
  1.1 - GENERAL INFORMATION AND INSTRUCTIONS ..................................................... 3
  1.2 - PROCUREMENT TIMETABLE ................................................................................ 3
  1.3 - CONFIDENTIALITY .................................................................................................. 3
  1.4 - DECLINE OR INABILITY TO RETURN ....................................................................... 3
  1.5 - BID QUERIES ......................................................................................................... 3
  1.6 - BID SUBMISSIONS ................................................................................................. 3
  1.7 - ACCEPTANCE PERIOD ........................................................................................... 4
  1.8 - SUFFICIENCY AND ACCURACY OF BIDS .................................................................. 4
  1.9 - INCURRED EXPENSES ............................................................................................. 4
  1.10 - PRICING .................................................................................................................. 4
  1.11 - PAYMENT ............................................................................................................... 4
  1.12 - CREDENTIALS .......................................................................................................... 4
  1.13 - PUBLICITY ................................................................................................................ 5
  1.14 - TRANSPARENCY AND CONFIDENTIALITY................................................................. 5
SECTION 2 - SPECIFICATION ....................................................................................................... 6
  2.1 - CAMERAS……........................................................................................................... 6
  2.2 - SERVER…………………………………….............................................................................. 9
SECTION 3 - GENERAL INFORMATION ....................................................................................... 9
  3.1 - SITE VISIT ............................................................................................................... 9
  3.2 - LOCATIONS............................................................................................................ 9
SECTION 4 - EVALUATION METHODOLOGY............................................................................. 15
SECTION 5 - AWARD CRITERIA ................................................................................................. 15
    TENDER SUBMISSION DOCUMENTS..…………………………..……………………………………. 16

SECTION 1 – INSTRUCTIONS TO BID
  1. GENERAL INFORMATION & INSTRUCTIONS
Witham Town Council is tendering for the procurement and installation of multiple quick-deploy cameras in various key areas in and around the town centre. The existing CCTV server located within the council offices requires upgrading with a modern enterprise-style equivalent. This unit currently captures the incoming video signals from the current town centre CCTV cameras.
  1. PROCUREMENT TIMETABLE

Bid issued	16/08/2023
Deadline for receipt of bid queries	23/08/2023
Deadline to respond to bid queries	29/08/2023
Bid return date	06/09/2023 MIDDAY
Notification of award	12/09/2023
Works completed and signed off by	29/09/2023

  1. CONFIDENTIALITY
    1. The Bidder shall treat the Bid Documentation as private and confidential.

    1. The Bidder shall not disclose details of the proposed Contract; their Bid in whole or in part prior to the award of the Contract by The Town Council or on receipt of notification that the Bid has not been accepted as the case may be, other than on an “in confidence” basis to those that have a legitimate need to know or whom they need to consult for the purpose of preparing the Bid.

  1. DECLINE OR INABILITY TO RETURN
    1. If for any reason the Bidder is unable to submit a Bid or wishes to decline to Bid, they should notify Town Clerk (Nikki Smith) - townclerk@witham.gov.uk

  1. BID QUERIES
    1. All queries regarding the Bid Documentation which may have a bearing on the offer to be made should be raised by the Bidder to The Town Clerk (Nikki Smith) - townclerk@witham.gov.uk, no later than 23rd August 2023.

  1. BID SUBMISSIONS
    1. The Town Council require electronic and hard copies of all Bids no later than midday on the 6th September 2023. Any Bids received after this time will be omitted from the evaluation stage.

    1. It is important to allow enough time to send The Town Council your Bid submission.

  1. ACCEPTANCE PERIOD
    1. The Bid will be deemed to remain open for acceptance or non-acceptance for not less than 3 calendar months from the bid closing date. The Town Council may accept the Bid at any time within this prescribed period. The Town Council shall, however, not be bound to accept the lowest or any Bid received.

  1. SUFFICIENCY AND ACCURACY OF BIDS
    1. Bidders will be deemed to have examined all the documents enclosed and by their own independent observations and enquiries will be held to have fully informed themselves as to all matters relating to the scope of the work to be carried out in their resulting bid submission.

    1. Bidders are reminded to check the accuracy of their Bid prior to submission thereof.

    1. If The Town Council suspects that there has been an error in the pricing of the Form of Bid and/or Schedule of Prices, the Council reserves the right to seek such clarification as it considers necessary for the Bidder only.

    1. The Town Council reserves the right to disqualify incomplete Bids or Bids that have not followed these Instructions to Bid.

    1. Bidders should familiarise themselves with all regulations, bylaws and all other factors that may affect their Bid.

  1. INCURRED EXPENSES
    1. The Town Council shall not be responsible for, or pay any losses or expenses which may be incurred by the Bidder in the preparation and submission of their Bid, including (but not limited to) the attendance at any pre or post-tender meetings, due diligence meetings, the delivery of any presentations by the Bidder to The Town Council in relation to their proposal, site visits or other negotiations.

    1. The Town Council will not accept claims for additional charges relating to the work delivered by the Bidder or the Contractor after acceptance of the Bid if, in the reasonable opinion of the Council, such additional charges should have been established by proper inspection of the Bid Documentation prior to bidding.

  1. PRICING
    1. Bidders should complete the enclosed Pricing Schedule noting the following:
1. The Bidder must submit costs for all items detailed on the Pricing Schedule. Failure to complete the Pricing Schedule fully may result in elimination of the Bid.
2. The currency in which all prices, costs or rates stated on the Form of Bid and / or Schedule of Prices must be quoted is Pounds Sterling and whole new pence (i.e. to 2 decimal places).
3. All prices quoted should be exclusive of Value Added Tax (VAT).
4. CCTV Budget- £70,500
  1. PAYMENT
    1. The Town Council’s standard payment terms are 30 days in arrears.
  1. CREDENTIALS
1.12.1 Please provide details from two recent contracts (within the last 3 years) that your organisation has undertaken which are relevant to Witham Town Council’s requirement.

Details should include the following:
The organisation’s name and contact details, including email, for reference.
- Details of the contract, explaining why the contract is relevant to Witham Town Council’s requirement, when and where the contract was performed, and whether the outcomes were successfully achieved.
- The contract value.

1.12.2 Please self-certify whether you already have, or can commit to obtaining, prior to the commencement of the contract, the levels of insurance cover indicated below:

Employer’s (Compulsory) Liability Insurance* = £ 5,000,000.00
Public Liability Insurance = £ 10,000,000.00
Professional Indemnity Insurance = £ 5,000,000

*It is a legal requirement that all companies hold Employer’s (Compulsory) Liability Insurance of £5 million as a minimum. Please note this requirement is not applicable to Sole Traders.

1.13	PUBLICITY
1.13.1 No publicity regarding the services or the award of any contract will be permitted unless and until The Town Council has given express written consent to the relevant communication. For example, no statements may be made to the media regarding the nature of any tender, its contents or any proposals relating to it without the prior written consent of The Town Council.

1.14 TRANSPARENCY AND CONFIDENTIALITY
1.14.1 As a public body, The Town Council is subject to the provisions of the Freedom of Information Act 2000 (“FOIA”) and Environmental Information Regulations 2004 (“EIR”) in respect of the information it holds (including third-party information). Any member of the public or other interested party may make a request for information.

The Council shall treat all Bidders’ responses as confidential during the procurement process. Requests for information received following the procurement process shall be considered on a case-by-case basis, applying the principles of the FOIA or the EIR.

While The Town Council aims to consult with third-party providers of information before it is disclosed, it cannot guarantee that this will be done.

Bidders should be aware that, in compliance with its transparency obligations, The Town Council routinely publishes details of its contract(s), including the contract values and the identities of its suppliers on its website.

SECTION 2 - SPECIFICATION
OVERVIEW

2.1	CCTV Cameras:

Witham Town Council are tendering for the procurement of multiple quick-deploy cameras to be installed in various key areas in and around the town centre. These units must be capable of connecting to lighting columns or physical structures and must be easily removable and deployed into new locations when required. Each module must be capable of recording images at a minimum of 2MP HD quality and retain these images at 25 frames per second for 31 days as per the Council’s Public CCTV Policy. The locations where the Council aims to introduce these modules are remote, and therefore 4G access is required in each unit to negate a council staff member attending each location when reviewing footage. The Council wishes to enter into a 36-month agreement on any 4G data contracts and these costs must be transparent within the tenderer’s final submission.

All electrical works are to be certified with electrical certificates supplied as part of the O and M.

The Town Council would like to see the following cameras installed at each location:

As lampposts are still being tested to ensure suitability for CCTV Cameras. Witham Town Council reserves the right to change the location of any cameras to similar lampposts within Witham if for safety reasons they are found to be unsuitable before installation.

2.2	Server

The existing CCTV server located within the Witham Town Council offices has recently experienced some failures and requires upgrading with a modern enterprise-style equivalent. This unit currently captures the incoming video signals from the town centre CCTV cameras. All images must be captured at 25 frames per second and be retained for 31 days as per our CCTV Policy. The existing CCTV server is manufactured by Flir and was originally provided with a three-year Dell warranty that is extendable to five years if required. The Council wishes to replace this unit with a like-for-like module if possible, therefore we would encourage bidders to provide solutions from the following manufacturers.
- Flir
- Avigilon
- Bosch

Once replaced the system must be connected to the relevant desktop PCs within the council offices as well as the smart tablets of the local Police force, therefore the relevant licenses must be added to allow for these remote connections.
SECTION 3 - GENERAL INFORMATION

3.1	Site Visits

It is strongly recommended that contractors visit the site before submitting their bid.

3.2	Location

Location One-
Highfields Road, CM8 1LH
The proposed location is streetlight (part night light – unit ID 189950) opposite Highfields Road.

Location Two-
Spa Road Shops Car Park, CM8 1NE
Y290

Location Three-
River Walk near Guithavon Valley Church (What3words- shuffles.animated.probing)
WTC47

Location Four-
River Walk Highfields Road (What3words- brief.thrashing.treating)
WTC51

Location Five-
River Walk by Luard Way/Bridge Street (What3words- explained.permit.outcasts)
WTC76

Location Six-
Maldon Road Park Toilets CM8 1HN
2 cameras outside the toilet
1 camera inside the toilet

Location Seven-
Blackwater Lane/Maldon Road Cm8 1HR
The proposed location is first streetlight (part night light – unit ID 189433) on the left from Blackwater Lane.

Location Eight-
Junction of Conrad Road/B1018 CM8 2QJ
The proposed location is first streetlight (part night light – unit ID 188503) on the left past Conrad Road (B1018).

Location Nine-
Cut Throat Lane CM8 2SZ
Camera 1.
The proposed location is the third streetlight (part night light – unit ID 188545) past the level crossing towards Motts Lane.

Camera 2.
The proposed location is the streetlight (part night light – unit ID 219915) by Hornbeam Walk on Cut Throat Lane.

Camera 3.
The proposed location is second streetlight (part night light – unit ID 188548) on the right coming from Motts Lane on Cut Throat Lane.

Server Location-
Town Hall, 61 Newland Street, Witham, Essex CM8 2FE

SECTION 4 - EVALUATION METHODOLOGY
Evaluation Criteria:
Quality	60% / Bidders’ submission meeting the specific brief requirements / Delivery of project – Programme of Work / Design & Specification / Assurance that the works can be completed within the given timescales
Price	25% / The Town Council do not need to accept the lowest bid, and will select the preferred provider based on value for money
After sales Care	5% / Ongoing maintenance and technical support / Aftersales support in how to use the equipment and troubleshoot issues
Warranty	5% / Clear identification of the warranties on the equipment / Longevity of equipment
Added Value	5% / Any information The Town Council should be aware to strengthen the Bidders submission

SECTION 5 -AWARD CRITERIA
The project is expected to be awarded mid-September with the Bidder to have completed installation by the end of September 2023.

TENDER SUBMISSION DOCUMENTS
Pricing Schedule– Witham Town Council Safer Streets CCTV Expansion

Description / Please use a line for each item as identified in the specification. / (Specify all stages of the project where a cost will be incurred eg: supply and install, site safety etc)	Cost per / Item £	Total Price £

Total Sum of Work		£

TENDER COMPLETED BY (an authorised employee of your company)
Company			Name:
Position / (Job Title):
Date:		Address
Telephone number:		Email Address

Supporting Questions
1.	Resources - Detail the resources and your technical ability (inclusive of sub-contractors) to carry out the service / Provide information on: / The workforce to be employed for performance / The service and level of experience / The level of resources to be used e.g. time.

2.	Monitoring - Provide information on monitoring of the contract and installation works

3.	Communication - Provide information on how you will effectively communicate with The Town Council and your procedure for responding to a complaint. Please include any relevant names, position and contact details

4.	Risk - Identify any risks involved in the project and how you suggest these could be managed effectively

5.	Values – Witham Town Council has formed a Climate Working Group and aims to take this into consideration throughout all decision-making processes. Please outline any commitments your company have made to reduce your carbon footprint or other ways in which it considers its environmental impact

Your Organisation
1.	BASIC DETAILS OF YOUR ORGANISATION
1.1	Name of the organisation in whose name the tender would be submitted:
1.2	Contact name for enquiries about this bid:
1.3	Contact position (Job Title):
1.4	Address: / Post Code:
1.5	Telephone number:
1.6	Email address:
1.7	Website address (if any):
1.8	Company Registration number (if this applies):
1.9	Charities or Housing Association or other Registration number (if this applies). Please specify registering body:
1.10	Date of Registration:
1.11	Registered address if different from the above (including post code)
1.12	VAT Registration number:
1.13	Is your organisation: / (Please indicate one)	i) a public limited company? Yes / No
		ii) a limited company? Yes / No
		iii) a partnership Yes / No
		iv) a sole trader Yes / No
		v) other (please specify) Yes / No
1.14	Name of (ultimate) parent company (if this applies):

1.15	Accreditations, NSI Gold registration and ISO certificates: