## Sheet2
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
DEMOLITIONS AND ALTERATIONS
PRELIMINARIES
SCHEDULE OF WORK
General notes applicable to all sections
The Contractor must note the following when pricing the
Works
|  | Quantities and descriptions have not been prepared | 1 |  |  | 0
fully in accordance with the Standard Method of
Measurement or the New Rules of Measurement
|  | The Schedule of Works must be priced taking | 1 |  |  | 0
account of the information given elsewhere in the
Tender Documents; including for all associated and
ancillary work shown or apparent as being
necessary for the complete and proper execution of
the work
|  | Work items are generally only briefly described and | 1 |  |  | 0
are to be read in conjunction with drawings and
specification notes. No claim will be entertained with
regard to descriptions as these are deemed to
include all works which can be reasonably foreseen
or anticipated in all trades
|  | Page : 2/1 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
DEMOLITIONS AND ALTERATIONS (Cont'd)
DEMOLITIONS
DEMOLITION
Site generally
Works to or in existing
|  | Generally work in Demolitions & Alterations, Repairs | 1 |  |  | 0
& Conservation sections are only briefly described
as the Contractor will be deemed to have priced this
section of the works on site. No claim will be
entertained with regard to the interpretation of
descriptions for demolition and alteration items as
these are to include the complete item. Rates for
demolition and alterations are to include for all
necessary temporary propping, shoring and
scaffolding, weatherproofing and protection that may
be required in carrying out the works. The rates for
all items are to include for making good the structure
and extending finishings as required. The rates for
work to form or infill openings are to include for
closing all jambs, cuttings pockets for lintels,
levelling and preparing thresholds, bonding up
existing structure and wedging and pinning up to
soffits as required.
|  | Suitable protection is to be provided to any finishes / | 1 |  |  | 0
items to be retained
|  | Page : 2/2 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF
ALTERATIONS, REPAIRS & CONSERVATION
REMOVING
Removing roof barriers
216 | A | Fall arrest system; to base of roof slope; make good | 1 | item |  | 0
to structure; dispose off site; to roof 22
139 | B | Handrail; carefully remove and set aside for re-use; | 18 | m |  | 0
to roof 01
140 | C | Extra over for removal of steps as necessary to | 1 | item |  | 0
carry out roofing works; set aside for re-use; to
roof 01
Removing roof coverings
143 | D | Roof slates; including battens and cement particle | 36 | m² |  | 0
board, to be disposed off site; set slates aside for
re-use; to Roof 01
76 | E | Roof slates; including battens and cement particle | 198 | m² |  | 0
board, to be disposed off site; set slates aside for
re-use; to Roof 18, 19 & 20
149 | F | Roof slates; carefully remove bottom three rows of | 60 | m |  | 0
slates; set aside for reuse; to Roof 27 & 28
64 | G | Roof slates; including battens and cement particle | 98 | m² |  | 0
board; dispose off site; to Roof 18 &19
89 | H | Asphalt roof covering; carefully remove and dispose | 86 | m² |  | 0
off site; including linings to gutters; to roof 20
111 | J | Extra over for removal of asphalt lining to gutter; | 10 | m |  | 0
approximately 470 wide x 300 high
297 | K | Asphalt roof covering; carefully remove and dispose | 31 | m² |  | 0
off site; to roof 24
137 | L | Asphalt roof covering; including substrate boarding; | 40 | m² |  | 0
carefully remove and dispose off site; to roof 01
138 | M | Extra over for removal of felt roof covering; fixed | 8 | m² |  | 0
above asphalt covering; to roof 01
150 | N | Extra over for sump covers and internal rainwater | 1 | item |  | 0
goods; dispose off site; to roof 01
598 | P | Asphalt roof covering; including substrate boarding; | 21 | m² |  | 0
carefully remove and dispose off site; to roof 21
|  | Page : 2/3 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
REMOVING (Cont'd)
237 | A | Asphalt roof covering; including substrate boarding; | 57 | m² |  | 0
carefully remove and dispose off site; to roof 22
153 | B | Lead capping to upstand; approximately 550 girth; | 18 | m |  | 0
dispose off site; to roof 01
123 | C | Lead flashings to gutters; dispose off site; to roof 20 | 52 | m |  | 0
288 | D | Remove and re-bed ridge tiles; to roof 23 | 29 | m |  | 0
151 | E | Rolled lead roof covering and all associated fixings, | 6 | m² |  | 0
flashings and substrates; dispose off site; to roof 01
90 | F | Lead flashings to top of slate roof; approximately 300 | 36 | m |  | 0
girth; dispose off site; to roof 20
78 | G | Ridge tiles; set aside for reuse; to Roof 18 & 19 | 39 | m |  | 0
225 | H | Remove temporary waterproof sheeting covering the | 1 | item |  | 0
northern bay of roof slope 22 and all associated
anchor fixings within brickwork and weights; dispose
off site; to roof 22
Removing roof coverings; lightning protection
448 | J | Lightning protection tape; dispose off site; to roof 01 | 1 | item |  | 0
75 | K | Lightning protection tape; dispose off site; to roof 18 | 1 | item |  | 0
& 19
446 | L | Lightning protection tape; dispose off site; to roof 20 | 1 | item |  | 0
308 | M | Lightning protection tape; dispose off site; to roof 21 | 1 | item |  | 0
& 23
309 | N | Lightning protection tape; dispose off site; to roof 24 | 1 | item |  | 0
283 | P | Lightning protection tape; dispose off site; to roof 27 | 1 | item |  | 0
& 28
Removing roof timbers/boarding
108 | Q | Upstand; approximately 150 x 100; to flat roof; | 41 | m |  | 0
carefully remove and dispose off site; to roof 20
|  | Page : 2/4 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
REMOVING (Cont'd)
Removing rooflights
229 | A | Carefully remove aluminum framed rooflights; | 93 | m² |  | 0
including all flashings, frames, fascias, support
structure, and associated fixings; dispose off site;
make good to structure; to roof 22
141 | B | Rooflight; raised rooflight; dispose off site; to roof 01 | 1 | nr |  | 0
Removing roof timbers/boarding
136 | C | 200 x 150 high timber upstand; dispose off site; | 19 | m |  | 0
drawing 3300 to roof 01
120 | D | 200 x 175 high asphalt upstand to flat roof section; | 42 | m |  | 0
dispose off site; drawing 3304 to roof 20
117 | E | 250 high asphalt upstand; dispose off site; drawing | 12 | m |  | 0
3302 to roof 18 & 19
116 | F | 600 high asphalt upstand and flashband sealing | 13 | m |  | 0
strip; dispose off site; drawing 3302 to roof 18 & 19
449 | G | 700 x 165 high timber upstand; dispose off site; | 39 | m |  | 0
drawing 3307 to roof 22
577 | H | 700 x 165 high timber upstand; dispose off site; | 16 | m |  | 0
drawing 3307 to roof 24
115 | J | Loose timber decking and chicken wire surface; | 259 | m² |  | 0
dispose off site
70 | K | Timber fascia board; dispose off site; to roof 18 & 19 | 81 | m |  | 0
206 | L | Timber fascia board; dispose off site; to roof 20 | 42 | m |  | 0
575 | M | cut away secondary timber structure from junction | 48 | m |  | 0
with brick parapet to allow installation of new
lead-lined, ventilated edge gutter; as detail K1 on
drawing 3005; to roof 20, 22 & 24
Removing rainwater goods
104 | N | Drainage outlet to flat roof; close up and make good; | 1 | nr |  | 0
to roof 20
126 | P | Remove cast iron hopper and downpipe; to Roof 20 | 1 | item |  | 0
|  | Page : 2/5 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
REMOVING (Cont'd)
127 | A | Extra over for infilling opening with brickwork to | 1 | item |  | 0
match existing
180 | B | Remove cast iron hopper and downpipe; to Roof 22 | 1 | item |  | 0
(2nr)
181 | C | Extra over for infilling opening with brickwork to | 1 | item |  | 0
match existing (2nr)
289 | D | Remove cast iron hopper and downpipe; to Roof 24 | 1 | item |  | 0
290 | E | Extra over for infilling opening with brickwork to | 1 | item |  | 0
match existing
CUTTING OR FORMING OPENINGS
Form opening in external masonry wall; quoining up
jambs; install lintel in accordance with the Structural
Engineers drawing
Form opening
79 | F | 920 x 920; in masonry external wall for access door | 4 | nr |  | 0
opening; to roof 18 & 19
REMOVING EXISTING AND REPLACING
Asphalt render; applied to the base of the brickwork;
re-apply render to match existing following brickwork
repair works; dispose surplus materials off site; all in
accordance with the Architects specification and
drawing 1230
Render remove and replace
85 | G | Remove and replace asphalt render; applied to the | 19 | m |  | 0
base of the brickwork; to roof 18 & 19
129 | H | Remove and replace asphalt render; applied to the | 6 | m |  | 0
base of the brickwork; to roof 20
221 | J | Remove and replace asphalt render; applied to the | 14 | m |  | 0
base of the brickwork; to roof 22
300 | K | Remove and replace asphalt render; applied to the | 8 | m |  | 0
base of the brickwork; to roof 23
|  | Page : 2/6 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
REMOVING EXISTING AND REPLACING (Cont'd)
292 | A | Remove and replace asphalt render; applied to the | 15 | m |  | 0
base of the brickwork; to roof 24
259 | B | Remove and replace asphalt render; applied to the | 19 | m |  | 0
base of the brickwork; to roof 27 & 28
Cutting out decayed, defective or cracked work and
replacing with new facing bricks; lime based mortar;
facing to one side
Brickwork
84 | C | small areas; to roof 18 & 19 | 2 | m² |  | 0
130 | D | small areas; to roof 20 | 1 | m² |  | 0
220 | E | small areas; to roof 22 | 1 | m² |  | 0
301 | F | small areas; to roof 23 | 1 | m² |  | 0
293 | G | small areas; to roof 24 | 2 | m² |  | 0
260 | H | small areas; to roof 27 & 28 | 2 | m² |  | 0
REPOINTING
Repointing brickwork; rake out cementitious mortar
and re-point with an appropriate lime based mortar;
all in accordance with the Architects specification
and drawings
To brickwork; external
82 | J | Repointing brickwork; to roof 18 & 19 | 18 | m² |  | 0
128 | K | Repointing brickwork; to roof 20 | 10 | m² |  | 0
278 | L | Repointing brickwork; to roof 21 | 40 | m² |  | 0
219 | M | Repointing brickwork; to roof 22 | 12 | m² |  | 0
222 | N | Extra over for removing metal fixings; make good | 4 | nr |  | 0
with lime mortar
302 | P | Repointing brickwork; to roof 23 | 12 | m² |  | 0
291 | Q | Repointing brickwork; to roof 24 | 29 | m² |  | 0
|  | Page : 2/7 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
REPOINTING (Cont'd)
261 | A | Repointing brickwork; to roof 27 & 28 | 20 | m² |  | 0
450 | B | Repointing brickwork; to top four courses of | 3 | m² |  | 0
brickwork; to re-aligned gutter to roof 01/22
Repointing stonework; re-point stonework in lime
mortar; all in accordance with the Architects
specification and drawings
To stonework; external
124 | C | Repointing stone parapet; (length of parapet | 16 | m |  | 0
measured); to roof 20
218 | D | Repointing stone parapet; (length of parapet | 17 | m |  | 0
measured); to roof 22
299 | E | Repointing stone parapet; (length of parapet | 19 | m |  | 0
measured); to roof 23
294 | F | Repointing stone parapet; (length of parapet | 20 | m |  | 0
measured); to roof 24
TEMPORARY WORKS
Temporary roof covering works associated with
keeping the roof watertight whilst roofing works are
carried out; to the approval of the CA
Temporary roof covering
86 | G | to Roof 01 (including roof slope 2) | 1 | item |  | 0
87 | H | to Roof 18 & 19 | 1 | item |  | 0
88 | J | to Roof 20 | 1 | item |  | 0
543 | K | to Roof 21 & 23 | 1 | item |  | 0
226 | L | to Roof 22 | 1 | item |  | 0
545 | M | to Roof 24 | 1 | item |  | 0
544 | N | to Roof 27 & 28 | 1 | item |  | 0
|  | Page : 2/8 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
CLEANING
Cleaning rooflights
285 | A | Clean off vegetation growth and weather stains to | 209 | m² |  | 0
aluminium frames and caps/cheeks; to Roof 21 & 23
295 | B | Extra over for carefully stripping redundant lead | 1 | item |  | 0
from original rooflights; dispose off site; to Roof
21 & 23
296 | C | Clean off vegetation growth and weather stains to | 51 | m² |  | 0
aluminium frames and caps/cheeks; to Roof 24
298 | D | Extra over for carefully stripping redundant lead | 1 | item |  | 0
from original rooflights; dispose off site; to Roof
24
|  | Page : 2/9 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
CARPENTRY
TIMBER FRAMING; PRIMARY OR STRUCTURAL
TIMBERS
Treated softwood; fixed existing roof structure; all in
accordance with the Architects specification clause
G20/210A and drawings
Individual supports; battens
452 | A | 50 high to create ventilation void; at 300 centres; as | 416 | m |  | 0
detail L & M on drawing 3307; to roof 22
586 | B | 50 x 40; to gutter; as detail N1; to roof 22 | 40 | m |  | 0
587 | C | 50 x 40; to gutter; as detail N1; to roof 24 | 39 | m |  | 0
573 | D | 75 x 40; to gutter; as detail K1; to roof 20 | 30 | m |  | 0
479 | E | 75 x 75; as detail O; to roof 01 | 19 | m |  | 0
480 | F | 150 x 50; as detail O; to roof 01 | 19 | m |  | 0
Individual supports; furrings
481 | G | 140 high at ridge falling to 50 at eaves; at 300 | 155 | m |  | 0
centres; as detail O & O2 on drawing 3300; to roof
1
451 | H | 180 high at ridge falling to 50 at eaves; at 300 | 228 | m |  | 0
centres; as detail L & M on drawing 3307; to roof 22
576 | J | 180 high at ridge falling to 50 at eaves; at 300 | 101 | m |  | 0
centres; as detail L & M on drawing 3307; to roof 24
Individual supports; packers
118 | K | approximately 50 x 50; 2nr; as drawing 3302; to roof | 23 | m |  | 0
18 & 19 (Provisional)
103 | L | approximately 75 x 150; as detail D on drawing 3304; | 168 | m |  | 0
to roof 20 (Provisional)
Individual supports; tilting fillets
482 | M | 19 x 38; to slate roof at junction with new lead | 4 | m |  | 0
roofing; as detail O on drawing 3300; to roof 02
|  | Page : 2/10 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
CARPENTRY (Cont'd)
TIMBER FRAMING; PRIMARY OR STRUCTURAL
TIMBERS (Cont'd)
Pitched roof members; rafters
546 | A | 200 x 50; to slate roof at junction with new lead | 320 | m |  | 0
roofing; as detail O on drawing 3300; to roof 02
BOARDING TO ROOFS
Plywood; all in accordance with the Architects
specification clause G20/310
Eaves, verge soffit boards, fascias boards and the like
249 | B | 110 x 18 & 75 x 18; including timber packers; seal at | 38 | m |  | 0
junction with sarking board; fascia/carrier board; as
detail L on drawing 3307; to roof 22
574 | C | 165 x 18; seal at junction with sarking board; to lead | 15 | m |  | 0
gutter; as detail K1 on drawing 3305; to roof 20
580 | D | 165 x 18; seal at junction with sarking board; to lead | 20 | m |  | 0
gutter; as detail K1 on drawing 3305; to roof 24
588 | E | 165 x 18; seal at junction with sarking board; to lead | 20 | m |  | 0
gutter; as detail N1 on drawing 3308; to roof 22
208 | F | 250 x 25; fascia/carrier board; as detail C on drawing | 42 | m |  | 0
3304; to roof 20
Softwood; Douglas Fir or Accoya; all in accordance
with the Architects specification clause G20/271
Eaves, verge soffit boards, fascias boards and the like
162 | G | 130 x 19; to eaves; to roof 01 | 18 | m |  | 0
196 | H | 140 x 15; soffit board; to roof 18 & 19 | 59 | m |  | 0
91 | J | 150 x 19; fascia board; to roof 20 | 42 | m |  | 0
163 | K | 150 x 19; to eaves; to roof 01 | 18 | m |  | 0
168 | L | Extra over for insect mesh | 18 | m |  | 0
112 | M | 150 x 19; to verge; to roof 20 | 10 | m |  | 0
166 | N | 150 x 19; upstands to ventilated ridge; to roof 01 | 18 | m |  | 0
|  | Page : 2/11 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
CARPENTRY (Cont'd)
BOARDING TO ROOFS (Cont'd)
65 | A | 255 x 20; fascia board; to roof 18 & 19 | 59 | m |  | 0
81 | B | 320 x 20; to verge; to roof 18 & 19 | 22 | m |  | 0
|  | Page : 2/12 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
SHEET ROOF COVERINGS
ZINC STRIP SHEET COVERINGS/ FLASHINGS
Zinc roofing; product reference: elZinc Slate standing
seam; 0.7 thick; 25 high double lock standing seam;
on and including 18 thick exterior grade WBP
plywood and Klober Permo Sec underlay; including
all fixings, junctions, seals and the like; all in
accordance with the Architects Specification clause
H74
Roof coverings
105 | A | 0.7mm thick roof coverings; to roof 20 | 55 | m² |  | 0
106 | B | Extra over for ridge capping with profiled brackets | 21 | m |  | 0
and insect mesh
107 | C | Extra over for proprietary vent profile and insect | 42 | m |  | 0
mesh
493 | D | Extra over for gable end drip detail | 5 | m |  | 0
238 | E | 0.7mm thick roof coverings; to roof 22 | 153 | m² |  | 0
239 | F | Extra over for ventilated ridge capping | 19 | m |  | 0
245 | G | Extra over for pitch change ventilation profile with | 38 | m |  | 0
brackets and integrated insect mesh
251 | H | Extra over for eaves vent profile with integrated | 38 | m |  | 0
insect mesh
252 | J | Extra over for gable end drip detail | 17 | m |  | 0
307 | K | 0.7mm thick roof coverings; to roof 24 | 30 | m² |  | 0
490 | L | Extra over for ridge capping with profiled brackets | 8 | m |  | 0
and insect mesh
491 | M | Extra over for eaves vent profile with integrated | 16 | m |  | 0
insect mesh
492 | N | Extra over for gable end drip detail | 8 | m |  | 0
|  | Page : 2/13 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
SHEET ROOF COVERINGS (Cont'd)
LEAD SHEET COVERINGS/FLASHINGS
Lead flashings; installed in accordance with LSTA
details and guidance; all in accordance with the
Architects specification clause H71/420
Flashings
176 | A | approximately 150 girth; code 6; stepped to follow | 7 | m |  | 0
slope of roof and chased into mortar joints,sealed
with lead wedge and burt sand mastic sealant; at
junction between slate roof and brickwork; to roof 01
170 | B | approximately 150 girth; code 6; stepped to follow | 6 | m |  | 0
slope of roof and chased into mortar joints,sealed
with lead wedge and burt sand mastic sealant; at
junction between lead roof and brickwork; as
drawing 3301; to roof 01
119 | C | approximately 180 wide; code 6; wedge fixed into | 24 | m |  | 0
mortar joints; as drawing 3302; to roof 18 & 19
597 | D | approximately 180 wide; code 6; wedge fixed into | 60 | m |  | 0
mortar joints; as drawing 3302; to roof 27 & 28
178 | E | approximately 250 girth; code 6; at junction between | 6 | m |  | 0
lead roof and slate roof; to roof 01/02
489 | F | approximately 300 girth; code 6; dressed over | 19 | m |  | 0
upstand; at junction between lead roof and slate
roof; as detail O on drawing 3300; to roof 01
165 | G | approximately 300 wide; code 5; dressed over new | 18 | m |  | 0
upstand to ventilated eaves and head of slate roof;
as drawing 3302; to roof 18 & 19
287 | H | Re-fix bottom slate cover flashing to north slope; to | 29 | m |  | 0
roof 23
Lead gutter lining; code 6 lead; on and including
building paper underlay, timber boarding (minimum
22 mm) with 'penny gaps' on (50 x 50 mm) treated
timber battens forming ventilated cavity; patination
oil; all in accordance with the Architects specification
clause H71/209 and drawings
Gutter; as drawing 2233
477 | J | approximately 150 wide x 230 deep; to roof 24 | 6 | m |  | 0
|  | Page : 2/14 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
SHEET ROOF COVERINGS (Cont'd)
LEAD SHEET COVERINGS/FLASHINGS (Cont'd)
478 | A | approximately 430 wide x 195 deep; to roof 24 | 14 | m |  | 0
590 | B | Extra over for lead flashings chased into mortar | 20 | m |  | 0
Gutter; as drawing 3306
113 | C | approximately 430 wide x 195 deep; to roof 20 | 15 | m |  | 0
114 | D | Extra over for lead flashings chased into mortar | 60 | m |  | 0
Gutter; as drawing 3308
241 | E | approximately 150 wide x 230 deep; to roof 22 | 16 | m |  | 0
591 | F | Extra over for lead flashings chased into mortar | 16 | m |  | 0
Lead roof covering; code 7 lead; on and including
building paper underlay, minimum 22 thick timber
boarding with 'penny gaps'; fixed to treated timber
firrings forming ventilated cavity; complete with wood
cored rolls; including all necessary fixings,
treatments, junctions, joints, penetrations and the
like; all in accordance with the Architects
specification clause H71/110 and drawing 2231
Roof and dormer coverings
154 | G | Flat; to roof 01 | 45 | m² |  | 0
164 | H | Extra over for downstand; approximately 250 | 18 | m |  | 0
girth; to overlap slate head flashing
167 | J | Extra over for ventilated ridge detail on custom | 9 | m |  | 0
made wood roll detail; including 2nr timber board
upstands and leadwork to upstand
476 | K | Extra over for flashings to penetrations | 1 | item |  | 0
279 | L | Flat; to roof 21 | 25 | m² |  | 0
592 | M | Extra over for flashings to penetrations | 1 | item |  | 0
593 | N | Extra over for ventilated eaves and downstand | 26 | m |  | 0
594 | P | Extra over for flashings at junction with masonry; | 4 | m |  | 0
chasing into mortar
595 | Q | Extra over for junction with aluminium gutter | 4 | m |  | 0
|  | Page : 2/15 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
TILE AND SLATE ROOF AND WALL COVERINGS
NATURAL SLATING; ROOF COVERINGS
Natural slates; Welsh slates; to match existing; on
and including 50 x 25 battens, 38 x 25 counterbattens
and Pro clima Solitex Plus Membrane or equal
approved underlay; all in accordance with the
Architects specification clause H62/110
Coverings
62 | A | roof coverings; pitched; to roof 18 & 19 | 98 | m² |  | 0
Eaves
561 | B | Undercourse and bottom course slates; in | 41 | m |  | 0
accordance with specification clause H62/910
Verges
560 | C | Mortar bedded verges; in accordance with | 14 | m |  | 0
specification clause H62/960
Reinstate roof slates; slates previously removed and
set aside for reuse; on and including 50 x 25 battens,
38 x 25 counterbattens and Pro clima Solitex Plus
Membrane or equal approved underlay; all in
accordance with the Architects specification clause
H62/110
Roof coverings
484 | D | Roof coverings; to pitched roof; to roof 01 | 40 | m² |  | 0
485 | E | Extra over for supply and installing new slates to | 10 | m² |  | 0
match existing; including disposal of existing
(Provisional)
57 | F | Roof coverings; to pitched roof; to roof 18 & 19 | 108 | m² |  | 0
194 | G | Extra over for supply and installing new slates to | 27 | m² |  | 0
match existing; including disposal of existing
(Provisional)
92 | H | Roof coverings; to pitched roof; to roof 20 | 107 | m² |  | 0
195 | J | Extra over for supply and installing new slates to | 27 | m² |  | 0
match existing; including disposal of existing
(Provisional)
|  | Page : 2/16 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
TILE AND SLATE ROOF AND WALL COVERINGS
(Cont'd)
NATURAL SLATING; ROOF COVERINGS (Cont'd)
Abutments
565 | A | Side abutments to masonry; turn up underlay and cut | 9 | m |  | 0
slates as necessary; to roof 01
Eaves
562 | B | Undercourse and bottom course slates; in | 19 | m |  | 0
accordance with specification clause H62/345 &
910; to roof 01
564 | C | Undercourse and bottom course slates; in | 38 | m |  | 0
accordance with specification clause H62/345 &
910; to roof 18 & 19
566 | D | Undercourse and bottom course slates; in | 42 | m |  | 0
accordance with specification clause H62/345 &
910; to roof 20
Ridges
569 | E | Junction at ridge; in accordance with specification | 78 | m |  | 0
clause H62/740; to roof 18 & 19
568 | F | Junction with zinc roof; to roof 20 | 42 | m |  | 0
Valleys
567 | G | Junction with lead gutter; to roof 20 | 6 | m |  | 0
Verges
563 | H | Mortar bedded verges; in accordance with | 11 | m |  | 0
specification clause H62/960; to roof 18 & 19
Reinstate roof slates; slates previously removed and
set aside for reuse; refitting with clips; all in
accordance with the Architects specification clause
H62/110
Roof coverings
445 | J | Roof coverings; bottoms three rows of slates; to Roof | 60 | m |  | 0
27 & 28
|  | Page : 2/17 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
TILE AND SLATE ROOF AND WALL COVERINGS
(Cont'd)
NATURAL SLATING; ROOF COVERINGS (Cont'd)
Replace slipped and damaged slates with new to
match existing; all in accordance with the Architects
specification clause H62/110
Roof coverings
286 | A | Roof slates; to pitched roof; to roof 23 (Provisional) | 20 | nr |  | 0
547 | B | Roof slates; to pitched roof; to roof 27 & 28 | 20 | nr |  | 0
(Provisional)
Reinstate ridge tiles; tiles previously removed and set
aside for reuse; including Airtrack RTV; all in
accordance with the Architects specification clause
H62/740
Roof coverings
58 | C | Reinstate ridge tiles; to pitched roof; to roof 18 & 19 | 39 | m |  | 0
102 | D | Extra over for supply and installing new ridge tiles | 23 | m |  | 0
to match existing; including disposal of existing
(Provisional)
FITTINGS
Eaves ventilator; as manufactured by Nicholson;
reference Airtrack F10; all in accordance with the
Architects specification clause P10/110
Ventilators
488 | E | To timber base; to roof 01 | 20 | m |  | 0
66 | F | To timber base; to roof 18 & 19 | 59 | m |  | 0
94 | G | To timber base; to roof 20 | 42 | m |  | 0
|  | Page : 2/18 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
WATERPROOFING
APPLIED LIQUID ROOFING; COVERING EXCEEDING
500MM WIDE
Liquid applied membrane; resurface existing flat roof;
Sika Decothane liquid DPM; works to be carried out
by Sika approved contractor include for for all
necessary preparation works, pre-treatments,
priming, joints, junctions, outlets, works to
penetrations, changes in leves, plant supports and
the like; all in accordance with the Architects
specification clause J31
Works to existing roof covering
73 | A | To existing asphalt roof covering; to roof 18, 19 & 20 | 140 | m² |  | 0
121 | B | Extra over for upstands; approximately 150 high; | 89 | m |  | 0
to masonry
122 | C | Extra over for upstands; approximately 150 high; | 42 | m |  | 0
to timber
465 | D | Extra over for junction with perimeter gutter; | 27 | m |  | 0
forming drip detail including Decotrim
474 | E | Extra over for penetrations; including | 1 | item |  | 0
handrail/barriers
551 | F | Extra over for temporary lifting of cable trays and | 1 | item |  | 0
reinstating on completion
310 | G | To existing asphalt roof covering; to roof 21, 23, 24, | 125 | m² |  | 0
27 & 28
313 | H | Extra over for tapered insulation; including | 60 | m² |  | 0
working around existing M&E installations and
platforms; refer to Sika drawing PEU-0080923
contained in Appendix L of the Work Schedule;
works relate solely to flat roof between roof 27 &
28
469 | J | Extra over for junction with perimeter gutter; | 51 | m |  | 0
forming drip detail including Decotrim
470 | K | Extra over for upstands; approximately 150 high; | 48 | m |  | 0
to masonry
471 | L | Extra over for upstands; approximately 150 high; | 137 | m |  | 0
to timber
|  | Page : 2/19 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
WATERPROOFING (Cont'd)
APPLIED LIQUID ROOFING; COVERING EXCEEDING
500MM WIDE (Cont'd)
472 | A | Extra over for junction with plant support | 1 | item |  | 0
stanchions
473 | B | Extra over for penetrations; including | 1 | item |  | 0
handrail/barriers
552 | C | Extra over for temporary lifting of cable trays and | 1 | item |  | 0
reinstating on completion
464 | D | To existing asphalt roof covering; to roof 22 | 52 | m² |  | 0
466 | E | Extra over for junction with perimeter gutter; | 20 | m |  | 0
forming drip detail including Decotrim
467 | F | Extra over for upstands; approximately 150 high; | 16 | m |  | 0
to masonry
468 | G | Extra over for upstands; approximately 150 high; | 39 | m |  | 0
to timber
475 | H | Extra over for penetrations; including | 1 | item |  | 0
handrail/barriers
553 | J | Extra over for temporary lifting of cable trays and | 1 | item |  | 0
reinstating on completion
VAPOUR CONTROL LAYER
Breather membrane; as manufactured by Pro clima;
reference Solitex Plus; including all necessary
fixings, joints, junctions, seals, sealing penetrations,
laps and the like; all in accordance with the
Architects specification clause P10/320
Breather membrane
156 | K | above sarking board; to roof 01 | 45 | m² |  | 0
|  | Page : 2/20 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
WATERPROOFING (Cont'd)
VAPOUR CONTROL LAYER (Cont'd)
Vapour control layer; as manufactured by Pro clima;
reference Intello Plus; including all necessary fixings,
joints, junctions, seals, sealing penetrations, laps and
the like; allow for dressing around noggings ensuring
a tight fit between insulation and joist to eliminate
cold-bridging; all in accordance with the Architects
specification clause P10/310
Vapour control layer
248 | A | to insulated sarking board; to roof 22 | 153 | m² |  | 0
159 | B | to underside of existing roof structure; to roof 01 | 85 | m² |  | 0
59 | C | to underside of existing roof structure; to roof 18 & 19 | 206 | m² |  | 0
95 | D | to underside of existing roof structure; to roof 20 | 157 | m² |  | 0
548 | E | to underside of existing roof structure; to roof 24 | 30 | m² |  | 0
|  | Page : 2/21 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
DOORS, SHUTTERS AND HATCHES
METAL DOOR SETS
Double glazed aluminium framed doorsets; polyester
powder coated; colour: black; including all fixings,
seals, accessories, thresholds, ironmongery and the
like; all in accordance with the Architect's
Specification clause L20/480
Access doors
80 | A | to suit 920 x 920 structural opening; to roof 18 & 19 | 4 | nr |  | 0
453 | B | Extra over for linking the doors to the building | 4 | nr |  | 0
intruder alarm
|  | Page : 2/22 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
STAIRS, WALKWAYS AND BALUSTRADES
METAL BARRIERS
Reinstate barriers; previously set aside for reuse; all
in accordance with the Architects drawings and
specification
Barriers/handrails
146 | A | Approximately 1100 high; to roof 01 | 18 | m |  | 0
157 | B | Extra over for nylon packers | 1 | item |  | 0
483 | C | Extra over for 100 high timber stubs to handrail | 1 | item |  | 0
uprights; to increase height to 1100 high;
including code 7 lead cladding; as drawing 3300
589 | D | Extra over for alterations to hadrails to | 1 | item |  | 0
accommodate the relocation of the existing
ladder from roof 22 to roof 01 to avoid clash with
new ridge locations; as drawing 2231
147 | E | Staircase and associated handrails; including altering | 3 | nr |  | 0
and adapting as necessary to suit revised upstand;
to roof 01
METAL GUARD RAILS
CONTRACTOR DESIGNED WORKS: Fall restraint
system to zinc roof slope to support future
maintenance; all in accordance with the Architects
drawing 2230
Fall restraint system
186 | F | Fall restraint system to roof 20 | 1 | item |  | 0
CONTRACTOR DESIGNED WORKS: Fall restraint
system to zinc roof slope to support future
maintenance; all in accordance with the Architects
drawing 2231
Fall restraint system
240 | G | Fall restraint system to roof 22 | 1 | item |  | 0
|  | Page : 2/23 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
STAIRS, WALKWAYS AND BALUSTRADES (Cont'd)
METAL GUARD RAILS (Cont'd)
CONTRACTOR DESIGNED WORKS: Fall restraint
system to zinc roof slope to support future
maintenance; all in accordance with the Architects
drawing 2233
Fall restraint system
311 | A | Fall restraint system to roof 24 | 1 | item |  | 0
|  | Page : 2/24 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
DECORATION
PAINTING AND CLEAR FINISHES; PAINTING TO
GENERAL SURFACES
Painting metal; as manufactured by Dulux; reference
Dulux Metalshield; prepare existing surface, one
initial coat, 2nr finishing coats; all in accordance with
the Architects Specification clause M60/112
External
144 | A | Not exceeding or equal to 300mm girth; to roof | 18 | m |  | 0
barrier/handrail; (length of barrier measured) to roof
1
459 | B | Not exceeding or equal to 300mm girth; to roof | 25 | m |  | 0
barrier/handrail; (length of barrier measured) to roof
18, 19 & 20
461 | C | Not exceeding or equal to 300mm girth; to roof | 54 | m |  | 0
barrier/handrail; (length of barrier measured) to roof
21, 23, 24, 27 & 28
460 | D | Not exceeding or equal to 300mm girth; to roof | 22 | m |  | 0
barrier/handrail; (length of barrier measured) to roof
22
109 | E | Not exceeding or equal to 300mm girth; to access | 1 | item |  | 0
ladder; to roof 20
463 | F | Not exceeding or equal to 300mm girth; to access | 1 | item |  | 0
ladder; to roof 21
217 | G | Not exceeding or equal to 300mm girth; to access | 1 | item |  | 0
ladder; to roof 22
462 | H | Not exceeding or equal to 300mm girth; to access | 1 | item |  | 0
ladder; to roof 24
145 | J | Not exceeding or equal to 300mm girth; to steps and | 1 | item |  | 0
associated handrails; to roof 01
|  | Page : 2/25 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
DECORATION (Cont'd)
PAINTING AND CLEAR FINISHES; PAINTING TO
GENERAL SURFACES (Cont'd)
Painting metal; as manufactured by Sherwin Williams;
reference Acrolon C137V2 Gloss or Acrolon C237
Sheen Finish; prepare existing surface, 1nr coat
Macropoxy L425 Zinc Phosphate Primer, 2nr coats
Macropoxy C123 Epoxy Glass Flakecoats and 2nr
finishing coats; all in accordance with the Architects
Specification clause M60/113
External
201 | A | Over 300mm girth; to perimeter metal box gutters; as | 55 | m² |  | 0
typical detail F on drawing 3303
Painting timber; as manufactured by Brouns & Co;
reference Linseed Paint Exterior Blackout; one initial
coat, 2nr finishing coats; all in accordance with the
Architects Specification clause M60/130
External
281 | B | Not exceeding or equal to 300mm girth; to door | 5 | m |  | 0
frame; to roof 21
71 | C | Not exceeding or equal to 300mm girth; to fascia & | 81 | m |  | 0
verge; to roof 18 & 19
96 | D | Not exceeding or equal to 300mm girth; to fascia & | 52 | m |  | 0
verge; to roof 20
596 | E | Not exceeding or equal to 300mm girth; to fascia; to | 36 | m |  | 0
roof 01
280 | F | Not exceeding or equal to 300mm girth; to fascia; to | 58 | m |  | 0
roof 23
277 | G | Not exceeding or equal to 300mm girth; to fascia; to | 82 | m |  | 0
roof 27 & 28
197 | H | Not exceeding or equal to 300mm girth; to soffit; to | 59 | m |  | 0
roof 18 & 19
282 | J | Over 300mm girth; to doors; to roof 21 | 4 | m² |  | 0
|  | Page : 2/26 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
INSULATION, FIRE STOPPING & FIRE PROTECTION
QUILTS
Insulation fitted at rafter level; as manufactured by Ty
Mawr; reference Thermafleece Welsh CosyWool or
equal approved; all in accordance with the Architects
specification clause P10/140
Insulation
158 | A | 150 thick; horizontal; fitted between roof members; to | 45 | m² |  | 0
roof 01
549 | B | 150 thick; horizontal; fitted between roof members; to | 30 | m² |  | 0
roof 24
486 | C | 150 thick; sloping; fitted between roof members; to | 40 | m² |  | 0
roof 01
60 | D | 150 thick; sloping; fitted between roof members; to | 206 | m² |  | 0
roof 18 & 19
246 | E | 200 thick; sloping & flat; fitted between roof | 153 | m² |  | 0
members; to roof 22
97 | F | 265 thick; sloping; fitted between roof members; to | 157 | m² |  | 0
roof 20
SARKING BOARD
Insulation fitted at rafter level; as manufactured by Ty
Mawr; reference Schneider Top 180 insulated sarking
board or equal approved; all in accordance with the
Architects specification clause P10/141
Insulation; over 300 wide
487 | G | 35 thick; sloping; fitted above roof members; to roof | 40 | m² |  | 0
1
155 | H | 65 thick; flat; fitted above roof members; to roof 01 | 45 | m² |  | 0
61 | J | 35 thick; sloping; fitted above roof members; to roof | 206 | m² |  | 0
18 & 19
98 | K | 35 thick; sloping; fitted above roof members; to roof | 157 | m² |  | 0
20
110 | L | Extra over for lining below and to side of lead | 10 | m |  | 0
gutter detail; approximately 470 wide x 300 high;
as drawing 3306 Detail E
|  | Page : 2/27 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
INSULATION, FIRE STOPPING & FIRE PROTECTION
(Cont'd)
SARKING BOARD (Cont'd)
247 | A | 35 thick; sloping; fitted above roof members; to roof | 153 | m² |  | 0
22
550 | B | 35 thick; flat; fitted above roof members; to roof 24 | 30 | m² |  | 0
Insulation; not exceeding 300 wide
570 | C | 35 thick; 230 wide; sloping; fitted below lead gutter; | 15 | m |  | 0
to roof 20
571 | D | 35 thick; 260 high; vetical; fitted to side of lead | 15 | m |  | 0
gutter; to roof 20
584 | E | 35 thick; 50 high; vetical; fitted to side of lead gutter; | 20 | m |  | 0
to roof 22
583 | F | 35 thick; 165 wide; sloping; fitted below lead gutter; | 20 | m |  | 0
to roof 22
578 | G | 35 thick; 230 wide; sloping; fitted below lead gutter; | 20 | m |  | 0
to roof 24
581 | H | 35 thick; 260 high; vetical; fitted to side of lead | 20 | m |  | 0
gutter; to roof 24
Insulation; all in accordance with the Architects
specification clause P10/141
Insulation
572 | J | 20 thick; 230 high; vetical; fitted to side of lead | 15 | m |  | 0
gutter; to roof 20
585 | K | 20 thick; 230 high; vetical; fitted to side of lead | 20 | m |  | 0
gutter; to roof 22
579 | L | 20 thick; 230 high; vetical; fitted to side of lead | 20 | m |  | 0
gutter; to roof 24
|  | Page : 2/28 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
DRAINAGE ABOVE GROUND
RAINWATER INSTALLATIONS; GUTTERS
Aluminium gutters and fittings; as manufactured by
Alumasc Water Management Solutions; reference
EHR12 Aqualine 120 mm Half Round gutter or equal
approved; all in accordance with the Architects
specification clause R10/311 & 370A
Gutters
67 | A | 120 mm half round gutters; on brackets; screwed to | 59 | m |  | 0
timber; to roof 18 & 19
68 | B | Extra over for stop ends | 6 | nr |  | 0
69 | C | Extra over for outlets; including downpipe, shoe | 6 | nr |  | 0
and tile or slab
99 | D | 120 mm half round gutters; on brackets; screwed to | 41 | m |  | 0
timber; to roof 20
100 | E | Extra over for stop ends | 4 | nr |  | 0
101 | F | Extra over for outlets; including downpipe, shoe | 4 | nr |  | 0
and tile or slab
256 | G | 120 mm half round gutters; on brackets; screwed to | 62 | m |  | 0
timber; to roof 21 & 23
257 | H | Extra over for stop ends | 4 | nr |  | 0
258 | J | Extra over for outlets; including downpipe, shoe | 6 | nr |  | 0
and tile or slab
303 | K | 120 mm half round gutters; on brackets; screwed to | 17 | m |  | 0
timber; to roof 24
304 | L | Extra over for stop ends | 4 | nr |  | 0
305 | M | Extra over for outlets; including downpipe, shoe | 4 | nr |  | 0
and tile or slab
253 | N | 120 mm half round gutters; on brackets; screwed to | 61 | m |  | 0
timber; to roof 27 & 28
254 | P | Extra over for stop ends | 8 | nr |  | 0
255 | Q | Extra over for outlets; including downpipe, shoe | 8 | nr |  | 0
and tile or slab
|  | Page : 2/29 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
DRAINAGE ABOVE GROUND (Cont'd)
RAINWATER INSTALLATIONS; GUTTERS (Cont'd)
Clear and rod drainage sumps; all in accordance with
the Architects specification clause R????
Gutters
148 | A | Clear and rod drainage sumps; to roof 01 | 2 | nr |  | 0
Lining to gutters; as manufactured by Sika; reference
Ultra 25 gutter lining; clean and line gutters;
including all joints, junctions, outlets, preparatin and
the like; all in accordance with the Architects
specification clause J31 & Sika report contained in
Appenidix L of the Work Schedule
Gutters
188 | B | approximately 580 girth; to metal box gutter; to roof | 20 | m |  | 0
19
187 | C | approximately 580 girth; to metal box gutter; to roof | 24 | m |  | 0
20
209 | D | approximately 580 girth; to metal box gutter; to roof | 19 | m |  | 0
22
211 | E | approximately 580 girth; to metal box gutter; to roof | 29 | m |  | 0
23
210 | F | approximately 580 girth; to metal box gutter; to roof | 20 | m |  | 0
27
213 | G | Extra over for debris grilles to top of existing metal | 112 | m |  | 0
box gutters; approximately 260 wide
212 | H | Extra over for overflow to hoppers; coring hole and | 10 | nr |  | 0
lead line with new lead spitter
Re-align gutter; re-align to discharge water to
downpipe rather than on to flat roof of slope 2a; all in
accordance with the Architects drawing 1231 & 2231
Gutters
454 | J | Re-align gutter; to roof 01/22 | 1 | item |  | 0
|  | Page : 2/30 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
DRAINAGE ABOVE GROUND (Cont'd)
RAINWATER INSTALLATIONS; GUTTERS (Cont'd)
Zinc gutters and fittings; as supplied by SIG Zinc &
Copper Rainwater Systems; reference elZinc Slate
Protect+; all in accordance with the Architects
specification clause H74
Gutters
242 | A | 250 mm girth half round gutters; on brackets; fixed to | 38 | m |  | 0
zinc; to roof 22
243 | B | Extra over for stop ends | 4 | nr |  | 0
244 | C | Extra over for outlets; including downpipe, shoe | 4 | nr |  | 0
and tile or slab
Gutter test; all in accordance with the Architects
specification clause R10/910
Test
203 | D | Block all outlets and test; to existing perimeter metal | 1 | item |  | 0
box gutters
202 | E | Block all outlets and test; to new aluminium gutters | 1 | item |  | 0
339 | F | Block all outlets and test; to new zinc gutters | 1 | item |  | 0
|  | Page : 2/31 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
ROOF (Cont'd)
ELECTRICAL SERVICES
LIGHTNING PROTECTION
CONTRACTOR DESIGNED WORKS: Lightning
conductor tape to specialist design
Lightning protection
457 | A | Lightning protection; to roof 01 | 1 | item |  | 0
340 | B | Lightning protection; to roof 18, 19 & 20 | 1 | item |  | 0
455 | C | Lightning protection; to roof 21 & 23 | 1 | item |  | 0
341 | D | Lightning protection; to roof 24 | 1 | item |  | 0
456 | E | Lightning protection; to roof 27 & 28 | 1 | item |  | 0
|  | Page : 2/32 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
STAIRS
STAIRS, WALKWAYS AND BALUSTRADES
CONTRACTOR DESIGN PORTION
Access Gantry / Walkways in ceiling voids of Gallery
Room 01
250 | A | The Contractor is required to design, supply and | 1 | item |  | 0
install new metal walkways running east to west (full
length) within each of the 2nr ceiling voids above
Gallery Room 01. The works will extend to, and
include, the design, supply and installation of
associated structural support steelwork and the
alterations required to the existing structure to
accommodate the support steelwork. The works will
also extend to the design and formation of new
openings required within existing masonry walls to
allow the new walkways to run the full length of both
voids above the gallery spaces. The installed
walkways will allow ease of access for routine
inspections and maintenance. Refer to drawings
2221, 2300 & 2310. Railings, access ladders (to
provide access to the external roof), handrails and
the like will all be included. The new structural
steelwork will also be required toaccommodatee
mechanical and electrical services supported by
and/or suspended from it and the Contractor is to
allow for this.
|  | Page : 2/33 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
INTERNAL WALLS AND PARTITIONS
ALTERATIONS, REPAIRS & CONSERVATION
FORMING OPENINGS
Form opening in internal masonry wall; quoining up
jambs; install 1200mm long Naylor ER2 lintels in
accordance with the structural engineers drawing
20000
Forming openings
330 | A | 1000 x 600; in 150 thick wall; builders work in | 3 | nr |  | 0
connection with services
Form opening in internal masonry wall; quoining up
jambs; install 2400mm long Naylor ER7 lintels in
accordance with the structural engineers drawing
20000
Forming openings
328 | B | 900 x 600; in 150 thick wall; builders work in | 3 | nr |  | 0
connection with services
329 | C | 1000 x 600; in 150 thick wall; builders work in | 3 | nr |  | 0
connection with services
Form opening in plastered internal masonry wall, to
one side (Gallery Room 02) the openings will also
break through existing ornate frieze and cornice
detail; quoining up jambs; install suitable lintel; all in
accordance with Structurall Engineers drawing 20000
and detail 2 to 4 on drawing 3400
Forming openings
331 | D | 455 diameter; high level between room 01 & 02 | 7 | nr |  | 0
Form opening in plastered internal masonry wall, to
one side (Gallery Room 02) the openings will also
break through existing ornate frieze and cornice
detail; quoining up jambs; install ??nr ?Spec? lintels
to suit wall thickness in accordance with the
structural engineers drawing
Forming openings
391 | E | Extra over for timber formwork to suit new | 7 | nr |  | 0
aperture
|  | Page : 2/34 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
INTERNAL WALLS AND PARTITIONS (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
FORMING OPENINGS (Cont'd)
397 | A | Extra over for timber laths, apply 3ct lime plaster | 7 | nr |  | 0
and decorate entire reveal all in accordance with
Architects specification clauses M20DIA/626,
492 and M60/120
|  | Page : 2/35 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
INTERNAL DOORS
DOORS, SHUTTERS AND HATCHES
IRONMONGERY
Existing ironmongery to be protected and overhauled;
all in accordance with Architects specification
clauses M60/425 & 430
191 | A | To concealed single doors; to Gallery Room 01 | 8 | nr |  | 0
192 | B | To double doors; to Gallery Room 02 | 2 | nr |  | 0
424 | C | To double doors; to Gallery Room 03 | 1 | nr |  | 0
425 | D | To single doors; to Gallery Room 03 | 1 | nr |  | 0
|  | Page : 2/36 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
INTERNAL DOORS (Cont'd)
DECORATION
PAINTING AND CLEAR FINISHES; PAINTING TO
GENERAL SURFACES
Painting timber; as manufactured by Dulux Trade;
reference Eggshell; prepare and paint existing
painted softwood; all in accordance with the
Architects specification clause M60/150A, 440 & 460
Ornate, profiled door surrounds, architraves, reveals,
feature mouldings, plinth blocks, and the like
182 | A | Exceeding 300mm girth; to Gallery Room 01 (to 4nr | 45 | m² |  | 0
double doors)
183 | B | Exceeding 300mm girth; to Gallery Room 02 (to 5nr | 44 | m² |  | 0
double doors)
263 | C | Exceeding 300mm girth; to Gallery Room 03 (to 5nr | 94 | m² |  | 0
double doors and 1nr single)
264 | D | Exceeding 300mm girth; to Gallery Room 04 (to 2nr | 10 | m² |  | 0
double doors)
Panelled doors
185 | E | Exceeding 300mm girth; to Gallery Room 02 (2nr | 16 | m² |  | 0
double doors)
423 | F | Exceeding 300mm girth; to Gallery Room 03 (1nr | 14 | m² |  | 0
double door and 1nr single door)
|  | Page : 2/37 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
INTERNAL FINISHES
ALTERATIONS, REPAIRS & CONSERVATION
CLEANING
Clean existing structures; all in accordance with
Architects drawing 1223 and specification clause
M60/400
Cleaning
428 | A | Work to floors, walls, ceilings or beams over 3.00m | 73 | m² |  | 0
but not exceeding 6.00m above finished floor level;
to Gallery Room 03, Room 1.01a - Duct
|  | Page : 2/38 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
WALL FINISHES
ALTERATIONS, REPAIRS & CONSERVATION
REMOVING
Carefully removing high level painted metal grille;
disposing all debris off site; make good and infill
opening to receive new finishes; as Architects
drawing 1223
431 | A | approx size 1000 x 650; to Gallery Room 04 | 1 | item |  | 0
Removing wall finishes
Existing silk wall covering, backing and any protruding
fixtures to be carefully removed and disposed off site,
existing vertical T&G boarding to be retained
131 | B | To Gallery Room 01, including to 8nr concealed | 298 | m² |  | 0
doors
133 | C | To Gallery Room 02 | 237 | m² |  | 0
184 | D | To Gallery Room 03 | 264 | m² |  | 0
262 | E | To Gallery Room 04 | 84 | m² |  | 0
|  | Page : 2/39 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
WALL FINISHES (Cont'd)
PROPRIETARY LININGS AND PARTITIONS
PROPRIETARY LINING TO WALLS
Plasterboard; as manufactured by British Gypsum;
reference Gyproc Wallboard; one layer 9.5 thick; fixed
to existing tongue & groove board; including all
joints, junctions, perimeter trims, restraints, packers,
fire seals and the like; all in accordance with
Architects specification clause K10/401A
Linings to walls
266 | A | Wall height 3.00m - 3.30m, commencing above | 28 | m |  | 0
600mm high skirting; to Gallery Room 04
169 | B | Wall height 3.90m - 4.20m, commencing above | 76 | m |  | 0
600mm high skirting; to Gallery Room 01
179 | C | Extra over to concealed single doors | 8 | nr |  | 0
171 | D | Wall height 4.20m - 4.50m, commencing above | 55 | m |  | 0
600mm high skirting; to Gallery Room 02
265 | E | Wall height 4.20m - 4.50m, commencing above | 63 | m |  | 0
600mm high skirting; to Gallery Room 03
|  | Page : 2/40 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
WALL FINISHES (Cont'd)
FLOOR, WALL, CEILING AND ROOF FINISHINGS
WALLS; PLASTERED; RENDERED; ROUGHCAST
Skim coat plaster, 2-3mm thick; all in accordance with
Architects specification clause K10/680
To walls
268 | A | Exceeding 600mm wide; work to walls up to but not | 84 | m² |  | 0
exceeding 3.6m above FFL; to plasterboard base;
Gallery Room 04
172 | B | Exceeding 600mm wide; work to walls up to but not | 298 | m² |  | 0
exceeding 4.5m above FFL; to plasterboard base;
Gallery Room 01
267 | C | Exceeding 600mm wide; work to walls up to but not | 264 | m² |  | 0
exceeding 4.8m above FFL; to plasterboard base;
Gallery Room 03
173 | D | Exceeding 600mm wide; work to walls up to but not | 237 | m² |  | 0
exceeding 4.9m above FFL; to plasterboard base;
Gallery Room 02
|  | Page : 2/41 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
WALL FINISHES (Cont'd)
DECORATION
PAINTING AND CLEAR FINISHES; PAINTING TO
GENERAL SURFACES
Paint to plaster/plasterboard; as manufactured by
Dulux Trade; reference Diamond Matt; all in
accordance with the Architects specification clause
M60/120A
Walls
270 | A | Exceeding 300mm girth; work to walls up to but not | 84 | m² |  | 0
exceeding 3.6m above FFL; Gallery Room 04
174 | B | Exceeding 300mm girth; work to walls up to but not | 298 | m² |  | 0
exceeding 4.5m above FFL; Gallery Room 01
269 | C | Exceeding 300mm girth; work to walls up to but not | 264 | m² |  | 0
exceeding 4.8m above FFL; Gallery Room 03
175 | D | Exceeding 300mm girth; work to walls up to but not | 237 | m² |  | 0
exceeding 4.9m above FFL; Gallery Room 02
|  | Page : 2/42 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
FLOOR FINISHES
FLOOR, WALL, CEILING AND ROOF FINISHINGS
FINISHES TO FLOORS
Remove and replace strips of 67x24mm timber floor
boards; to the approval of the CA
Floors
193 | A | 67 x 24 boards; remove existing boards in isolated | 20 | m |  | 0
areas, dispose off site, supply new to match existing
to replace broken or missing sections; to Gallery
Room 01 (Provisional)
439 | B | 67 x 24 boards; remove existing boards in isolated | 20 | m |  | 0
areas, dispose off site, supply new to match existing
to replace broken or missing sections; to Gallery
Room 02 (Provisional)
440 | C | 67 x 24 boards; remove existing boards in isolated | 20 | m |  | 0
areas, dispose off site, supply new to match existing
to replace broken or missing sections; to Gallery
Room 03 (Provisional)
441 | D | 67 x 24 boards; remove existing boards in isolated | 20 | m |  | 0
areas, dispose off site, supply new to match existing
to replace broken or missing sections; to Gallery
Room 04 (Provisional)
|  | Page : 2/43 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
FLOOR FINISHES (Cont'd)
DECORATION
PAINTING AND CLEAR FINISHES; PAINTING TO
GENERAL SURFACES
Painting timber; a manufactured by Dulux Trade;
reference Eggshell; prepare existing painted
softwood skirtings; one primer coat and two finishing
coats; prepare surfaces in accordance with the
Architects specification clause M60/440 & 460; paint
skirtings in accordance with the Architects
specification clause M60/150A
Internal
142 | A | 600 high, profiled; to Gallery Room 01 | 76 | m |  | 0
499 | B | Extra over for making good skirtings following the | 1 | item |  | 0
removal of existing, and the installation of new
electrical and other fittings
152 | C | 600 high, profiled; to Gallery Room 02 | 55 | m |  | 0
500 | D | Extra over for making good skirtings following the | 1 | item |  | 0
removal of existing, and the installation of new
electrical and other fittings
271 | E | 600 high, profiled; to Gallery Room 03 | 63 | m |  | 0
501 | F | Extra over for making good skirtings following the | 1 | item |  | 0
removal of existing, and the installation of new
electrical and other fittings
272 | G | 600 high, profiled; to Gallery Room 04 | 28 | m |  | 0
502 | H | Extra over for making good skirtings following the | 1 | item |  | 0
removal of existing, and the installation of new
electrical and other fittings
Refurbishment of timber flooring; make good,
prepare, sand and apply 2no. coats of Bona Traffic
HD Anti-slip Traffic HD/Traffic lacquer; to narrow
gauge strip timber flooring; prepare surfaces in
accordance with the Architects specification clauses
M60/161 & 440; apply sealer in accordance with the
Architects specification clause M60/161
Internal
160 | J | Over 300 girth; to existing timber flooring; to Gallery | 202 | m² |  | 0
Room 01
|  | Page : 2/44 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
FLOOR FINISHES (Cont'd)
DECORATION (Cont'd)
PAINTING AND CLEAR FINISHES; PAINTING TO
GENERAL SURFACES (Cont'd)
161 | A | Over 300 girth; to existing timber flooring; to Gallery | 156 | m² |  | 0
Room 02
274 | B | Over 300 girth; to existing timber flooring; to Gallery | 190 | m² |  | 0
Room 03
273 | C | Over 300 girth; to existing timber flooring; to Gallery | 51 | m² |  | 0
Room 04
|  | Page : 2/45 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES
ALTERATIONS, REPAIRS & CONSERVATION
CLEANING
Clean existing ceiling voids as Architects drawing
1221
Cleaning
327 | A | Cleaning walls and ceilings of void above historic lay | 438 | m² |  | 0
lights; works over 3.00m but not exceeding 6.00m
above finished floor level; to Gallery Room 01
Clean existing coated timber surfaces and prepare; all
in accordance with Architects drawing 2311 & 2312
and specification clause M60/400, 440 & 460
Cleaning; area B
384 | B | Work to ceilings or beams over 6.00m but not | 105 | m² |  | 0
exceeding 9.00m above finished floor level; timber
frames to rooflights (10nr); to Gallery Room 03
350 | C | Work to ceilings or beams over 6.00m but not | 46 | m² |  | 0
exceeding 9.00m above finished floor level; timber
frames to rooflights (10nr); to Gallery Room 02
Clean existing plaster and coatings; all in accordance
with Architects specification clause M20/524A
Drawing 2310; area A, moulded coffer ceiling
204 | D | Work to ceilings or beams over 6.00m but not | 64 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 01 (area measured on plan)
Drawing 2310; area B, moulded coffer ceiling (pitched)
214 | E | Work to ceilings or beams over 5.00m but not | 72 | m² |  | 0
exceeding 7.00m above finished floor level; Gallery
Room 01
Drawing 2310; area C, upstand
227 | F | Work to ceilings or beams over 3.00m but not | 11 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 01
|  | Page : 2/46 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
CLEANING (Cont'd)
Drawing 2310; area D, panelling and edge beading
231 | A | Work to ceilings or beams over 3.00m but not | 13 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 01
232 | B | Beading | 72 | m |  | 0
Drawing 2310; area G, decorative cast honeysuckle leaf
fibrous plaster frieze capped by a projecting egg and dart
cornice and a moulded profile below
324 | C | Work to ceilings or beams over 3.00m but not | 80 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 01
Drawing 2311; area A, ceilings of bays (5nr)
342 | D | Work to ceilings or beams over 6.00m but not | 22 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 02
Drawing 2311; area B, plastered arched panelled beams
(6nr) and adjacent surfaces (including shelf above frieze)
347 | E | Work to ceilings or beams over 6.00m but not | 169 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 02
Drawing 2311; area C, fluted frieze with a repeating
decorative floral circular design
371 | F | Work to ceilings or beams over 6.00m but not | 19 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 02
Drawing 2311; area D, tall chamfered coving which
projects into the room with raised panelled ribs located
between bays and decorative frieze head detail
377 | G | Work to ceilings or beams over 4.00m but not | 86 | m² |  | 0
exceeding 7.00m above finished floor level; Gallery
Room 02
|  | Page : 2/47 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
CLEANING (Cont'd)
Drawing 2311; area E, decorative cast honeysuckle leaf
fibrous plaster frieze capped by a projecting egg and dart
cornice and a moulded profile below
380 | A | Work to ceilings or beams over 4.00m but not | 40 | m² |  | 0
exceeding 7.00m above finished floor level; Gallery
Room 02
Drawing 2311; area F, end wall of gallery
387 | B | Work to ceilings or beams over 5.00m but not | 18 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 02
Drawing 2312; area A, ceiling bays
332 | C | Work to ceilings or beams over 6.00m but not | 47 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 03 (area measured on plan)
Drawing 2312; area B, rooflight surrounds & ceiling beams
338 | D | Work to ceilings or beams over 6.00m but not | 92 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 03
Drawing 2312; area C, fluted frieze, with a repeating
decorative floral design
362 | E | Work to ceilings or beams over 6.00m but not | 33 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 03
Drawing 2312; area D, tall chamfered coving which
projects into the room with raised panelled ribs located
between bays and decorative frieze head detail
368 | F | Work to ceilings or beams over 4.00m but not | 159 | m² |  | 0
exceeding 7.00m above finished floor level; Gallery
Room 03
Drawing 2312; area E, decorative cast honeysuckle leaf
plaster frieze capped by a projecting egg and dart cornice
and a moulded profile below
374 | G | Work to ceilings or beams over 3.00m but not | 66 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 03
|  | Page : 2/48 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
CLEANING (Cont'd)
Drawing 2312; area F, walls to lantern, north and south
elevation
335 | A | Work to ceilings or beams over 6.00m but not | 18 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 03
Drawing 2313; area A, ceiling bays including raised
plaster boarder to perimeter which includes and American
1920's / 1930's influenced egg and dart motif with bead
and reel design alongside a fluted frieze with raised
circular section to the corners
403 | B | Work to ceilings or beams over 3.00m but not | 20 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 04 (area measured on plan)
Drawing 2313; area B, pitched plaster ceiling, divided into
bays by panelled principle beams, the bays have a
recessed art deco style coffers
407 | C | Work to ceilings or beams over 3.00m but not | 34 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 04
Drawing 2313; area C, plaster paneling with stepped art
deco style framing, circular design set with panel beneath
principle beams with 6nr conical details beneath
410 | D | Work to ceilings or beams over 3.00m but not | 10 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 04
Drawing 2313; area D, plaster ceiling with simple stepped
art deco style cornice / framing
413 | E | Work to ceilings or beams over 3.00m but not | 19 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 04
Drawing 2313; area E, plastered section of vertical ceiling
416 | F | Work to ceilings or beams over 3.00m but not | 9 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 04
|  | Page : 2/49 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
REMOVING
Carefully remove existing glazing to rooflights at high
level
Drawing 2312; area B, timber rooflights (10nr)
385 | A | Carefully remove existing glazing to rooflights | 10 | nr |  | 0
including associated timber beading; works carried
out over 6.00m but not exceeding 9.00m above
finished floor level; rooflight size c. 3400 x 2300;
multiple panes; dispose all debris off site; make
good to structures and finishes disturbed; Gallery
Room 03;
Carefully remove modern blinds / louvres to rooflights
at high level
Drawing 2312; area B, blinds / louvres to rooflights
383 | B | Carefully remove modern blinds / louvres including | 10 | nr |  | 0
all associated fixings; works carried out over 6.00m
but not exceeding 9.00m above finished floor level;
rooflight size c. 3400 x 2300; dispose all debris off
site; make good to structures and finishes disturbed;
Gallery Room 03;
Modern coving to be carefully removed and disposed
off site, existing substrates and surfaces to be made
good
322 | C | Work to ceilings or beams over 3.00m but not | 80 | m |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 01
Modern suspended ceiling and all associated fixings
to be carefully removed and disposed off site,
existing substrates and surfaces to be made good
198 | D | Work to ceilings or beams over 3.00m but not | 195 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 01
200 | E | Work to ceilings or beams over 3.00m but not | 140 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 02
|  | Page : 2/50 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
REMOVING (Cont'd)
Parts of structures; the existing modern ceilings are
hung from steel beams which span the width of the
Gallery Room and take support from the existing
walls; whilst the form of connection at the wall is
unknown presently, care should be taken to remove
the beams in as least an obtrusive manner as is
possible, avoiding all hot-works which will not be
acceptable; it is anticipated that the beams will be
removed through the roof via the use of a crane as
opposed to manoeuvring them around the rest of the
floorplate, should this not be possible Roscoe are to
be involved in any investigations into the feasibility of
removing the steels in an alternative manner to
ensure loading allowances are not exceeded
Steelwork
554 | A | Remove principle steel 'I' beams within the ceiling | 16 | nr |  | 0
void; approximately 4660 span; to gallery room 01
555 | B | Extra over for infilling voids/pockets in masonry | 32 | nr |  | 0
wall following removal of steel beams
556 | C | Extra over for removal of steelwork supports, | 1 | item |  | 0
fixings and the like within the ceiling void
557 | D | Remove principle steel 'I' beams within the ceiling | 7 | nr |  | 0
void; approximately 7710 span; to gallery room 02
558 | E | Extra over for infilling voids/pockets in masonry | 14 | nr |  | 0
wall following removal of steel beams
559 | F | Extra over for removal of gantry walkway, | 1 | item |  | 0
handrail, steelwork supports, fixings and the like
within the ceiling void
REMOVING EXISTING AND REPLACING
Existing roof lights
Drawing 2312 & 3400; area B rooflights
392 | G | To each rooflight allow to replace 1nr full length | 10 | nr |  | 0
timber profile identified as moulding A and 1nr
glazing bar; work to ceilings or beams over 6.00m
but not exceeding 9.00m above finished floor level;
Gallery Room 03 (PROVISIONAL)
|  | Page : 2/51 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
REPAIRING
Existing roof lights
Drawing 2311 & 3400; area B rooflights
367 | A | To each rooflight (all visible frame, trims and profiles) | 10 | nr |  | 0
apply filler to repair damaged and chipped surfaces
and profiles; all in accordance with the Architects
specification clause C51 DIA/140; allow to repair 5%
of total visible surfaces; work to ceilings or beams
over 6.00m but not exceeding 9.00m above finished
floor level; Gallery Room 02 (PROVISIONAL)
366 | B | Undertake 1nr scarf repair to existing moulding A and | 10 | nr |  | 0
1nr scarf repair to the main frame; all in accordance
with the Architects specification clause C51
DIA/255D; work to ceilings or beams over 6.00m but
not exceeding 9.00m above finished floor level;
Gallery Room 02 (PROVISIONAL)
Drawing 2311; area B rooflights (10nr, total c. 83 sqm)
359 | C | Existing plywood infill will remain in situ, allowance to | 1 | item |  | 0
be made to provide additional fixings, 60mm long
stainless steel screws, 20% of existing number, to
ensure plywood is adequately supported; work to
ceilings or beams over 6.00m but not exceeding
9.00m above finished floor level; Gallery Room 02
Drawing 2312 & 3400; area B rooflights
388 | D | To each rooflight (all visible frame, trims and profiles) | 10 | nr |  | 0
apply filler to repair damaged and chipped surfaces
and profiles; all in accordance with the Architects
specification clause C51 DIA/140; allow to repair 5%
of total visible surfaces; work to ceilings or beams
over 6.00m but not exceeding 9.00m above finished
floor level; Gallery Room 03 (PROVISIONAL)
386 | E | Undertake 1nr scarf repair to existing moulding A and | 10 | nr |  | 0
1nr scarf repair to the main frame; all in accordance
with the Architects specification clause C51
DIA/255D; work to ceilings or beams over 6.00m but
not exceeding 9.00m above finished floor level;
Gallery Room 03 (PROVISIONAL)
|  | Page : 2/52 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
REPAIRING (Cont'd)
Repair damp staining on surface of plasterwork; allow
to carefully remove defective plaster, treat organic
growth, renew decayed timber substrate and laths to
match existing and re-plaster using an appropriate
lime based plaster; all in accordance with Architects
specification clauses M20/492, 567D, 569D, 573D &
587
Drawing 2312; area D, tall chamfered coving which
projects into the room with raised panelled ribs located
between bays and decorative frieze head detail
402 | A | Work to ceilings or beams over 4.00m but not | 8 | m² |  | 0
exceeding 7.00m above finished floor level; Gallery
Room 03: Provisional
Drawing 2313; area B, pitched plaster ceiling, divided into
bays by panelled principle beams, the bays have a
recessed art deco style coffers
419 | B | Work to ceilings or beams over 3.00m but not | 3 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 04: Provisional
Repair existing plaster and coatings; all in accordance
with Architects specification clauses M20/532D to
M20/599
Drawing 2310; area A, moulded coffer ceiling
205 | C | Work to ceilings or beams over 6.00m but not | 64 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 01 (area measured on plan)
Drawing 2310; area C, upstand
228 | D | Work to ceilings or beams over 3.00m but not | 11 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 01
Drawing 2310; area D, panelling and edge beading
233 | E | Work to ceilings or beams over 3.00m but not | 13 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 01
234 | F | Beading | 72 | m |  | 0
|  | Page : 2/53 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
REPAIRING (Cont'd)
Drawing 2311; area A, ceilings of bays (5nr)
343 | A | Work to ceilings or beams over 6.00m but not | 22 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 02
Drawing 2311; area B, plastered arched panelled beams
(6nr) and adjacent surfaces (including shelf above frieze)
348 | B | Work to ceilings or beams over 6.00m but not | 169 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 02
Drawing 2311; area D, tall chamfered coving which
projects into the room with raised panelled ribs located
between bays and decorative frieze head detail
378 | C | Work to ceilings or beams over 4.00m but not | 86 | m² |  | 0
exceeding 7.00m above finished floor level; Gallery
Room 02
Drawing 2312; area A, ceiling bays
333 | D | Work to ceilings or beams over 6.00m but not | 47 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 03 (area measured on plan)
Drawing 2312; area B, rooflight surrounds & ceiling beams
344 | E | Work to ceilings or beams over 6.00m but not | 92 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 03
Drawing 2312; area D, tall chamfered coving which
projects into the room with raised panelled ribs located
between bays and decorative frieze head detail
369 | F | Work to ceilings or beams over 4.00m but not | 159 | m² |  | 0
exceeding 7.00m above finished floor level; Gallery
Room 03
Drawing 2312; area F, walls to lantern, north and south
elevation
336 | G | Work to ceilings or beams over 6.00m but not | 18 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 03 (area measured on plan)
|  | Page : 2/54 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
REPAIRING (Cont'd)
Drawing 2313; area A, ceiling bays including raised
plaster boarder to perimeter which includes an American
1920's / 1930's influenced egg and dart motif with bead
and reel design alongside a fluted frieze with raised
circular section to the corners
405 | A | Work to ceilings or beams over 3.00m but not | 20 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 04 (area measured on plan)
Drawing 2313; area B, pitched plaster ceiling, divided into
bays by panelled principle beams, the bays have a
recessed art deco style coffers
408 | B | Work to ceilings or beams over 3.00m but not | 34 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 04
Drawing 2313; area C, plaster paneling with stepped art
deco style framing, circular design set with panel beneath
principle beams with 6nr conical details beneath
411 | C | Work to ceilings or beams over 3.00m but not | 10 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 04
Drawing 2313; area D, plaster ceiling with simple stepped
art deco style cornice / framing
414 | D | Work to ceilings or beams over 3.00m but not | 19 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 04
Drawing 2313; area E, plastered section of vertical ceiling
418 | E | Work to ceilings or beams over 3.00m but not | 9 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 04
Repair existing plaster and coatings; all in accordance
with Architects specification clauses M20/567D
Drawing 2310; area B, moulded coffer ceiling (pitched)
215 | F | Work to ceilings or beams over 5.00m but not | 72 | m² |  | 0
exceeding 7.00m above finished floor level; Gallery
Room 01
|  | Page : 2/55 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
REPAIRING (Cont'd)
223 | A | Reinstate missing boarding to 10nr coffers, form | 1 | item |  | 0
detail to match existing and apply lime plaster
skim coat in accordance with Architects
specification clauses M20/567D
Repair existing plaster and coatings; all in accordance
with Architects specification clauses M20/681, 682 &
683
Drawing 2310; area G, decorative cast honeysuckle leaf
fibrous plaster freeze capped by a projecting egg and dart
cornice and a moulded profile below
325 | B | Work to ceilings or beams over 3.00m but not | 80 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 01
Drawing 2311; area C, fluted frieze with a repeating
decorative floral circular design
372 | C | Work to ceilings or beams over 6.00m but not | 19 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 02
Drawing 2311; area E, decorative cast honeysuckle leaf
fibrous plaster freeze capped by a projecting egg and dart
cornice and a moulded profile below
381 | D | Work to ceilings or beams over 4.00m but not | 40 | m² |  | 0
exceeding 7.00m above finished floor level; Gallery
Room 02
Drawing 2311; area F, end wall of gallery
389 | E | Work to ceilings or beams over 5.00m but not | 18 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 02
Drawing 2312; area C, fluted frieze, with a repeating
decorative floral design
363 | F | Work to ceilings or beams over 6.00m but not | 33 | m² |  | 0
exceeding 9.00m above finished floor level; Gallery
Room 03; Provisional
|  | Page : 2/56 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
ALTERATIONS, REPAIRS & CONSERVATION (Cont'd)
REPAIRING (Cont'd)
Drawing 2312; area E, decorative cast honeysuckle leaf
plaster frieze capped by a projecting egg and dart cornice
and a moulded profile below
375 | A | Work to ceilings or beams over 3.00m but not | 66 | m² |  | 0
exceeding 6.00m above finished floor level; Gallery
Room 03; Provisional
CLEANING
Clean and prepare existing painted metal frames in
accordance with the Architects specification clauses
L40/152 and M60/401A
Drawing 2310; area E, historic vents within the laylight
frame
443 | B | Work to ceilings or beams over 3.00m but not | 48 | nr |  | 0
exceeding 6.00m above finished floor level; aperture
size c. 1400 x 200; Gallery Room 01
Drawing 2310; area F, traditional horizontal laylights
444 | C | Work to ceilings or beams over 3.00m but not | 24 | nr |  | 0
exceeding 6.00m above finished floor level; laylight
size c. 2100 x 1400 made up of multiple panes;
Gallery Room 01
|  | Page : 2/57 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
CARPENTRY
CONTRACTOR DESIGN PORTION
New timber partition and framework to support
decorative plaster details in Gallery Room 02
420 | A | The Contractor is required to design, supply and | 1 | item |  | 0
install new timber partition and framework to support
decorative plaster details in Gallery Room 02. The
works will extend to, and include, the design, supply
and installation of associated secondary supports
and the plywood standing platform and any
alterations required to the existing structure to
accommodate these works. Refer to drawing 2311.
TIMBER BOARDING, FLOORING, SHEETING,
DECKING, CASINGS, LININGS, SARKING, FASCIAS,
BARGEBOARDS, SOFFITS AND THE LIKE.
Plywood; 18 thick marine ply boarding to full aperture
of openings, seal perimeter; all in accordance with
the Architects specification
Drawing 2310; area E, historic vents within the laylight
frame
317 | B | aperture size c. 1400 x 200; work to ceilings or | 48 | nr |  | 0
beams over 3.00m but not exceeding 6.00m above
finished floor level; to Gallery Room 01
Plywood; including sealing perimeter; all in
accordance with Architects specification clause
G20/310
Drawing 2312; area B, timber rooflights (10nr)
393 | C | aperture size c. 3400 x 2300; work to ceilings or | 10 | nr |  | 0
beams over 6.00m but not exceeding 9.00m above
finished floor level; to Gallery Room 03
|  | Page : 2/58 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
CARPENTRY (Cont'd)
ORNAMENTAL TIMBER MEMBERS
Softwood; Douglas fir or Accoya; ornamental
softwood timber; all in accordance with Architects
specification clause G20/220A
Drawing 2312 & 3400 detail 6 & 8
395 | A | 15mm timber bead (exact size and profile to match | 592 | m |  | 0
existing); work to ceilings or beams over 6.00m but
not exceeding 9.00m above finished floor level;
Gallery Room 03
Drawing 3400, detail 6
355 | B | Mounding A, glazing bar, c.100 deep (exact size and | 116 | m |  | 0
profile to match the detail in Gallery Room 03); work
to ceilings or beams over 6.00m but not exceeding
9.00m above finished floor level; Gallery Room 02
Drawing 3400, detail 6 & 8
351 | C | 15mm timber bead (exact size and profile to match | 1032 | m |  | 0
the detail in Gallery Room 03); work to ceilings or
beams over 6.00m but not exceeding 9.00m above
finished floor level; Gallery Room 02
Drawing 3400, detail 8
357 | D | Glazing bar, c.100 deep (exact size and profile to | 458 | m |  | 0
match the detail in Gallery Room 03); gridded at c.
450 c/c; work to ceilings or beams over 6.00m but
not exceeding 9.00m above finished floor level;
Gallery Room 02
Drawing 3400, detail 9
429 | E | 48 x 72; fixed to softwood joists; include for packer to | 8 | m |  | 0
suit; work to ceilings or beams over 3.00m but not
exceeding 6.00m above finished floor level; Gallery
Room 02
430 | F | Bead; fixed to softwood members; work to ceilings or | 8 | m |  | 0
beams over 3.00m but not exceeding 6.00m above
finished floor level; Gallery Room 02
|  | Page : 2/59 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
PROPRIETARY LININGS AND PARTITIONS
PROPRIETARY LINING TO CEILINGS
Plasterboard; 2 layers of 12.5mm thick plasterboard;
including all joints, junctions, perimeter trims,
restraints, packers, fire seals and the like; all in
accordance with Architects specification clause
K10/245
Linings to ceilings
433 | A | Over 600 wide; fixed to softwood framework; work to | 11 | m² |  | 0
ceilings or beams over 3.00m but not exceeding
6.00m above finished floor level; Gallery Room 02
Plasterboard; as manufactured by British Gypsum;
reference Gyproc Wallboard; 15mm thick; including
all joints, junctions, perimeter trims, restraints,
packers, fire seals and the like; all in accordance with
Architects specification clause K10/401A
Linings to ceilings
360 | B | 3200 x 2600; fixed to existing plywood roof light | 10 | nr |  | 0
infills; work to ceilings or beams over 6.00m but not
exceeding 9.00m above finished floor level; to
Gallery Room 02
|  | Page : 2/60 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
METALWORK
WIRE MESH
Stainless steel expanding metal lath; 0.4mm thick;
fixing to timber framework; all in accordance with the
Architects drawing 3400
Mesh
432 | A | 312 high; refer to Detail 9; to Gallery 02 | 4 | m |  | 0
|  | Page : 2/61 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
GLAZING
GLASS
Glazing to laylights; reference: 7mm Pilkingtons
Stippoyte Laminated Glass (Obscure Glazing); bead
fixed single glazing in existing metal frames; allow
for new slimline subframe all in accordance with
Achitects Specification clause L40/242
Drawing 2310; area F, traditional horizontal laylights
320 | A | Approximately 2100 x 1400 made up of multiple | 24 | nr |  | 0
panes; work to ceilings or beams over 3.00m but not
exceeding 6.00m above finished floor level; to
Gallery Room 01
|  | Page : 2/62 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
FLOOR, WALL, CEILING AND ROOF FINISHINGS
CEILINGS; PLASTERED; RENDERED; ROUGHCAST
Skim coat plaster, 2-3mm thick; all in accordance with
Architects specification clause K10/680
To ceilings
434 | A | Exceeding 600mm wide; to plasterboard base; work | 10 | m² |  | 0
to ceilings or beams over 3.00m but not exceeding
6.00m above finished floor level; drawing 2311,
detail 5; Gallery Room 02
361 | B | Exceeding 600mm wide; to plasterboard base; work | 83 | m² |  | 0
to ceilings or beams over 6.00m but not exceeding
9.00m above finished floor level; Gallery Room 02
435 | C | Not exceeding 600mm wide; to plasterboard base; | 4 | m |  | 0
work to ceilings or beams over 3.00m but not
exceeding 6.00m above finished floor level; drawing
2311, detail 5; Gallery Room 02
Lath and plaster; 3 coats lime plaster on and including
25 x 6 treated Chestnut laths; including all works to
junctions, angles and the like; all in accordance with
Architects specification clauses M20DIA/626 & 492
To ceilings
421 | D | Exceeding 600mm wide; Drawing 2311, detail 5, to | 26 | m² |  | 0
tall chamfered coving which projects into the room
with raised panelled ribs and decorative frieze; work
to ceilings or beams over 3.00m but not exceeding
6.00m above finished floor level; to Gallery Room 02
Plaster moulding; reproduction of existing plaster
mouldings; all in accordance with architects
specification clauses M20DIA/100 & 695
To ceilings
427 | E | Approximately 720 high; decorative cast honeysuckle | 8 | m |  | 0
leaf fibrous plaster frieze capped by a projecting egg
and dart cornice and a moulded profile below; refer
to drawing 2311 detail 5; work to ceilings or beams
over 3.00m but not exceeding 6.00m above finished
floor level; to Gallery Room 02
|  | Page : 2/63 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
FLOOR, WALL, CEILING AND ROOF FINISHINGS
(Cont'd)
CEILINGS; PLASTERED; RENDERED; ROUGHCAST
(Cont'd)
426 | A | Fluted frieze with a repeating decorative floral | 8 | m |  | 0
circular design; c. 370 wide; refer to drawing 2311
detail 5; work to ceilings or beams over 3.00m but
not exceeding 6.00m above finished floor level; to
Gallery Room 02
422 | B | Fluted frieze with a repeating decorative floral | 8 | m |  | 0
circular design; c. 470 high; refer to drawing 2311
detail 5; work to ceilings or beams over 3.00m but
not exceeding 6.00m above finished floor level; to
Gallery Room 02
|  | Page : 2/64 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
DECORATION
PAINTING AND CLEAR FINISHES; PAINTING TO
GENERAL SURFACES
Painting existing painted metal frames in accordance
with the Architects specification clauses M60/112
Drawing 2310; area E, historic vents within the laylight
frame
442 | A | Work to ceilings or beams over 3.00m but not | 48 | nr |  | 0
exceeding 6.00m above finished floor level; aperture
size c.1400 x 200; to Gallery Room 01
Drawing 2310; area F, traditional horizontal laylights
321 | B | Work to ceilings or beams over 3.00m but not | 24 | nr |  | 0
exceeding 6.00m above finished floor level; laylight
size c. 2100 x 1400 made up of multiple panes; to
Gallery Room 01
Painting existing plaster and coatings; prepare
surfaces in accordance with the Architects
specification clause M60/400; apply Classidur
traditional paint system in accordance with the
Architects specification clause M60/120
Drawing 2313; area C, plaster paneling with stepped art
deco style framing, circular design set with panel beneath
principle beams with 6nr conical details beneath
412 | C | Exceeding 300mm girth; work to ceilings or beams | 10 | m² |  | 0
over 3.00m but not exceeding 6.00m above finished
floor level; to Gallery Room 04
Drawing 2313; area D, plaster ceiling with simple stepped
art deco style cornice / framing
415 | D | Exceeding 300mm girth; work to ceilings or beams | 19 | m² |  | 0
over 3.00m but not exceeding 6.00m above finished
floor level; to Gallery Room 04
Drawing 2313; area E, plastered section of vertical ceiling
417 | E | Exceeding 300mm girth; work to ceilings or beams | 9 | m² |  | 0
over 3.00m but not exceeding 6.00m above finished
floor level; to Gallery Room 04
|  | Page : 2/65 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
DECORATION (Cont'd)
PAINTING AND CLEAR FINISHES; PAINTING TO
GENERAL SURFACES (Cont'd)
Drawing 2310; area A, moulded coffer ceiling
207 | A | Exceeding 300mm girth; work to ceilings or beams | 64 | m² |  | 0
over 6.00m but not exceeding 9.00m above finished
floor level; to Gallery Room 01 (area measured on
plan)
Drawing 2310; area B, moulded coffer ceiling (pitched)
224 | B | Exceeding 300mm girth; work to ceilings or beams | 72 | m² |  | 0
over 5.00m but not exceeding 7.00m above finished
floor level; to Gallery Room 01
Drawing 2310; area C, upstand
230 | C | Exceeding 300mm girth; work to ceilings or beams | 11 | m² |  | 0
over 3.00m but not exceeding 6.00m above finished
floor level; to Gallery Room 01
Drawing 2310; area D, panelling and edge beading
235 | D | Exceeding 300mm girth; work to ceilings or beams | 13 | m² |  | 0
over 3.00m but not exceeding 6.00m above finished
floor level; to Gallery Room 01
354 | E | Not exceeding 300mm girth; work to ceilings or | 72 | m |  | 0
beams over 3.00m but not exceeding 6.00m above
finished floor level; to Gallery Room 01
Drawing 2310; area G, decorative cast honeysuckle leaf
fibrous plaster frieze capped by a projecting egg and dart
cornice and a moulded profile below
326 | F | Exceeding 300mm girth; work to ceilings or beams | 80 | m² |  | 0
over 3.00m but not exceeding 6.00m above finished
floor level; to Gallery Room 01
Drawing 2311; area A, ceilings of bays (5nr)
345 | G | Exceeding 300mm girth; work to ceilings or beams | 22 | m² |  | 0
over 6.00m but not exceeding 9.00m above finished
floor level; to Gallery Room 02
|  | Page : 2/66 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
DECORATION (Cont'd)
PAINTING AND CLEAR FINISHES; PAINTING TO
GENERAL SURFACES (Cont'd)
Drawing 2311; area B, plastered arched panelled beams
(6nr) and adjacent surfaces (including shelf above frieze)
349 | A | Exceeding 300mm girth; work to ceilings or beams | 169 | m² |  | 0
over 6.00m but not exceeding 9.00m above finished
floor level; to Gallery Room 02
Drawing 2311; area C, fluted frieze with a repeating
decorative floral circular design
373 | B | Exceeding 300mm girth; work to ceilings or beams | 19 | m² |  | 0
over 6.00m but not exceeding 9.00m above finished
floor level; to Gallery Room 02
Drawing 2311; area D, tall chamfered coving which
projects into the room with raised panelled ribs located
between bays and decorative frieze head detail
379 | C | Exceeding 300mm girth; work to ceilings or beams | 86 | m² |  | 0
over 4.00m but not exceeding 7.00m above finished
floor level; to Gallery Room 02
Drawing 2311; area E, decorative cast honeysuckle leaf
fibrous plaster frieze capped by a projecting egg and dart
cornice and a moulded profile below
382 | D | Exceeding 300mm girth; work to ceilings or beams | 40 | m² |  | 0
over 4.00m but not exceeding 7.00m above finished
floor level; to Gallery Room 02
Drawing 2311; area F, end wall of gallery
390 | E | Exceeding 300mm girth; work to ceilings or beams | 18 | m² |  | 0
over 5.00m but not exceeding 9.00m above finished
floor level; to Gallery Room 02
Drawing 2312; area A, ceiling bays
334 | F | Exceeding 300mm girth; work to ceilings or beams | 47 | m² |  | 0
over 6.00m but not exceeding 9.00m above finished
floor level; to Gallery Room 03 (area measured on
plan)
|  | Page : 2/67 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
DECORATION (Cont'd)
PAINTING AND CLEAR FINISHES; PAINTING TO
GENERAL SURFACES (Cont'd)
Drawing 2312; area B, rooflight surrounds & ceiling beams
346 | A | Exceeding 300mm girth; work to ceilings or beams | 92 | m² |  | 0
over 6.00m but not exceeding 9.00m above finished
floor level; to Gallery Room 03
Drawing 2312; area C, fluted frieze, with a repeating
decorative floral design
365 | B | Exceeding 300mm girth; work to ceilings or beams | 33 | m² |  | 0
over 6.00m but not exceeding 9.00m above finished
floor level; to Gallery Room 03
Drawing 2312; area D, tall chamfered coving which
projects into the room with raised panelled ribs located
between bays and decorative frieze head detail
370 | C | Exceeding 300mm girth; work to ceilings or beams | 159 | m² |  | 0
over 4.00m but not exceeding 7.00m above finished
floor level; to Gallery Room 03
Drawing 2312; area E, decorative cast honeysuckle leaf
plaster frieze capped by a projecting egg and dart cornice
and a moulded profile below
376 | D | Exceeding 300mm girth; work to ceilings or beams | 66 | m² |  | 0
over 3.00m but not exceeding 6.00m above finished
floor level; to Gallery Room 03
Drawing 2312; area F, walls to lantern, north and south
elevation
337 | E | Exceeding 300mm girth; work to ceilings or beams | 18 | m² |  | 0
over 6.00m but not exceeding 9.00m above finished
floor level; to Gallery Room 03 (area measured on
plan)
Drawing 2313; area A, ceiling bays including raised
plaster boarder to perimeter which includes an American
1920's / 1930's influenced egg and dart motif with bead
and reel design alongside a fluted frieze with raised
circular section to the corners
406 | F | Exceeding 300mm girth; work to ceilings or beams | 20 | m² |  | 0
over 3.00m but not exceeding 6.00m above finished
floor level; to Gallery Room 04 (area measured on
plan)
|  | Page : 2/68 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
DECORATION (Cont'd)
PAINTING AND CLEAR FINISHES; PAINTING TO
GENERAL SURFACES (Cont'd)
Drawing 2313; area B, pitched plaster ceiling, divided into
bays by panelled principle beams, the bays have a
recessed art deco style coffers
409 | A | Exceeding 300mm girth; work to ceilings or beams | 34 | m² |  | 0
over 3.00m but not exceeding 6.00m above finished
floor level; to Gallery Room 04
Painting plaster/plasterboard; as manufactured by
Dulux Trade; reference Diamond Matt; all in
accordance with the Architects specification clause
M60/120A
Ceilings
436 | B | Exceeding 300mm girth; work to ceilings or beams | 10 | m² |  | 0
over 3.00m but not exceeding 6.00m above finished
floor level; to Gallery Room 02
398 | C | Exceeding 300mm girth; work to ceilings or beams | 78 | m² |  | 0
over 6.00m but not exceeding 9.00m above finished
floor level; to Gallery Room 03
437 | D | Not exceeding 300mm girth; work to ceilings or | 4 | m |  | 0
beams over 3.00m but not exceeding 6.00m above
finished floor level; as detail 5 on drawing 2311; to
Gallery Room 02
Painting plywood; as manufactured by Dulux Trade;
reference Eggshell; all in accordance with the
Architects specification clause M60/150A
Ceilings
364 | E | Exceeding 300mm girth; work to ceilings or beams | 83 | m² |  | 0
over 6.00m but not exceeding 9.00m above finished
floor level; to Gallery Room 02
Drawing 2310; area E, historic vents within the laylight
frame
318 | F | Not exceeding 300mm girth; work to ceilings or | 67 | m |  | 0
beams over 3.00m but not exceeding 6.00m above
finished floor level; to Gallery Room 01
|  | Page : 2/69 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
CEILING FINISHES (Cont'd)
DECORATION (Cont'd)
PAINTING AND CLEAR FINISHES; PAINTING TO
GENERAL SURFACES (Cont'd)
Painting timber; as manufactured by Dulux Trade;
reference Eggshell; all in accordance with the
Architects specification clause M60/150A
Drawing 2312 & 3400 detail 6 & 8
399 | A | Exceeding 300mm girth; work to ceilings or beams | 40 | m² |  | 0
over 6.00m but not exceeding 9.00m above finished
floor level; to Gallery Room 03
400 | B | Not exceeding 300mm girth; work to ceilings or | 478 | m |  | 0
beams over 6.00m but not exceeding 9.00m above
finished floor level; to Gallery Room 03
Drawing 3400, detail 6 & 8
358 | C | Exceeding 300mm girth; work to ceilings or beams | 41 | m² |  | 0
over 6.00m but not exceeding 9.00m above finished
floor level; to Gallery Room 02
353 | D | Not exceeding 300mm girth; work to ceilings or | 458 | m |  | 0
beams over 6.00m but not exceeding 9.00m above
finished floor level; to Gallery Room 02
Drawing 3400, detail 9
438 | E | Not exceeding 300mm girth; work to ceilings or | 8 | m |  | 0
beams over 3.00m but not exceeding 6.00m above
finished floor level; to Gallery Room 02
|  | Page : 2/70 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
FITTINGS, FIXTURES AND FURNITURE
ALTERATIONS, REPAIRS & CONSERVATION
REMOVING EXISTING AND REPLACING
Carefully remove, redecorate and reinstate existing
metal picture rail
Gallery Room 02
177 | A | Carefully remove metal picture rail located beneath | 25 | m |  | 0
decorative plasterwork, prepare and redecorate to
match the new wall colour, reinstate onto the new
surface of the walls
Gallery Room 03
275 | B | Carefully remove metal picture rail located beneath | 63 | m |  | 0
decorative plasterwork, prepare and redecorate to
match the new wall colour, reinstate onto the new
surface of the walls
|  | Page : 2/71 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
SERVICES
MECHANICAL SERVICES
MECHANICAL INSTALLATIONS
Generally
|  | The Contractor is referred to the Mechanical services | 1 |  |  | 0
design drawings and specification prepared by Max
Fordham for the complete descriptions and details of
the Mechanical Installations
The following is a summary of the works required for
the Mechanical Services Installations as set out in the
summary of tender prepared by Max Fordham
495 | A | MEP Preliminaries Generally | 1 | item |  | 0
503 | B | 4.0 Design Responsibilities | 1 | item |  | 0
504 | C | 7.1 Surveys | 1 | item |  | 0
505 | D | 7.6 Maintenance of existing services | 1 | item |  | 0
506 | E | 11.1 Record Information | 1 | item |  | 0
507 | F | 11.2 Operation and Maintenance Manuals | 1 | item |  | 0
508 | G | 11.3 Building User Guide | 1 | item |  | 0
509 | H | 11.4 Testing and Commissioning - Demonstration | 1 | item |  | 0
510 | J | 12.1 Training of employer’s staff | 1 | item |  | 0
511 | K | 12.3 Seasonal Commissioning | 1 | item |  | 0
512 | L | 12.4 Maintenance during rectification period | 1 | item |  | 0
513 | M | Identification, decommissioning and strip out of | 1 | item |  | 0
existing services - Mechanical
515 | N | Foul Drainage - Above Ground System | 1 | item |  | 0
516 | P | Cold water | 1 | item |  | 0
517 | Q | Chilled water distribution | 1 | item |  | 0
518 | R | Low Temperature Hot Water Heating System | 1 | item |  | 0
519 | S | Central Chiller Plant | 1 | item |  | 0
520 | T | General ventilation | 1 | item |  | 0
|  | Page : 2/72 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
SERVICES (Cont'd)
MECHANICAL SERVICES (Cont'd)
MECHANICAL INSTALLATIONS (Cont'd)
521 | A | Central control/Building management | 1 | item |  | 0
|  | Page : 2/73 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
SERVICES (Cont'd)
ELECTRICAL SERVICES
ELECTRICAL INSTALLATIONS
Generally
|  | The Contractor is referred to the Electrical services | 1 |  |  | 0
design drawings and specification prepared by Max
Fordham for the complete descriptions and details of
the Electrical Installations
The following is a summary of the works required for
the Mechanical Services Installations as set out in the
summary of tender prepared by Max Fordham
497 | A | MEP Preliminaries Generally | 1 | item |  | 0
522 | B | 4.0 Design Responsibilities | 1 | item |  | 0
523 | C | 7.1 Surveys | 1 | item |  | 0
524 | D | 7.6 Maintenance of existing services | 1 | item |  | 0
525 | E | 11.1 Record Information | 1 | item |  | 0
526 | F | 11.2 Operation and Maintenance Manuals | 1 | item |  | 0
527 | G | 11.3 Building User Guide | 1 | item |  | 0
528 | H | 11.4 Testing and Commissioning - Demonstration | 1 | item |  | 0
529 | J | 12.1 Training of employer’s staff | 1 | item |  | 0
530 | K | 12.3 Seasonal Commissioning | 1 | item |  | 0
531 | L | 12.4 Maintenance during rectification period | 1 | item |  | 0
532 | M | Identification, decommissioning and strip out of | 1 | item |  | 0
existing services - Electrical
533 | N | LV Distribution | 1 | item |  | 0
534 | P | Small Power Systems | 1 | item |  | 0
535 | Q | General Lighting | 1 | item |  | 0
536 | R | Emergency Lighting | 1 | item |  | 0
537 | S | Structured Cabling System | 1 | item |  | 0
538 | T | Surveillance Systems | 1 | item |  | 0
|  | Page : 2/74 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
SERVICES (Cont'd)
ELECTRICAL SERVICES (Cont'd)
ELECTRICAL INSTALLATIONS (Cont'd)
539 | A | Security Detection and Alarm | 1 | item |  | 0
540 | B | Fire Detection and Alarm | 1 | item |  | 0
541 | C | Earthing, Bonding, EMC and Surge Protection | 1 | item |  | 0
542 | D | Lightning Protection | 1 | item |  | 0
|  | Page : 2/75 |  |  | To Summary £ | 0
BQ Id | Ref:- | Description | Qty | Unit | Rate | Amount
SERVICES (Cont'd)
BUILDERS WORK IN CONNECTION WITH
MECHANICAL, ELECTRICAL & TRANSPORTATION
INSTALLATIONS
WORK FOR SERVICE INSTALLATION IN EXISTING
BUILDINGS
Generally
498 | A | All for all builder's work in connection with | 1 | item |  | 0
mechanical & electrical installations; including but
not limited to ducts, pipesleeves, intumescent
packing/stops, holes, mortices, chases, pipe
boxings, conduits, plinths, mountings, patresses and
the like
|  | Page : 2/76 |  |  | To Summary £ | 0
| Ref:- | Description |  |  |  | Amount
| Ref:- | SECTION NR 2 - SCHEDULE OF WORKS - WALKER ART GALLERY
|  | Page : 2/1 |  |  |  | 0
|  | Page : 2/2 |  |  |  | 0
|  | Page : 2/3 |  |  |  | 0
|  | Page : 2/4 |  |  |  | 0
|  | Page : 2/5 |  |  |  | 0
|  | Page : 2/6 |  |  |  | 0
|  | Page : 2/7 |  |  |  | 0
|  | Page : 2/8 |  |  |  | 0
|  | Page : 2/9 |  |  |  | 0
|  | Page : 2/10 |  |  |  | 0
|  | Page : 2/11 |  |  |  | 0
|  | Page : 2/12 |  |  |  | 0
|  | Page : 2/13 |  |  |  | 0
|  | Page : 2/14 |  |  |  | 0
|  | Page : 2/15 |  |  |  | 0
|  | Page : 2/16 |  |  |  | 0
|  | Page : 2/17 |  |  |  | 0
|  | Page : 2/18 |  |  |  | 0
|  | Page : 2/19 |  |  |  | 0
|  | Page : 2/20 |  |  |  | 0
|  | Page : 2/21 |  |  |  | 0
|  | Page : 2/22 |  |  |  | 0
|  | Page : 2/23 |  |  |  | 0
|  | Page : 2/24 |  |  |  | 0
|  | Page : 2/25 |  |  |  | 0
|  | Page : 2/77 |  |  | C'fwd | 0
| Ref:- | Description |  |  |  | Amount
|  | B'fwd |  |  |  | 0
|  | Page : 2/26 |  |  |  | 0
|  | Page : 2/27 |  |  |  | 0
|  | Page : 2/28 |  |  |  | 0
|  | Page : 2/29 |  |  |  | 0
|  | Page : 2/30 |  |  |  | 0
|  | Page : 2/31 |  |  |  | 0
|  | Page : 2/32 |  |  |  | 0
|  | Page : 2/33 |  |  |  | 0
|  | Page : 2/34 |  |  |  | 0
|  | Page : 2/35 |  |  |  | 0
|  | Page : 2/36 |  |  |  | 0
|  | Page : 2/37 |  |  |  | 0
|  | Page : 2/38 |  |  |  | 0
|  | Page : 2/39 |  |  |  | 0
|  | Page : 2/40 |  |  |  | 0
|  | Page : 2/41 |  |  |  | 0
|  | Page : 2/42 |  |  |  | 0
|  | Page : 2/43 |  |  |  | 0
|  | Page : 2/44 |  |  |  | 0
|  | Page : 2/45 |  |  |  | 0
|  | Page : 2/46 |  |  |  | 0
|  | Page : 2/47 |  |  |  | 0
|  | Page : 2/48 |  |  |  | 0
|  | Page : 2/49 |  |  |  | 0
|  | Page : 2/50 |  |  |  | 0
|  | Page : 2/51 |  |  |  | 0
|  | Page : 2/78 |  |  | C'fwd | 0
| Ref:- | Description |  |  |  | Amount
|  | B'fwd |  |  |  | 0
|  | Page : 2/52 |  |  |  | 0
|  | Page : 2/53 |  |  |  | 0
|  | Page : 2/54 |  |  |  | 0
|  | Page : 2/55 |  |  |  | 0
|  | Page : 2/56 |  |  |  | 0
|  | Page : 2/57 |  |  |  | 0
|  | Page : 2/58 |  |  |  | 0
|  | Page : 2/59 |  |  |  | 0
|  | Page : 2/60 |  |  |  | 0
|  | Page : 2/61 |  |  |  | 0
|  | Page : 2/62 |  |  |  | 0
|  | Page : 2/63 |  |  |  | 0
|  | Page : 2/64 |  |  |  | 0
|  | Page : 2/65 |  |  |  | 0
|  | Page : 2/66 |  |  |  | 0
|  | Page : 2/67 |  |  |  | 0
|  | Page : 2/68 |  |  |  | 0
|  | Page : 2/69 |  |  |  | 0
|  | Page : 2/70 |  |  |  | 0
|  | Page : 2/71 |  |  |  | 0
|  | Page : 2/72 |  |  |  | 0
|  | Page : 2/73 |  |  |  | 0
|  | Page : 2/74 |  |  |  | 0
|  | Page : 2/75 |  |  |  | 0
|  | Page : 2/76 |  |  |  | 0
|  | Page : 2/79 |  |  | To Summary £ | 0