## Cost Model
AW5.2 Price Schedule
SOURCING REFERENCE: | FM20097 | [6 empty] | Bidders are required to complete all red highlighted cells. All prices are to be firm and fixed and include all relevant costs, such as (but not exclusively) travel costs, management, overheads and profits etc., which may be required for the successful completion of the services. Bidders are to use SFG20 to price for Planned Preventative Maintenance, the relevant schedule has been identified in column E. For the avoidance of doubt the total compiled within cell (C181) will be used for the evaluation of this procurement.
SOURCING DOCUMENT TITLE: | Heating, Ventilation and Air Conditioning Maintenance
BIDDER NAME | [Bidder to add name]
Year 1 | PPM | [9 empty] | Notes & Comments
Systems | Assets | No of Assets | SFG20 Schedule(s) used for pricing | Self Delivered, Subcontracted or Retained Supplier | Name of Subcontractor | Subcontracted Costs | Self Delivered Hours | Self Delivered Hourly Rate | Total PPM Cost | Total
Air Conditioning | Chiller | 4 | 09-02 |  |  | 0 |  | 0 | 0 | 0
| Process Chiller | 1 | 09-02 |  |  | 0 |  | 0 | 0 | 0
| Compressor - Screw | 4 | 12-02 |  |  | 0 |  | 0 | 0 | 0
| Condensing Unit | 3 | 13-02 |  |  | 0 |  | 0 | 0 | 0
| Chilled Water Distribution | 1 | 40-24 |  |  | 0 |  | 0 | 0 | 0
| Close Control Unit | 1 | 54-03 |  |  | 0 |  | 0 | 0 | 0
| Split System | 135 | 54-03 |  |  | 0 |  | 0 | 0 | 0
| Split System Condenser | 69 | 54-03 |  |  | 0 |  | 0 | 0 | 0
| Data Centre Chilled Water | 1 | 54-04 |  |  | 0 |  | 0 | 0 | 0
| Data Centre DX Unit - Down Flow | 17 | 54-05 |  |  | 0 |  | 0 | 0 | 0
| VRV / VRF | 9 | 59-07 |  |  | 0 |  | 0 | 0 | 0
Compressed Air | Pipework | 4 | 40-01 |  |  | 0 |  | 0 | 0 | 0
| Compressor | 10 | 40-08 |  |  | 0 |  | 0 | 0 | 0
| Dryer | 2 | 40-09 |  |  | 0 |  | 0 | 0 | 0
Controls | Gas Detection System | 14 | 23-15 |  |  | 0 |  | 0 | 0 | 0
| Gas Detector | 2 | 23-15 |  |  | 0 |  | 0 | 0 | 0
| Gas Monitor | 6 | 23-15 |  |  | 0 |  | 0 | 0 | 0
| Pressure Calibrator | 1 | N/A |  |  | 0 |  | 0 | 0 | 0
| BMS | 29 | 06-05 |  |  | 0 |  | 0 | 0 | 0
Gas Supply | Solenoid Valve | 13 | 40-22 |  |  | 0 |  | 0 | 0 | 0
Heating | Gas Boiler (Atmospheric) | 1 | 05-03 |  |  | 0 |  | 0 | 0 | 0
| Gas Boiler (Condensing) | 16 | 05-04 |  |  | 0 |  | 0 | 0 | 0
| LPG Combi Boiler | 1 | 05-29 |  |  | 0 |  | 0 | 0 | 0
| Flue | 12 | 24-01 |  |  | 0 |  | 0 | 0 | 0
| Calorifier | 5 | 32-05 |  |  | 0 |  | 0 | 0 | 0
| Expansion Vessel | 13 | 32-12 |  |  | 0 |  | 0 | 0 | 0
| Pumps | 93 | 45-01 |  |  | 0 |  | 0 | 0 | 0
Pressurisation Units | Pressurisation Unit | 14 | 40-25 |  |  | 0 |  | 0 | 0 | 0
Ventilation | Air Handling Unit | 12 | 03-01 |  |  | 0 |  | 0 | 0 | 0
| Air Input Handling Unit | 2 | 03-01 |  |  | 0 |  | 0 | 0 | 0
| Extract Fan | 18 | 20-08 |  |  | 0 |  | 0 | 0 | 0
Water | Expansion Vessel | 2 | 32-12 |  |  | 0 |  | 0 | 0 | 0
Other | Fume Cupboards | 16 | 64-08 |  |  | 0 |  | 0 | 0 | 0
Provisional Sum | Material and Conumsable Provisional Sum | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2000
| Total | 531
TOTAL YEAR 1 | [9 empty] | 2000
Year 2 | PPM | [9 empty] | Notes & Comments
Systems | Assets | No of Assets | SFG20 Schedule(s) used for pricing | Self Delivered, Subcontracted or Retained Supplier | Name of Subcontractor | Subcontracted Costs | Self Delivered Hours | Self Delivered Hourly Rate | Total PPM Cost | Total
Air Conditioning | Chiller | 4 | 09-02 |  |  | 0 |  | 0 | 0 | 0
| Process Chiller | 1 | 09-02 |  |  | 0 |  | 0 | 0 | 0
| Compressor - Screw | 4 | 12-02 |  |  | 0 |  | 0 | 0 | 0
| Condensing Unit | 3 | 13-02 |  |  | 0 |  | 0 | 0 | 0
| Chilled Water Distribution | 1 | 40-24 |  |  | 0 |  | 0 | 0 | 0
| Close Control Unit | 1 | 54-03 |  |  | 0 |  | 0 | 0 | 0
| Split System | 135 | 54-03 |  |  | 0 |  | 0 | 0 | 0
| Split System Condenser | 69 | 54-03 |  |  | 0 |  | 0 | 0 | 0
| Data Centre Chilled Water | 1 | 54-04 |  |  | 0 |  | 0 | 0 | 0
| Data Centre DX Unit - Down Flow | 17 | 54-05 |  |  | 0 |  | 0 | 0 | 0
| VRV / VRF | 9 | 59-07 |  |  | 0 |  | 0 | 0 | 0
Compressed Air | Pipework | 4 | 40-01 |  |  | 0 |  | 0 | 0 | 0
| Compressor | 10 | 40-08 |  |  | 0 |  | 0 | 0 | 0
| Dryer | 2 | 40-09 |  |  | 0 |  | 0 | 0 | 0
Controls | Gas Detection System | 14 | 23-15 |  |  | 0 |  | 0 | 0 | 0
| Gas Detector | 2 | 23-15 |  |  | 0 |  | 0 | 0 | 0
| Gas Monitor | 6 | 23-15 |  |  | 0 |  | 0 | 0 | 0
| Pressure Calibrator | 1 | N/A |  |  | 0 |  | 0 | 0 | 0
| BMS | 29 | 06-05 |  |  | 0 |  | 0 | 0 | 0
Gas Supply | Solenoid Valve | 13 | 40-22 |  |  | 0 |  | 0 | 0 | 0
Heating | Gas Boiler (Atmospheric) | 1 | 05-03 |  |  | 0 |  | 0 | 0 | 0
| Gas Boiler (Condensing) | 16 | 05-04 |  |  | 0 |  | 0 | 0 | 0
| LPG Combi Boiler | 1 | 05-29 |  |  | 0 |  | 0 | 0 | 0
| Flue | 12 | 24-01 |  |  | 0 |  | 0 | 0 | 0
| Calorifier | 5 | 32-05 |  |  | 0 |  | 0 | 0 | 0
| Expansion Vessel | 13 | 32-12 |  |  | 0 |  | 0 | 0 | 0
| Pumps | 93 | 45-01 |  |  | 0 |  | 0 | 0 | 0
Pressurisation Units | Pressurisation Unit | 14 | 40-25 |  |  | 0 |  | 0 | 0 | 0
Ventilation | Air Handling Unit | 12 | 03-01 |  |  | 0 |  | 0 | 0 | 0
| Air Input Handling Unit | 2 | 03-01 |  |  | 0 |  | 0 | 0 | 0
| Extract Fan | 18 | 20-08 |  |  | 0 |  | 0 | 0 | 0
Water | Expansion Vessel | 2 | 32-12 |  |  | 0 |  | 0 | 0 | 0
Other | Fume Cupboards | 16 | 64-08 |  |  | 0 |  | 0 | 0 | 0
Provisional Sum | Material and Conumsable Provisional Sum | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2000
| Total | 531
TOTAL YEAR 2 | [9 empty] | 2000
Year 3 | PPM | [9 empty] | Notes & Comments
Systems | Assets | No of Assets | SFG20 Schedule(s) used for pricing | Self Delivered, Subcontracted or Retained Supplier | Name of Subcontractor | Subcontracted Costs | Self Delivered Hours | Self Delivered Hourly Rate | Total PPM Cost | Total
Air Conditioning | Chiller | 4 | 09-02 |  |  | 0 |  | 0 | 0 | 0
| Process Chiller | 1 | 09-02 |  |  | 0 |  | 0 | 0 | 0
| Compressor - Screw | 4 | 12-02 |  |  | 0 |  | 0 | 0 | 0
| Condensing Unit | 3 | 13-02 |  |  | 0 |  | 0 | 0 | 0
| Chilled Water Distribution | 1 | 40-24 |  |  | 0 |  | 0 | 0 | 0
| Close Control Unit | 1 | 54-03 |  |  | 0 |  | 0 | 0 | 0
| Split System | 135 | 54-03 |  |  | 0 |  | 0 | 0 | 0
| Split System Condenser | 69 | 54-03 |  |  | 0 |  | 0 | 0 | 0
| Data Centre Chilled Water | 1 | 54-04 |  |  | 0 |  | 0 | 0 | 0
| Data Centre DX Unit - Down Flow | 17 | 54-05 |  |  | 0 |  | 0 | 0 | 0
| VRV / VRF | 9 | 59-07 |  |  | 0 |  | 0 | 0 | 0
Compressed Air | Pipework | 4 | 40-01 |  |  | 0 |  | 0 | 0 | 0
| Compressor | 10 | 40-08 |  |  | 0 |  | 0 | 0 | 0
| Dryer | 2 | 40-09 |  |  | 0 |  | 0 | 0 | 0
Controls | Gas Detection System | 14 | 23-15 |  |  | 0 |  | 0 | 0 | 0
| Gas Detector | 2 | 23-15 |  |  | 0 |  | 0 | 0 | 0
| Gas Monitor | 6 | 23-15 |  |  | 0 |  | 0 | 0 | 0
| Pressure Calibrator | 1 | N/A |  |  | 0 |  | 0 | 0 | 0
| BMS | 29 | 06-05 |  |  | 0 |  | 0 | 0 | 0
Gas Supply | Solenoid Valve | 13 | 40-22 |  |  | 0 |  | 0 | 0 | 0
Heating | Gas Boiler (Atmospheric) | 1 | 05-03 |  |  | 0 |  | 0 | 0 | 0
| Gas Boiler (Condensing) | 16 | 05-04 |  |  | 0 |  | 0 | 0 | 0
| LPG Combi Boiler | 1 | 05-29 |  |  | 0 |  | 0 | 0 | 0
| Flue | 12 | 24-01 |  |  | 0 |  | 0 | 0 | 0
| Calorifier | 5 | 32-05 |  |  | 0 |  | 0 | 0 | 0
| Expansion Vessel | 13 | 32-12 |  |  | 0 |  | 0 | 0 | 0
| Pumps | 93 | 45-01 |  |  | 0 |  | 0 | 0 | 0
Pressurisation Units | Pressurisation Unit | 14 | 40-25 |  |  | 0 |  | 0 | 0 | 0
Ventilation | Air Handling Unit | 12 | 03-01 |  |  | 0 |  | 0 | 0 | 0
| Air Input Handling Unit | 2 | 03-01 |  |  | 0 |  | 0 | 0 | 0
| Extract Fan | 18 | 20-08 |  |  | 0 |  | 0 | 0 | 0
Water | Expansion Vessel | 2 | 32-12 |  |  | 0 |  | 0 | 0 | 0
Other | Fume Cupboards | 16 | 64-08 |  |  | 0 |  | 0 | 0 | 0
Provisional Sum | Material and Conumsable Provisional Sum | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2000
| Total | 531
TOTAL YEAR 3 | [9 empty] | 2000
Year 4 | PPM | [9 empty] | Notes & Comments
Systems | Assets | No of Assets | SFG20 Schedule(s) used for pricing | Self Delivered, Subcontracted or Retained Supplier | Name of Subcontractor | Subcontracted Costs | Self Delivered Hours | Self Delivered Hourly Rate | Total PPM Cost | Total
Air Conditioning | Chiller | 4 | 09-02 |  |  | 0 |  | 0 | 0 | 0
| Process Chiller | 1 | 09-02 |  |  | 0 |  | 0 | 0 | 0
| Compressor - Screw | 4 | 12-02 |  |  | 0 |  | 0 | 0 | 0
| Condensing Unit | 3 | 13-02 |  |  | 0 |  | 0 | 0 | 0
| Chilled Water Distribution | 1 | 40-24 |  |  | 0 |  | 0 | 0 | 0
| Close Control Unit | 1 | 54-03 |  |  | 0 |  | 0 | 0 | 0
| Split System | 135 | 54-03 |  |  | 0 |  | 0 | 0 | 0
| Split System Condenser | 69 | 54-03 |  |  | 0 |  | 0 | 0 | 0
| Data Centre Chilled Water | 1 | 54-04 |  |  | 0 |  | 0 | 0 | 0
| Data Centre DX Unit - Down Flow | 17 | 54-05 |  |  | 0 |  | 0 | 0 | 0
| VRV / VRF | 9 | 59-07 |  |  | 0 |  | 0 | 0 | 0
Compressed Air | Pipework | 4 | 40-01 |  |  | 0 |  | 0 | 0 | 0
| Compressor | 10 | 40-08 |  |  | 0 |  | 0 | 0 | 0
| Dryer | 2 | 40-09 |  |  | 0 |  | 0 | 0 | 0
Controls | Gas Detection System | 14 | 23-15 |  |  | 0 |  | 0 | 0 | 0
| Gas Detector | 2 | 23-15 |  |  | 0 |  | 0 | 0 | 0
| Gas Monitor | 6 | 23-15 |  |  | 0 |  | 0 | 0 | 0
| Pressure Calibrator | 1 | N/A |  |  | 0 |  | 0 | 0 | 0
| BMS | 29 | 06-05 |  |  | 0 |  | 0 | 0 | 0
Gas Supply | Solenoid Valve | 13 | 40-22 |  |  | 0 |  | 0 | 0 | 0
Heating | Gas Boiler (Atmospheric) | 1 | 05-03 |  |  | 0 |  | 0 | 0 | 0
| Gas Boiler (Condensing) | 16 | 05-04 |  |  | 0 |  | 0 | 0 | 0
| LPG Combi Boiler | 1 | 05-29 |  |  | 0 |  | 0 | 0 | 0
| Flue | 12 | 24-01 |  |  | 0 |  | 0 | 0 | 0
| Calorifier | 5 | 32-05 |  |  | 0 |  | 0 | 0 | 0
| Expansion Vessel | 13 | 32-12 |  |  | 0 |  | 0 | 0 | 0
| Pumps | 93 | 45-01 |  |  | 0 |  | 0 | 0 | 0
Pressurisation Units | Pressurisation Unit | 14 | 40-25 |  |  | 0 |  | 0 | 0 | 0
Ventilation | Air Handling Unit | 12 | 03-01 |  |  | 0 |  | 0 | 0 | 0
| Air Input Handling Unit | 2 | 03-01 |  |  | 0 |  | 0 | 0 | 0
| Extract Fan | 18 | 20-08 |  |  | 0 |  | 0 | 0 | 0
Water | Expansion Vessel | 2 | 32-12 |  |  | 0 |  | 0 | 0 | 0
Other | Fume Cupboards | 16 | 64-08 |  |  | 0 |  | 0 | 0 | 0
Provisional Sum | Material and Conumsable Provisional Sum | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2000
| Total | 531
TOTAL YEAR 4 | [9 empty] | 2000
Year 1 | 2000
Year 2 | 2000
Year 3 | 2000
Year 4 | 2000
Total used for Evaluation | 8000
All prices are firm and fixed.
All prices are exclusive of VAT

## SoR (Information Only)
AW5.2 Price Schedule - Schedule of Rates
SOURCING REFERENCE: | FM20097 |  |  |  | Bidders are required to complete all red highlighted cells. Bidders are to note that the rates provided are for information only however will form part of the contract and be used for remedial, reactive and minor works. All rates are fixed for three years and are subject to review should the Contracting Authority implement a Contract extension.
SOURCING DOCUMENT TITLE: | Heating, Ventilation and Air Conditioning Maintenance
BIDDER NAME | [Bidder to add name]
Normal Hours: 08:00 to 17:00 Monday to Thursday, 08:00 to 16:00 Fridays excluding Public Holidays
Out of Hours: 18:01 - 07:59 Monday to Friday, and any time Saturday, Sundays or designated Public Holidays
Trade/Level | Hourly Charge Rate Normal Hours: | Hourly Charge Rate Ot of Hours: | Day Rate Monday to Friday | Day Rate Saturday, Sunday & Public Holidays
HVAC Engineer - Holds an Advanced City & Guilds Craft Certificate, BTEC ONC/OND, NVQ Level 3 or equivalent in mechanical fields or demonstrates an equivalent level of experience | 0 | 0 | 0 | 0
Multi-Trade Engineer - Holds an Advanced City & Guilds Craft Certificate, BTEC ONC/OND, NVQ Level 3 or equivalent in both electrical and mechanical fields or demonstrates an equivalent level of experience in both fields | 0 | 0 | 0 | 0
BMS Controls Engineer - Meets the approvals required by the system manufacturers | 0 | 0 | 0 | 0
Gas Safe Engineer - CORGI Registered | 0 | 0 | 0 | 0
General Operative - Tradesperson who can demonstrate suitable experience and competence | 0 | 0 | 0 | 0
Electrical Engineer - Holds an Advanced City & Guilds Craft Certificate, BTEC ONC/OND, NVQ Level 3 or equivalent in electrical fields or demonstrates an equivalent level of experience | 0 | 0 | 0 | 0
Apprentice - Training for an appropriate recognised qualification | 0 | 0 | 0 | 0
Minor Works Minor Works is work other than Planned Preventative or Reactive Maintenance required by the Client. Minor Works include replacement, remedial works, repairs refurbishment, upgrade/improvement works to the assets outlined in Appendix 4. The Contractor will price for the works based on the labour rates provided above, materials costs and sub-contractor costs, plus mark-up percentages. Mark-up percentages for Minor Works are to be provided against the net labour charge rate, net invoiced material costs and net invoiced sub-contractor costs.
Net (Invoiced) Value (£) | Mark-up on labour | Mark-up on materials | Mark-up on sub-contractors
| % | % | %
£0 to £5,000 | 0 | 0 | 0
£5,001 to £10,000 | 0 | 0 | 0
£10,001 to £25,000 | 0 | 0 | 0
£25,001 to £50,000 | 0 | 0 | 0
All rates are firm and fixed.
All prices are exclusive of VAT