## Asset Data
Asset Number | Category | General Category | Sub Category | Full Asset Description | Condition | Status | Inactive Since | Department Name | Location | Asset Notes | Asset Make | Asset Model | Asset Serial Number | Asset Owner | Priority | Criticality | System | Fault Group | Supplier Code | Supplier Name | Maint Ref | Type | Missing | Scrapped | F Gas Register >2.4kg | Type of F-Gas | Quantity of F-Gas | F Gas Register >3kg | Quantity of F-Gas Circuit 1 | Contact | Fan | k W | Motor | Installer | F Gas Register <2.4kg | Group | Drawings | Specification
24002001 | Air Conditioning Chiller | Air Conditioning | Chiller | Chiller No. 1 | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/External Plant Area |  | Carrier | 30RA-160-A0564-PEE | 12X316398 | [11 empty] | Yes | R407C |  |  | 37.4
24002002 | Air Conditioning Chiller | Air Conditioning | Chiller | Chiller No. 2 | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/External Plant Area |  | Carrier | 30RA-160-A0564-PEE | 12X316400 | [11 empty] | Yes | R407C |  |  | 37.4
24002003 | Air Conditioning Chiller | Air Conditioning | Process Chiller | Process Chiller | Good |  |  |  | 2/DL/Hartree (Building 2)/External/General Area |  | M.T.A S.P.A | TAE evo 031
24002004 | Air Conditioning Chiller | Air Conditioning | Condensing Unit | Process Chiller | Good |  |  |  | 2/DL/Restaurant/External |  | Danfoss Opttma Plus TM | 0458968P0411
24002005 | Air Conditioning Chiller | Air Conditioning | Condensing Unit | Process Chiller | Good |  |  |  | 2/DL/Restaurant/External |  | Danfoss Blue Star | MGZ022C12E | SM24 018645
24002006 | Air Conditioning Chiller | Air Conditioning | Condensing Unit | Process Chiller | Good |  |  |  | 2/DL/Restaurant/External |  | Danfoss Blue Star | MGZ022C12E | 0318644
Chiller-3 | Air Conditioning Chiller | Air Conditioning | Chiller | Chiller | Good |  |  |  | 2/DL/Tower Block/External/General Area |  | Carrier | 30RA-200-B0403-PEE | 12r505477 | [11 empty] | Yes | R407C |  |  | 28
Chiller-Hartree 1 | Air Conditioning Chiller | Air Conditioning | Compressor - Screw | AC Compressor | Good |  |  |  | 2/DL/C Block/External/HPC Compound |  | Trane | TRANE RTAC 185 | EKU423 | [11 empty] | Yes | HFC 134a
Chiller-Hartree 2 | Air Conditioning Chiller | Air Conditioning | Compressor - Screw | AC Compressor | Good |  |  |  | 2/DL/C Block/External/HPC Compound |  | Trane | TRANE RTAC 185 | EKU4224 | [11 empty] | Yes | HFC 134a |  |  | 189
Chiller-Hartree 3 | Air Conditioning Chiller | Air Conditioning | Compressor - Screw | AC Compressor | Good |  |  |  | 2/DL/C Block/External/HPC Compound |  | Trane | TRANE RTAC 185 | EKU4225 | [11 empty] | Yes | HFC 134a |  |  | 189
Chiller-Hartree 4 | Air Conditioning Chiller | Air Conditioning | Compressor - Screw | AC Compressor | Good |  |  |  | 2/DL/C Block/External/HPC Compound |  | Trane | TRANE RTAC 185 | EKU4222 | [11 empty] | Yes | HFC 134a |  |  | 189
Chiller-Hartree 5 | Air Conditioning Chiller | Air Conditioning | Chiller | Chiller | Good |  |  |  | 2/DL/C Block/External/HPC Compound |  | Trane | 49TA462.01 | EKX1018 | [11 empty] | Yes | R410A
7001033 | Air Conditioning Plant | Air Conditioning | VRV / VRF | VRV Unit | Good |  |  |  | 2/DL/Amenity/External/Ventilation Plant Room 4 (Outside Compound) |  | Daikin
7001091 | Air Conditioning Plant | Air Conditioning | VRV / VRF | VRV | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/External/General Area |  | Daikin Seasonal | RZQ100D91V1B | 3PW49321-96
7001092 | Air Conditioning Plant | Air Conditioning | VRV / VRF | VRV | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/External/General Area |  | Daikin VRV 111 | RXYQ8PW1B | 1710730 | [12 empty] | R410A |  | Yes
7001093 | Air Conditioning Plant | Air Conditioning | VRV / VRF | VRV | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/External/General Area |  | Daikin VRV 111 | RXYQ8PW1B | 3PW28170-51V | [12 empty] | R410A |  | Yes
7001095 | Air Conditioning Plant | Air Conditioning | VRV / VRF | VRV | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/External/General Area |  | Daikin VRV 111 | RXYQ8PW1B | 1710721 | [12 empty] | R410A |  | Yes
7001097 | Air Conditioning Plant | Air Conditioning | VRV / VRF | VRV Unit | Good |  |  |  | 2/DL/Amenity/External/Ventilation Plant Room 4 (Outside Compound) |  | Daikin | [14 empty] | R410A |  | Yes
7001098 | Air Conditioning Plant | Air Conditioning | VRV / VRF | VRV | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/1st Floor/A41 |  | Daikin VRV 111 | RXYQ8PW1B | 3PW28170-35N | [12 empty] | R410A |  | Yes
7001099 | Air Conditioning Plant | Air Conditioning | VRV / VRF | VRV | Good |  |  |  | 2/DL/Hartree (Building 2)/External/General Area |  | Mitsubishi Electrical City Multi | PUHY-P250YJM-A | 3YW10077 | [12 empty] | R410A |  | Yes
7004010 | Air Conditioning Plant | Air Conditioning | Data Centre Chilled Water | Stultz Chilled Water A/C Unit | Good |  |  |  | 2/DL/Tower Block/1st Floor/Server Room-Computer Room |  | Stultz
24001014 | Air Conditioning Plant | Air Conditioning | Chilled Water Distribution | Chilled Water Distribution | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 | Supplies AIR TO TOILETS (Air is not chilled)
24004017 | Air Conditioning Plant | Air Conditioning | VRV / VRF | Panasonic Unit (VRF System) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/External Plant Area |  | Panasonic | U-12MF7E8 (ECOi) | 0008728 | [12 empty] | R410A |  | Yes
7001006 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/A56-Brunner-Mond |  | Daikin | FXFQ63P7VEB | [12 empty] | Yes | R410A
7001007 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/A56-Brunner-Mond |  | Daikin | FXFQ63P7VEB | [12 empty] | Yes | R410A
7001009 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Internal Unit | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/A56-Brunner-Mond |  | Mitsubishi | PLA-P3AA
7001030 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Wall | Good |  |  |  | 2/DL/B Block/Ground Floor/B24A-Telecoms |  | Daikin | FTKS50F
7001035 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Internal Unit | Good |  |  |  | 2/DL/B Block/Ground Floor/B42-Estates |  | Fujitsu | AOY45TLA3W
7001036 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Wall | Good |  |  |  | 2/DL/B Block/1st Floor/B60-Conference Room 3 |  | Fujitsu | ASYA14LCC
7001038 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Internal Unit | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building) |  | Mitsubishi | PLA-P2KA
7001039 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Internal Unit | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building) |  | Mitsubishi | PLA-P2KA
7001044 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Ducted | Good |  |  |  | 2/DL/C Block/Ground Floor/C24A-IT Support Area |  | Fujitsu | ABY30EGA-W
7001045 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Ducted | Good |  |  |  | 2/DL/C Block/Ground Floor/C24A-IT Support Area |  | Fujitsu | ABY30EGA-W
7001046 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Ceiling | Good |  |  |  | 2/DL/C Block/Ground Floor/C24-IT Support Area |  | Fujitsu | ARY36ALB3
7001047 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Cassette | Good |  |  |  | 2/DL/C Block/1st Floor/C18A |  | Fujitsu | AUY30ELA-W
7001048 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Cassette | Good |  |  |  | 2/DL/C Block/1st Floor/C18A |  | Fujitsu | AUY30ELA-W
7001049 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Wall | Good |  |  |  | 2/DL/C Block/Ground Floor/C1 |  | Fujitsu | ASY14RSE-W
7001053 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Ducted | Good |  |  |  | 2/DL/Tower Block/1st Floor/T22 |  | Fujitsu | ASYA30LCC
7001058 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Close Control | Good |  |  |  | 2/DL/D Block/Ground Floor/D5 (VELA Main Control Room) |  | Liebert | S23UA
7001059 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Close Control | Good |  |  |  | 2/DL/D Block/Ground Floor/D5 (VELA Main Control Room) |  | Liebert | S23UA
7001068 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Internal Unit | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/1st Floor/Merrison Lecture Theatre Projection Room |  | Fujitsu | ASYA18LCC
7001069 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Internal Wall | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/Restaurant |  | Fujitsu | ASYB30LCC
7001070 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Wall | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/Restaurant |  | Fujitsu | ASYB30LCC
7001071 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Cassette | Good |  |  |  | 2/DL/Restaurant/Ground Floor/Shop |  | Fujitsu | AUY20UFARR
7001073 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/Coffee Lounge |  | Fujitsu | AUY25UFAR
7001074 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning Condensor | Good |  |  |  | 2/DL/B Block/Ground Floor/B42-Estates |  | Daikin | RXYQ16M9W1B | 1501133 | [11 empty] | Yes | R410A
7001077 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Wall | Good |  |  |  | 2/DL/B Block/Ground Floor/B40-Reprographics |  | Daikin | FXAQ50MVE
7001083 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Cassette | Good |  |  |  | 2/DL/Tower Block/1st Floor/T24 |  | Fujitsu | AUY18LBAB
7001084 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Cassette | Good |  |  |  | 2/DL/Tower Block/1st Floor/T24 |  | Fujitsu | ARY14UUAD
7001085 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Ceiling | Good |  |  |  | 2/DL/Tower Block/Ground Floor/T5 |  | Carrier | 3ORA200BO403PEE
7001088 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/Coffee Lounge |  | Fujitsu | AUY25UFARR
7001096 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Wall | Good |  |  |  | 2/DL/B Block/1st Floor/B60-Conference Room 3 |  | Fujitsu | ASYA14LCC
7001104 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Ducted | Good |  |  |  | 2/DL/M Block/Ground Floor/M1A |  | Daikin | FHYB35CZ7V1
7001105 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Ducted | Good |  |  |  | 2/DL/M Block/Ground Floor/M1B |  | Daikin | FHYB35CZ7V1
7001106 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Ducted | Good |  |  |  | 2/DL/M Block/Ground Floor/M2 |  | Daikin | FHYB35CZ7V1
7001107 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Ducted | Good |  |  |  | 2/DL/M Block/Ground Floor/M1 |  | Daikin | FHYBP100B7V1
7001108 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Ducted | Good |  |  |  | 2/DL/M Block/Ground Floor/M1 |  | Daikin | RHYBP100B7V1
7001109 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Wall | Good |  |  |  | 2/DL/F Block (ITAC)/Ground Floor/I-TAC 9 |  | Fujitsu | ASY14USAVW
7001110 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Wall | Good |  |  |  | 2/DL/F Block (ITAC)/Ground Floor/I-TAC 9 |  | Fujitsu | ASY24RWG-W
7001111 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Wall | Good |  |  |  | 2/DL/F Block (ITAC)/Ground Floor/I-TAC 7 |  | Toshiba | RAV-242 K-PE | [22 empty] | yes
7001112 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Wall | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/I-TAC 16 |  | Toshiba | RAS-13EK
7001113 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Cassette | Good |  |  |  | 2/DL/F Block (ITAC)/Ground Floor/I-TAC 19 |  | Fujitsu | AUY18TGA
7001115 | Air Conditioning Split | Ventilation | Air Handling Unit | Air Conditioning Air Handling Unit | Good |  |  |  | 2/DL/Tower Block/Ground Floor/Plant Room-Old Gas Plant Room |  | Emmerson | S120A
7001116 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Cassette | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Insertion Device and Test Assembly Area |  | Fujitsu | AUY30RLC-W
7001117 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Cassette | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Insertion Device and Test Assembly Area |  | Fujitsu | AUY30RLC-W
7001118 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Ceiling | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Assembly Clean Rooms |  | Fujitsu | ARY36TLA3
7001119 | Air Conditioning Split | Air Conditioning | Data Centre DX Unit - Down Flow | Air Conditioning Down Flow | Good |  |  |  | 2/DL/Tower Block/1st Floor/Rack Room-ALICE |  | Emmerson | S120A | [12 empty] | Yes | R407C
7001120 | Air Conditioning Split | Air Conditioning | Data Centre DX Unit - Down Flow | Air Conditioning Down Flow | Good |  |  |  | 2/DL/Tower Block/1st Floor/Rack Room-ALICE |  | Emmerson | S120A | [12 empty] | Yes | R407C
7001121 | Air Conditioning Split | Air Conditioning | Data Centre DX Unit - Down Flow | Air Conditioning Down Flow | Good |  |  |  | 2/DL/Tower Block/1st Floor/Rack Room-ALICE | [15 empty] | Yes | R407C
7001122 | Air Conditioning Split | Air Conditioning | Data Centre DX Unit - Down Flow | Air Conditioning Down Flow | Good |  |  |  | 2/DL/D Block/Ground Floor/D6 Computer Room | Liebert HPM | Emmerson | S23UA000A00010F0 | 8440110001 | [11 empty] | Yes | R407C
7001123 | Air Conditioning Split | Air Conditioning | Data Centre DX Unit - Down Flow | Air Conditioning Down Flow | Good |  |  |  | 2/DL/D Block/Ground Floor/D6 Computer Room | Liebert HPM | Emmerson | S23UA000A200010FO | 8440120002 | [11 empty] | Yes | R407C
7001124 | Air Conditioning Split | Air Conditioning | Data Centre DX Unit - Down Flow | Air Conditioning Down Flow | Good |  |  |  | 2/DL/D Block/Ground Floor/D6 Computer Room | Liebert HPM | Emmerson | S23UA000A200010F0 | 8440120001 | [11 empty] | Yes | R407C
7001129 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Internal Unit | Good |  |  |  | 2/DL/Reception/Ground Floor/RB8-Security Area |  | Daikin
7001130 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning Condenser | Good |  |  |  | 2/DL/Reception/Ground Floor/RB8-Security Area |  | Daikin | RP71L7V1 | 2403296
7001131 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Internal Unit | Good |  |  |  | 2/DL/Reception/Ground Floor/RB6-Board Room
7001132 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning Condenser | Good |  |  |  | 2/DL/Reception/Ground Floor/RB6-Board Room |  | Daikin | RP71L7V1 | 2403417
7004011 | Air Conditioning Split | Air Conditioning | Split System | Stultz A/C Unit DX Unit | Good |  |  |  | 2/DL/Tower Block/1st Floor/Server Room-Computer Room
7005001 | Air Conditioning Split | Air Conditioning | Split System | Canatal Air Conditioning Unit Internal | Good |  |  |  | 2/DL/C Block/Ground Floor/LDR-HPC Low Density Room |  | Canatal | 9AD26KEBHAS
7005002 | Air Conditioning Split | Air Conditioning | Data Centre DX Unit - Down Flow | Air Conditioning Down Flow | Good |  |  |  | 2/DL/C Block/Ground Floor/LDR-HPC Low Density Room |  | Canatal | 9AD26KEBHAS
7005003 | Air Conditioning Split | Air Conditioning | Split System | Canatal Air Conditioning Unit Internal | Good |  |  |  | 2/DL/C Block/Ground Floor/LDR-HPC Low Density Room |  | Canatal | 9AD26KEBHAS
7005004 | Air Conditioning Split | Air Conditioning | Data Centre DX Unit - Down Flow | Air Conditioning Down Flow | Good |  |  |  | 2/DL/C Block/Ground Floor/LDR-HPC Low Density Room |  | Canatal | 9AD26KEBHAS
7005005 | Air Conditioning Split | Air Conditioning | Data Centre DX Unit - Down Flow | Air Conditioning Down Flow | Good |  |  |  | 2/DL/C Block/Ground Floor/LDR-HPC Low Density Room |  | Canatal | 9AD26KXXHAS
7005006 | Air Conditioning Split | Air Conditioning | Data Centre DX Unit - Down Flow | Air Conditioning Down Flow | Good |  |  |  | 2/DL/C Block/Ground Floor/LDR-HPC Low Density Room |  | Canatal | 9AD26KEBHAS | [12 empty] | Yes | R407C
7005007 | Air Conditioning Split | Air Conditioning | Data Centre DX Unit - Down Flow | Air Conditioning Down Flow | Good |  |  |  | 2/DL/C Block/Ground Floor/LDR-HPC Low Density Room |  | Canatal | 9AD26KXXHAS | [12 empty] | Yes | R407C
7005014 | Air Conditioning Split | Air Conditioning | Data Centre DX Unit - Down Flow | Air Conditioning Down Flow | Good |  |  |  | 2/DL/C Block/Ground Floor/ARCG |  | Canatal | 9AD26KEBHAS | [12 empty] | Yes | R407C
7005016 | Air Conditioning Split | Air Conditioning | Close Control Unit | Air Conditioning Close Control | Good |  |  |  | 2/DL/C Block/Ground Floor/ARCG |  | Liebert | 24UA | [12 empty] | Yes | R410A
7005020 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/External |  | Toshiba | RXS35 | J031670
7005021 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/External |  | Toshiba | AOY36RCF3L | T01577
7005022 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/External |  | Toshiba | AOY36RCF3L | T001578
7005023 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/External |  | Toshiba | AOY36RCF3L | T001552
7005024 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/External |  | Toshiba | AOY36LATL | T000664 | [11 empty] | Yes | R410A
7005025 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/External |  | Toshiba | AOY36CF3L | T001579
7005026 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/External |  | Toshiba | AOY36LATL | T000663 | [11 empty] | Yes | R410A
7005027 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/External |  | Toshiba | AOY36CF3L | T001495
7005028 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/External |  | Fujitsu | AOYR12LCC | E32356
7005029 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/External |  | Fujitsu | AOY7RSC | 4001665
7005030 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/External |  | Fujitsu | AOY7RSC | 4005609
7005031 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/External |  | Fujitsu | AOY7R14LCC | E13768
7005032 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/External |  | Fujitsu | AOY7R14LCC | E013693
7005033 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 11 |  | Toshiba | RAV362UHPE | 74580159
7005034 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 17 |  | Fujitsu | AU9TFCMF | T000485
7005035 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 10 |  | Fujitsu | AUY12UBA13 | T000078
7005036 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 18 |  | Fujitsu | AUY18TFCMF | T001029
7005037 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 18 |  | Fujitsu | AUY18TFCMF
7005038 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 12 |  | Daikin | RAV262KH(W)PE | 7480065
7005039 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 15 |  | Fujitsu | AU12TFCMF | T000629
7005040 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 15 |  | Fujitsu | ASYA14LCC | E013759
7005041 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/Ground Floor/I-TAC BIO 9 |  | Fujitsu | ASYA14LCC | E013710
7005042 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/Ground Floor/I-TAC BIO 9 |  | Fujitsu | ASYA14LCC
7005043 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/Ground Floor/I-TAC BIO 9 |  | Fujitsu | ASYA14LCC
7005044 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/Ground Floor/I-TAC BIO 9 |  | Fujitsu | ASYA14LCC
7005049 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/Ground Floor |  | Fujitsu | AUY36RLA34 | T001643
7005050 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/Ground Floor |  | Fujitsu | AUY36RLA34
7005051 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/Ground Floor |  | Fujitsu | AUY36RLA34
7005052 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/Ground Floor |  | Fujitsu | AUYA36LATN | T000235
7005053 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/Ground Floor |  | Fujitsu | AUY36RLA3W | T001652
7005054 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/Ground Floor/I-TAC BIO 8 |  | Fujitsu
7005055 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/Ground Floor/I-TAC BIO 8A |  | Fujitsu
7005056 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/Ground Floor/I-TAC BIO 8B |  | Fujitsu
7005057 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 19 |  | Fujitsu
7005073 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/Tower Block/1st Floor/T20 |  | Daikin | FXAQ63PV1 | E007794
7005074 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/Tower Block/1st Floor/T20 |  | Daikin | FXAQ63PV1 | E007795
7005075 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/Tower Block/1st Floor/T21 |  | Daikin | FXAQ63PV1 | E007740
7005076 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/Tower Block/1st Floor/T21 |  | Daikin | FXAQ63PV1 | E006801
7005077 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/Tower Block/Ground Floor/T2 |  | Daikin | FXAQ63PV1
7005078 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/Tower Block/Ground Floor/T2 |  | Daikin | FXAQ63PV1
7005079 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/Tower Block/1st Floor/T15/T16/T17 |  | Daikin
7005080 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/Tower Block/1st Floor/T15/T16/T17 |  | Daikin
7005081 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/Tower Block/1st Floor/T15/T16/T17 |  | Daikin
7005082 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/Tower Block/1st Floor/T18/T19 |  | Daikin
7005083 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/Tower Block/1st Floor/T18/T19 |  | Daikin
7005085 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre) |  | Daikin
7005086 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre) |  | Daikin | TX342GV1B | J050167
7005087 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre) |  | Daikin | FCQH140D8VEB | 2000235
7005088 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre) |  | Daikin | FCQH140D8VEB | 200252
7005089 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre) |  | Daikin | FCQH140D7V1B | 4003525 | [11 empty] | Yes | R410A
7005090 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre) |  | Daikin | FCQH140D7V1B | 4003253 | [11 empty] | Yes | R410A
7005091 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre) |  | Daikin | RXS42G2C1B | J030802 | [11 empty] | Yes | R410A
7005092 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre) |  | Fujitsu | ABY24VBBJ | T000623
7005093 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre) |  | Fujitsu | ABY24VBBJ
7005096 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condensor | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre) |  | Fujitsu | AUY30RLCW | AOY36TPA3L
7005097 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condensor | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre) |  | Fujitsu | AOY36TPA3L | T001294
7005098 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condensor | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre) |  | Fujitsu | AOY30RBML | T002005
7005108 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/Restaurant |  | Fujitsu
7005109 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/A53 (Walton Room)
7005110 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/A53 (Walton Room)
7005111 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/A53 (Walton Room)
7005112 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/A54
7005113 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/A54
7005114 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/A54
7005115 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/A56-Brunner-Mond
7005116 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/A56-Brunner-Mond
7005117 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/A57B
7005118 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/A57B
7005119 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/B Block/Ground Floor/B20 |  | Daikin
7005120 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/B Block/Ground Floor/B20 |  | Daikin
7005121 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/D Block/Ground Floor/D5 (VELA Main Control Room) |  | Daikin | RZQ125B9W1B | 3209509 | [11 empty] | Yes | R410A
7005122 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/D Block/Ground Floor/D5 (VELA Main Control Room) |  | Daikin | RZQG125LY1B | 2201512 | [11 empty] | Yes | R410A
7005123 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/C Block |  | Toshiba
7005126 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/C Block |  | Fujitsu | ASY24LBAW | T000439
7005127 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/L Block/External |  | Fujitsu | AOY36TPB3L | T000026
7005128 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/L Block/External |  | Fujitsu | AOY36TPB3L | T000022
7005129 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/M Block/External/Compound |  | Daikin | RYP100B7W1 | 12019999 | [11 empty] | Yes | R407C
7005130 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/M Block/External/Compound |  | Daikin | RYP100B7W1 | 1202000 | [11 empty] | Yes | R407C
7005131 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/M Block/External/Compound |  | Daikin | RY35EAZ7V1 | 4100292
7005132 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/M Block/External/Compound |  | Daikin | RY35EAZ7V1 | 4100555
7005133 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/M Block/External/Compound |  | Daikin | RY35EAZ7V1 | 4100553
7005134 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/I-TAC 17 |  | Fujitsu
7005135 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/I-TAC 17 |  | Daikin | FTX35J2V1B | J075639
Air Con 1 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub) |  | Toshiba | RAV-SP804ATPE | 42600404
Air Con 15 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 16 |  | Diakin | RXS60L2V1B | J010365
Air Con 16 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 16 |  | Diakin | FFQ60C2VEB | J003812
Air Con 17 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 17 |  | Diakin | RXS50L2V1B | J042560
Air Con 18 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 17 |  | Diakin | FDXS502VEB9 | J005171
Air Con 19 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 18 |  | Diakin | RXS50L2V1B | J042547
Air Con 2 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub) |  | Toshiba | RAV-SP564ATPE | 42600476
Air Con 20 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 18 |  | Diakin | FDXS502VEB9 | J005174
Air Con 21 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 19 |  | Diakin | RXS50L2V1B | J042559
Air Con 22 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/SBL (ITAC BIO)/1st Floor/I-TAC BIO 19 |  | Diakin | FDXS502VEB9 | J005172
Air Con 23 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Assembly Clean Rooms |  | Diakin | RZQSG100L8V1B9 | 1403684
Air Con 24 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Assembly Clean Rooms |  | Diakin | FCQHG100FVEB | J002095
Air Con 25 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Assembly Clean Rooms |  | Diakin | RZQSG100L8V1B9 | 1403685
Air Con 26 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Assembly Clean Rooms |  | Diakin | FCQHG100FVEB | J002109
Air Con 27 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning | Good |  |  |  | 2/DL/Restaurant/External |  | Daikin | RXS71FAV1B8
Air Con 28 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Wall | Good |  |  |  | 2/DL/D Block/Ground Floor/VELA Kitchen |  | Daikin | FTXS42K2V1B | J011505
Air Con 29 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condensor | Good |  |  |  | 2/DL/D Block/External |  | Daikin | RXS42K2V1B | J006844
Air Con 3 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub) |  | Toshiba | RAV-SP564ATPE | 42600465
Air Con 30 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condensor | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/Ground Floor/LTF Control Room-External |  | Daikin | FCQHG71F
Air Con 31 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/Ground Floor/LTF Control Room |  | Daikin | RSQSG71L3V1
Air Con 32 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Cassette | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/Ground Floor/LTF Control Room |  | Daikin | RSQSG71L3V1
Air Con 33 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Wall Unit 1 | Good |  |  |  | 2/DL/Tower Block/Ground Floor/Control Room-ALICE |  | Daikin | FAQ71CVEB | E012390
Air Con 34 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning - Wall Unit 2 | Good |  |  |  | 2/DL/Tower Block/Ground Floor/Control Room-ALICE |  | Daikin | FAQ71CVEB | E012394
Air Con 4 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub) |  | Toshiba | RAV-SP564ATPE | 42600473
Air Con 5 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/External/Store-At Rear of A60 |  | Daikin | RXS71FAV1B8 | E004818
Air Con 6 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning | Good |  |  |  | 2/DL/C Block/Ground Floor/Plant Room (Cray) 10 |  | Emerson Network Power | Liebert HPM | 9898170001 | [11 empty] | Yes | R407C
Air Con 7 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning | Good |  |  |  | 2/DL/C Block/Ground Floor/Plant Room (Cray) 10 |  | Liebert | HiRoss HIMOD | 2511010001 | [11 empty] | Yes | R407C
Air Con 8 | Air Conditioning Split | Air Conditioning | Split System Condenser | Air Conditioning - Condenser | Good |  |  |  | 2/DL/Tower Block/1st Floor/T8 |  | Diakin | RYYQ14T7Y1B | 6400954 | [11 empty] | Yes | R410A
CLARA_ACC_AC_INT_01 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Unit 1 | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/CLARA/Outside Accelerator Room | Maintained by Sudlows | Airedale | AlphaCool V23CW-AT | 81968284-001
CLARA_CRAB_AC_INT_01 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Unit 8 | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/CLARA/Mazzanine Area | Maintained by Sudlows | Airedale | EasiCool V13WX-EZRE-0 | 82157805-001
CLARA_LASER_AC_INT01 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Unit 2 | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/CLARA/Outside Laser Room | Maintained by Sudlows | Airedale | AlphaCool V23CW-AT | 81968306-001
CLARA_LATTE_AC_INT02 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Unit 6 | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/CLARA/Outside Accelerator Room | Maintained by Sudlows | Airedale | AlphaCool V23CW-AT | 82069037-003
CLARA_RACK_AC_INT01 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Unit 5 | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/CLARA/Outside Rack Room | Maintained by Sudlows | Airedale | EasiCool DF22WX2-EZR | 8196839-001
CLARA_RF_AC_INT01 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Unit 4 | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/CLARA/Outside RF Room | Maintained by Sudlows | Airedale | AlphaCool V23CW-AT | 81991302-001
CLARA_SYNC_AC_INT01 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Unit 3 | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/CLARA/Outside Sync Room | Maintained by Sudlows | Airedale | AlphaCool V23CW-AT | 81968374-001
RT1_RACK_AC_INT_01 | Air Conditioning Split | Air Conditioning | Split System | Air Conditioning Unit 7 | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/CLARA/RT1 Rack Room | Maintained by Sudlows | Airedale | EasiCool DF22WX2-EZR | 82243711-001
7004001 | Air Handling Unit | Ventilation | Air Handling Unit | Air Handling Unit- Lecture Theatre | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Ventilation Plant Room 1 |  | Vent | Menerga | 66115/2
7004004 | Air Handling Unit | Air Conditioning | Split System Condenser | Air Conditioning External Unit and DX Unit | Good |  |  |  | 2/DL/Amenity/External/Ventilation Plant Room 4 (Outside Compound)
7004005 | Air Handling Unit | Air Conditioning | Split System Condenser | Air Conditioning External Unit and DX Unit | Good |  |  |  | 2/DL/Amenity/External/Roof
7004012 | Air Handling Unit | Ventilation | Air Handling Unit | Air Handling Unit - Seminar/ Instru | Good |  |  |  | 2/DL/Tower Block/1st Floor/Plant Room 5-Old Gas Plant Room |  | Air Handler
7004013 | Air Handling Unit | Ventilation | Air Handling Unit | Air Handling Unit - Electr Lab T9 | Good |  |  |  | 2/DL/Tower Block/1st Floor/Plant Room 5-Old Gas Plant Room |  | Air Handler
7004014 | Air Handling Unit | Ventilation | Air Handling Unit | Air Handling Unit - Laser Room | Good |  |  |  | 2/DL/Tower Block/1st Floor/Plant Room 5-Old Gas Plant Room |  | Nuaire
7004015 | Air Handling Unit | Air Conditioning | Split System | Air Conditioning Unit - Control Room | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 6-Old Gas Plant Room |  | Nuaire
7004017 | Air Handling Unit | Ventilation | Air Handling Unit | Air Handling Unit | Good |  |  |  | 2/DL/Reception/1st Floor/Plant Room 7 |  | Vent | Menerga | 66115/1
7004018 | Air Handling Unit | Ventilation | Air Handling Unit | Air Handling Unit | Good |  |  |  | 2/DL/J Block (Superstem)/External/Ventilation Plant Room 3
7004019 | Air Handling Unit | Ventilation | Air Handling Unit | Air Handling Unit | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 6-Old Gas Plant Room | AHU: Serving the 1st Floor Tissue Culture Laboratory
24001009 | Air Handling Unit | Ventilation | Air Handling Unit | Air Handling Unit | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 | Supplies BUILDING "A" OFFICES/MEETING ROOMS | Trane (UK) Ltd
24001010 | Air Handling Unit | Ventilation | Air Handling Unit | Air Handling Unit | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 | Supplies BUILDING LABORATORIES | Trane (UK) Ltd
24001011 | Air Handling Unit | Ventilation | Air Handling Unit | Air Handling Unit | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 | Supplies BUILDING "B" OFFICE/MEETING ROOMS | Trane (UK) Ltd
24001012 | Air Handling Unit | Ventilation | Air Handling Unit | Air Handling Unit | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Trane (UK) Ltd
1004002 | Calorifier | Heating | Calorifier | Calorifier, Pipework and Valves | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6 | Install May 2000 | Wiesman
11001059 | Calorifier | Heating | Calorifier | Calorifier | Good |  |  |  | 2/DL/D Block/Ground Floor/Plant Room 5 | UTILITIES SUPPLIED: Ground floor ladies - 1 sink, ground floor gents toilets - 6 sinks, ladies cleaners room - 1 sink, SR control brew room HYDROP ASSET NO: CAL 1 ASSET FED FROM: | Megaflow
11001060 | Calorifier | Heating | Calorifier | Calorifier | Good | Decommissioned | 2019-03-24 |  | 2/DL/D Block/Ground Floor/Plant Room 5 | UTILITIES SUPPLIED: Ground floor ladies - 1 sink, ground floor gents toilets - 6 sinks, ladies cleaners room - 1 sink, SR control brew room (duel feed to above) HYDROP ASSET NO: CAL 2 | Megaflow
11001066 | Calorifier | Heating | Calorifier | Calorifier | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6 |  | Wiesman
11001068 | Calorifier | Heating | Calorifier | Calorifier | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/2nd Floor/Cable and Access Gantry (SBL Boiler House 15) | UTILITIES SUPPLIED: Ground floor gene lab - 1 sink, ground floor cleaning lab - 2 sinks, ground floor room 4 - 1 sink, ground floor lab 3 - 1 sink, ground floor room 9 - 2 sinks, ground floor room 1 - 1 sink, ground floor gents toilets - 1 sink, 1st floor
26001001 | Calorifier | Heating | Calorifier | Calorifier | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 | UTILITIES SUPPLIED 1ST Floor - cleaners store - 1 sink, Co |  | GAS
26001002 | Calorifier | Heating | Calorifier | Calorifier | Good | Decommissioned | 2019-03-24 |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  |  | GAS
4001002 | Compressed Air Compressor | Compressed Air | Compressor | Compressor | Good |  |  |  | 2/DL/Tower Block/Basement |  | HPC | ASK32
4001003 | Compressed Air Compressor | Compressed Air | Compressor | Compressor | Good |  |  |  | 2/DL/Tower Block/Basement |  | HPC | ASK32
4001005 | Compressed Air Compressor | Compressed Air | Compressor | Compressor | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor |  | ASD32
4001006 | Compressed Air Compressor | Compressed Air | Compressor | Compressor | Good |  |  |  | 2/DL/D Block/External/Compressor House-Court Yard Area |  | ASD32T
PV386 | Compressed Air Compressor | Compressed Air | Compressor | Compressor | Good |  |  |  | 2/DL/J Block (Superstem) |  | B+B SALDATURA
PV405 | Compressed Air Compressor | Compressed Air | Compressor | Compressor | Good |  |  |  | 2/DL/F Block (ITAC) |  | AIR COM BAGIIONI
PV412 | Compressed Air Compressor | Compressed Air | Compressor | Compressor | Good |  |  |  | 2/DL/L Block |  | AARIAC
PV413 | Compressed Air Compressor | Compressed Air | Compressor | Compressor | Good |  |  |  | 2/DL/J Block (Superstem) |  | METABO [ B+B SALDUTURA ]
4001004 | Compressed Air Dryer | Compressed Air | Dryer | Compressor - Dryer | Good |  |  |  | 2/DL/Tower Block/Basement |  | Owamat 4
4001007 | Compressed Air Dryer | Compressed Air | Dryer | Compressor - Dryer | Good |  |  |  | 2/DL/D Block/External/Compressor House-Court Yard Area |  | Owamat 12
4001008 | Compressed Air Dryer | Compressed Air | Pipework | Pipework Vavle and Connectors and Gauges | Good |  |  |  | 2/DL/Tower Block/All Floors
4001009 | Compressed Air Dryer | Compressed Air | Pipework | Pipework Vavle and Connectors and Gauges | Good |  |  |  | 2/DL/D Block/All Floors |  | Owamat 12
4001010 | Compressed Air Dryer | Compressed Air | Pipework | Pipework Vavle and Connectors and Gauges | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/All Floors
23001002 | Compressed Air Dryer | Compressed Air | Pipework | Pipework Vavle and Connectors and Gauges | Good |  |  |  | 2/DL/Hartree (Building 2)/All Floors
PV348 | Compressed Air Dryer | Compressed Air | Compressor | Compressor | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | HOVAL
1006001 | Expansion Vessels | Heating | Expansion Vessel | Expansion Vessel | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Plant Room 2-Boiler House |  |  | Type: MAXIVAREM UR
1006002 | Expansion Vessels | Heating | Expansion Vessel | Expansion Vessel | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House |  |  | Type: MAXIVAREM UR
1006003 | Expansion Vessels | Heating | Expansion Vessel | Expansion Vessel | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1
1006004 | Expansion Vessels | Heating | Expansion Vessel | Expansion Vessel | Good |  |  |  | 2/DL/Water Treatment Plant Room/Ground Floor/Plant Room 1-Boiler House |  |  | Type: MAXIVAREM UR
1006005 | Expansion Vessels | Heating | Expansion Vessel | Expansion Vessel | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House |  |  | Type: MAXIVAREM UR
1006008 | Expansion Vessels | Heating | Expansion Vessel | Expansion Vessel | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/Plant Room 10 |  |  | Type: MAXIVAREM UR
1006009 | Expansion Vessels | Heating | Expansion Vessel | Expansion Vessel | Good |  |  |  | 2/DL/L Block/External/Plant Room 14 |  |  | Type: MAXIVAREM UR
1006010 | Expansion Vessels | Heating | Expansion Vessel | Expansion Vessel | Good |  |  |  | 2/DL/Vent Plant Room/Ground Floor/Plant Room 9-Boiler House |  |  | Type: MAXIVAREM UR
1006011 | Expansion Vessels | Heating | Expansion Vessel | Expansion Vessel | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6 |  |  | Type: MAXIVAREM UR
1006012 | Expansion Vessels | Heating | Expansion Vessel | Expansion Vessel | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Plant Room 8 |  |  | Type: MAXIVAREM UR | L3190 1447
1006013 | Expansion Vessels | Heating | Expansion Vessel | Expansion Vessel | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/2nd Floor/Cable and Access Gantry (SBL Boiler House 15) |  |  | Type: MAXIVAREM UR
1006014 | Expansion Vessels | Heating | Expansion Vessel | Expansion Vessel | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House |  |  | Type: MAXIVAREM UR
29002001 | Extract Fans | Ventilation | Extract Fan | Kitchen Extract Fan | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1
KD-01 | Extract Fans | Ventilation | Extract Fan | Kitchen Ducts | Good |  |  |  | 2/DL/Restaurant/Ground Floor/Kitchen
TD-01 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)
TD-02 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)
TD-03 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/B Block/Ground Floor
TD-04 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Ground Floor/Restaurant
TD-05 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/Reception
TD-06 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/C Block
TD-07 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/D Block
TD-08 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/Hartree (Building 2)
TD-09 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub)
TD-10 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/F Block (ITAC)
TD-11 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/J Block (Superstem)
TD-12 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/L Block
TD-13 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/M Block
TD-14 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)
TD-15 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/SBL (ITAC BIO)
TD-16 | Extract Fans | Ventilation | Extract Fan | Toilet Ducts | Good |  |  |  | 2/DL/Tower Block
GM/001 | Gas Detection System | Controls | Gas Detection System | Gas Detection System | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Plant Room 2-Boiler House |  | Duomo | GS300M
GM/002 | Gas Detection System | Controls | Gas Detection System | Gas Detection System | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6 |  | Duomo | GS300M
GM/003 | Gas Detection System | Controls | Gas Detection System | Gas Detection System | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House |  | Duomo | GS300M
GM/004 | Gas Detection System | Controls | Gas Detection System | Gas Detection System | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House |  | Duomo | GS300M
GM/005 | Gas Detection System | Controls | Gas Detection System | Gas Detection System | Good |  |  |  | 2/DL/D Block/Ground Floor/Plant Room 5 |  | Duomo | GS300M
GM/006 | Gas Detection System | Controls | Gas Detection System | Gas Detection System | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub)/External/Plant Room 7 |  | Duomo | GS300M
GM/007 | Gas Detection System | Controls | Gas Detection System | Gas Detection System | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/Plant Room 10 |  | Duomo | GS300M
GM/008 | Gas Detection System | Controls | Gas Detection System | Gas Detection System | Good |  |  |  | 2/DL/L Block/External/Plant Room 14 |  | Duomo | GS300M
GM/009 | Gas Detection System | Controls | Gas Detection System | Gas Detection System | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Plant Room 8 |  | Duomo | GS300M
GM/010 | Gas Detection System | Controls | Gas Detection System | Gas Detection System | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House |  | Duomo | GS300M
GM/011 | Gas Detection System | Controls | Gas Detection System | Gas Detection System | Good |  |  |  | 2/DL/Water Treatment Plant Room/Ground Floor/Plant Room 1-Boiler House |  | Duomo | GS300M
GM/012 | Gas Detection System | Controls | Gas Detection System | Gas Detection System | Good |  |  |  | 2/DL/Vent Plant Room/Ground Floor/Plant Room 9-Boiler House |  | Duomo | GS300M
GM/013 | Gas Detection System | Controls | Gas Detection System | Gas Detection System | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/2nd Floor/Cable and Access Gantry (SBL Boiler House 15) |  | Duomo | GS300M
GM/014 | Gas Detection System | Controls | Gas Detection System | Gas Detection System | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Duomo | GS300M
1001001 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER (Condensing) | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Plant Room 2-Boiler House |  | Remha | Gas Condensing | [6 empty] | Broag Ltd | Broag Ltd
1001002 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER (Condensing) | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House |  | Remha | Gas Condensing 3002 | [6 empty] | Broag Ltd | Broag Ltd
1001003 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER (Condensing) | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House |  | Remha | Gas Condensing 3002 | [6 empty] | Broag Ltd | Broag Ltd
1001005 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER (Condensing) | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub)/Ground Floor |  | Remha | Gas Condensing | [6 empty] | Broag Ltd | Broag Ltd
1001006 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER (Condensing) | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/Plant Room 10 |  | Remha | Gas Condensing 210 | [6 empty] | Broag Ltd | Broag Ltd
1001007 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER (Condensing) | Good |  |  |  | 2/DL/L Block/External/Plant Room 14 |  | Remha | Gas Condensing 210 | [6 empty] | Broag Ltd | Broag Ltd
1001008 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER (Condensing) | Good |  |  |  | 2/DL/Water Treatment Plant Room/Ground Floor/Plant Room 1-Boiler House | BOILER HOUSE. BOILER MAXIMUM RATED INPUT @ 445KW, VENTILATION REQUIREMENTS ARE HIGH LEVEL 1147.5CM2 FREE AIR SPACE, LOW LEVEL 2295 CM2 FREE AIR SPACE. | Remha | Gas Condensing 3002 | [6 empty] | Broag Ltd | Broag Ltd
1001009 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER (Condensing) | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Plant Room 8 |  | Remha | Gas Condensing 210 | [6 empty] | Broag Ltd | Broag Ltd
1001010 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER (Condensing) | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/2nd Floor/Cable and Access Gantry (SBL Boiler House 15) |  | Remha | Gas Condensing 210 | [6 empty] | Broag Ltd | Broag Ltd
1001011 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER (Condensing) | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House |  | Remha | Gas Condensing 3002 | [6 empty] | Broag Ltd | Broag Ltd
1001012 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER (Condensing) | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6 |  | Remha | Gas Condensing 210 | [6 empty] | Broag Ltd | Broag Ltd
1001013 | Heating Boiler | Heating | Gas Boiler (Atmospheric) | BOILER (Atmospheric) | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6 |  | Remha | Atmospheric Gas 350 | [6 empty] | Broag Ltd | Broag Ltd
1001014 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER (Condensing) | Good |  |  |  | 2/DL/Vent Plant Room/Ground Floor/Plant Room 9-Boiler House |  | Remha | Gas Condensing 310 | [6 empty] | Broag Ltd | Broag Ltd
1001017 | Heating Boiler | Heating | LPG Combi Boiler | BOILER (Combi) | Good |  |  |  | 2/DL/Low Wood Bungalow/Ground Floor/Kitchen |  | Valliant and Co Ltd | Propane Gas Combi (LPG) | 83-1762606
1001018 | Heating Boiler | Heating | Gas Boiler | BOILER (Air blower) | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/External Plant Room)
1001019 | Heating Boiler | Heating | Gas Boiler | BOILER (Air blower) | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/External Plant Room)
1001020 | Heating Boiler | Heating | Gas Boiler | BOILER (Air blower) | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/External Plant Room)
1008001 | Heating Boiler | Heating | Flue | Flue | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Plant Room 2-Boiler House
1008002 | Heating Boiler | Heating | Flue | Flue | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House
1008003 | Heating Boiler | Heating | Flue | Flue | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1
1008005 | Heating Boiler | Heating | Flue | Flue | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House
1008006 | Heating Boiler | Heating | Flue | Flue | Good |  |  |  | 2/DL/D Block/Ground Floor/Plant Room 5
1008008 | Heating Boiler | Heating | Flue | Flue | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/Plant Room 10
1008009 | Heating Boiler | Heating | Flue | Flue | Good |  |  |  | 2/DL/L Block/External/Plant Room 14
1008010 | Heating Boiler | Heating | Flue | Flue | Good |  |  |  | 2/DL/Vent Plant Room/Ground Floor/Plant Room 9-Boiler House
1008011 | Heating Boiler | Heating | Flue | Flue | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6
1008012 | Heating Boiler | Heating | Flue | Flue | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Plant Room 8
1008013 | Heating Boiler | Heating | Flue | Flue | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/2nd Floor/Cable and Access Gantry (SBL Boiler House 15)
1008014 | Heating Boiler | Heating | Flue | Flue | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House
21001001 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER NO.1 (Remha) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Remha | Gas Condensing 210
21001002 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER NO.2 (Remha) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Remha | Gas Condensing 210
21001003 | Heating Boiler | Heating | Gas Boiler (Condensing) | BOILER NO.3 (Remha) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Remha | Gas Condensing 210
1007001 | Pressurisation Unit | Pressurisation Units | Pressurisation Unit | Pressurisation Unit | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Plant Room 2-Boiler House |  | Broag | Type: PP 425/1.5-125 HL | PP 040510
1007002 | Pressurisation Unit | Pressurisation Units | Pressurisation Unit | Pressurisation Unit | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House |  | Broag | Type: PP 425/1.5-125 HL
1007003 | Pressurisation Unit | Pressurisation Units | Pressurisation Unit | Pressurisation Unit | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1
1007004 | Pressurisation Unit | Pressurisation Units | Pressurisation Unit | Pressurisation Unit | Good |  |  |  | 2/DL/Water Treatment Plant Room/Ground Floor/Plant Room 1-Boiler House |  | Broag | Type: PP 425/1.5-125 HL
1007005 | Pressurisation Unit | Pressurisation Units | Pressurisation Unit | Pressurisation Unit | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House |  | Broag | Type: PP 425/1.5-125 HL
1007008 | Pressurisation Unit | Pressurisation Units | Pressurisation Unit | Pressurisation Unit | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/Plant Room 10 |  | Broag | Type: PP 425/1.5-125 HL
1007009 | Pressurisation Unit | Pressurisation Units | Pressurisation Unit | Pressurisation Unit | Good |  |  |  | 2/DL/L Block/External/Plant Room 14 |  | Broag | Type: PP 425/1.5-125 HL
1007010 | Pressurisation Unit | Pressurisation Units | Pressurisation Unit | Pressurisation Unit | Good |  |  |  | 2/DL/Vent Plant Room/Ground Floor/Plant Room 9-Boiler House |  | Broag | Type: PP 425/1.5-125 HL
1007011 | Pressurisation Unit | Pressurisation Units | Pressurisation Unit | Pressurisation Unit | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6 |  | Broag | Type: PP 425/1.5-125 HL
1007012 | Pressurisation Unit | Pressurisation Units | Pressurisation Unit | Pressurisation Unit | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Plant Room 8 |  | Broag | Type: PP 425/1.5-125 HL
1007013 | Pressurisation Unit | Pressurisation Units | Pressurisation Unit | Pressurisation Unit | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/2nd Floor/Cable and Access Gantry (SBL Boiler House 15) |  | Broag | Type: PP 425/1.5-125 HL
1007014 | Pressurisation Unit | Pressurisation Units | Pressurisation Unit | Pressurisation Unit | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House |  | Broag | Type: PP 425/1.5-125 HL
21001005 | Pressurisation Unit | Pressurisation Units | Pressurisation Unit | Pressurisation Unit | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1
21002005 | Pump | Heating | Pumps | PUMP P10 (SECONDARY CIRCUIT) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Baric Pumps Ltd | LINEPAK TLF 02
21002006 | Pump | Heating | Pumps | PUMP P11 (SECONDARY CIRCUIT) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Baric Pumps Ltd | TWINLINE TLT 40
21002007 | Pump | Heating | Pumps | PUMP P12 (SECONDARY CIRCUIT) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Baric Pumps Ltd | TWIN LINEPAK TL T50
21002008 | Pump | Heating | Pumps | PUMP P9 (PRIMARY CIRCUIT) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Baric Pumps Ltd | TLF 85-214-2.2-S3
21002009 | Pump | Heating | Pumps | PUMP P13 (SECONDARY CIRCUIT) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Baric Pumps Ltd | LINEPAK TLT 32
21002010 | Pump | Heating | Pumps | PUMP P14 (SECONDARY CIRCUIT) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Baric Pumps Ltd | LINEPAK TLT 32
24001001 | Pump | Heating | Pumps | PUMP 1 (PRIMARY CIRCUIT) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Baric Pumps Ltd | BV MB 80-165
24001002 | Pump | Heating | Pumps | PUMP 2 (PRIMARY CIRCUIT) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Baric Pumps Ltd | BV MB 80-165
24001003 | Pump | Heating | Pumps | PUMP 3 (SECONDARY CIRCUIT) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Baric Pumps Ltd | EVMB 50-200-2.2-S3
24001004 | Pump | Heating | Pumps | PUMP 4 (SECONDARY CIRCUIT) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Baric Pumps Ltd | EVMB 50-200-2.2-S3
24001005 | Pump | Heating | Pumps | PUMP 5 (SECONDARY CIRCUIT) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Baric Pumps Ltd | EV MB 50-130
24001006 | Pump | Heating | Pumps | PUMP 6 (SECONDARY CIRCUIT) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Baric Pumps Ltd | EV MB 50-130
24001007 | Pump | Heating | Pumps | PUMP 7 (SECONDARY CIRCUIT) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Baric Pumps Ltd | EVMB 50-130-130-S3
24001008 | Pump | Heating | Pumps | PUMP 8 (SECONDARY CIRCUIT) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Baric Pumps Ltd | EVMB 50-130-130-S3
26002003 | Pump | Heating | Pumps | PUMP NO.1 (Water Heater No.1) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Andrews | RSC 190
26002004 | Pump | Heating | Pumps | PUMP NO.1 (Water Heater No.2) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1
26002005 | Pump | Heating | Pumps | PUMP NO.2 (Water Heater No.1) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1
26002006 | Pump | Heating | Pumps | PUMP NO.2 (Water Heater No.2) | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | SADIA SUPREME
1002004A | Pump | Heating | Pumps | Primary Circuit Pump No.1 | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Plant Room 2-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002004B | Pump | Heating | Pumps | Primary Circuit Pump No.2 | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Plant Room 2-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002004C | Pump | Heating | Pumps | VT Circuit Pump No.1 | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Plant Room 2-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002004D | Pump | Heating | Pumps | VT Circuit Pump No.2 | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Plant Room 2-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002004E | Pump | Heating | Pumps | CT Circuit Pump No.1 | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Plant Room 2-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002004F | Pump | Heating | Pumps | CT Circuit Pump No.2 | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Plant Room 2-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002005A | Pump | Heating | Pumps | Primary Circuit Pump No.1 | Good |  |  |  | 2/DL/Vent Plant Room/Ground Floor/Plant Room 9-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002005B | Pump | Heating | Pumps | Primary Circuit Pump No.2 | Good |  |  |  | 2/DL/Vent Plant Room/Ground Floor/Plant Room 9-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002005C | Pump | Heating | Pumps | CT 1 Circuit Pump No.1 | Good |  |  |  | 2/DL/Vent Plant Room/Ground Floor/Plant Room 9-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002005D | Pump | Heating | Pumps | CT 1 Circuit Pump No.2 | Good |  |  |  | 2/DL/Vent Plant Room/Ground Floor/Plant Room 9-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002005E | Pump | Heating | Pumps | CT 2 Circuit Pump No.1 | Good |  |  |  | 2/DL/Vent Plant Room/Ground Floor/Plant Room 9-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002005F | Pump | Heating | Pumps | CT 2 Circuit Pump No.2 | Good |  |  |  | 2/DL/Vent Plant Room/Ground Floor/Plant Room 9-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002007A | Pump | Heating | Pumps | Primary Cicuit Pump No.1 | Good |  |  |  | 2/DL/Water Treatment Plant Room/Ground Floor/Plant Room 1-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002007B | Pump | Heating | Pumps | Primary Circuit Pump No.2 | Good |  |  |  | 2/DL/Water Treatment Plant Room/Ground Floor/Plant Room 1-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002007C | Pump | Heating | Pumps | CT Circuit Pump No.1 | Good |  |  |  | 2/DL/Water Treatment Plant Room/Ground Floor/Plant Room 1-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002007D | Pump | Heating | Pumps | CT Circuit Pump No.2 | Good |  |  |  | 2/DL/Water Treatment Plant Room/Ground Floor/Plant Room 1-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002008A | Pump | Heating | Pumps | Primary Circuit Pump No.1 | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6 |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002008B | Pump | Heating | Pumps | Primary Circuit Pump No.2 | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6 |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002008C | Pump | Heating | Pumps | CT Circuit Pump No.1 | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6 |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002008D | Pump | Heating | Pumps | CT Circuit Pump No.2 | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6 |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002008E | Pump | Heating | Pumps | Hot Water Circuit Pump No.1 | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6 |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002008F | Pump | Heating | Pumps | Hot Water Circuit Pump No.2 | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6 |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002008G | Pump | Heating | Pumps | Hot Water Distribution Pump No.1 | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6
1002008H | Pump | Heating | Pumps | Hot Water Distratification Pump No.1 | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6
1002009A | Pump | Heating | Pumps | Primary Circiut Pump No.1 | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002009B | Pump | Heating | Pumps | Primary circuit Pump No.2 | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002009C | Pump | Heating | Pumps | CT Circuit Pump No.1 | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002009D | Pump | Heating | Pumps | CT Circuit Pump No.2 | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002009E | Pump | Heating | Pumps | VT Circuit Pump No.1 | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002009F | Pump | Heating | Pumps | VT Circuit Pump No.2 | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002009G | Pump | Heating | Pumps | Reception Distribution Circuit Pump No.1 | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002009H | Pump | Heating | Pumps | Reception Distribution Circuit Pump No.2 | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House |  | Grundfos | UPSD 50-180 F Model C | P/N: 96408913
1002010A | Pump | Heating | Pumps | Primary Circuit Pump No.1 | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/2nd Floor/Cable and Access Gantry (SBL Boiler House 15) |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002010B | Pump | Heating | Pumps | Primary Circuit Pump No.2 | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/2nd Floor/Cable and Access Gantry (SBL Boiler House 15) |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002010C | Pump | Heating | Pumps | CT Circuit Pump No.1 | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/2nd Floor/Cable and Access Gantry (SBL Boiler House 15) |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002010D | Pump | Heating | Pumps | CT Circuit Pump No.2 | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/2nd Floor/Cable and Access Gantry (SBL Boiler House 15) |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002010E | Pump | Heating | Pumps | VT Circuit Pump No.1 | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/2nd Floor/Cable and Access Gantry (SBL Boiler House 15) |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002010F | Pump | Heating | Pumps | VT Circuit Pump No.2 | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/2nd Floor/Cable and Access Gantry (SBL Boiler House 15) |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002012A | Pump | Heating | Pumps | Primary Circuit Pump No.1 | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002012B | Pump | Heating | Pumps | Primary Circuit Pump No.2 | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002012C | Pump | Heating | Pumps | VT1 Circuit Pump No.1 | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002012D | Pump | Heating | Pumps | VT1 Circuit Pump No.2 | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002012E | Pump | Heating | Pumps | VT2 Circuit Pump No.1 | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002012F | Pump | Heating | Pumps | VT2 Circuit Pump No.2 | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002012G | Pump | Heating | Pumps | VT3 Circuit Pump No.1 | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002012H | Pump | Heating | Pumps | VT3 Circuit Pump No.2 | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002018A | Pump | Heating | Pumps | Primary Circuit Pump No.1 | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub)/External/Plant Room 7 |  | Grundfos | UPSD 50-180F | P/N: 96408913
1002018B | Pump | Heating | Pumps | Primary Circuit Pump No.2 | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub)/External/Plant Room 7 |  | Grundfos | UPSD 50-180F | P/N: 96408913
1002018C | Pump | Heating | Pumps | CT Circuit Pump No.1 | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub)/External/Plant Room 7 |  | Grundfos | UPSD 50-180F | P/N: 96408913
1002018D | Pump | Heating | Pumps | CT Circuit Pump No.2 | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub)/External/Plant Room 7 |  | Grundfos | UPSD 50-180F | P/N: 96408913
1002018E | Pump | Heating | Pumps | VT Circuit Pump No.1 | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub)/External/Plant Room 7 |  | Grundfos | UPSD 50-180F | P/N: 96408913
1002018F | Pump | Heating | Pumps | VT Circuit Pump No.2 | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub)/External/Plant Room 7 |  | Grundfos | UPSD 50-180F | P/N: 96408913
1002019A | Pump | Heating | Pumps | Primary Circuit Pump No.1 | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Plant Room 8 |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002019B | Pump | Heating | Pumps | Primary Circuit Pump No.2 | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Plant Room 8 |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002019C | Pump | Heating | Pumps | VT Circuit Pump No.1 | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Plant Room 8 |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002019D | Pump | Heating | Pumps | VT Circuit Pump No.2 | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Plant Room 8 |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002019E | Pump | Heating | Pumps | CT Circuit Pump No.1 | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Plant Room 8 |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002019F | Pump | Heating | Pumps | CT Circuit Pump No.2 | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Plant Room 8 |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002021A | Pump | Heating | Pumps | Primary Circuit Pump No.1 | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/Plant Room 10 |  | Grundfos | UPSD 50-180F | P/N: 96408913
1002021B | Pump | Heating | Pumps | Primary Circuit Pump No.2 | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/Plant Room 10 |  | Grundfos | UPSD 50-180F | P/N: 96408913
1002021C | Pump | Heating | Pumps | VT Circuit Pump No.1 | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/Plant Room 10 |  | Grundfos | UPSD 50-180F | P/N: 96408913
1002021D | Pump | Heating | Pumps | VT Circuit Pump No.2 | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/Plant Room 10 |  | Grundfos | UPSD 50-180F | P/N: 96408913
1002030A | Pump | Heating | Pumps | Primary Circuit Pump No.1 | Good |  |  |  | 2/DL/L Block/External/Plant Room 14 |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002030B | Pump | Heating | Pumps | Primary Circuit Pump No.2 | Good |  |  |  | 2/DL/L Block/External/Plant Room 14 |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002030C | Pump | Heating | Pumps | VT Circuit Pump No.1 | Good |  |  |  | 2/DL/L Block/External/Plant Room 14 |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002030D | Pump | Heating | Pumps | VT Circuit Pump No.2 | Good |  |  |  | 2/DL/L Block/External/Plant Room 14 |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002031A | Pump | Heating | Pumps | Primary Circuit Pump No.1 | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002031B | Pump | Heating | Pumps | Primary Circuit Pump No.2 | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002031C | Pump | Heating | Pumps | VT Circuit Pump No.1 | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House |  | Grundfos | UPSD 80-120 F | P/N: 96408944
1002031D | Pump | Heating | Pumps | VT Circuit Pump No.2 | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House |  | Grundfos | UPSD 80-120 F | P/N: 96408944
1002031E | Pump | Heating | Pumps | CT1 Circuit Pump No.1 | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002031F | Pump | Heating | Pumps | CT1 Circuit Pump No.2 | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002031G | Pump | Heating | Pumps | CT2 Circuit Pump No.1 | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House |  | Grundfos | UPSD 50-180 F | P/N: 96408913
1002031H | Pump | Heating | Pumps | CT2 Circuit Pump No.2 | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House |  | Grundfos | UPSD 50-180 F | P/N: 96408913
GS1 | Utility Services | Gas Supply | Solenoid Valve | Gas Solenoid | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Plant Room 2-Boiler House
GS10 | Utility Services | Gas Supply | Solenoid Valve | Gas Solenoid | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/2nd Floor/Cable and Access Gantry (SBL Boiler House 15)
GS11 | Utility Services | Gas Supply | Solenoid Valve | Gas Solenoid | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House
GS12 | Utility Services | Gas Supply | Solenoid Valve | Gas Solenoid | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6
GS13 | Utility Services | Gas Supply | Solenoid Valve | Gas Solenoid | Good |  |  |  | 2/DL/Vent Plant Room/Ground Floor/Plant Room 9-Boiler House
GS2 | Utility Services | Gas Supply | Solenoid Valve | Gas Solenoid | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House
GS3 | Utility Services | Gas Supply | Solenoid Valve | Gas Solenoid | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House
GS4 | Utility Services | Gas Supply | Solenoid Valve | Gas Solenoid | Good |  |  |  | 2/DL/D Block/Ground Floor/Plant Room 5
GS5 | Utility Services | Gas Supply | Solenoid Valve | Gas Solenoid | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub)/External/Plant Room 7
GS6 | Utility Services | Gas Supply | Solenoid Valve | Gas Solenoid | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/Plant Room 10
GS7 | Utility Services | Gas Supply | Solenoid Valve | Gas Solenoid | Good |  |  |  | 2/DL/L Block/External/Plant Room 14
GS8 | Utility Services | Gas Supply | Solenoid Valve | Gas Solenoid | Good |  |  |  | 2/DL/Water Treatment Plant Room/Ground Floor/Plant Room 1-Boiler House
GS9 | Utility Services | Gas Supply | Solenoid Valve | Gas Solenoid | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Plant Room 8
LEG/EBLK/027 | Water Systems | Water | Expansion Vessel | Expansion Vessel | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub)/1st Floor/Toilet Entrance/Cleaners Room
LEG/EBLK/028 | Water Systems | Water | Expansion Vessel | Expansion Vessel | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub)/Ground Floor/Toilet Entrance/Cleaners Room
BMS/OSN 1 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Plant Room 2-Boiler House |  | Schnieder Electric | 596
BMS/OSN 11 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/Outer Hall Experimental Area (Electron Hall)/2nd Floor/Cable and Access Gantry (SBL Boiler House 15) |  | Schnieder Electric | 596
BMS/OSN 12 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House |  | Schnieder Electric | 596
BMS/OSN 13 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/L Block/External/Plant Room 14 |  | Schnieder Electric | 132
BMS/OSN 14 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Ventilation Plant Room 1 |  | Schnieder Electric | 596
BMS/OSN 15 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/B Block/External/Plant Room 3-Boiler House |  | Schnieder Electric | 596
BMS/OSN 18 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Insertion Device and Test Assembly Area |  | Schnieder Electric | 596
BMS/OSN 19 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 16-Boiler House |  | Schnieder Electric | 596
BMS/OSN 2 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/Reception/1st Floor/RB13 |  | Schnieder Electric | 596
BMS/OSN 20 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Insertion Device and Test Assembly Area |  | Schnieder Electric | 596
BMS/OSN 21 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/Tower Block/2nd Floor/Plant Room 6-Old Gas Plant Room |  | Schnieder Electric | 596
BMS/OSN 22 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Insertion Device and Test Assembly Area |  | Schnieder Electric | 596
BMS/OSN 24 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/Vent Plant Room/Ground Floor/Plant Room 9-Boiler House |  | Schnieder Electric | 596
BMS/OSN 25 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Machine Workshop |  | Schnieder Electric | 596
BMS/OSN 28 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/C Block/Ground Floor/C25-Electrical Switch Room (Green Room) |  | Schnieder Electric | 132
BMS/OSN 3 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub)/External/Plant Room 7 |  | Schnieder Electric | 596
BMS/OSN 30 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/C Block/Ground Floor/C25-Electrical Switch Room (Green Room) |  | Schnieder Electric | 132
BMS/OSN 31 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/C Block/Ground Floor/C25-Electrical Switch Room (Green Room) |  | Schnieder Electric | 132
BMS/OSN 33 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/C Block/Stairwell/Adjacent to C18 |  | Schnieder Electric | 132
BMS/OSN 34 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/C Block/Stairwell/Adjacent to C18 |  | Schnieder Electric | 132
BMS/OSN 4 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/Restaurant/External/Plant Room 6 |  | Schnieder Electric | 596
BMS/OSN 5 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/Water Treatment Plant Room/Ground Floor/Plant Room 1-Boiler House |  | Schnieder Electric | 596
BMS/OSN 6 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/D Block/Ground Floor/Plant Room 5 |  | Schnieder Electric | 596
BMS/OSN 7 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/Plant Room 10 |  | Schnieder Electric | 132
BMS/OSN 8 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/C Block/External/Plant Room 4-Boiler House |  | Schnieder Electric | 596
BMS/OSN 9 | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Plant Room 8 |  | Schnieder Electric | 596
BMS/OSN's/Amenity | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/B Block/Ground Floor/Electrical Switch Room 8-Adjacent to B15A |  | Trend IQ
BMS/OSN's/CI | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/Hartree (Building 2)/3rd Floor/Plant Room 1 |  | Trend IQ
BMS/OSN's/Superstem | Building Management System | BMS | BMS Outstations / Systems | Outstation and controlling systems | Good |  |  |  | 2/DL/J Block (Superstem)/External/Ventilation Plant Room 3 |  | Trend IQ
System-002-Unit-10 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | No.3 Fume Cupboard Extract | Good |  |  |  | 2/DL/Tower Block/Ground Floor/T3
System-002-Unit-11 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | No.4 Fume Cupboard Extract | Good |  |  |  | 2/DL/Tower Block/Ground Floor/T3
System-002-Unit-5-1 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | No.1 Fume Cupboard Extract | Good |  |  |  | 2/DL/Tower Block/Ground Floor/T3A
System-002-Unit-6 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | No.2 Active Fume Cupboard Extract | Good |  |  |  | 2/DL/Tower Block/Ground Floor/T3A
System-017-Unit-1 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | Fume Cupboard Extract | Good |  |  |  | 2/DL/SBL (ITAC BIO)/Ground Floor/I-TAC BIO 1
System-017-Unit-2 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | Fume Cupboard Extract | Good |  |  |  | 2/DL/SBL (ITAC BIO)/Ground Floor/I-TAC BIO 1
System-025-Unit-2 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | Fume Cupboard Extract | Good |  |  |  | 2/DL/F Block (ITAC)/Ground Floor/I-TAC 1
System-026-Unit-1 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | Fume Cupboard Extract | Good |  |  |  | 2/DL/F Block (ITAC)/Ground Floor/I-TAC 2
System-059-Unit-1 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | Fume Cupboard Extract | Good |  |  |  | 2/DL/Tower Block/Ground Floor/T5
System-102-Unit-1 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | Fume Cupboard Extract | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/I-TAC 15
System-112-Unit-1 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | Fume Cupboard Extract | Good |  |  |  | 2/DL/J Block (Superstem)/Ground Floor/J1-Laboratory
System-129-Unit-1 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | Fume Cupboard Extract | Good |  |  |  | 2/DL/F Block (ITAC)/Ground Floor/I-TAC 6
System-130-Unit-1 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | Fume Cupboard Extract | Good |  |  |  | 2/DL/F Block (ITAC)/Ground Floor/I-TAC 5
System-137-Unit-1 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | Fume Cupboard Extract | Good |  |  |  | 2/DL/Inner Hall/Ground Floor/Vacuum Lab
System-152-Unit-1 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | Fume Cupboard Extract | Good |  |  |  | 2/DL/E Block CTH (The Campus Technology Hub)/Ground Floor | Design Velocity ?? m/s Design Volume ?? m3/s Inverter set point ??Hx
System-153-Unit-1 | COSHH/Fume Cupboard | Ventilation | Fume Cupboard | Fume Cupboard Extract | Good |  |  |  | 2/DL/F Block (ITAC)/1st Floor/I-TAC 16 | Design Velocity 0.50m/s Design Volume 0.24 m3/s Inverter set point 21Hz