## (1) Instructions
FACILITIES MANAGEMENT FRAMEWORK AGREEMENT
Data Pack Checklist (1) - INSTRUCTIONS
The purpose of this Data Pack is to collect data on the Customers existing facilities to the Crown Commercial Service.
There should be one Data Pack created for each Property. There may be several Buildings within one Property.
This data collection contains the following tabs:
(2) Summary Sheet: The purpose of this sheet is summarise the services currently being provided to the Customer. Please complete this tab first. This tab will direct the Customer to complete the other tabs in the Data Pack.
(3) Building Category: Lists the various Building Categories, based on the nature of the business conducted within the building.
(4) Service Standards: Lists the definitions of the main service standards for hard and soft services.
(5) Property Information: Outlines the details for the Property, per Buildings.
(6a) (6b) Asset Collection Template and Guidance: The template and guidance for the collection of mechanical, electrical and fabric assets. These will link through to the Planned Preventative Maintenance and Reactive Maintenance requirements.
(7) Reactive Works: Outlines the reactive calls, and associated cost, typically received within the last year.
(8) Services: Collects data on the soft services being provided to the Customer.
(9) Externals: Collects data on the external services being provided to the Customer.
(10) Catering: Collects data on the Catering services being provided to the Customer.
The following definitions are used within the Data Pack:
Building Type - as referred to in (5) Property Information
Type 1: Buildings of concrete and steel structure construction as well as a concrete or steel roof.
Type 2: Buildings with steel or concrete walls, floors and structural framework with combustible roof covering.
Type 3: Masonry bearing walls with wood roofs or floors.
Type 4: Heavy timber construction.
Type 5: Construction with a wood frame.
Security Level - as referred to in (5) Property Information
Restricted Access Level 1: Open to the public
Restricted Access Level 2: Use of access cards for security cleared staff with visitors permitted access with a security cleared escort.
Restricted Access Level 3: Use of access only for security cleared staff

## (2) Summary Sheet
FACILITIES MANAGEMENT FRAMEWORK AGREEMENT
Data Pack Checklist (2) - SUMMARY SHEET
This Summary Sheet contains the information for the Property, broken down into Buildings. The purpose of this is to summarise the services provided. Please see column 2 for guidance on the other tabs to be completed, should that service type be required. When merged with data from other Property's this will allow Crown Commercial Service to identify the services required across the estate.
Please complete the grey cells, adding more grey rows by copying as pasting as required.
Sample data is shown in red. Please delete and replace with real data.
1 |  |  | 2 | 3
Property Name |  |  | Property Name (name of the site. This could contain several Buildings) | Property 5
EPIMS Property Reference Number |  |  | Unique Customer reference number for the Property
Building Name |  |  | There may be several buildings which fall under the same Property Reference. If this is the case please complete one column per Building | Building 1 | Building 2 | Building 3
EPIMS Building Reference Number |  |  | Unique Customer reference number for the Building
Building Category |  |  | See tab (3) Building Categories for description | General office/Non Customer Facing/with catering | General office/Non Customer Facing/with catering | General office/Non Customer Facing/with catering
Is an on site management presence required by Service Provider |  |  | Indicate whether the Customer would like the Service Provider to have an on site management role | Yes | Yes | Yes
Planned Preventative Maintenance |  |  | Indicate via drop down which level of service is required. See tab (4) for Service Standards. If in scope ensure that tab (6a) Asset Collection Template is complete. Refer to tab (6b) for notes. | Cat A | Cat A | Cat A
Reactive Maintenance |  |  | Indicate via drop down whether in scope. If in scope ensure that tab (7) Reactive Works is complete. | In Scope | In Scope | In Scope
Catering Services |  | Convenience Store | Indicate via drop down whether in scope. If in scope ensure that tab (10) Catering is complete. | In Scope | Out of Scope | Out of Scope
|  | Deli/Coffee Bar | Indicate via drop down whether in scope. If in scope ensure that tab (10) Catering is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Events and Functions | Indicate via drop down whether in scope. If in scope ensure that tab (10) Catering is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Hospitality and Meetings | Indicate via drop down whether in scope. If in scope ensure that tab (10) Catering is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Outside Catering | Indicate via drop down whether in scope. If in scope ensure that tab (10) Catering is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Trolley Service | Indicate via drop down whether in scope. If in scope ensure that tab (10) Catering is complete. | In Scope | In Scope | In Scope
|  | Vending | Indicate via drop down whether in scope. If in scope ensure that tab (10) Catering is complete. | In Scope | In Scope | In Scope
|  | Chilled Potable Water | Indicate via drop down whether in scope. If in scope ensure that tab (10) Catering is complete. | In Scope | In Scope | In Scope
|  | Custodial Catering Service | Indicate via drop down whether in scope. If in scope ensure that tab (10) Catering is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Full Restaurant Service | Indicate via drop down whether in scope. If in scope ensure that tab (10) Catering is complete. | Out of Scope | Out of Scope | Out of Scope
General Services | Cleaning | Housekeeping | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Routine Cleaning | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Window Cleaning (External) | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Window Cleaning (Internal) | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Cleaning of Exterior of Building Fabric (including Gutters and Gullies) | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Cleaning of External Areas | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | Out of Scope | Out of Scope
|  | Barrier Matting | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Deep Cleaning (periodic) | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Cleaning of communication and equipment rooms | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | IT Equipment Cleaning | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Laboratories | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Linen & Laundry | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Pest Control | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Reactive Cleaning | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Specialist Antique Cleaning | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Telephone Sanitisation | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Carpet Cleaning | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
| Waste Management | General Waste | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Classified Waste | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Recycled Waste | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Special or Hazardous Waste | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
| Security | Guarding Service | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Key Holding | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Lock up / Open up of premises | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Patrols (fixed guarding) | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Patrols (mobile) | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Reactive Guarding | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Additional Security Services | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | CCTV / Alarm Monitoring | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Control of access & Security Passes | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Emergency Response | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Enhanced Security Requirements | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
| Soft Services | Car Park Management | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Room Booking | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Archiving (off-site) | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Archiving (on-site) | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Condition Surveys | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Courier Booking | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Childcare Facility | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Driver Service | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | Out of Scope | Out of Scope
|  | First aid and Medical Services | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | Out of Scope | In Scope
|  | Flag Flying Service | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Internal Messenger Service | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | Out of Scope | Out of Scope
|  | Journal, Magazine and Newspaper supply | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | Out of Scope | Out of Scope
|  | Mail Room Equipment | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Mail Services | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Management of visitors and passes | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Move Management | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Office Machinery Servicing and maintenance | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Porterage (ad-hoc) | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | Out of Scope | Out of Scope
|  | Reception Service | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Reprographics Service | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Space Management | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Sports and Leisure | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Stationery Supply | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Inspections, compliance plans and risk assessments | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Taxi booking Service | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Voice announcement System | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
| Hard Services | Cable Management (ICT Ad-Hoc) | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Clocks | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Cut Flowers and Christmas Trees | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Elective / New Works | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Environmental Cleaning – Ad-hoc | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Furniture Management | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope
|  | Internal Planting | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Locksmith Services | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Signage | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Handyman | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
| External Services | Amenity Space | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | Out of Scope | Out of Scope
|  | Sports Area | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Wild Grass/Meadow | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | Out of Scope | Out of Scope | Out of Scope
|  | Cultivated Boarders | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | Out of Scope | Out of Scope
| CAFM/Helpdesk | CAFM including Helpdesk | Indicate via drop down whether in scope. If in scope ensure that tab (8) Services is complete. | In Scope | In Scope | In Scope

## (3) BuildingCatagory
FACILITIES MANAGEMENT FRAMEWORK AGREEMENT
Data Pack Checklist (3) - BUILDING CATEGORIES
The portfolio is divided into the following building categories known as "Building Categories”. The defining criterion for each group is the nature of business operated in the building.
Building Category | Business & Occupational Profile | Description
1 | Headquarters Accommodation/Ministerial Areas | Areas used for headquarters or ministerial areas or a mix of these.
2 | Data Centre Operations | Data centre operation.
3 | General office/Customer Facing | General office areas and customer facing areas.
4 | General office/Non Customer Facing/with catering | General office areas and non customer facing areas. If these areas contain catering facilities they will be included here.
5 | Call Centre Operations | Call centre operations.
6 | List X Property | A commercial site (i.e. non-Government) on UK soil that is approved to hold UK government protectively marked information marked as 'confidential' and above. It is applied to a company's specific site and not a company as a whole.
7 | Vacant/Disposal | Areas which are vacant or awaiting disposal where no services are being undertaken.
8 | Residential | Residential areas.
9 | Warehouses | Large storage facility with limited office space and low density occupation by staff.
10 | External parks and grounds | External car parks and grounds including externally fixed assets - such as fences, gates, fountains etc...
11 | Educational | Areas used exclusively or primarily for educational purpose.
12 | Medical | Areas including mainstream medical and healthcare facilities as well as smaller dedicated facilities.
13 | Laboratory | Includes all Government facilities where the standard of cleanliness is high, access is restricted and is not public facing.
14 | Museums/Galleries | Areas are generally open to the public with some restrictions in place from time to time. Some facilities have no public access.
15 | Production Facilities | This is very much a unique environment centred around a fabrication or production facility, typically with restricted access.

## (4) ServiceStandards
FACILITIES MANAGEMENT FRAMEWORK AGREEMENT
Data Pack Checklist (4) - ENGINEERING SERVICE STANDARDS
The undernoted maintenance standards for engineering's services required for each Property will vary in accordance with its assessed business and operational use and strategic importance to the Customer. There have been three main Service Levels of Category A, Category B and Category C identified below:
|  | Catagory A Standard | Category B Higher | Category C Specialist
Quality Standard |  | The general or normal service level. Typical for all occupied or generally accessed areas including public access spaces and general office areas. | The highest service level. Typical for prestige and high visibility areas. This is classed as exceptional and should only be required in very rare circumstances. | A bespoke or very specific or demanding service level. Typical for highly sensitive or specialist areas such as production or laboratory facilities, data centres etc. Alternatively, this can also be applied to areas or properties or buildings that require a lesser service than the Standard service due to the nature of the environment of activity undertaken within the area e.g. mothballed buildings, garages warehouses, etc.
The headline terminology utilised in the adjacent columns align with SFG20 and BS:8544 page 24 service categorisations |  | (RED) STATUTORY/ ABSOLUTE MINIMUM - to ensure legal compliance
(PINK) MANDATORY/ ABSOLUTE MINIMUM - to ensure regulatory and sector/ organisation compliance
(AMBER) FUNCTION CRITICAL MAINTENANCE - to maintain business critical assets and avoid under/over maintaining applicable assets
(GREEN) DISCRETIONARY/ NON-CRITICAL MAINTENANCE - to maintain non-critical assets sufficient to protect value and meet sustainability commitments; optional non-critical maintenance; adopt run to failure strategy
(BLUE) VACANT/ EMPTY SPACE - mothball/ decommissioning standards
Hard FM Services | MEP Maintenance (Mechanical, Electrical and Plumbing) | For MEP maintenance services this includes a fully planned preventative maintenance regime ensuring compliance with all associated statutory and mandatory requirements; sector or organisation compliance; and ensuring function critical maintenance in order to maintain business critical assets. | For MEP maintenance services this includes a fully planned preventative maintenance regime ensuring compliance with all associated statutory, mandatory or regulatory requirements together with sector / organisation compliance needs and will include also business critical and selected and or elective maintenance activities. In addition discretionary or non-critical maintenance may be further specified. | Whilst maintaining the core “Standard” requirements the “Specialist” service level provides for a bespoke maintenance regime as detailed in the Service Level Requirements for specialist properties or circumstances. Consequently it will reflect either an enhanced or reduced MEP maintenance requirement.
| Building Fabric Maintenance (External/ Internal) | This level of maintenance service this includes a regularly planned maintenance regime which aims to keep all elements of the structure, fabric and finishes and overall appearance of the Property at an acceptable performance level. This includes both internal and external elements. This would include any statutory requirements including any health and safety activities not already captured as part of the MEP maintenance regime. | This level of service, which is discretionary, will provide for an enhanced maintenance approach whereby certain elements of fabric require a higher level of attention due to the environment or circumstances in which it is situated. | This level of service will be bespoke and site or area specific. It is likely to offer unique challenges to the supplier and require a deviation from the normal or expected approach or regime. This deviation will reflect either an enhanced or reduced fabric maintenance requirement. An example could be the maintenance of the front door for No 10, Downing Street which is constantly in the public eye.
Soft FM Services | Cleaning | All areas subject to regular routine cleaning activities should be free from loose debris, dust, fluff and lint on completion of the cleaning task for that area. There should be an overall even appearance and be odour free. | All areas subject to regular routine cleaning activities should be free from loose debris, dust, fluff and lint on completion of the cleaning task for that area. There should be an overall even appearance and be odour free. This standard would be above and beyond the norm expected for general office spaces and public accessible areas. | Areas subject to this standard will be specified as requiring a very bespoke or unique approach to cleanliness. This deviation from the normal or expected approach or regime will reflect either an enhanced or reduced cleaning requirement. The standard will be specified as will frequency of service. This standard could apply to, for example, a laboratory or healthcare environment where specialist procedures are required to limit infection and cross contamination. The standard could also be used to describe activities to be undertaken in buildings or areas that are mothballed or not in use and requiring a very limited service. Likewise, areas such as warehouses, storage areas and garages may also require a very limited service and these would also be specifically described.

## (5) PropertyInformation
FACILITIES MANAGEMENT FRAMEWORK AGREEMENT
Data Pack Checklist (5) - PROPERTY INFORMATION
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32
BUILDING NAME | BUILDING ADDRESS |  |  | PROPERTY MANAGEMENT | [6 empty] | OVERVIEW OF BUILDING | [5 empty] | TENURE | PROPERTY LEGAL ENTITY | CRITICALITY | NUMBER OF FULL TIME EQUIVELANT BUILDING USERS | SITE STATUS | AREAS
| STREET | TOWN/CITY | POSTCODE | FACILITIES MANAGEMENT |  | DEPARTMENTAL CONTACT (ESTATES TEAM) |  | MANAGING AGENT DETAILS |  |  | Year Built | Construction Type | Complexity of services provided within the building | Security | Core Days | Core Hours | [5 empty] | Gross Internal Floor Area m2 | Net Internal Floor Area (NIA) m2 | Net Internal Floor Area (NIA) used by Department | Number of Floors | Number of basements | Back of house % | Front of house % | Prestige area % | Specialist Areas - Definition | Specialist Areas - %
|  |  |  | Property Contact Name | Mobile & email | Property Contact Name | Mobile & email | Company Name | Lead Contact Name | Mobile & email | [11 empty] | GFA
Name of the Building as per the Summary Sheet | Recognised postal address & post code in separate data fields |  |  | Named contact details |  | Named contact details |  | Details of the property's managing agent |  |  | Year built - indicates age of propert. Give estimate where actual date unknown and add a suffix "(E)" for estimate. | General type of construction - see (1) Instructions for definitions | General comment regarding the provision of M&E services and IT infrastructure | Level of security restrictions on the site - see (1) Instructions for definitions |  | Typical operational hours | Of the property i.e. freehold, leasehold etc | Principal Government department/MOTO | Whether considered to be critical or non-critical to the client's core business purpose | Number of staff or building users that use the building during a typical 24 hour period. | Whether considered to be active, inactive or closed. | This is the aggregate superficial area of a building including: external walls and projections, columns, piers, chimney breasts, stairwells and lift wells, tank and plant rooms, fuel stores whether or not above main roof level; and open-side covered areas and enclosed car parking areas. This excludes open balconies; open fire escapes, open covered ways or minor canopies; open vehicle parking areas, terraces, etc.; domestic outside WCs and coalhouses; the thickness of external walls. | The usable space within a building measured to the internal finish of structural, external or party walls, but excluding toilets, lift and plant rooms, stairs and lift wells, common entrance halls, lobbies and corridors, internal structural walls and columns and car parking areas. | The area occupied by the Department within the building (for example is an area is sublet this would be excluded) | Including basements | Self explanatory | Approximate breakdown of Net Internal Area (Column 23). Please note Column 27, 28, 29 and 31 should add to 100%. | Approximate breakdown of Net Internal Area (Column 23). Please note Column 27, 28, 29 and 31 should add to 100%. | Approximate breakdown of Net Internal Area (Column 23). Please note Column 27, 28, 29 and 31 should add to 100%. | Define the specialist area - for example Laboratories | Approximate breakdown of Net Internal Area (Column 23). Please note Column 27, 28, 29 and 31 should add to 100%.
Building 1 | [11 empty] | Type 2 | Typical for building category | Level 2 | 7 days per week | 07:00 to 19:00 |  |  | Critical | 49 | Active | 1350 | 1115 |  | 2 | 0 | 15% | 63% | 20% | Director Office | 2%
Building 2 | [11 empty] | Type 2 | Typical for building category | Level 2 | 7 days per week | 07:00 to 19:00 |  |  | Critical | 50 | Active | 1350 | 1115 |  | 2 | 0 | 15% | 63% | 20% | Director Office | 2%
Building 3 | [11 empty] | Type 2 | Typical for building category | Level 2 | 7 days per week | 07:00 to 19:00 |  |  | Critical | 50 | Active | 1350 | 1152 |  | 2 | 0 | 15% | 63% | 20% | Director Office | 2%

## (6a) AssetCollectionTemplate
FACILITIES MANAGEMENT FRAMEWORK AGREEMENT
Data Pack Checklist (6a) - ASSET COLLECTION
Please complete the grey cells, adding more grey rows by copying as pasting as required.
The assets should include all maintained assets including fabric (such as floor coverings, windows, doors, fittings and furnishings, sanitary appliances, disposal installations), mechanical and electrical assets (such as ventilation systems, electrical installations, lift and conveyor installations, protective installations, specialist installations, communication installations.
Please note that assets may be entered in groups, but only if they have the same profile including floor, location, manufacturer, type, capacity, condition and year of installation. Significant assets such as UPS, Boilers, Chillers, Package chillers/AC units, Pumps, Lifts, Calorifiers, Water heaters, Switchboards / Distribution boards should be entered individually.
Sample data is shown in red. Please delete and replace with real data.
Please input the percentage indicating the level the Customer feels the data is complete as well as a percentage indicating the reliability of the data. For example, if the data provided was both complete and fully reliable both these figures would be 100%. When working with asset lists, it is important that these factors are understood as they will impact the risk associated with pricing the works.
Completion Level of Data (%) | 100%
Reliability of Completed Data (%) | 100%
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
BUILDING NAME | ASSET DESCRIPTION | SFG20 MAINTENANCE CODE | SYSTEM SERVED | ASSET SPECIFIC QUANTITY |  | FLOOR/ROOF | LOCATION (Plant, Boiler, Switch rooms, etc) | MANUFACTURER | TYPE / MODEL | RATING / CAPACITY/ SIZE (vol/dia/length/height) | ASSET SERIAL NUMBER | YEAR OF INSTALLATION | PRESENT CONDITION | ASSET TECHNICAL DETAILS / COMMENTS (Other than Size/Capacity/Rating/ etc)
|  |  | SYSTEM SERVED |  |  | FLOOR | LOCATION (Plant, Boiler, Switch rooms, etc) | MANUFACTURER | TYPE / MODEL | RATING / CAPACITY/ SIZE (vol/dia/length/height) | ASSET SERIAL NUMBER | YEAR OF INSTALLATION | PRESENT CONDITION | ASSET TECHNICAL DETAILS / COMMENTS (Other than Size/Capacity/Rating/ etc)
Name of the Building as per the Summary Sheet | Description of maintenance task attributable to asset, link to SFG20 descriptions where possible | Input reference code from SFG20 | Enter description sufficient to distinguish the asset from similar types (e.g. "Domestic Hot Water" or “Primary Heating” for a Pump under the Asset column). When read in conjunction with column (5), it provides a complete description of the asset. For external windows please state if safety film is installed. | Specify quantity | Specify whether this relates to unit number system or building wide | Indicate on which floor of the building the asset is located; e.g.: B=basement, G=Ground, 1,2,3 etc, R=Roof, E=external | Indicate where on that floor the asset is located e.g.: plant room, boiler room, switch room, North, East, etc. as required | Self explanatory | Record sufficient information to enable replacement parts to be ordered or the asset to be grouped with others of identical type. | This is the rated output in Kw, Litres/sec/min,etc. For pumps quote Pressure against flow rate. | Record for significant assets only; e.g.: Generators, UPS, Boilers, Chillers, Package chillers/AC units, Pumps, Lifts, Calorifiers, Water heaters, Switchboards / Distribution boards (but identify size/type of each component) | Note: a date is required here not the age. Give estimate where actual date unknown and add a suffix "(E)" for estimate. | Select present condition | Details which may assist with future maintenance
Building 1 | Rainwater Downpipes and Gutters | 48-07 | 2.3 Roof | 4 | Nr
Building 1 | Fire Extinguishers - Carbon Dioxide | 23-09 | 4.1 Fittings Furnishings & Equipment | 6 | Nr
Building 1 | Fire Extinguishers - Powder (Gas Cartridge) | 23-11 | 4.1 Fittings Furnishings & Equipment | 1 | Nr
Building 1 | Fire Extinguishers - Water (Gas Cartridge) | 23-12 | 4.1 Fittings Furnishings & Equipment | 6 | Nr
Building 1 | Sanitary, Waste Water Plumbing and Drains - For waste water pipework and traps | 48-05 | 5.1 Sanitary Appliances | 14 | Nr
Building 1 | Sanitary and Waste Water Plumbing - Water Saving Devices and Meters | 48-08 | 5.1 Sanitary Appliances | 2 | Nr
Building 1 | Showers | 51-01 | 5.1 Sanitary Appliances | 2 | Nr
Building 1 | Introductory Procedures | 32-01 | 5.1 Sanitary Appliances | 1 | Note
Building 1 | Tap and Outlet Fittings | 61-02 | 5.1 Sanitary Appliances | 6 | Nr
Building 1 | Service Valves | 61-03 | 5.1 Sanitary Appliances | 6 | Nr
Building 1 | Introductory Procedures | 48-01 | 5.3 Disposal Installations | 1 | Note
Building 1 | Sanitary, Waste Water Plumbing and Drains | 48-05 | 5.3 Disposal Installations | 1 | System
Building 1 | Introductory Procedures | 31-01 | 5.4 Water Installations | 1 | Note
Building 1 | Introductory Procedures | 32-01 | 5.4 Water Installations | 1 | Note
Building 1 | Water Mains - Above Ground | 40-17 | 5.4 Water Installations | 1 | System
Building 1 | Introductory Procedures | 56-01 | 5.4 Water Installations | 1 | Note
Building 1 | Cold Water Storage Tanks and Cisterns | 56-02 | 5.4 Water Installations | 6 | Nr
Building 1 | Hot Water Services General | 32-02 | 5.4 Water Installations | 1 | System
Building 1 | Pre-Maintenance Procedures | 32-04 | 5.4 Water Installations | 1 | Note
Building 1 | Hot Water Supply Calorifiers | 32-07 | 5.4 Water Installations | 3 | Nr
Building 1 | Expansion Vessels | 32-12 | 5.4 Water Installations | 3 | Nr
Building 1 | Calorifier and Heat Exchange Controls | 32-08 | 5.4 Water Installations | 3 | Nr
Building 1 | Packaged Electric Water Heaters - Cistern Type (Non Drinks) | 32-15 | 5.4 Water Installations | 3 | Nr
Building 1 | Pipework Systems - General | 40-01 | 5.4 Water Installations | 1 | System
Building 1 | Pipework Systems - Mountings | 40-02 | 5.4 Water Installations | 1 | Nr (/100 m2)
Building 1 | Thermal Insulation | 35-01 | 5.4 Water Installations | 67 | m2
Building 1 | Introductory Procedures | 05-01 | 5.5 Heat Source | 1 | Note
Building 1 | Pre-Maintenance Procedures | 05-02 | 5.5 Heat Source | 1 | Note
Building 1 | Atmospheric Gas Burner Boiler - Small and/or Wall Hung for Domestic/Light Commercial Installation | 05-28 | 5.5 Heat Source | 2 | Nr
Building 1 | Forced Draught Gas Burner | 07-03 | 5.5 Heat Source | 2 | Nr
Building 1 | Electric Boilers | 05-21 | 5.5 Heat Source | 2 | Nr
Building 1 | Boiler Controls - Single Boiler: On/off | 05-16 | 5.5 Heat Source | 2 | Nr
Building 1 | Boiler Protection Controls | 05-17 | 5.5 Heat Source | 2 | Nr
Building 1 | Boilers - Space Temperature Controls | 05-18 | 5.5 Heat Source | 1 | Nr
Building 1 | Boilers - Fire and Safety Circuits | 05-24 | 5.5 Heat Source | 2 | Nr
Building 1 | Flues (All Combustible Fuels) | 24-01 | 5.5 Heat Source | 2 | Nr
Building 1 | Refrigerant Distribution System - Fgas inspections - 300 kilos | 46-01 | 5.6 Space Heating & Air Conditioning | 20 | System
Building 1 | Water to Water Heat Pump | 05-32 | 5.6 Space Heating & Air Conditioning | 5 | Nr
Building 1 | Heat Emitters - Unit Heaters | 28-01 | 5.6 Space Heating & Air Conditioning | 6 | Nr
Building 1 | Ductwork Cleaning - Hygiene, Inspections and Monitoring (General) | 17-01 | 5.6 Space Heating & Air Conditioning | 1 | System
Building 1 | Grilles and Diffusers | 26-01 | 5.6 Space Heating & Air Conditioning | 56 | nr
Building 1 | Louvres, Bird and Insect Screens | 26-02 | 5.6 Space Heating & Air Conditioning | 2 | Nr
Building 1 | Air Handling Units - General | 03-01 | 5.6 Space Heating & Air Conditioning | 3 | Nr
Building 1 | Condenser - Air Cooled (Specialist Tasks) | 13-02 | 5.6 Space Heating & Air Conditioning | 20 | Nr
Building 1 | Condenser - Air Cooled (Mechanical Tasks) | 13-02 | 5.6 Space Heating & Air Conditioning | 20 | Nr
Building 1 | Introductory Procedures | 21-01 | 5.7 Ventilation Systems | 1 | Note
Building 1 | Air Filters | 21-02 | 5.7 Ventilation Systems | 6 | nr
Building 1 | Pipework Systems - General | 40-01 | 5.7 Ventilation Systems | 1 | System
Building 1 | Pipework Systems - Mountings | 40-02 | 5.7 Ventilation Systems | 1 | Nr (/100 m2)
Building 1 | Introductory Procedures | 64-01 | 5.7 Ventilation Systems | 1 | Note
Building 1 | Ductwork Cleaning - Hygiene, Inspections and Monitoring (General) | 17-01 | 5.7 Ventilation Systems | 1 | System
Building 1 | Ductwork Cleaning - Hygiene, Inspections and Monitoring (Kitchen Extract) | 17-01 | 5.7 Ventilation Systems | 1 | System
Building 1 | Ducting and Air Distribution Introductory Procedures | 16-01 | 5.7 Ventilation Systems | 1 | Note
Building 1 | Ductwork System - General | 16-02 | 5.7 Ventilation Systems | 1 | System
Building 1 | Ducting - Volume Control Dampers and Fire/ Smoke Dampers | 16-03 | 5.7 Ventilation Systems | 9 | Nr
Building 1 | Ducting - Attenuators | 16-04 | 5.7 Ventilation Systems | 3 | Nr
Building 1 | Fans-Extract - Including Fire/Smoke Extracts Units | 20-08 | 5.7 Ventilation Systems | 17 | Nr
Building 1 | Introductory Procedures | 44-01 | 5.8 Electrical Installations | 1 | Note
Building 1 | Introductory Procedures | 18-01 | 5.8 Electrical Installations | 1 | Note
Building 1 | Introductory Procedures | 70-01 | 5.8 Electrical Installations | 1 | Note
Building 1 | Distribution Boards | 44-07 | 5.8 Electrical Installations | 19 | Nr
Building 1 | Ring Main Unit | 70-08 | 5.8 Electrical Installations | 1 | Nr
Building 1 | Main Switch Panel at Supply Intake | 44-02 | 5.8 Electrical Installations | 1 | Nr
Building 1 | Portable Appliance Testing (PAT) | 42-01 | 5.8 Electrical Installations | 239 | Nr
Building 1 | Introductory Procedures | 36-01 | 5.8 Electrical Installations | 1 | Note
Building 1 | Lighting Fittings including Luminaries General | 36-03 | 5.8 Electrical Installations | 372 | Nr
Building 1 | Emergency Lighting Self Contained | 37-01 | 5.8 Electrical Installations | 8 | Nr
Building 1 | External Lighting including Illuminated Signs | 36-04 | 5.8 Electrical Installations | 2 | Nr
Building 1 | Lighting - Switches - Internal and External | 36-02 | 5.8 Electrical Installations | 6 | Nr (/100 m2)
Building 1 | Earthing | 44-06 | 5.8 Electrical Installations | 3 | System
Building 1 | Armoured Cables and Conduits | 44-04 | 5.8 Electrical Installations | 1 | System
Building 1 | Gas Governor or Gas Regulator | 05-40 | 5.9 Fuel Installations | 1 | Nr
Building 1 | Pipework for Low Pressure Natural Gas, Liquefied Petroleum Gas (LPG) or Oil | 40-10 | 5.9 Fuel Installations | 1 | System
Building 1 | Introductory Procedures | 23-01 | 5.11 Fire and Lightning Protection | 1 | Note
Building 1 | Lightning Conductor and Earth | 38-01 | 5.11 Fire and Lightning Protection | 1 | Nr of earth points
Building 1 | Fire Alarm System | 22-01 | 5.12 Communication, Security & Control | 1 | System
Building 1 | Fire Alarms - Associated Equipment | 22-02 | 5.12 Communication, Security & Control | 6 | nr
Building 1 | Gas Detection | 23-15 | 5.12 Communication, Security & Control | 2 | Nr
Building 1 | Smoke Detectors | 50-10 | 5.12 Communication, Security & Control | 45 | Nr
Building 1 | Security Systems - Intruder Alarms | 49-01 | 5.12 Communication, Security & Control | 1 | System
Building 1 | Introductory Procedures | 06-01 | 5.12 Communication, Security & Control | 1 | Note
Building 1 | Building Management Systems - Central Operator Station | 06-03 | 5.12 Communication, Security & Control | 1 | Nr
Building 1 | Building Management Systems - Communications | 06-04 | 5.12 Communication, Security & Control | 28 | Nr
Building 1 | Building Maintenance Systems - Outstations | 06-05 | 5.12 Communication, Security & Control | 28 | Nr
Building 1 | Building Management Systems - Software Functions | 06-06 | 5.12 Communication, Security & Control | 1 | Nr
Building 1 | Control Panels and Controllers Introductory Procedures | 14-01 | 5.12 Communication, Security & Control | 1 | Note
Building 1 | Control Panels - Electrical Services (Excluding Electrical Controllers and Pneumatic Relays) | 14-02 | 5.12 Communication, Security & Control | 3 | Nr
Building 1 | Introductory Procedures | 71-01 | 8.6 External Drainage | 1 | Note
Building 1 | Control Panels - Lamps, Meters, Alarms etc | 14-03 | Controllers and Sensors | 3 | Nr
Building 1 | Controller Timers | 14-08 | Controllers and Sensors | 2 | Nr
Building 1 | Pre-Maintenance Procedures | 14-08 | Controllers and Sensors | 1 | Note
Building 1 | Emergency Stop Buttons | 14-18 | Controllers and Sensors | 1 | Nr
Building 1 | Pressure Measurement Sensors - Static and Differential | 50-02 | Controllers and Sensors | 3 | Nr
Building 1 | Air Quality Sensors | 50-06 | Controllers and Sensors | 27 | Nr
Building 1 | Isolators/Starters/Fuseswitches | 44-10 | Electrical Ancillaries | 19 | Nr
Building 1 | Control Relays | 58-02 | Electrical Ancillaries | 3 | Nr
Building 1 | Pumps - General | 45-01 | Pumps | 9 | Nr
Building 1 | Circulating Pumps - General | 45-02 | Pumps | 4 | Nr
Building 1 | Pressurisation Pumps | 45-04 | Pumps | 3 | Nr
Building 1 | Secondary Hot Water Circulating Pumps | 45-06 | Pumps | 1 | Nr
Building 1 | Pressure Reducing Valves | 40-15 | Valves | 8 | Nr
Building 1 | Valves | 61-01 | Valves | 30 | Nr
Building 1 | Butterfly and Ball Valves | 62-03 | Valves | 15 | Nr
Building 1 | Pressure Control Valves | 62-06 | Valves | 3 | Nr
Building 1 | Chemical Dosing | 65-10 | Water Treatment | 2 | Nr
Building 1 | Moveable Room Dividers and Partitions | CCS | 2.7 Internal Walls | 1 | Nr
Building 1 | Fire Blanket | CCS | 4.1 Fixtures, Furnishings and Equipment | 5 | Nr
Building 1 | Other Sanitary Ancillaries (Urinal) | CCS | 5.1 Sanitary Appliances | 2 | Nr
Building 1 | Other Sanitary Ancillaries (WC) | CCS | 5.1 Sanitary Appliances | 6 | Nr
Building 1 | Other Sanitary Ancillaries (Wash Hand Basin) | CCS | 5.1 Sanitary Appliances | 6 | Nr
Building 1 | Cistern | CCS | 5.1 Sanitary Appliances | 14 | Nr
Building 1 | Drinking fountain | CCS | 5.1 Sanitary Appliances | 6 | Nr
Building 1 | Cooker/ Oven | CCS | 5.2 Services Equipment | 2 | Nr
Building 1 | Fridge | CCS | 5.2 Services Equipment | 11 | Nr
Building 1 | Microwave oven | CCS | 5.2 Services Equipment | 6 | Nr
Building 1 | Mains Incomer | CCS | 5.8 Electrical Installations | 1 | Nr
Building 1 | Mechanical and Electrical Maintenance (M&E) | CCS | 5.8 Electrical Installations | 3 | Nr
Building 1 | Lift - Passenger (Hydraulic) | CCS | 5.10 Lifts and Conveyor Installations | 3 | Nr
Building 1 | Meter - Electric | CCS | 5.12 Communication, Security & Control | 3 | Nr
Building 1 | Meter - Gas | CCS | 5.12 Communication, Security & Control | 2 | Nr
Building 1 | Emergency Call Buttons, Pull Cords etc | CCS | 5.12 Communication, Security & Control | 1 | Nr
Building 1 | Access Control System | CCS | 5.12 Communication, Security & Control | 1 | system
Building 1 | Automatic motorised security gate | CCS | 5.12 Communication, Security & Control | 2 | Nr
Building 1 | CCTV Cameras | CCS | 5.12 Communication, Security & Control | 60 | Nr
Building 1 | Building Fabric Maintenance | CCS | Decorations | 1350 | m2
Building 1 | External Fabric Maintenance | CCS | Decorations | 700 | m2
Building 2 | Rainwater Downpipes and Gutters | 48-07 | 2.3 Roof | 4 | Nr
Building 2 | Fire Extinguishers - Carbon Dioxide | 23-09 | 4.1 Fittings Furnishings & Equipment | 6 | Nr
Building 2 | Fire Extinguishers - Powder (Gas Cartridge) | 23-11 | 4.1 Fittings Furnishings & Equipment | 1 | Nr
Building 2 | Fire Extinguishers - Water (Gas Cartridge) | 23-12 | 4.1 Fittings Furnishings & Equipment | 6 | Nr
Building 2 | Sanitary, Waste Water Plumbing and Drains - For waste water pipework and traps | 48-05 | 5.1 Sanitary Appliances | 14 | Nr
Building 2 | Sanitary and Waste Water Plumbing - Water Saving Devices and Meters | 48-08 | 5.1 Sanitary Appliances | 2 | Nr
Building 2 | Showers | 51-01 | 5.1 Sanitary Appliances | 2 | Nr
Building 2 | Introductory Procedures | 32-01 | 5.1 Sanitary Appliances | 1 | Note
Building 2 | Tap and Outlet Fittings | 61-02 | 5.1 Sanitary Appliances | 6 | Nr
Building 2 | Service Valves | 61-03 | 5.1 Sanitary Appliances | 6 | Nr
Building 2 | Introductory Procedures | 48-01 | 5.3 Disposal Installations | 1 | Note
Building 2 | Sanitary, Waste Water Plumbing and Drains | 48-05 | 5.3 Disposal Installations | 1 | System
Building 2 | Introductory Procedures | 31-01 | 5.4 Water Installations | 1 | Note
Building 2 | Introductory Procedures | 32-01 | 5.4 Water Installations | 1 | Note
Building 2 | Water Mains - Above Ground | 40-17 | 5.4 Water Installations | 1 | System
Building 2 | Introductory Procedures | 56-01 | 5.4 Water Installations | 1 | Note
Building 2 | Cold Water Storage Tanks and Cisterns | 56-02 | 5.4 Water Installations | 5 | Nr
Building 2 | Hot Water Services General | 32-02 | 5.4 Water Installations | 1 | System
Building 2 | Pre-Maintenance Procedures | 32-04 | 5.4 Water Installations | 1 | Note
Building 2 | Hot Water Supply Calorifiers | 32-07 | 5.4 Water Installations | 2 | Nr
Building 2 | Expansion Vessels | 32-12 | 5.4 Water Installations | 3 | Nr
Building 2 | Calorifier and Heat Exchange Controls | 32-08 | 5.4 Water Installations | 3 | Nr
Building 2 | Packaged Electric Water Heaters - Cistern Type (Non Drinks) | 32-15 | 5.4 Water Installations | 3 | Nr
Building 2 | Pipework Systems - General | 40-01 | 5.4 Water Installations | 2 | System
Building 2 | Pipework Systems - Mountings | 40-02 | 5.4 Water Installations | 1 | Nr (/100 m2)
Building 2 | Thermal Insulation | 35-01 | 5.4 Water Installations | 67 | m2
Building 2 | Introductory Procedures | 05-01 | 5.5 Heat Source | 1 | Note
Building 2 | Pre-Maintenance Procedures | 05-02 | 5.5 Heat Source | 1 | Note
Building 2 | Atmospheric Gas Burner Boiler - Small and/or Wall Hung for Domestic/Light Commercial Installation | 05-28 | 5.5 Heat Source | 2 | Nr
Building 2 | Forced Draught Gas Burner | 07-03 | 5.5 Heat Source | 2 | Nr
Building 2 | Water to Water Heat Pump | 05-32 | 5.5 Heat Source | 5 | Nr
Building 2 | Boiler Controls - Single Boiler: On/off | 05-16 | 5.5 Heat Source | 2 | Nr
Building 2 | Boiler Protection Controls | 05-17 | 5.5 Heat Source | 2 | Nr
Building 2 | Boilers - Space Temperature Controls | 05-18 | 5.5 Heat Source | 1 | Nr
Building 2 | Boilers - Fire and Safety Circuits | 05-24 | 5.5 Heat Source | 2 | Nr
Building 2 | Flues (All Combustible Fuels) | 24-01 | 5.5 Heat Source | 2 | Nr
Building 2 | Refrigerant Distribution System - Fgas inspections - 300 kilos | 46-01 | 5.6 Space Heating & Air Conditioning | 20 | System
Building 2 | Introductory Procedures | 54-01 | 5.6 Space Heating & Air Conditioning | 1 | Note
Building 2 | DX Split Systems - With Gas, Electric or Hot Water Heaters | 54-02 | 5.6 Space Heating & Air Conditioning | 91 | nr
Building 2 | Heat Emitters - Unit Heaters | 28-01 | 5.6 Space Heating & Air Conditioning | 5 | Nr
Building 2 | Ductwork Cleaning - Hygiene, Inspections and Monitoring (General) | 17-01 | 5.6 Space Heating & Air Conditioning | 1 | System
Building 2 | Grilles and Diffusers | 26-01 | 5.6 Space Heating & Air Conditioning | 56 | nr
Building 2 | Louvres, Bird and Insect Screens | 26-02 | 5.6 Space Heating & Air Conditioning | 2 | Nr
Building 2 | Air Handling Units - General | 03-01 | 5.6 Space Heating & Air Conditioning | 3 | Nr
Building 2 | Condenser - Air Cooled (Specialist Tasks) | 13-02 | 5.6 Space Heating & Air Conditioning | 20 | Nr
Building 2 | Condenser - Air Cooled (Mechanical Tasks) | 13-02 | 5.6 Space Heating & Air Conditioning | 20 | Nr
Building 2 | Introductory Procedures | 21-01 | 5.7 Ventilation Systems | 1 | Note
Building 2 | Air Filters | 21-02 | 5.7 Ventilation Systems | 6 | nr
Building 2 | Pipework Systems - General | 40-01 | 5.7 Ventilation Systems | 1 | System
Building 2 | Pipework Systems - Mountings | 40-02 | 5.7 Ventilation Systems | 1 | Nr (/100 m2)
Building 2 | Introductory Procedures | 64-01 | 5.7 Ventilation Systems | 1 | Note
Building 2 | Ductwork Cleaning - Hygiene, Inspections and Monitoring (General) | 17-01 | 5.7 Ventilation Systems | 1 | System
Building 2 | Ductwork Cleaning - Hygiene, Inspections and Monitoring (Kitchen Extract) | 17-01 | 5.7 Ventilation Systems | 1 | System
Building 2 | Ducting and Air Distribution Introductory Procedures | 16-01 | 5.7 Ventilation Systems | 1 | Note
Building 2 | Ductwork System - General | 16-02 | 5.7 Ventilation Systems | 1 | System
Building 2 | Ducting - Volume Control Dampers and Fire/ Smoke Dampers | 16-03 | 5.7 Ventilation Systems | 9 | Nr
Building 2 | Ducting - Attenuators | 16-04 | 5.7 Ventilation Systems | 3 | Nr
Building 2 | Fans-Extract - Including Fire/Smoke Extracts Units | 20-08 | 5.7 Ventilation Systems | 17 | Nr
Building 2 | Introductory Procedures | 44-01 | 5.8 Electrical Installations | 1 | Note
Building 2 | Introductory Procedures | 18-01 | 5.8 Electrical Installations | 1 | Note
Building 2 | Introductory Procedures | 70-01 | 5.8 Electrical Installations | 1 | Note
Building 2 | Distribution Boards | 44-07 | 5.8 Electrical Installations | 19 | Nr
Building 2 | Ring Main Unit | 70-08 | 5.8 Electrical Installations | 1 | Nr
Building 2 | Main Switch Panel at Supply Intake | 44-02 | 5.8 Electrical Installations | 1 | Nr
Building 2 | Portable Appliance Testing (PAT) | 42-01 | 5.8 Electrical Installations | 239 | Nr
Building 2 | Introductory Procedures | 36-01 | 5.8 Electrical Installations | 1 | Note
Building 2 | Lighting Fittings including Luminaries General | 36-03 | 5.8 Electrical Installations | 372 | Nr
Building 2 | Emergency Lighting Self Contained | 37-01 | 5.8 Electrical Installations | 8 | Nr
Building 2 | External Lighting including Illuminated Signs | 36-04 | 5.8 Electrical Installations | 2 | Nr
Building 2 | Lighting - Switches - Internal and External | 36-02 | 5.8 Electrical Installations | 6 | Nr (/100 m2)
Building 2 | Earthing | 44-06 | 5.8 Electrical Installations | 3 | System
Building 2 | Armoured Cables and Conduits | 44-04 | 5.8 Electrical Installations | 1 | System
Building 2 | Gas Governor or Gas Regulator | 05-40 | 5.9 Fuel Installations | 1 | Nr
Building 2 | Pipework for Low Pressure Natural Gas, Liquefied Petroleum Gas (LPG) or Oil | 40-10 | 5.9 Fuel Installations | 1 | System
Building 2 | Introductory Procedures | 23-01 | 5.11 Fire and Lightning Protection | 1 | Note
Building 2 | Lightning Conductor and Earth | 38-01 | 5.11 Fire and Lightning Protection | 1 | Nr of earth points
Building 2 | Fire Alarm System | 22-01 | 5.12 Communication, Security & Control | 1 | System
Building 2 | Fire Alarms - Associated Equipment | 22-02 | 5.12 Communication, Security & Control | 6 | nr
Building 2 | Gas Detection | 23-15 | 5.12 Communication, Security & Control | 2 | Nr
Building 2 | Smoke Detectors | 50-10 | 5.12 Communication, Security & Control | 45 | Nr
Building 2 | Security Systems - Intruder Alarms | 49-01 | 5.12 Communication, Security & Control | 1 | System
Building 2 | Introductory Procedures | 06-01 | 5.12 Communication, Security & Control | 1 | Note
Building 2 | Building Management Systems - Central Operator Station | 06-03 | 5.12 Communication, Security & Control | 1 | Nr
Building 2 | Building Management Systems - Communications | 06-04 | 5.12 Communication, Security & Control | 28 | Nr
Building 2 | Building Maintenance Systems - Outstations | 06-05 | 5.12 Communication, Security & Control | 28 | Nr
Building 2 | Building Management Systems - Software Functions | 06-06 | 5.12 Communication, Security & Control | 1 | Nr
Building 2 | Control Panels and Controllers Introductory Procedures | 14-01 | 5.12 Communication, Security & Control | 1 | Note
Building 2 | Control Panels - Electrical Services (Excluding Electrical Controllers and Pneumatic Relays) | 14-02 | 5.12 Communication, Security & Control | 3 | Nr
Building 2 | Automatic Vehicle Barrier | 63-02 | 8.4 Fencing, Railing and Walls | 1 | Nr
Building 2 | Introductory Procedures | 71-01 | 8.6 External Drainage | 1 | Note
Building 2 | Control Panels - Lamps, Meters, Alarms etc | 14-03 | Controllers and Sensors | 3 | Nr
Building 2 | Controller Timers | 14-08 | Controllers and Sensors | 2 | Nr
Building 2 | Pre-Maintenance Procedures | 14-08 | Controllers and Sensors | 1 | Note
Building 2 | Emergency Stop Buttons | 14-18 | Controllers and Sensors | 1 | Nr
Building 2 | Pressure Measurement Sensors - Static and Differential | 50-02 | Controllers and Sensors | 3 | Nr
Building 2 | Air Quality Sensors | 50-06 | Controllers and Sensors | 27 | Nr
Building 2 | Isolators/Starters/Fuseswitches | 44-10 | Electrical Ancillaries | 19 | Nr
Building 2 | Control Relays | 58-02 | Electrical Ancillaries | 3 | Nr
Building 2 | Pumps - General | 45-01 | Pumps | 7 | Nr
Building 2 | Circulating Pumps - General | 45-02 | Pumps | 4 | Nr
Building 2 | Pressurisation Pumps | 45-04 | Pumps | 3 | Nr
Building 2 | Secondary Hot Water Circulating Pumps | 45-06 | Pumps | 1 | Nr
Building 2 | Pressure Reducing Valves | 40-15 | Valves | 8 | Nr
Building 2 | Valves | 61-01 | Valves | 20 | Nr
Building 2 | Butterfly and Ball Valves | 62-03 | Valves | 15 | Nr
Building 2 | Pressure Control Valves | 62-06 | Valves | 3 | Nr
Building 2 | Chemical Dosing | 65-10 | Water Treatment | 2 | Nr
Building 2 | Fire Blanket | CCS | 4.1 Fixtures, Furnishings and Equipment | 5 | Nr
Building 2 | Other Sanitary Ancillaries (Urinal) | CCS | 5.1 Sanitary Appliances | 2 | Nr
Building 2 | Other Sanitary Ancillaries (WC) | CCS | 5.1 Sanitary Appliances | 6 | Nr
Building 2 | Other Sanitary Ancillaries (Wash Hand Basin) | CCS | 5.1 Sanitary Appliances | 6 | Nr
Building 2 | Cistern | CCS | 5.1 Sanitary Appliances | 14 | Nr
Building 2 | Drinking fountain | CCS | 5.1 Sanitary Appliances | 6 | Nr
Building 2 | Cooker/ Oven | CCS | 5.2 Services Equipment | 2 | Nr
Building 2 | Fridge/ Freezer | CCS | 5.2 Services Equipment | 11 | Nr
Building 2 | Microwave oven | CCS | 5.2 Services Equipment | 6 | Nr
Building 2 | Mains Incomer | CCS | 5.8 Electrical Installations | 1 | Nr
Building 2 | Lift - Passenger (Hydraulic) | CCS | 5.10 Lifts and Conveyor Installations | 4 | Nr
Building 2 | Meter - Electric | CCS | 5.12 Communication, Security & Control | 3 | Nr
Building 2 | Meter - Gas | CCS | 5.12 Communication, Security & Control | 2 | Nr
Building 2 | Emergency Call Buttons, Pull Cords etc | CCS | 5.12 Communication, Security & Control | 1 | Nr
Building 2 | Access Control System | CCS | 5.12 Communication, Security & Control | 1 | system
Building 2 | CCTV | CCS | 5.12 Communication, Security & Control | 60 | Nr
Building 2 | Building Fabric Maintenance | CCS | Decorations | 1350 | m2
Building 3 | Rainwater Downpipes and Gutters | 48-07 | 2.3 Roof | 4 | Nr
Building 3 | Fire Extinguishers - Carbon Dioxide | 23-09 | 4.1 Fittings Furnishings & Equipment | 6 | Nr
Building 3 | Fire Extinguishers - Powder (Gas Cartridge) | 23-11 | 4.1 Fittings Furnishings & Equipment | 1 | Nr
Building 3 | Fire Extinguishers - Water (Gas Cartridge) | 23-12 | 4.1 Fittings Furnishings & Equipment | 6 | Nr
Building 3 | Sanitary, Waste Water Plumbing and Drains - For waste water pipework and traps | 48-05 | 5.1 Sanitary Appliances | 13 | Nr
Building 3 | Sanitary and Waste Water Plumbing - Water Saving Devices and Meters | 48-08 | 5.1 Sanitary Appliances | 2 | Nr
Building 3 | Showers | 51-01 | 5.1 Sanitary Appliances | 2 | Nr
Building 3 | Introductory Procedures | 32-01 | 5.1 Sanitary Appliances | 1 | Note
Building 3 | Tap and Outlet Fittings | 61-02 | 5.1 Sanitary Appliances | 6 | Nr
Building 3 | Service Valves | 61-03 | 5.1 Sanitary Appliances | 6 | Nr
Building 3 | Introductory Procedures | 48-01 | 5.3 Disposal Installations | 1 | Note
Building 3 | Sanitary, Waste Water Plumbing and Drains | 48-05 | 5.3 Disposal Installations | 1 | System
Building 3 | Introductory Procedures | 31-01 | 5.4 Water Installations | 1 | Note
Building 3 | Introductory Procedures | 32-01 | 5.4 Water Installations | 1 | Note
Building 3 | Water Mains - Above Ground | 40-17 | 5.4 Water Installations | 1 | System
Building 3 | Introductory Procedures | 56-01 | 5.4 Water Installations | 1 | Note
Building 3 | Cold Water Storage Tanks and Cisterns | 56-02 | 5.4 Water Installations | 6 | Nr
Building 3 | Hot Water Services General | 32-02 | 5.4 Water Installations | 1 | System
Building 3 | Pre-Maintenance Procedures | 32-04 | 5.4 Water Installations | 1 | Note
Building 3 | Hot Water Supply Calorifiers | 32-07 | 5.4 Water Installations | 3 | Nr
Building 3 | Expansion Vessels | 32-12 | 5.4 Water Installations | 2 | Nr
Building 3 | Calorifier and Heat Exchange Controls | 32-08 | 5.4 Water Installations | 3 | Nr
Building 3 | Packaged Electric Water Heaters - Cistern Type (Non Drinks) | 32-15 | 5.4 Water Installations | 3 | Nr
Building 3 | Pipework Systems - General | 40-01 | 5.4 Water Installations | 2 | System
Building 3 | Pipework Systems - Mountings | 40-02 | 5.4 Water Installations | 1 | Nr (/100 m2)
Building 3 | Thermal Insulation | 35-01 | 5.4 Water Installations | 67 | m2
Building 3 | Introductory Procedures | 05-01 | 5.5 Heat Source | 1 | Note
Building 3 | Pre-Maintenance Procedures | 05-02 | 5.5 Heat Source | 1 | Note
Building 3 | Atmospheric Gas Burner Boiler - Small and/or Wall Hung for Domestic/Light Commercial Installation | 05-28 | 5.5 Heat Source | 2 | Nr
Building 3 | Forced Draught Gas Burner | 07-03 | 5.5 Heat Source | 2 | Nr
Building 3 | Boiler Controls - Single Boiler: On/off | 05-16 | 5.5 Heat Source | 2 | Nr
Building 3 | Boiler Protection Controls | 05-17 | 5.5 Heat Source | 2 | Nr
Building 3 | Boilers - Space Temperature Controls | 05-18 | 5.5 Heat Source | 1 | Nr
Building 3 | Boilers - Fire and Safety Circuits | 05-24 | 5.5 Heat Source | 2 | Nr
Building 3 | Flues (All Combustible Fuels) | 24-01 | 5.5 Heat Source | 2 | Nr
Building 3 | Refrigerant Distribution System - Fgas inspections - 300 kilos | 46-01 | 5.6 Space Heating & Air Conditioning | 19 | System
Building 3 | Water to Water Heat Pump | 05-32 | 5.6 Space Heating & Air Conditioning | 5 | Nr
Building 3 | Introductory Procedures | 54-01 | 5.6 Space Heating & Air Conditioning | 1 | Note
Building 3 | DX Split Systems - With Gas, Electric or Hot Water Heaters | 54-02 | 5.6 Space Heating & Air Conditioning | 90 | nr
Building 3 | Heat Emitters - Unit Heaters | 28-01 | 5.6 Space Heating & Air Conditioning | 6 | Nr
Building 3 | Ductwork Cleaning - Hygiene, Inspections and Monitoring (General) | 17-01 | 5.6 Space Heating & Air Conditioning | 1 | System
Building 3 | Grilles and Diffusers | 26-01 | 5.6 Space Heating & Air Conditioning | 58 | nr
Building 3 | Air Handling Units - General | 03-01 | 5.6 Space Heating & Air Conditioning | 3 | Nr
Building 3 | Condenser - Air Cooled (Specialist Tasks) | 13-02 | 5.6 Space Heating & Air Conditioning | 19 | Nr
Building 3 | Condenser - Air Cooled (Mechanical Tasks) | 13-02 | 5.6 Space Heating & Air Conditioning | 19 | Nr
Building 3 | Introductory Procedures | 21-01 | 5.7 Ventilation Systems | 1 | Note
Building 3 | Air Filters | 21-02 | 5.7 Ventilation Systems | 6 | nr
Building 3 | Pipework Systems - General | 40-01 | 5.7 Ventilation Systems | 1 | System
Building 3 | Pipework Systems - Mountings | 40-02 | 5.7 Ventilation Systems | 1 | Nr (/100 m2)
Building 3 | Introductory Procedures | 64-01 | 5.7 Ventilation Systems | 1 | Note
Building 3 | Ductwork Cleaning - Hygiene, Inspections and Monitoring (General) | 17-01 | 5.7 Ventilation Systems | 1 | System
Building 3 | Ductwork Cleaning - Hygiene, Inspections and Monitoring (Kitchen Extract) | 17-01 | 5.7 Ventilation Systems | 1 | System
Building 3 | Ducting and Air Distribution Introductory Procedures | 16-01 | 5.7 Ventilation Systems | 1 | Note
Building 3 | Ductwork System - General | 16-02 | 5.7 Ventilation Systems | 1 | System
Building 3 | Ducting - Volume Control Dampers and Fire/ Smoke Dampers | 16-03 | 5.7 Ventilation Systems | 3 | Nr
Building 3 | Fans-Extract - Including Fire/Smoke Extracts Units | 20-08 | 5.7 Ventilation Systems | 23 | Nr
Building 3 | Introductory Procedures | 44-01 | 5.8 Electrical Installations | 1 | Note
Building 3 | Introductory Procedures | 18-01 | 5.8 Electrical Installations | 1 | Note
Building 3 | Introductory Procedures | 70-01 | 5.8 Electrical Installations | 1 | Note
Building 3 | Distribution Boards | 44-07 | 5.8 Electrical Installations | 18 | Nr
Building 3 | Ring Main Unit | 70-08 | 5.8 Electrical Installations | 1 | Nr
Building 3 | Main Switch Panel at Supply Intake | 44-02 | 5.8 Electrical Installations | 1 | Nr
Building 3 | Portable Appliance Testing (PAT) | 42-01 | 5.8 Electrical Installations | 247 | Nr
Building 3 | Introductory Procedures | 36-01 | 5.8 Electrical Installations | 1 | Note
Building 3 | Lighting Fittings including Luminaries General | 36-03 | 5.8 Electrical Installations | 384 | Nr
Building 3 | Emergency Lighting Self Contained | 37-01 | 5.8 Electrical Installations | 9 | Nr
Building 3 | External Lighting including Illuminated Signs | 36-04 | 5.8 Electrical Installations | 2 | Nr
Building 3 | Lighting - Switches - Internal and External | 36-02 | 5.8 Electrical Installations | 6 | Nr (/100 m2)
Building 3 | Earthing | 44-06 | 5.8 Electrical Installations | 3 | System
Building 3 | Armoured Cables and Conduits | 44-04 | 5.8 Electrical Installations | 1 | System
Building 3 | Gas Governor or Gas Regulator | 05-40 | 5.9 Fuel Installations | 1 | Nr
Building 3 | Pipework for Low Pressure Natural Gas, Liquefied Petroleum Gas (LPG) or Oil | 40-10 | 5.9 Fuel Installations | 1 | System
Building 3 | Introductory Procedures | 23-01 | 5.11 Fire and Lightning Protection | 1 | Note
Building 3 | Lightning Conductor and Earth | 38-01 | 5.11 Fire and Lightning Protection | 1 | Nr of earth points
Building 3 | Fire Alarm System | 22-01 | 5.12 Communication, Security & Control | 1 | System
Building 3 | Fire Alarms - Associated Equipment | 22-02 | 5.12 Communication, Security & Control | 2 | nr
Building 3 | Gas Detection | 23-15 | 5.12 Communication, Security & Control | 2 | Nr
Building 3 | Smoke Detectors | 50-10 | 5.12 Communication, Security & Control | 46 | Nr
Building 3 | Security Systems - Intruder Alarms | 49-01 | 5.12 Communication, Security & Control | 1 | System
Building 3 | Introductory Procedures | 06-01 | 5.12 Communication, Security & Control | 1 | Note
Building 3 | Building Management Systems - Central Operator Station | 06-03 | 5.12 Communication, Security & Control | 1 | Nr
Building 3 | Building Management Systems - Communications | 06-04 | 5.12 Communication, Security & Control | 27 | Nr
Building 3 | Building Maintenance Systems - Outstations | 06-05 | 5.12 Communication, Security & Control | 27 | Nr
Building 3 | Building Management Systems - Software Functions | 06-06 | 5.12 Communication, Security & Control | 1 | Nr
Building 3 | Control Panels and Controllers Introductory Procedures | 14-01 | 5.12 Communication, Security & Control | 1 | Note
Building 3 | Control Panels - Electrical Services (Excluding Electrical Controllers and Pneumatic Relays) | 14-02 | 5.12 Communication, Security & Control | 3 | Nr
Building 3 | Automatic Vehicle Barrier | 63-02 | 8.4 Fencing, Railing and Walls | 4 | Nr
Building 3 | Introductory Procedures | 71-01 | 8.6 External Drainage | 1 | Note
Building 3 | Control Panels - Lamps, Meters, Alarms etc | 14-03 | Controllers and Sensors | 3 | Nr
Building 3 | Controller Timers | 14-08 | Controllers and Sensors | 2 | Nr
Building 3 | Pre-Maintenance Procedures | 14-08 | Controllers and Sensors | 1 | Note
Building 3 | Emergency Stop Buttons | 14-18 | Controllers and Sensors | 1 | Nr
Building 3 | Pressure Measurement Sensors - Static and Differential | 50-02 | Controllers and Sensors | 2 | Nr
Building 3 | Air Quality Sensors | 50-06 | Controllers and Sensors | 27 | Nr
Building 3 | Isolators/Starters/Fuseswitches | 44-10 | Electrical Ancillaries | 18 | Nr
Building 3 | Control Relays | 58-02 | Electrical Ancillaries | 3 | Nr
Building 3 | Pumps - General | 45-01 | Pumps | 8 | Nr
Building 3 | Circulating Pumps - General | 45-02 | Pumps | 4 | Nr
Building 3 | Pressurisation Pumps | 45-04 | Pumps | 3 | Nr
Building 3 | Secondary Hot Water Circulating Pumps | 45-06 | Pumps | 1 | Nr
Building 3 | Pressure Reducing Valves | 40-15 | Valves | 7 | Nr
Building 3 | Valves | 61-01 | Valves | 30 | Nr
Building 3 | Butterfly and Ball Valves | 62-03 | Valves | 15 | Nr
Building 3 | Pressure Control Valves | 62-06 | Valves | 2 | Nr
Building 3 | Chemical Dosing | 65-10 | Water Treatment | 2 | Nr
Building 3 | Fire Blanket | CCS | 4.1 Fixtures, Furnishings and Equipment | 5 | Nr
Building 3 | Other Sanitary Ancillaries (Urinal) | CCS | 5.1 Sanitary Appliances | 2 | Nr
Building 3 | Other Sanitary Ancillaries (WC) | CCS | 5.1 Sanitary Appliances | 6 | Nr
Building 3 | Other Sanitary Ancillaries (Wash Hand Basin) | CCS | 5.1 Sanitary Appliances | 5 | Nr
Building 3 | Cistern | CCS | 5.1 Sanitary Appliances | 13 | Nr
Building 3 | Drinking fountain | CCS | 5.1 Sanitary Appliances | 7 | Nr
Building 3 | Cooker/ Oven | CCS | 5.2 Services Equipment | 2 | Nr
Building 3 | Fridge | CCS | 5.2 Services Equipment | 11 | Nr
Building 3 | Microwave oven | CCS | 5.2 Services Equipment | 6 | Nr
Building 3 | Mains Incomer | CCS | 5.8 Electrical Installations | 1 | Nr
Building 3 | Lift - Passenger (Hydraulic) | CCS | 5.10 Lifts and Conveyor Installations | 3 | Nr
Building 3 | Meter - Electric | CCS | 5.12 Communication, Security & Control | 3 | Nr
Building 3 | Meter - Gas | CCS | 5.12 Communication, Security & Control | 2 | Nr
Building 3 | Emergency Call Buttons, Pull Cords etc | CCS | 5.12 Communication, Security & Control | 2 | Nr
Building 3 | Access Control System | CCS | 5.12 Communication, Security & Control | 1 | system
Building 3 | Automatic motorised security gate | CCS | 5.12 Communication, Security & Control | 2 | Nr
Building 3 | CCTV Cameras | CCS | 5.12 Communication, Security & Control | 54 | Nr
Building 3 | Building Fabric Maintenance | CCS | Decorations | 1350 | m2

## (6b) AssetCollectionGuidance
FACILITIES MANAGEMENT FRAMEWORK AGREEMENT
Data Pack Checklist (6b) - ASSET COLLECTION GUIDANCE
Guidance notes for the asset data collection template (reference to columns 1 to 13)
Column No | Column Title | Data entry notes
1 | Building Name | Enter the Building Name established in (2) Summary Sheet. This is to allow the assets to be allocated to a specific building, rather than site.
2 | Asset Description | Enter description sufficient of asset - description should be as complete as possible.
3 | System Served | Enter description sufficient to distinguish the asset from similar types (eg "Domestic Hot Water" or “Primary Heating” for a Pump under the Asset column). When read in conjunction with column 3, it provides a complete description of the asset.
4 | Asset Specific Quantity | Specify quantity and whether this relates to unit number ,system or building wide. For multiple items enter total number of each identical type . For systems enter total number eg: by floor, alongside single line details including number of terminal units (eg: 60 radiators on 1st floor, 50 radiators on 2nd floor)
5 | Floor/Roof | Indicate on which floor of the building the asset is located; eg: B=basement, G=Ground, 1,2,3 etc. E=external if this applies
6 | Location | Indicate where on that floor the asset is located e.g.: plant room, boiler room, switch room, North, East, etc. as required
7 | Manufacturer | Self explanatory
8 | Type/Model | Record sufficient information to enable replacement parts to be ordered or the asset to be grouped with others of identical type.
9 | Rating/Capacity | This is the rated output in Kw, Litres/sec/min,etc. For pumps quote Pressure against flow rate.
10 | Asset Serial number | Record for significant assets only; eg: Generators, UPS, Boilers, Chillers, Package chillers/AC units, Pumps, Lifts, Calorifiers, Water heaters, Switchboards / Distribution boards (but identify size/type of each component)
11 | Year of installation | Note: a date is required here not the age. Give estimate where actual date unknown and add a suffix "(E)" for estimate.
12 | Present condition | Enter code for applicable current condition of the asset.
13 | Asset Technical details/Comments | Details other than rating/capacity (column 11) which may assist with future maintenance

## (7) ReactiveWorks
FACILITIES MANAGEMENT FRAMEWORK AGREEMENT
Data Pack Checklist (7) - REACTIVE WORKS
Please complete the grey cells, adding more grey rows by copying as pasting as required.
Number of reactive work calls within last year |  | 1043
Number of reactive work calls billable within last year |  | 536
Cost of billable calls within last year |  | 120569
1 | 2 | 3 | 4 | 5 | 6
BUILDING NAME | CLASSIFICATION OF CALL | QUANTITY OF TOTAL CALLS | PRIORITY OF CALLS | NUMBER OF CALLS RELATING TO COMPREHENSIVE DELIVERY | COST ASSOCIATED WITH CALL
Name of the Building as per the Summary Sheet | Electrical, plumbing, air conditioning, cleaning etc... | Quantity of calls received in the last year. | Indicate the split, by quantity, in regards to call priority | Quantity of calls in the last year. | Cost associated with calls made within the last year

## (8) Services
FACILITIES MANAGEMENT FRAMEWORK AGREEMENT
Data Pack Checklist (8) - SERVICES
The Services should be completed per Building. Lines should be copied and pasted as required for additional Buildings.
Please complete the grey cells, adding more grey rows.
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
BUILDING NAME | TASK DESCRIPTION | ITEM | ITEM HIGH LEVEL DISCRIPTION | CODE | AD HOC OR ROUTINE | IN SCOPE/OUT OF SCOPE | LOCATION | SERVICE SPECIFIC QUANTUM | SERVICE SPECIFIC UNIT | ADDITIONAL DETAILS
Name of the Building as per the Summary Sheet | Task Description | Item Description | The Item descriptions below are a high level description of services. For a more fully detailed description please refer to the Service Standards Document. | IPD Reference Code | Indicate whether ad hoc or routine activity | Please select whether this is in or out of scope | Area of property which requires this service | Enter the quantum of service required | Enter the unit of the quantum provided. (m2/number/item) We have provided an assumed measure, but please adjust this if you monitor in a different unit. | Details which may assist with future service provision
| Cleaning | Housekeeping | A managed housekeeping, linen and laundry service for staff and visitors. | CC10x | Routine |  |  |  | /100m2
Building 1 | Cleaning | Routine Cleaning - Category A | Routine cleaning of the facilities. | CC10q | Routine | In Scope | Standard Areas | 10.53 | /100m2
Building 2 | Cleaning | Routine Cleaning - Category A | Routine cleaning of the facilities. | CC10q | Routine | In Scope | Standard Areas | 10.53 | /100m2
Building 3 | Cleaning | Routine Cleaning - Category A | Routine cleaning of the facilities. | CC10q | Routine | In Scope | Standard Areas | 10.53 | /100m2
Building 1 | Cleaning | Routine Cleaning - Category B | Routine cleaning of the facilities. | CC10q | Routine | In Scope | Prestige Areas (Meeting Rooms) | 2.7 | /100m2
Building 2 | Cleaning | Routine Cleaning - Category B | Routine cleaning of the facilities. | CC10q | Routine | In Scope | Prestige Areas (Meeting Rooms) | 2.7 | /100m2
Building 3 | Cleaning | Routine Cleaning - Category B | Routine cleaning of the facilities. | CC10q | Routine | In Scope | Prestige Areas (Meeting Rooms) | 2.7 | /100m2
Building 1 | Cleaning | Routine Cleaning - Category C | Areas subject to this standard will be specified as requiring a very bespoke or unique approach to cleanliness. | CC10q | Routine | In Scope | Specialist (Minister Office) | 0.27 | /100m2
Building 2 | Cleaning | Routine Cleaning - Category C | Areas subject to this standard will be specified as requiring a very bespoke or unique approach to cleanliness. | CC10q | Routine | In Scope | Specialist (Minister Office) | 0.27 | /100m2
Building 3 | Cleaning | Routine Cleaning - Category C | Areas subject to this standard will be specified as requiring a very bespoke or unique approach to cleanliness. | CC10q | Routine | In Scope | Specialist (Minister Office) | 0.27 | /100m2
Building 1 | Cleaning | Window Cleaning (External) | Cleaning of the external windows to the required standard. | CC10u | Routine | In Scope |  | 3.3255 | /100m2 | No cradle available.
Building 2 | Cleaning | Window Cleaning (External) | Cleaning of the external windows to the required standard. | CC10u | Routine | In Scope |  | 3.3255 | /100m2 | No cradle available.
Building 3 | Cleaning | Window Cleaning (External) | Cleaning of the external windows to the required standard. | CC10u | Routine | In Scope |  | 3.3255 | /100m2 | No cradle available.
Building 1 | Cleaning | Window Cleaning (Internal) | Cleaning of the internal windows to the required standard. | CC10v | Routine | In Scope |  | 3.3255 | /100m2
Building 2 | Cleaning | Window Cleaning (Internal) | Cleaning of the internal windows to the required standard. | CC10v | Routine | In Scope |  | 3.3255 | /100m2
Building 3 | Cleaning | Window Cleaning (Internal) | Cleaning of the internal windows to the required standard. | CC10v | Routine | In Scope |  | 3.3255 | /100m2
Building 1 | Cleaning | Cleaning of Exterior of Building Fabric (including Gutters and Gullies) |  | CC10e | Routine | In Scope |  | 8.3138 | /100m2
Building 2 | Cleaning | Cleaning of Exterior of Building Fabric (including Gutters and Gullies) |  | CC10e | Routine | In Scope |  | 8.3138 | /100m2
Building 3 | Cleaning | Cleaning of Exterior of Building Fabric (including Gutters and Gullies) |  | CC10e | Routine | In Scope |  | 8.3138 | /100m2
Building 1 | Cleaning | Cleaning of External Areas | Cleaning and maintenance of external building, fabric, lighting, fixtures and fittings. | CC10e | Routine | In Scope |  | 7 | /100m2 | Includes external areas for the site
Building 1 | Cleaning | Barrier Matting | Ensuring that barrier matting is well maintained and kept clean. | CC10d | Routine | In Scope |  | 1 | nr
Building 2 | Cleaning | Barrier Matting | Ensuring that barrier matting is well maintained and kept clean. | CC10d | Routine | In Scope |  | 1 | nr
Building 3 | Cleaning | Barrier Matting | Ensuring that barrier matting is well maintained and kept clean. | CC10d | Routine | In Scope |  | 1 | nr
Building 1 | Cleaning | Deep Cleaning (periodic) | Deep cleaning activities in line with a periodic programme. | CC10f | Routine | In Scope |  | 11.15 | /100m2
Building 2 | Cleaning | Deep Cleaning (periodic) | Deep cleaning activities in line with a periodic programme. | CC10f | Routine | In Scope |  | 11.15 | /100m2
Building 3 | Cleaning | Deep Cleaning (periodic) | Deep cleaning activities in line with a periodic programme. | CC10f | Routine | In Scope |  | 11.52 | /100m2
Building 1 | Cleaning | Cleaning of communication and equipment rooms | Cleaning of communication and equipment rooms following the normal level of cleaning. | CC10c | Ad hoc | In Scope |  | 10.53 | /100m2 | Extra over cost of Cat B cleaning
Building 2 | Cleaning | Cleaning of communication and equipment rooms | Cleaning of communication and equipment rooms following the normal level of cleaning. | CC10c | Ad hoc | In Scope |  | 10.53 | /100m2 | Extra over cost of Cat B cleaning
Building 3 | Cleaning | Cleaning of communication and equipment rooms | Cleaning of communication and equipment rooms following the normal level of cleaning. | CC10c | Ad hoc | In Scope |  | 10.53 | /100m2 | Extra over cost of Cat B cleaning
| Cleaning | IT Equipment Cleaning | Cleaning of desktop computers, screens and keyboards. | CC10c | Ad hoc |  |  |  | /100m2
| Cleaning | Laboratories | Cleaning of laboratories. | CC10l | Routine |  |  |  | /100m2
| Cleaning | Linen & Laundry | Provision of all laundry required to carry out the service including laundering, organisation and control of linen stocks. | CC10m | Routine |  |  |  | curtain sets
Building 1 | Cleaning | Pest Control | Total pest control service in order to keep areas free from rodents, birds, insects and other pests. | CC10n | Routine | In Scope |  | 20.5 | /100m2 | Includes external areas
Building 2 | Cleaning | Pest Control | Total pest control service in order to keep areas free from rodents, birds, insects and other pests. | CC10n | Routine | In Scope |  | 13.5 | /100m2
Building 3 | Cleaning | Pest Control | Total pest control service in order to keep areas free from rodents, birds, insects and other pests. | CC10n | Routine | In Scope |  | 13.5 | /100m2
Building 1 | Cleaning | Reactive Cleaning | Cleaning in response to spillages, removal of standing from building fabric as caused by atmospheric pollution, removal of graffiti and monitoring the cleanliness of the washrooms. | CC10o | Routine | In Scope |  | 20.5 | /100m2 | Includes external areas
Building 2 | Cleaning | Reactive Cleaning | Cleaning in response to spillages, removal of standing from building fabric as caused by atmospheric pollution, removal of graffiti and monitoring the cleanliness of the washrooms. | CC10o | Routine | In Scope |  | 13.5 | /100m2 | Includes external areas
Building 3 | Cleaning | Reactive Cleaning | Cleaning in response to spillages, removal of standing from building fabric as caused by atmospheric pollution, removal of graffiti and monitoring the cleanliness of the washrooms. | CC10o | Routine | In Scope |  | 13.5 | /100m2 | Includes external areas
| Cleaning | Specialist Antique Cleaning | The cleaning of antiques, works of art including but not limited to pictures, sculptures, photographs, ceramics, silver, trophies, chandeliers and any other delicate items | CC10j | Ad hoc |  |  |  | /100m2
Building 1 | Cleaning | Telephone Sanitisation | Hygienic cleaning of telephone headsets. | CC10c | Routine | In Scope |  | 11.15 | /100m2
Building 2 | Cleaning | Telephone Sanitisation | Hygienic cleaning of telephone headsets. | CC10c | Routine | In Scope |  | 11.15 | /100m2
Building 3 | Cleaning | Telephone Sanitisation | Hygienic cleaning of telephone headsets. | CC10c | Routine | In Scope |  | 11.52 | /100m2
| Cleaning | Carpet Cleaning | Routine vacuuming of carpets. | CC10w | Routine |  |  |  | /100m2
Building 1 | Waste Management | General Waste | The collection, storage and removal of all waste and provide full information on methods of disposal. Provision of regular waste reports. | CC111 | Routine | In Scope |  | 20.5 | /100m2 | Make allowance over building area, Includes external areas
Building 2 | Waste Management | General Waste | The collection, storage and removal of all waste and provide full information on methods of disposal. Provision of regular waste reports. | CC111 | Routine | In Scope |  | 13.5 | /100m2 | Make allowance over building area
Building 3 | Waste Management | General Waste | The collection, storage and removal of all waste and provide full information on methods of disposal. Provision of regular waste reports. | CC111 | Routine | In Scope |  | 13.5 | /100m2 | Make allowance over building area
Building 1 | Waste Management | Classified Waste | Collection, storage, and removal of all confidential materials so the tat no time these materials are out of the Suppliers possession or sight, or capable of being deciphered once securely disposed of. Provision of regular waste reports. | CC113 | Routine | In Scope |  | 13.5 | /100m2 | Make allowance over building area
Building 2 | Waste Management | Classified Waste | Collection, storage, and removal of all confidential materials so the tat no time these materials are out of the Suppliers possession or sight, or capable of being deciphered once securely disposed of. Provision of regular waste reports. | CC113 | Routine | In Scope |  | 13.5 | /100m2 | Make allowance over building area
Building 3 | Waste Management | Classified Waste | Collection, storage, and removal of all confidential materials so the tat no time these materials are out of the Suppliers possession or sight, or capable of being deciphered once securely disposed of. Provision of regular waste reports. | CC113 | Routine | In Scope |  | 13.5 | /100m2 | Make allowance over building area
Building 1 | Waste Management | Recycled Waste | Collection, storage and removal in accordance with the Waste Hierarchy. Provision of regular waste reports. | CC115 | Routine | In Scope |  | 13.5 | /100m2 | Make allowance over building area
Building 2 | Waste Management | Recycled Waste | Collection, storage and removal in accordance with the Waste Hierarchy. Provision of regular waste reports. | CC115 | Routine | In Scope |  | 13.5 | /100m2 | Make allowance over building area
Building 3 | Waste Management | Recycled Waste | Collection, storage and removal in accordance with the Waste Hierarchy. Provision of regular waste reports. | CC115 | Routine | In Scope |  | 13.5 | /100m2 | Make allowance over building area
Building 1 | Waste Management | Special or Hazardous Waste | Collection, storage and removal of special or hazardous waste. This shall be in accordance with the statutory requirements for labelling, containment and security. Provision of regular waste reports. | CC112 | Routine | In Scope |  | 13.5 | /100m2 | 5 nr feminine hygiene bins
Building 2 | Waste Management | Special or Hazardous Waste | Collection, storage and removal of special or hazardous waste. This shall be in accordance with the statutory requirements for labelling, containment and security. Provision of regular waste reports. | CC112 | Routine | In Scope |  | 13.5 | /100m2 | 6 nr feminine hygiene bins
Building 3 | Waste Management | Special or Hazardous Waste | Collection, storage and removal of special or hazardous waste. This shall be in accordance with the statutory requirements for labelling, containment and security. Provision of regular waste reports. | CC112 | Routine | In Scope |  | 13.5 | /100m2 | 6 nr feminine hygiene bins
Building 1 | Security | Guarding Service | Operating the access control system, responding to intruder detection alarms, searching of staff and visitors, conducting daily checks on security and searching equipment; monitoring equipment, patrolling external areas, maintaining records, maintaining passes, operation of fire alarm testing, securing of perimeter, monitoring of delivery and removal of mail and other security based operations; | CC9g | Routine | In Scope |  | 13.5 | /100m2
Building 2 | Security | Guarding Service | Operating the access control system, responding to intruder detection alarms, searching of staff and visitors, conducting daily checks on security and searching equipment; monitoring equipment, patrolling external areas, maintaining records, maintaining passes, operation of fire alarm testing, securing of perimeter, monitoring of delivery and removal of mail and other security based operations; | CC9g | Routine | In Scope |  | 13.5 | /100m2
Building 3 | Security | Guarding Service | Operating the access control system, responding to intruder detection alarms, searching of staff and visitors, conducting daily checks on security and searching equipment; monitoring equipment, patrolling external areas, maintaining records, maintaining passes, operation of fire alarm testing, securing of perimeter, monitoring of delivery and removal of mail and other security based operations; | CC9g | Routine | In Scope |  | 13.5 | /100m2
Building 1 | Security | Key Holding | Provision of service being custodian of building access keys and alarm system codes inline with requirements. | CC9h | Routine | In Scope |  | 13.5 | /100m2
Building 2 | Security | Key Holding | Provision of service being custodian of building access keys and alarm system codes inline with requirements. | CC9h | Routine | In Scope |  | 13.5 | /100m2
Building 3 | Security | Key Holding | Provision of service being custodian of building access keys and alarm system codes inline with requirements. | CC9h | Routine | In Scope |  | 13.5 | /100m2
Building 1 | Security | Lock up / Open up of premises | Provision of assistance to the emergency services on arrival to ensure that areas re fully secured and alarms reset as necessary. | CC9i | Routine | In Scope |  | 13.5 | /100m2
Building 2 | Security | Lock up / Open up of premises | Provision of assistance to the emergency services on arrival to ensure that areas re fully secured and alarms reset as necessary. | CC9i | Routine | In Scope |  | 13.5 | /100m2
Building 3 | Security | Lock up / Open up of premises | Provision of assistance to the emergency services on arrival to ensure that areas re fully secured and alarms reset as necessary. | CC9i | Routine | In Scope |  | 13.5 | /100m2
| Security | Patrols (fixed guarding) | Provision of patrols at irregular intervals, covering internal and external areas whilst keeping the relevant records. | CC9j | Routine |  |  |  | /100m2
Building 1 | Security | Patrols (mobile) | A mobile security patrol service, required to make regular visits and check that the security of the area, and its perimeter, has not been compromised. | CC9k | Routine | In Scope |  | 20.5 | /100m2 | 1 guard, 24 hours, Includes external areas
Building 2 | Security | Patrols (mobile) | A mobile security patrol service, required to make regular visits and check that the security of the area, and its perimeter, has not been compromised. | CC9k | Routine | In Scope |  | 13.5 | /100m2 | 1 guard, 24 hours
Building 3 | Security | Patrols (mobile) | A mobile security patrol service, required to make regular visits and check that the security of the area, and its perimeter, has not been compromised. | CC9k | Routine | In Scope |  | 13.5 | /100m2 | 1 guard, 24 hours
Building 1 | Security | Reactive Guarding | Reactive guarding service. | CC9l | Routine | In Scope |  | 20.5 | /100m2 | Includes external areas
Building 2 | Security | Reactive Guarding | Reactive guarding service. | CC9l | Routine | In Scope |  | 13.5 | /100m2
Building 3 | Security | Reactive Guarding | Reactive guarding service. | CC9l | Routine | In Scope |  | 13.5 | /100m2
| Security | Additional Security Services | Provision of additional security services as specific operational circumstances dictate. | CC9a | Routine |  |  |  | /100m2
Building 1 | Security | CCTV / Alarm Monitoring | Operation and monitoring of the CCTV system. | CC9b | Routine | In Scope |  | 20.5 | /100m2 | Includes external areas
Building 2 | Security | CCTV / Alarm Monitoring | Operation and monitoring of the CCTV system. | CC9b | Routine | In Scope |  | 13.5 | /100m2
Building 3 | Security | CCTV / Alarm Monitoring | Operation and monitoring of the CCTV system. | CC9b | Routine | In Scope |  | 13.5 | /100m2
Building 1 | Security | Control of access & Security Passes | Production of visitors passes, control of ingress and egress to appropriate areas both during operational and non operational times. | CC9d | Routine | In Scope |  | 13.5 | /100m2
Building 2 | Security | Control of access & Security Passes | Production of visitors passes, control of ingress and egress to appropriate areas both during operational and non operational times. | CC9d | Routine | In Scope |  | 13.5 | /100m2
Building 3 | Security | Control of access & Security Passes | Production of visitors passes, control of ingress and egress to appropriate areas both during operational and non operational times. | CC9d | Routine | In Scope |  | 13.5 | /100m2
Building 1 | Security | Emergency Response | Response to alarm activations including but not limited to lift or panic alarms. | CC9e | Routine | In Scope |  | 20.5 | /100m2 | Includes external areas
Building 2 | Security | Emergency Response | Response to alarm activations including but not limited to lift or panic alarms. | CC9e | Routine | In Scope |  | 13.5 | /100m2
Building 3 | Security | Emergency Response | Response to alarm activations including but not limited to lift or panic alarms. | CC9e | Routine | In Scope |  | 13.5 | /100m2
| Security | Enhanced Security Requirements | Compliance with policies on enhanced security. | CC9f | Routine |  |  |  | /100m2
| Soft Services | Car Park Management |  | CE2e | Routine |  |  |  | /100m2
| Soft Services | Room Booking |  | CE2d | Routine |  |  |  | /100m2
| Soft Services | Archiving (off-site) | Provision of an off-site secure storage solution for overflow and for long term storage and archiving as well as management of the process for storage and retrieval. | CD91 | Ad hoc |  |  |  | /100m2
| Soft Services | Archiving (on-site) | Provision of a holistic document storage service. | CD92 | Routine |  |  |  | /100m2
| Soft Services | Condition Surveys | Provision of conditions surveys as required. | CE2m | Ad hoc |  |  |  | /100m2
| Soft Services | Courier Booking | Management and coordination of a national and international courier service. | CD4 | Ad hoc |  |  |  | /100m2
| Soft Services | Childcare Facility | Provision of childcare nursery services to care for children between the age of three months and an age suitable for first entry to school. | CE31 | Ad hoc |  |  |  | Children
Building 1 | Soft Services | Driver Service | Provision of vehicles, fuel and driver. | CD8 | Ad hoc | In Scope |  | 2 | /100m2 | Driver and car, available 24 hours per day.
Building 1 | Soft Services | First aid and Medical Services | Provision of a first aid medical service aligning to Health and Safety Executive guidance. | CC10h | Routine | In Scope |  | 13.5 | /100m2
Building 3 | Soft Services | First aid and Medical Services | Provision of a first aid medical service aligning to Health and Safety Executive guidance. | CC10h | Routine | In Scope |  | 13.5 | /100m2
| Soft Services | Flag Flying Service | Flag flying service, including cleaning, inline with the required protocols. | CE2p | Ad hoc |  |  |  | nr
Building 1 | Soft Services | Internal Messenger Service | Provision of a messenger service within the required areas. | cd52 | Routine | In Scope |  | 11.15 | /100m2
Building 1 | Soft Services | Journal, Magazine and Newspaper supply | Manage the supply of journals, magazines and newspapers. | CD51 | Ad hoc | In Scope |  | 11.15 | /100m2
| Soft Services | Mail Room Equipment | Operation and maintenance of mail room equipment including but not limited to franking machines, sorters, postal scales and x-ray scanners. | CD51 | Routine |  |  |  | /100m2
Building 1 | Soft Services | Mail Services | Management and operation of a streamlined mail room service. | CD51 | Routine | In Scope |  | 11.15 | /100m2
Building 2 | Soft Services | Mail Services | Management and operation of a streamlined mail room service. | CD51 | Routine | In Scope |  | 11.15 | /100m2
Building 3 | Soft Services | Mail Services | Management and operation of a streamlined mail room service. | CD51 | Routine | In Scope |  | 11.52 | /100m2
Building 1 | Soft Services | Management of visitors and passes | Production and issue of visitor passes by reception staff. | CC9d | Routine | In Scope |  | 13.5 | /100m2
Building 2 | Soft Services | Management of visitors and passes | Production and issue of visitor passes by reception staff. | CC9d | Routine | In Scope |  | 13.5 | /100m2
Building 3 | Soft Services | Management of visitors and passes | Production and issue of visitor passes by reception staff. | CC9d | Routine | In Scope |  | 13.5 | /100m2
| Soft Services | Move Management (Churn) | Management of the move process and execution including cost estimation. | CC7 | Routine |  |  |  | /100m2
| Soft Services | Office Machinery Servicing and maintenance | Holistic maintenance service for office machinery. | CC41b | Routine |  |  |  | /100m2
Building 1 | Soft Services | Porterage (ad-hoc) | Professionally managed, flexible, porterage service which his able to accomplish small office moves, the transport of inter-departmental supplies, and assisting other facilities management services as required including but not limited to the delivery of internal and external post, parcels, delivering stationery to allocated store areas and moving heavy packages. | CD3 | Ad hoc | In Scope |  | 13.5 | /100m2 | Porter, 24 hours
Building 1 | Soft Services | Reception Service | Provision of a professional reception service which interfaces with security services as required. | CD3 | Routine | In Scope |  | 13.5 | /100m2 | 24 hours per day
Building 2 | Soft Services | Reception Service | Provision of a professional reception service which interfaces with security services as required. | CD3 | Routine | In Scope |  | 13.5 | /100m2 | 24 hours per day
Building 3 | Soft Services | Reception Service | Provision of a professional reception service which interfaces with security services as required. | CD3 | Routine | In Scope |  | 13.5 | /100m2 | 24 hours per day
| Soft Services | Reprographics Service | Provision of a central reprographics service which meets the required operational needs and optimises synergies with other services. This should include a facility for bulk copying, as well as maintenance of necessary machinery and equipment. | CD51 | Routine |  |  |  | /100m2
Building 1 | Soft Services | Space Management | Space planning services and office moves including transfer of ICT connections. | CE2Q | Routine | In Scope |  | 13.5 | /100m2
Building 2 | Soft Services | Space Management | Space planning services and office moves including transfer of ICT connections. | CE2Q | Routine | In Scope |  | 13.5 | /100m2
Building 3 | Soft Services | Space Management | Space planning services and office moves including transfer of ICT connections. | CE2Q | Routine | In Scope |  | 13.5 | /100m2
| Soft Services | Sports and Leisure | Full management of sports and leisure facilities including, but not limited to; booking of activity rooms and gym equipment; and, cleaning and maintenance of changing rooms, showers and gymnasium areas. | CE2r | Ad hoc |  |  |  | /100m2
| Soft Services | Stationery Supply | Procurement, supply, management and distribution of the stationary requirement. | CE2S | Routine |  |  |  | /100m2
| Soft Services | Stationery Supply | Procurement, supply, management and distribution of the stationary requirement. | CE2S | Routine |  |  |  | /100m2
| Soft Services | Inspections, compliance plans and risk assessments |  | CE31 | Routine |  |  |  | /100m2
| Soft Services | Taxi booking Service | Management and coordination of a taxi booking service. | CD8 | Routine |  |  |  | /100m2
| Soft Services | Taxi booking Service | Management and coordination of a taxi booking service. | CD8 | Routine |  |  |  | /100m2
| Soft Services | Voice announcement System | Use of the voice announcement system on occasions requiring broadcasts of announcements. | CE20 | Routine |  |  |  | /100m2
Building 1 | Hard Services | Cable Management (ICT Ad-Hoc) | Installation of cabling, movement of floor boxes and gromits for the transmission of data or voice. | CF13 | Routine | In Scope |  | 13.5 | /100m2
Building 2 | Hard Services | Cable Management (ICT Ad-Hoc) | Installation of cabling, movement of floor boxes and gromits for the transmission of data or voice. | CF13 | Routine | In Scope |  | 13.5 | /100m2
Building 3 | Hard Services | Cable Management (ICT Ad-Hoc) | Installation of cabling, movement of floor boxes and gromits for the transmission of data or voice. | CF13 | Routine | In Scope |  | 13.5 | /100m2
| Hard Services | Clocks | Replacement of batteries to a range of battery-powered clocks, disposal of empty batteries, maintenance of antique clocks, winding of clocks and changing clock times. | CC36 | Routine |  |  |  | /100m2
| Hard Services | Cut Flowers and Christmas Trees | Ad-hoc service for the provision of cut flowers and Christmas trees. | CC124 | Ad hoc |  |  |  | /100m2
| Hard Services | Elective / New Works | alterations, additions and projects are considered additional works to the day-to-day maintenance activities decribed within the [xx]. | CB14 | Ad hoc |  |  |  | /100m2
Building 1 | Hard Services | Environmental Cleaning – Ad-hoc | Thorough cleaning of general and kitchen mechanical ventilation and environmental systems. | CE44 | Routine | In Scope |  | 13.5 | /100m2
Building 2 | Hard Services | Environmental Cleaning – Ad-hoc | Thorough cleaning of general and kitchen mechanical ventilation and environmental systems. | CE44 | Routine | In Scope |  | 13.5 | /100m2
Building 3 | Hard Services | Environmental Cleaning – Ad-hoc | Thorough cleaning of general and kitchen mechanical ventilation and environmental systems. | CE44 | Routine | In Scope |  | 13.5 | /100m2
Building 1 | Hard Services | Furniture Management | A centrally managed facility to organise the provision and supply of necessary office items (furniture and/or equipment) | CC37 | Routine | In Scope |  | 13.5 | /100m2
Building 2 | Hard Services | Furniture Management | A centrally managed facility to organise the provision and supply of necessary office items (furniture and/or equipment) | CC37 | Routine | In Scope |  | 13.5 | /100m2
Building 3 | Hard Services | Furniture Management | A centrally managed facility to organise the provision and supply of necessary office items (furniture and/or equipment) | CC37 | Routine | In Scope |  | 13.5 | /100m2
| Hard Services | Internal Planting | Provision of a horticultural service providing and maintaining all indoor planting. | CC123 | Routine |  |  |  | nr
| Hard Services | Internal Planting | Provision of a horticultural service providing and maintaining all indoor planting. | CC123 | Routine |  |  |  | nr
| Hard Services | Locksmith Services | The repair and replacement of ironmongery. | CC52b | Ad hoc |  |  |  | /100m2
| Hard Services | Signage | Maintenance and replacement of signage. | CB13 | Routine |  |  |  | /100m2
| Hard Services | Handyman | Support for dealing with general small repairs and decoration on a planned, reactive or ad hoc basis. |  | Routine |  |  |  | /100m2
Building 1 | External Services | Amenity Space |  | CC132 | Routine | In Scope |  | 6 | /100m2
| External Services | Sports Area |  | CC132 | Routine |  |  |  | /100m2
Building 1 | External Services | Wild Grass/Meadow |  | CC132 | Routine | In Scope |  | 1 | /100m2
| External Services | Cultivated Boarders |  | CC132 | Routine |  |  |  | /100m2
Building 1 | CAFM/Helpdesk | CAFM including helpdesk | Provision of an efficient and reliable service for both planned and reactive maintenance requests. This should be a single integrated system that is accessible to all users and providers real time information. | CE2f | Routine | In Scope |  | 13.5 | /100m2
Building 2 | CAFM/Helpdesk | CAFM including helpdesk | Provision of an efficient and reliable service for both planned and reactive maintenance requests. This should be a single integrated system that is accessible to all users and providers real time information. | CE2f | Routine | In Scope |  | 13.5 | /100m2
Building 3 | CAFM/Helpdesk | CAFM including helpdesk | Provision of an efficient and reliable service for both planned and reactive maintenance requests. This should be a single integrated system that is accessible to all users and providers real time information. | CE2f | Routine | In Scope |  | 13.5 | /100m2

## (9) Externals
FACILITIES MANAGEMENT FRAMEWORK AGREEMENT
Data Pack Checklist (9) - EXTERNALS
Please complete the grey cells, adding more grey rows by copying as pasting as required.
Please indicate as a percentage the percentage which they feel the data is complete as well as a percentage indicating the reliability of the data. For example, if the data provided was both complete and fully reliable both these figures would be 100%. When working with asset lists, it is important that these factors are understood as they will impact the risk associated with pricing the works.
Completion Level of Data (%) | 100%
Reliability of Completed Data (%) | 100%
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
|  | EXTERNAL SERVICES |  |  |  | EXTERNAL ASSETS
Task Description | ITEM | AD HOC OR ROUTINE | IN SCOPE/OUT OF SCOPE | SERVICE SPECIFIC QUANTUM | SERVICE SPECIFIC UNIT | ASSET SPECIFIC QUANTITY |  | MANUFACTURER | TYPE / MODEL | RATING / CAPACITY/ SIZE (vol/dia/length/height) | ASSET SERIAL NUMBER | YEAR OF INSTALLATION | PRESENT CONDITION | ASSET TECHNICAL DETAILS / COMMENTS (Other than Size/Capacity/Rating/ etc)
Task Description | Item Description |  | Please select whether this is in or out of scope | Enter the quantum of service required | Enter the unit of the quantum provided. (m2/number/item) We have provided an assumed measure, but please adjust this if monitor in a different unit. | Specify quantity | Specify whether this relates to unit number system or building wide | Self explanatory | Record sufficient information to enable replacement parts to be ordered or the asset to be grouped with others of identical type. | This is the rated output in Kw, Litres/sec/min,etc. For pumps quote Pressure against flow rate. | Record for significant assets only; eg: Generators, UPS, Boilers, Chillers, Package chillers/AC units, Pumps, Lifts, Calorifiers, Water heaters, Switchboards / Distribution boards (but identify size/type of each component) | Note: a date is required here not the age. Give estimate where actual date unknown and add a suffix "(E)" for estimate. | Select present condition | Details other than rating/capacity (column 11) which may assist with future maintenance
External Assets | Multi Use Games Areas
External Assets | Path - asphalt
External Assets | Path - block paving
External Assets | Path - natural stone |  |  |  |  | 200 | m2
External Assets | Path - PCC paving
External Assets | Path - resin bound gravel
External Assets | Path - tarmac
External Assets | Footbridge
External Assets | Roads - tarmac
External Assets | Roads - block paving
External Assets | White Lining
External Assets | Timber decking
External Assets | Fencing - metal, self finished
External Assets | Fencing - timber panel
External Assets | Fencing - timber picket
External Assets | Fencing - wire chain link
External Assets | Fencing - welded mesh
External Assets | Gates and entrances - galvanised
External Assets | Gates and entrances - metal self finished
External Assets | Gates and entrances - electronic metal
External Assets | Gates and entrances - timber
External Assets | Railings - metal
External Assets | Retaining wall
External Assets | Wall - brickwork
External Assets | Vehicle access barrier
External Assets | Balustrade - metal painted
External Assets | Balustrade - timber
External Assets | Bollards
External Assets | Crash Barriers
External Assets | Cycle Rack
External Assets | External Furniture - timber
External Assets | External Furniture - metal
External Assets | Free standing planters
External Assets | Handrails
External Assets | Litter bins
External Assets | Pergolas
External Assets | Signage
External Assets | Sports Facilities
External Assets | Sports Equipment
External Assets | Playgrounds
External Assets | Swimming Pools
External Assets | Drainage - below ground
External Assets | Drainage channel
External Assets | Manholes
External Assets | Rainwater harvesting tanks
External Assets | Soakaways
External Assets | Incoming mains - water
External Assets | Incoming mains - fire
External Assets | Incoming mains - heating
External Assets | Incoming mains - gas
External Assets | Incoming mains - electric
External Assets | Switchgear/Transformers
External Assets | Distribution Wiring
External Assets | Emergency lighting
External Assets | External lighting
External Assets | Flood Lighting
External Assets | Biomass - woodchip silo pit and hatch
External Assets | Bin store
External Assets | Covered walkways
External Assets | Greenhouse
External Assets | Pumping station
External Assets | Shelters - bus / taxi
External Assets | Storage shed
External Assets | Sub station
External Assets | Grounds |  |  |  |  | 400 | m2 | [6 empty] | Grassed Area
External Assets | Gardens
External Assets | Wooded Areas |  |  |  |  | 100 | m2
External Assets | Ponds
External Assets | Reservoirs
External Assets | Lakes
External Assets | Parks
External Assets | Cemetery/Crematorium
External Assets | Memorials
External Assets | Fountains
External Assets | Street Furniture
External Assets | Parking Machines
External Assets | Traffic Lights
External Assets | Gratings
External Assets | SUDs pond
External Services | Gritting
External Services | Tree Surgery

## (10) Catering
FACILITIES MANAGEMENT FRAMEWORK AGREEMENT
Data Pack Checklist (10) - CATERING
Please insert the main catering service required, in dark grey, and then complete the more detailed service level in pale grey.
Please complete the grey cells for each building, adding more grey rows by copying as pasting as required.
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
BUILDING NAME | TASK DESCRIPTION | ITEM | CODE | AD HOC OR ROUTINE | IN SCOPE/OUT OF SCOPE | LOCATION | SERVICE SPECIFIC QUANTUM | SERVICE SPECIFIC UNIT | OPERATING HOURS | ADDITIONAL DETAILS
Name of the Building as per the Summary Sheet | Task Description | Item Description | IPD Reference Code | Indicate whether ad hoc or routine activity | Please select whether this is in or out of scope | Area of property which requires this service. Note which level (Ground floor, first floor etc...) and whether accessible to staff and/or public. | Enter the quantum of service required during operating hours of a typical day | We have provided an assumed measure, but please adjust this if you monitor in a different unit. Enter the unit of the quantum provided. (Covers, Units etc...) | Area of property which requires this service. Note which level (Ground floor, first floor etc...) and whether accessible to staff and/or public. | Details which may assist with future service provision
| Catering | Convenience Store | CD2a | Routine
Building 1 |  | Grab and Go Sandwiches |  |  | In Scope | Ground Floor | 130 | Unit per day | 07:00 to 19:00, 7 days per week.
Building 1 |  | Snacks |  |  | In Scope | Ground Floor | 160 | Unit per day | 07:00 to 19:00, 7 days per week.
Building 1 |  | Coffee |  |  | In Scope | Ground Floor | 160 | Unit per day | 07:00 to 19:00, 7 days per week.
Building 1 |  | Soft Drinks |  |  | In Scope | Ground Floor | 130 | Unit per day | 07:00 to 19:00, 7 days per week.
| Catering | Deli/Coffee Bar | CD2e | Routine
|  | Coffee | [5 empty] | Unit
|  | Soft Drinks | [5 empty] | Unit
|  | Snacks | [5 empty] | Unit
| Catering | Events and Functions | CD2f | Routine
|  | Finger Buffet | [5 empty] | Covers
|  | Full Service | [5 empty] | Covers
| Catering | Hospitality and Meetings | CD2f | Routine
|  | Finger Buffet | [5 empty] | Covers
|  | Full Service | [5 empty] | Covers
| Catering | Outside Catering | CD2h | Routine
|  | Finger Buffet | [5 empty] | Covers
|  | Full Service | [5 empty] | Covers
| Catering | Trolley Service | CD2i | Routine
Building 1 |  | Grab and Go Sandwiches |  |  | In Scope | All office areas | 25 | Unit | 07:00 to 19:00, 7 days per week. | Service 3 times per day on each floor.
Building 1 |  | Snacks |  |  | In Scope | All office areas | 25 | Unit | 07:00 to 19:00, 7 days per week. | Service 3 times per day on each floor.
Building 1 |  | Coffee |  |  | In Scope | All office areas | 40 | Unit | 07:00 to 19:00, 7 days per week. | Service 3 times per day on each floor.
Building 1 |  | Soft Drinks |  |  | In Scope | All office areas | 30 | Unit | 07:00 to 19:00, 7 days per week. | Service 3 times per day on each floor.
Building 2 |  | Grab and Go Sandwiches |  |  | In Scope | All office areas | 25 | Unit | 07:00 to 19:00, 7 days per week. | Service 3 times per day on each floor.
Building 2 |  | Snacks |  |  | In Scope | All office areas | 25 | Unit | 07:00 to 19:00, 7 days per week. | Service 3 times per day on each floor.
Building 2 |  | Coffee |  |  | In Scope | All office areas | 40 | Unit | 07:00 to 19:00, 7 days per week. | Service 3 times per day on each floor.
Building 2 |  | Soft Drinks |  |  | In Scope | All office areas | 30 | Unit | 07:00 to 19:00, 7 days per week. | Service 3 times per day on each floor.
Building 3 |  | Grab and Go Sandwiches |  |  | In Scope | All office areas | 25 | Unit | 07:00 to 19:00, 7 days per week. | Service 3 times per day on each floor.
Building 3 |  | Snacks |  |  | In Scope | All office areas | 25 | Unit | 07:00 to 19:00, 7 days per week. | Service 3 times per day on each floor.
Building 3 |  | Coffee |  |  | In Scope | All office areas | 40 | Unit | 07:00 to 19:00, 7 days per week. | Service 3 times per day on each floor.
Building 3 |  | Soft Drinks |  |  | In Scope | All office areas | 30 | Unit | 07:00 to 19:00, 7 days per week. | Service 3 times per day on each floor.
| Catering | Vending | CD2b | Routine
Building 1 |  | Soft Drinks |  |  | In Scope |  | 2 | Unit
Building 2 |  | Snacks |  |  | In Scope |  | 2 | Unit
Building 3 |  | Fresh Food |  |  | In Scope |  | 2 | Unit
Building 2 |  | Soft Drinks |  |  | In Scope |  | 2 | Unit
Building 2 |  | Snacks |  |  | In Scope |  | 2 | Unit
Building 2 |  | Fresh Food |  |  | In Scope |  | 2 | Unit
Building 3 |  | Soft Drinks |  |  | In Scope |  | 2 | Unit
Building 3 |  | Snacks |  |  | In Scope |  | 2 | Unit
Building 3 |  | Fresh Food |  |  | In Scope |  | 2 | Unit
Building 1 | Catering | Chilled Potable Water | CD2a | Routine | In Scope |  | 2 | Unit
Building 2 | Catering | Chilled Potable Water | CD2a | Routine | In Scope |  | 2 | Unit
Building 3 | Catering | Chilled Potable Water | CD2a | Routine | In Scope |  | 2 | Unit
| Catering | Custodial Catering Service | CD2k | Routine |  |  |  | Covers
| Catering | Full Service Restaurent | CD2g | Routine |  |  |  | Covers

## Calc
In Scope
Out of Scope
Planned Reactive Maintenance
Out of Scope
Cat A
Cat B
Cat C
Yes
No
Critical
Non-critical
Active
Inactive
Closed
Type 1
Type 2
Type 3
Type 4
Type 5
Security
Level 1
Level 2
Level 3
Complexity of Building Services
Simple
Typical for building category
Complex
Tenure
Owner Occupier - Freehold
Owner Occupier - Leasehold
Tenancy
Condition
New/under warranty (within 1 year)
Normal maintainable condition
Needs minor repairs – within spend authority
Needs repairs exceeding spend authority
Needs replacement
Inoperative
Estimate time to next major overhaul